A1 Sandwell Skips Limited

Environmental Management System July 2025

Waste Transfer Station

The status log of the written management system sets out the history, including any changes to the written management system.

Revision / Date	Description	Sections Affected	Revised by	Approved By
31/12/24	Revised written management system.	All	Leslie Brazier	Amrik Singh
20/01/25	Updated EMS to comply with new SR2022 No 4 Standard Rules Permit.	All	Leslie Brazier	Amrik Singh
31/07/25	Updated to reflect pending Bespoke Permit application.	All	Leslie Brazier	Amrik Singh

CONTENTS:

Page No.
GENERAL CONSIDERATIONS

Introduction	4
Site history and planning status	4
Permit Area	5
Hours of Operation	5
Waste types and quantities	5
Management structure & responsibilities	6
Technical Competence	8
Training and competence	8
Health & Safety Policy	8
Emergency Plan & Evacuation Procedure	9

2.0	SITE ENGINEERING AND INFRASTRUCTURE

Site Infrastructure Plan	10
Access	10
Site Security	10
Site office	10
Online Security	10
Water and Electricity	11
Surface Water Drainage	11
Waste transfer station	11
Vehicles, Plant & Equipment	11
Maintenance	12
Breakdowns	12
Site Identification Board	12
Contingency Plan	13

3.0	SITE OPERATIONS

Introduction	15
Preliminary Procedures	15
Waste Collection Procedures	16
Waste Acceptance Procedures	16
Reception, Inspection and Validation of Wastes	17
Non-Conforming Waste	17
Storing Waste Gypsum/Plasterboard	LPWP6	17
Daily Booking Schedule	18
Movement, Sorting & Storage of Wastes	18	Aggregate	18
Non-Hazardous Waste	19
Waste Storage Plan	19	Waste Stock Rotation	19	Maximum pile size	21
Transfer and Transportation	22	Duty of Care	22
Display of Environmental Permit	23
Site Diary	23	Visitors Book	23
Managing Documents & Records	23
Reporting	24
Notifications	24

4.0	ENVIRONMENTAL CONTROL, MONITORING AND REPORTING

Environmental Policy	25
Fires on the site	25	Fire Water Run-off	25
Accident Management Plan	25
Vehicle & Plant Breakdowns	26
Site Inspections	26
Liquids	26
Spillages	26
Spill Kit	26
Drainage	26
Odour	27
Dust	27
Noise and Vibration	27
Pests	27
Litter	27
Complaints Procedure	27

1.0	GENERAL CONSIDERATIONS

Introduction

This document represents the environmental management system (EMS) for operations undertaken at the A1 Sandwell Skips Limited site regulated under the Environmental Permit EPR/JB3901KV. These rules allow the operation of a waste facility transferring and treating a range of non-hazardous wastes. These rules allow storage of asbestos, batteries, cable and waste electrical and electronic equipment (WEEE).

The EMS has been prepared by following the non-hazardous and inert waste: appropriate measures for permitted facilities to ensure compliance with the permit conditions and all other applicable legislation to protect human health and the environment.

The facility shall be operated at all times by an adequate number of staff with appropriate training, qualifications and competence. Records of training, qualifications and relevant experience shall be maintained.

The EMS identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints.

The EMS will be subject to continuous review and revision. which in all circumstances will be subject to approval by The Environment Agency.

Amrik Singh (Managing Director) or his Approved Deputy will conduct a daily site walkabout of the site checking that site operations comply with the permit, procedures and EMS whilst completing a compliance assessment site checklist. Any non-conformances identified will be recorded together with the action to be taken. Completed checklists will be filed in the office filing system.

Internal audits will also be undertaken in order to ensure that the written management system is being followed and kept up to date and that company policies and procedures are being adhered to.

A copy of the EMS will be kept in the site office and employees or any other persons having duties that are or may be affected by matters set out in the EMS shall have convenient access to a copy. Similarly, the EMS will be available to the Environment Agency if asked.

The site which is the subject of this written management system is managed and operated by A1 Sandwell Skips Limited. The site is operated in accordance with the waste operations described in standard rules SR2022 No 4 and associated SR2022 No 4 Generic Risk Assessment.

The contact address for A1 Sandwell Skips Limited is as follows:

A1 Sandwell Skips Limited	Tel:	0121 5537333
1-3 Roebuck Lane	Contact:	Amrik Singh
Smethwick
West Midlands
B66 1BS

Site history and planning status

The A1 Sandwell Skips Limited site is a former ELV facility. The site is comprised of a variety of buildings and open yard areas. The site access is via 1-3 Roebuck Lane and the site boundaries comprise a mix of stadium fencing and walls. The rear of the site backs onto the A4252 (Telford Way) with the Birmingham Canal and train line within close proximity to the left-hand boundary (as looking off Roebuck Lane).

The site is less than 0.5mile away from Junction 1 M5 with Smethwick High Street located just over Galton Bridge (less than 0.2mile away). There are no neighbouring building properties to the site.

The nearest residential properties are located approximately 0.2mIle away and are not visible to or from the facility.

Permit Area

The activities shall not extend beyond the site, being the land shown edged in green on the site plan attached to the permit.

The area which is subject of the Environmental Permit is outlined in the site infrastructure plan.

All references to ‘the site’ in this written management system shall mean this area and the associated infrastructure, plant, machinery and equipment.

The site infrastructure plan drawn to scale shows the access and egress routes at the site. It also shows where the activities covered by the permit are carried out, the location of the new weighbridge, unloading area, trommel, picking station, storage containers, bricks and rubble storage area, etc. The plan shows the storage areas for each individual waste type. The site infrastructure plan also shows the location of mains water and electricity supplies on the site. There are no mains gas supplies on site. The plan also shows the location of items for use in accidents and emergencies.

There is enough space on site to manage wastes and to make sure that we minimise potential pollution impacts on nearby receptors. For example, we have enough space for appropriate fire breaks between stockpiles of combustible waste, and to allow access for fire-fighting.

The storage and handling of waste on site is located as far as technically and economically possible from sensitive receptors and watercourses, while minimising unnecessary handling. There is enough space on site to operate our plant, machinery and equipment safely, and to segregate waste to prevent cross-contamination.

We make sure that the quantities of waste at our facility are manageable at all times and do not exceed our capacity to store and treat waste.

Hours of Operation

The site will be operated during the following hours for the receipt of waste and all other operations:

Monday to Friday	0700 - 1700
Saturday	0700 - 1300
Sunday	Closed

Waste types and quantities

The types of wastes accepted at the site are detailed in the Environmental Permit in table 2.3a of the Standard Rules SR2022 No 4.

A short summary in shown in Table 1:

Table 1: Waste Types

EWC Code	Description	Entry Type
17 02 01	Wood	AN
20 01 40	Scrap Metals (mixed)	AN
20 01 39	Plastics	AN
20 01 01	Paper and Cardboard	AN
17 05 04	Soil & Hardcore	AN
17 08 02	Gypsum / Plasterboard	AN

These rules allow A1 Sandwell Skips Limited to operate a Household, Commercial and Industrial Waste Transfer Station with waste treatment.

Permitted wastes are limited to non-hazardous waste recycling with asbestos, hazardous batteries, cable and WEEE storage. The total quantity of waste that can be accepted at a site must be less than 75,000 tonnes a year. In addition, no more than 50 tonnes per day of waste may be treated for disposal, temporary storage of hazardous waste shall not exceed 50 tonnes. No more than 15,000 tonnes of wastes listed in table 2.3a and any processed wastes derived from them shall be stored at any one time. Furthermore, no more than 40,000 tonnes of wastes listed in table 2.3b and any processed wastes derived from them shall be stored at any one time. Waste shall not be stored for longer than 6 months.

With the exception of ‘specified waste’ all storage, treatment and handling of waste listed in table 2.3a shall occur within an enclosed building.

Covered containerised waste, baled and securely wrapped RDF (if applicable) and baled wastes post treatment, may be stored either within a building or in the open.

Storage bays and containers shall be regularly cleared and cleaned to prevent a build-up of aging waste.

Please note that A1 Sandwell Skips Limited are currently in the process of agreeing final plans and have identified a contractor for the installation of covered areas at the site.

Unless stored or treated outside as ‘specified’ waste:
:
- all bulking, transfer or treatment of waste shall be carried out inside a building;
- all waste shall be stored in a building or within a secure container.
- all waste shall be stored and treated on an impermeable surface with sealed drainage system.

‘Specified’ waste shall be stored and treated on hard standing or on an impermeable surface with sealed drainage system.

Treatment consisting only of manual sorting, separation, screening, baling, shredding, crushing or compaction of waste into different components for disposal, (no more than 50 tonnes per day) or recovery shall be undertaken at the site.
Hazardous waste shall not be mixed, either with a different category of hazardous waste or with other waste, substances or materials.

WEEE waste (if applicable) shall be clearly identified and segregated and stored on an impermeable surface with sealed drainage system.

Waste input and output records are collated on a daily basis and inputted into an excel spread-sheet. This real-time data is monitored to ensure that the permit conditions are not breached.

Capital Investment Improvements

A1 Sandwell Skips Limited have drawn up plans for the installation of additional covered areas at the site. The company are currently in the process of agreeing final plans and have identified a contractor for the installation of covered areas at the site.

Management structure & responsibilities

The Environmental Permit is registered to A1 Sandwell Skips Limited “the operator” to operate waste operations described in Standard Rules SR2015 No6. The permit owner is Amrik Singh (Managing Director). The permit owner is committed to be a good operator.

The Managing Director or his Approved Deputy are responsible for the day-to-day management, operations of the site and compliance with the Environmental Permit and all other applicable legislation to protect human health and the environment.

Whenever the site is open to receive or dispatch wastes, or is carrying out any of the waste management operations, it is supervised by at least one member of staff who is suitably trained and fully conversant with the requirements of the permit regarding:

- waste acceptance and control procedures;
- operational controls;
- maintenance checklist;
- record-keeping;
- emergency action plans;
- accident management plans; and
- notifications to the Environment Agency.

At A1 Sandwell Skips Limited WTS the Managing Director is the permit holder. The company employ a site operations manager, 2 site operatives, 1 plant operator, 3 skip vehicle drivers (that collect waste from local businesses and deliver it directly to the WTS) and 1 finance and administration officer.

A1 Sandwell Skips Limited we operate throughout the Birmingham and Black Country areas delivering and collecting skips and then taking the waste to the A1 Sandwell Skips Limited regulated facility for processing.

The following staff will operate the waste facility:

Brief descriptions of the responsibilities of those staff that are involved in managing and operating the site are outlined table 2 below:

Table 2:	Responsibility of Role Function

Position	Responsibility
Managing Director	The Managing Director has overall responsibility for onsite management and operations at the WTS including being responsible for health and safety. The Managing Director will ensure that: / The site is available to receive waste; / The arrangements for the removal of wastes from site is acceptable; and / The site is operating within the parameters of the Environmental Permit and all other applicable legislation.
Site Operations Manager	Assisting the Managing Director with the safe and efficient day to day running of the site. / Controlling site inputs and outputs, ensuring that processes run smoothly and managing expectations. / Managing various staff (drivers, plant operators and site operatives) / Ensure sufficient number of trained staff and resources are available / Responsible for providing skip vehicle drivers with daily running sheet (job tickets) and completed waste transfer notes. / Ensuring compliance with company policies and procedures. / Ensure the site is operating within the parameters of the Environmental Permit and all other applicable legislation.
Transport Manager	Making sure that vehicles are properly maintained. / Inspecting vehicles / Arranging repairs and routine maintenance. / Making sure that drivers and operators have the correct qualifications. / Maintaining and completing up to date records.
Finance & Admin	Dealing with customer enquiries, expectations and complaints / Maintaining customer database / Waste Transfer Notes / Record all deliveries and outputs, etc. / Invoicing / Human Resources
Vehicle drivers (Full UK Licence)	Deliver and collect skips from customer premises. / Carry out daily vehicle checks / Drivers to have valid CPC / Use electronic tachograph system
Plant & Equipment Operators	Operate plant and equipment / Carry out daily plant and equipment checks
Site Operatives	Manually sort and recover recyclable materials

Technical Competence

Operations at the site are under the overall control of a Technically Competent Person who holds the relevant Certificate of Technical Competence (COTC) under the Waste Management Industry Training and Advisory Board (WAMITAB) scheme.

The Technically Competent Person must demonstrate continuing competence by passing a periodic assessment which tests the candidate’s understanding of recent developments within the waste industry. The current CIWM/WAMITAB holder for the facility will be Leslie Brazier. Leslie Brazier will provide TCM cover for the site. The Site Diary will be signed to record site attendance in line with current legislation requirements.

Any changes in the technically competent management of the site including the name of the incoming person, together with evidence that such person has the required technical competence, will be submitted to the Environment Agency in writing within 5 days of the change in management.

Training and Staff Competence

All new employee(s) will be provided with Induction Training that includes health and safety, waste identification and waste acceptance and rejection procedures, etc. In addition, they will be provided with site specific training as detailed in the training skills matrix dependent upon which area they are working. This ensures that staff are trained and competent to carry out their duties. Furthermore, employee(s) are provided with Toolbox Talks and Safety Alerts periodically.

The Managing Director will ensure that site staff are directed and trained in the emergency procedures for the site.

The Managing Director will also ensure that all employees are provided with a TBT on the key issues relating to the Environmental Permit and EMS.

Staff carrying out waste acceptance checks, including sampling and analysis of waste, shall be appropriately trained and competent to:

  - classify and characterise waste properly
  - identify whether it is suitable for your facility
  - manage any loads that do not conform to waste acceptance criteria
  - determine end of waste products

A copy of the employee training records, refresher training or qualifications taken by the staff or contractors will be maintained on site in the office filing system under the appropriate heading.

Health & Safety Policy

A1 Sandwell Skips Limited acknowledges that occupational health and safety is a shared responsibility requiring the commitment of the company and its employee(s) to ensure optimum standards of health and safety, in addition to compliance with statutory requirements we will seek, proactively, to prevent ill health, injury, damage and loss arising from our operations and activities.

All operations on site will be carried out in accordance with the relevant requirements of the Health & Safety at Work 1974 and all other applicable legislation.
All visitors and contractors to the site must complete the site visitor book located in the site office to record their arrival and departure.

Site rules for employee(s), visitors and contractors will be shown to all site uses. An Acceptance Record must be signed and dated to confirm that they have read and understand the Site Rules. Anyone not complying with the Site Rules will be asked to leave the site.

Fire extinguishers will be kept on site to deal with fires as stated in the Emergency Plan.

A first aid kit is kept on site and will be maintained to the required standard, i.e., as stated in the Health and Safety (First Aid) Regulations 1981.

Emergency Plan & Evacuation Procedure

The Management of Health and Safety at Work Regulations 1999 set out the need for all employers to have procedures for emergency situations and to ensure that all site personnel are aware of them. In order to meet the legal and company requirements, systems must be in place to identify the potential for, and responses to, emergency situations, and for preventing and mitigating the likely illness, injury or damage that may be associated with them.

The Emergency Plan document outlines the arrangements for dealing with emergencies, involving when necessary external emergency services. The purpose of this document is to define the method of raising the alarm, and evacuation in the event of an emergency situation at the site.

Monitoring and measurement

We aim to learn from incidents, near misses and mistakes, including those of other organisations.

2.0	SITE ENGINEERING AND INFRASTRUCTURE

Site Infrastructure Plan

A site infrastructure plan drawn to scale shows all the required information. The plan clearly shows:

- where the activities covered by the permit are carried out
- the location of items used in accidents and emergencies, like oil absorbent pads or spillage granules
- the location of discharge points from the site to the sewer
- the details of drainage on site, including surface water
- drains marked in blue, foul and combined drainage facilities marked in red and any
interceptors
- the direction of flow of water in the drains
- the storage facilities for non-hazardous materials, including the quarantine area and storage of diesel and hydraulic oil, etc

Access

The site is situated on Roebuck Lane and opposite Summit Crescent. Passed the site, heading onto Galton Bridge is restricted to pedestrian access only. Vehicular access is gained onto the site solely off 1-3 Roebuck Lane. The location of the site is shown on the site infrastructure plan.

The WTS shall not be open to the public and no person other than workers shall be allowed entrance to the site. Even though the entrance gates will remain open a member of staff shall be present at all times to restrict access to the site.

Site Security

All reasonable precautions will be taken to prevent unauthorised access to the site so preventing, damage to vehicles, plant, machinery and equipment, theft, illicit dumping and fly-tipping and arson. The perimeter fencing and gates are inspected for integrity on a daily basis and any damage will be recorded in the Daily Site Diary. If fencing and gates are damaged and their integrity is impaired, every effort shall be made to repair and damage within 24 hours. If this is not possible, an effective temporary repair shall be carried out to maintain the security by the end of the working day and the fence/gate will be repaired within 7 working days. The gates will be locked shut when the site is closed or unattended.

Site office

The site office is used by A1 Sandwell Skips Limited as the operational centre and for the storage of documents. A copy of the Environmental Permit and EMS will be held in the site office.

Online security

Steps have been taken to protect the business against online security threats. Good online security will help make sure that our business does not cause pollution.

The business backs up data every day and has multiple copies (at least one set for each day of the week and additional ones in order to have at least a month’s worth of data at any one time). Records of these are kept. Backups are kept off site. Backups are verified regularly by the software and system supplier. Firewalls and virus checkers are kept up to date and running, and users are trained in virus avoidance and detection.

Water and electricity

The location of mains water and electricity supplies on site are shown in the site infrastructure plan and include:

- The mains water stop tap
- The routes for electricity and water suppliers around the site

Surface Water Drainage

Water collected from operational areas will be directed into an interceptor (the MD is currently in the process of finalising plans for the installation of an interceptor). The area immediately around the drains will be kept clear of waste and cleaned. No waste to be tipped on any drain covers.

A site drainage plan is being commissioned by the Managing Director (Amrik Singh). The site drainage plan will map and identify foul water and surface water drains, as well as additional items that require identification, such as penstocks or oil interceptors. Drain covers will be marked in blue (surface water), Red (foul) and combined drainage facilities (if applicable).

All sumps, tanks, lagoons (if applicable) and other collection points in the drainage system shall be inspected daily and managed so as to prevent the escape of contaminated water from the site.

Waste transfer station

The waste transfer station comprises of a concrete impermeable floor surface laid to suitable falls to aid drainage. A trommel is used that feeds a conveyor to a covered picking station.

The surface is of sufficient strength for tipping of loads, treatment and storage of wastes and operating loading plant. Inert waste is stored on an area of hard standing.

Vehicles, plant, machinery and equipment

A1 Sandwell Skips Limited has been issued with a Goods Vehicle Operators Licence by the Office of the Traffic Commissioner on 20th January 2014 to operate 3 motor vehicles.

The vehicles, plant and equipment used at the site are detailed in Table 3:

Table 3:	Vehicle(s), Plant, Machinery and Equipment

Vehicles & Plant	Qty	Activity
Skip Vehicles	3	Deliver and collect waste skips from household, commercial and industrial premises.
Roll-on-Off hook-lift vehicles	2	Despatch waste from the site.
360 Excavator (Wheeled Machine)	2	Loading bulk storage vehicles and containers
Loading Shovel	2	Movement, sorting and storage of waste. Also loading bulk haulage vehicles and containers.

Vehicle driver(s) and plant operator(s) and are required to complete pre-start defect check sheets before they start their shift(s). The site manager will arrange for any defects identified to be rectified as soon as is practicable.

Maintenance

Under the provisions of the Goods Vehicle Operator’s Licence the operator is required to make proper arrangements for the servicing and maintenance of vehicles. At A1 Sandwell Skips Limited we have own in-house maintenance team who provide a structured programme of maintenance for all our vehicles, plant and machinery. This includes six weekly safety checks, annual plating and any repairs.

All process plant, machinery and equipment shall be commissioned, operated and maintained in accordance with manufacturer’s recommendations and shall be fully documented and recorded.

Maintenance on plant, machinery and equipment is carried out to prevent problems arising, to put faults right, and to ensure equipment is working effectively in accordance with the manufacturers or supplier’s manual(s) that came with the plant and equipment. The Provision and Use of Work Equipment Regulations 1998 (PUWER) require work equipment and plant to be maintained so it remains safe and the maintenance operation is carried out safely.

Fire-fighting equipment is serviced every 12 months by Diamond Fire Limited. A copy of the service schedule is maintained in the company filing system.

The Electricity at Work Regulations 1989 require that any electrical equipment that has the potential to cause injury is maintained in a safe condition. Therefore, PAT Testing is to be undertaken to ensure that all electrical equipment is safe and properly maintained.

Site infrastructure and surface areas are monitored on a regular basis by the Managing Director or his Approved Deputy during a daily walkabout of the site whilst completing a daily site checklist. Any maintenance issues identified with the site infrastructure will be recorded and rectified as soon as practicable.

Breakdowns

In the event of a vehicle breakdown the Traffic Manager will be notified to arrange immediate repair(s). In the event that a major repair is required to a vehicle or plant the Traffic Manager will seek a replacement within 24 hours.

If any plant, machinery or equipment breaks down, this will be repaired as a matter of urgency by a suitably trained service provider. In the event that a major repair is required to an item of plant the Traffic Manager will seek a replacement within 24 hours.

All vehicle(s), plant, machinery and equipment are serviced in accordance with manufactures or suppliers’ recommendations.

Site Identification Board

A site identification board which is easily readable from outside the A1 Sandwell Skips Limited facility entrance during hours of daylight is provided at the main site entrance in accordance with the Permit conditions.

The identification board is inspected at least once per week. In the event of damage or defect that significantly affects the legibility of the board it would be repaired or replaced within a timescale agreed with the Environment Agency.

The board displays the following information:

- Permit holder’s name;
- Emergency contact name and telephone number
- Statement that the site is permitted by the Environment Agency
- The permit number;
- Environment Agency telephone number 0370 506506 and the incident hotline 0800 807060.

Contingency Plan

Staff Shortages
In the event of driver and staff shortages due to holiday entitlement or sickness/absence temporary staff will be sourced from local employment agencies.

Breakdowns (Vehicles and Plant, Equipment and Machinery)
In the event of a breakdown of vehicles, plant, machinery or equipment the site manager will make appropriate arrangements for repairs to be undertaken as a matter of urgency. This will ensure that repairs are carried out quickly and therefore the impact upon site operations and the environment is minimised.

Enforced Shutdown
In the event of any enforced shutdown the site would be secured and monitored on a daily basis. Contractors and suppliers would be notified that the site was non-operational. Arrangements will be made with other local waste transfer stations to deposit our customers skip waste at their facilities should the need arise (subject to permit conditions). This action will minimise the impact on the environment of any enforced shutdowns.

Changes
In the event of any changes to normal operations the effect of the change will considered by the management team alongside the requirements of the Environmental Permit and other applicable legislation to protect human health and the environment. This action will minimise the environmental impact of any change.

Fire
In the event of a fire at the facility the site manager would follow the procedures detailed in the Fire Prevention Plan.

TCM Cover
In the event that the TCM cannot provide the necessary cover required by the permit A1 Sandwell Skips Limited will seek a replacement TCM to ensure that the permit is not compromised.

Site Infrastructure
The site infrastructure will be inspected during site inspections. In the event that the main gates or perimeter fencing is damaged repairs will be undertaken within 7 days. If the site surface, storage bays, drainage shows signs of damage these will be repaired within 7 days.

Electricity Power Failure
In the event of a power failure the site operations manager will liaise with the electricity service provider.

Climate Change (Considerations)
We will continually try and establish improved waste management systems at the site, with an emphasis on waste reduction and recycling to reduce the drain on material and energy resources.

Waste collection necessarily involves the use of vehicles and consumption of fuel. There are wide variations in both fuel types and consumption levels; hence the amount of fuel used for each collected tonne of waste can vary according to the collection system used. Actions to reduce or avoid greenhouse gases (GHG) emissions include:

- Rationalisation of collection operations and improvement of fuel efficiency
- Use of alternative fuels such as biodiesel, bioethanol or biogas
- Minimising transport distance
- Implementation of driver training programmes
- Increasing the material recovery rate

Climate change may also have an impact on health. There will be a change in the types of heat and cold related illnesses. For example, the risk of diseases such as skin cancers and heat strokes may increase. We will review our working conditions and consider introducing health surveillance for our staff.

3.	SITE OPERATIONS

Introduction

The activities on site are limited to the operation of a waste treatment and transfer station. Treatment activities are limited to sorting, separation, screening, bailing, shredding, crushing, compaction and bulking. Treatment does not include soil or aggregate washing or heat treatments.

The waste management activities will not extend beyond the site boundary as outlined within the Environmental Permit. All waste listed in Table 2.3a shall be stored, treated and handled on an impermeable surface with a sealed drainage system.

The Managing Director or his Approved Deputy is responsible for opening the site and also closing the site at the end of the working day.

A1 Sandwell Skips Limited operates a regulated waste transfer station (WTS) with treatment. The purpose of the WTS is to sort and store waste materials before they are transferred and transported to suitably licenced waste facilities.

Permitted waste activities are limited to non-hazardous waste recycling with asbestos, hazardous batteries, cable and WEEE storage. The WTS acts as temporary storage for collected wastes. All waste shall be kept secure. We aim to recover and recycle as much waste as possible.

Activities at the WTS include the unloading of skips, removal of inappropriate items, and manual recovery of recyclable materials. The remaining waste is then pushed up into the main stockpile by mechanical plant to await loading into the trommel. The types of sorted categories include: scrap metal, cardboard, wood, cable and general waste, etc. Finally, once all the waste has been sorted and stored, recyclables are sent to be processed and non-recyclable waste is disposed of at a suitably licenced facility.

All recovered materials are either stored in 50 cubic yard containers or in the covered storage bays (where appropriate) thus minimising the risks to the environment.

Soil and rubble waste received at the site is unloaded and moved to the designated storage bay.

A1 Sandwell Skips Limited aim to remove all sorted materials from the site within 7 days to minimise the likelihood of odour and dust. Appropriate measures used to minimise dust include the introduction of a 5mph speed limit at the WTS and a no idling policy has been introduced.

Furthermore, operations will be ceased during high winds and the installation of water suppression with mist spray at the site to minimise dusts that may arise during site operations.

The company has introduced a written procedure for proposing, considering and approving changes to procedures or infrastructure related to storing or treating waste or pollution control. This is so that we can track and control the process of change.

Preliminary procedures

At the point of contact our advisors provide customers with advice and guidance on the type of waste that can be placed into our skips. Customers are also advised of the types of waste that are not allowed to be placed into our skips, i.e., hazardous waste, WEEE waste, gypsum/plasterboard, asbestos, fridge/freezers, batteries, tyres, LPG Bottles, car batteries, oil-based paints, food waste, fluorescent tubes, liquids of any description and mattresses, etc.

Building contractors are the most likely source of gypsum / plasterboard received at the site. An email is sent to customers when booking skips reminding them that gypsum / plasterboard should be segregated at source and not mixed with other wastes. Contractors are advised that a separate skip is required for gypsum / plasterboard.

All skip vehicle drivers, operational staff and contractors are provided with a copy of the site rules. They are required to sign an acknowledgement record confirming that they have read and understand the site rules.

All skip vehicle drivers and operational staff are provided with toolbox talks on the key issues associated with the environmental permit and the site management system.

Waste collection procedures
A1 Sandwell Skips Limited currently operates 3 skip vehicles and 2 roll-on-off hook-lift type vehicles at the site. The company is a registered Waste Carrier (CBDU49345).

All vehicle drivers have received training in job specific Risk Assessments and Safe Operating Procedures (SOPs). They are also provided with training in the company waste acceptance and waste rejection procedures.

Before a skip is collected from a customer’s premises the driver is required to undertaken a visual inspection of the waste placed into the skip by the customer. If the driver observes that non-conforming waste has been placed into the skip the driver is required to contact the site office by mobile phone for further instructions. The Managing Director or his Approved Deputy will contact the customer directly and request that the non-conforming waste in the skip must be removed before the skip can be collected.

Skip vehicle drivers are provided with a daily running list and Waste Transfer Notes to cover the transfer and transport of waste to and from customer premises.

Skip vehicle drivers are required to secure a sheet over the skip(s) to prevent waste escaping onto the highway ensuring that our duty of care requirement is not compromised.

All collected waste is returned to the waste transfer station for sorting, treatment, storage and subsequent transfer and transport for further processing.

At the end of the shift drivers are required to provide the site manager with their paperwork. This includes the daily running sheet and completed Waste Transfer Notes.

Waste Acceptance

Waste shall only be accepted at the site if all the following apply:

- It is of a type listed in the rules and in Table 2.3a and 2.3b
- It conforms to the description in the transfer documentation supplied by the producer and holder; and
- its chemical, physical and biological characteristics make it suitable for the treatment intended for it.

A1 Sandwell Skips Limited recognises the importance of continued diligence when assessing risks to the environment.
A1 Sandwell Skips Limited are only permitted to accept non-hazardous, household, industrial and commercial waste from known customers so in the unlikely event that wastes of an unknown origin are delivered to the facility the following procedures will be issued:

No wastes will be brought on site unless it has been authorised to do so by the Managing Director or his Approved Deputy. The Managing Director or his Approved Deputy will ensure sufficient storage capacity with reference to the site infrastructure plan, and that incoming waste will not exceed the total permitted quantities prior to allowing ingress to the site.

Drivers of vehicles carrying wastes will be required to report to the site office. Any vehicles delivering waste that are not A1 Sandwell Skips Limited vehicles must also produce a Waste Carriers Licence. Any vehicle that cannot produce a Waste Carriers Licence will be prevented from unloading any wastes on site. In such circumstances the Environment Agency will be contacted and a note made in the Site Diary.

Receipt, inspection and validation of waste

Wastes shall only be accepted if they are of a type and quantity listed within the Environmental Permit. The waste types are listed in the EPA European Waste Catalogue and Hazardous Waste List (2002), pursuant to Article 1(a) of the Council Directive 75/442/EC on waste and Article 1(4) of Council Directive 91/689/EEC on hazardous waste for processing and recycling.

Drivers are required to adhere to the 5mph on site speed limit in order to minimise dust, particularly in dry weather.

The vehicle will be sheeted if it is carrying wastes that may result in fugitive emissions. The sheet will be removed, and the load will be inspected during discharge by the Managing Director or his Authorised Deputy.

Drivers of skip vehicles arriving at the A1 Sandwell Skips Limited site are required to park their vehicle safely, turn the engine off and report to the site office with their paperwork.

The paperwork is checked for accuracy and a visual inspection of the load is undertaken. If everything is in order, they will then be directed to the appropriate unloading area.

For each delivery of waste, the following information is recorded:

- It’s origin (customer address)
- Identity of producer of the waste (for example, the company name)
- EWC code
- Quantity (weight or volume)
- The date the waste arrives at the site

The vehicle will be directed to the appropriate unloading area where it will be tipped, the waste will be manually sorted and then pushed up by the loading shovel into the stockpile, before being loaded into the trommel for processing.

Non-Conforming Waste
Any non-conforming materials identified will be removed from the site or moved to a designated quarantine area pending removal. Quarantined materials will be removed from the site as soon as possible, but in any event within 7 days. The waste carrier and/or customer will be informed of the non-conformance, as will the Environment Agency. Records of these incidents will be kept within the Daily Site Diary. The Managing Director or his Approved Deputy will ensure that all materials are removed within the timescale. All non-conforming materials will be removed from site to an authorised facility with the requisite paperwork.

Storing Waste Plasterboard: LRWP 6

From 1 April 2009, gypsum and plasterboard cannot be sent to a standard landfill site mixed with biodegradable waste.

The storing of Waste Plasterboard at the site will follow the ‘Storing waste plasterboard: LRWP6 guidance (updated 21 September 2020)’. This low-risk waste position (LRWP) applies if you store waste plasterboard. The following conditions must be complied with:

You must only:

- store up to 20 tonnes of waste plasterboard at any one time
- store waste plasterboard for up to one month
- store the waste plasterboard in a secure place within a sealed weatherproof container
- store waste plasterboard that is going to be recovered
- You must make sure your activities do not endanger human health or the environment.

You must not:

cause a risk to water, air, soil, plants or animals
- cause a nuisance through noise or odours
- adversely affect the countryside or places of special interest

All new starters are provided with waste acceptance training that includes how to identify gypsum / plasterboard in mixed waste, how it is to be handled, processed and the appropriate PPE to be used.

After identifying gypsum / plasterboard in mixed loads, suitable care and correct handling will be used when handling gypsum / plasterboard products. The gypsum / plasterboard will be manually removed from mixed waste by operatives wearing appropriate PPE (i.e., dust mask, etc.) and placed into a sealed weatherproof container. This container is kept separate from other waste streams. Plasterboard will not be stored on the floor.

The transfer and transport of gypsum / plasterboard from the site is accompanied by a completed Waste Transfer Note (WTN). The EA Technical Guidance Document WM3 classifies gypsum-based construction materials other than those mentioned in 17 08 01 as 17 08 02 (MN).

At A1 Sandwell Skips Limited we dispose of gypsum / plasterboard in a responsible and legally compliant manner. Gypsum / plasterboard is transferred and transported from the site to a suitably licenced facility for processing.

Daily Booking Schedule

Each working day, a booking schedule detailing transactions (waste inputs and outputs) for that day will be prepared by the Managing Director or his Approved Deputy and will be updated on the company computer system. This daily schedule forms the basic control reference for checking and handling all wastes received and despatched at the site.

Movement, sorting and storage of waste

Aggregate and Soils

Inert materials, such as stones, bricks, tiles, soils and clays will be transferred into the Aggregates and Soils storage area for temporary storage. These inert materials are processed as required and are stored on an impermeable surface. After unloading, the aggregate and soils will again be visually inspected by site operatives and plant operators to ensure that it does not contain any unauthorised wastes.

Waste materials transferred to the Aggregates and Soils storage area must be of inert composition. The Managing Director or his Approved Deputy will reject immediately any materials containing hazardous and deleterious materials such as asbestos, chemical waste, mineral oil, tar, other hazardous waste, gypsum/plasterboard, wood, metal, textiles, cardboard and paper, plastic, green waste or domestic waste, etc.

Any non-inert contaminated materials observed in the storage area will be removed without delay.

Non-Hazardous Waste (Storage Area).

The incoming materials are transferred to the waste storage bay for temporary storage.

Non-hazardous wastes delivered to the site will be unloaded in the designated unloading area. After unloading the waste will again be visually inspected by site operatives and plant operators to ensure that it does not contain any unauthorised wastes.

Tipped waste materials will initially be physically sorted by site operatives and any recovered materials such as scrap metal, cable, wood, cardboard and green waste will be placed into designated storage containers. Following this the machine operator will visibly inspect the waste and remove any large recoverable materials (scrap metal, wood, etc) and these will be placed into an appropriate storage container.

If unauthorised waste is identified it will be removed and placed into the quarantine area / container. Quarantined waste will be removed from the site as soon as possible but in any event within 7 days.

Any combustible waste will be stored in line with WISH – Reducing Fire at Waste Management Sites April (2017) guidance document. This will ensure the risk of fire from storage is minimised. waste stockpiles will be checked regularly using temperature monitoring equipment (temperature probe). This will be done on a daily basis (if applicable) and will check for hotspots within the waste piles. Records will be kept on site of these checks.

The permit does not permit the burning of wastes, either in the open, inside buildings or in any form of incinerator.

Hazardous Waste
Batteries (if applicable) shall be clearly identified and segregated from other wastes; and stored in secure containers that are leak-proof. Containers must be closed or stored under cover to prevent the accumulation of rainwater. Lead acid batteries must be stored upright in containers with an impermeable acid, resistant base.

Lithium-ion batteries (if applicable) must be stored separately, marked as a fire hazard and stored accordingly. Once sorted batteries of different chemistries shall be stored separately.

Persistent Organic Compounds (POPs)
Waste containing POPs (if applicable) shall be segregated from other wastes and stored on an impermeable surface with sealed drainage system.

Waste Storage Plan

The waste storage plan shows how we will identify the specific types of waste we are storing and how we will make sure the site only takes waste that the permit allows.

All bulking, transfer of waste materials shall be carried out inside the permitted area.

Daily stock rotation of General Waste

At A1 Sandwell Skips Limited we carry out full and frequent stock rotation. We operate a first in, first out policy for waste and this is closely managed by the Managing Director or his Approved Deputy.

At the A1 Sandwell Skips Limited site, the storage of un-processed combustible waste is closely managed. Stock rotation is of paramount importance to ensure that older wastes do not remain on site. The process is as follows:

Once sorted into the designated recyclable waste streams any combustible materials will be kept on site for no more than 7 days. Some materials may self-combust, this means that as they degrade through oxidation, they can generate heat, this heat can build to a point where the stack of material can catch fire on its own. These materials include:

- Green material, compost, wood and wood products, paper and paper products, general waste including residual wastes.
- Similar size or graded materials either stored or mixed.
- Material that has not had potential hazards removed before stacking, e.g., exposed rust (which can generate heat);
- Sorted materials that are not cold before storage.

The Operator will put the following operational procedures in place to ensure that all wastes, are on site for no longer than 7 days. Metals will be removed within 1 month or as soon at its container is full whichever occurs first.

- Rejected wastes will be recorded and will be stored within the quarantine area / container, a record will be kept within the site office.
- Authorised wastes will be processed on site and stored within either a storage bay or in secure containers.
- Stock will be rotated to ensure that waste is added to the stockpile in a logical manner.
- A daily inspection will be undertaken by the Managing Director or his Approved Deputy, if there is any doubt to the condition of the material, the material will be removed from site as priority.
- The Operator will ensure the oldest stock will be removed from the site before the new stock (although stock that is a potential risk will be removed as priority as outlined above), this is to reduce the risk associated with storing combustible materials, and
- A weekly review of the storage times and the stockpiles will be made by the Site Manager or Authorised Person to ensure that all stock is removed within 1 month.

All stockpiles will be routinely turned to dissipate internal heat, weekly during the cold weather. During hot weather, the stockpiles will be turned on an increased basis, daily if necessary. Containers will be shaded using tarpaulins or nets.
It is important that combustible materials on site are subject to regular checks to ensure they are stable and are not developing dangerous hot spots that could become fires.

The regular checks will consist of 3 checks spread throughout the day. The checks will be administered to each bay of combustible waste as shown in the table below:

Table 4:	Combustible Waste Checks

Checks on stockpiles	Date	Time	Temp	Actions taken if over 70c- ensure site manager is informed of incident	Signature
Inspection 1		Start of day
Inspection 2		12:30hrs
Inspection 3		End of day

Any stack, pile or load that shows a hot spot of over 70c will be pulled apart to check for safety and to dissipate any latent heat. The material will then be removed for disposal as soon as reasonably possible and will be frequently monitored until it is removed from site. Waste will not be stored beyond the storage bay capacities.

Maximum pile size

All stacks, pile and stores of sorted wastes, will be stored in a manner that allows emergency vehicular access to the whole site at all times and will meet the standards for maximum height, width, length volume, area and separation for fire breaks in accordance with relevant guidance as shown in the table below:

Table 5:	Maximum pile sizes and time on site

Material	Max. Volume on Site	Max. Volume of Any Pile	Max. Time on Site	Combustible or Non-Combustible
Mixed General Waste	120m3	120m3 in bay	7 days	Combustible
Scrap Metal	30m3	30m3 in container	1 month	Non-Combustible
Wood	200m3	30m3 in container	1 month	Combustible
Rubble and Soil	120m3	120m3 in bay	1 month	Non-Combustible
Cable	30m3	30m3 in container	1 month	Combustible
Plasterboard	30m3	30m3 in container	1 month	Combustible

All stockpiles are below 4 meters in height. On the site, the surface is completely concreted – there is not uneven ground beneath the waste. The stockpiles do not exceed 20m in any direction.

The Managing Director or his Approved Deputy will carry out daily checks to assess the size of the stockpile and the separation distances, to ensure that the dimensions outlined within the plan are adhered to. When the stockpile reaches 75% capacity measures will be implemented to slow the input of material into the site and increase outputs until stocks can be reduced.

The Operator will not accept incoming wastes beyond the capacity of the pile size, this will ensure that the volume of waste accepted on site can be managed in a controlled and safe manner.

All new starters at the A1 Sandwell Skips Limited site are provided with waste acceptance training that covers the types of waste we are permitted to accept at the site. It also includes how to identify the specific types of waste during the initial manual sorting process and how different types of waste must be separated. New starters will work alongside a competent site operative manually sorting through the waste piles until they too are considered to be competent with the sorting process.

The site infrastructure plan shows where individual waste types are to be stored on site. Each individual waste stream will be stored separately either in a designated covered waste storage bay or in a secure container located in the yard area.

The degradable waste stored in the storage area(s) will be subject to frequent stock rotation to prevent issues with pest control and minimise the likelihood of a deep-seated fire. Degradable will be rotated at least weekly. Degradable waste stored in skips will be despatched from the site within 7 days.

A1 Sandwell Skips Limited aims to turn over waste inputs within 7 days. The total quantity of waste accepted at the site shall be less than 75,000 tonnes a year.

The Managing Director or his Approved Deputy will maintain a waste control inventory of the types and quantities of waste delivered and despatched from the site on a daily basis.

The quantity and types of waste and recyclable materials passing through the site will be recorded.

The Managing Director or his Approved Deputy will conduct a daily walkabout of the site and review the amount of each type of waste stored at the site. The walkabout will begin in the storage area(s) and he will review the contents of the storage areas (inert) and (non-hazardous).

Transfer and transportation of waste

When the general waste containers are full, they will be dispatched to a suitably licenced facility for further processing.

Rubble and soil waste materials are transferred and transported to a suitably licenced facility for further processing. A 360-excavator machine or the loading shovel is used to load the bulk haulage vehicles or containers.

The Managing Director or his Approved Deputy are responsible for organising the transfer and transport of other wastes to suitably licenced facilities. It is normal practice to visit the waste disposal / processing facility to view their operations and request a copy of their Environmental Permit and Waste Carriers registration (if applicable). A specification for the waste material and price is agreed with the customer. The table below shows where different types of materials of recovered waste are taken:

Table 6:	Disposal Points

Material	Company	Permit No.
Scrap Metal	EMR	EPR/A33503FY
Wood	Bowden Timber Waste and By-products	EAWM/50263
Rubble & Soil	Ground Materials Limited	?
Cable	EMR	EPR/A33503FY
General	Biffa Waste Services, Poplars	DB3500FR
Plasterboard	Premier Waste	BP3294CU

Duty of Care

A1 Sandwell Skips Limited has a legal duty under the Duty of Care to ensure waste does not escape its control and that waste it handles is disposed of legally, safely and properly in accordance with applicable legislation.

When transferring non-hazardous waste, a waste transfer note is completed. This document details of the waste type, quantity, method of carriage (i.e., skip, vehicle), date / time of the movement, operator’s details as well as the carrier’s details. It describes the waste and the appropriate code from the European Waste Catalogue (EWC). This is a six-figure number. The site manager and the waste carrier both sign the transfer note to show that the transfer has taken place. Waste transfer notes must be kept for at least 2 years.

Display of Environmental Permit

A copy of the Environmental Permit and Standard Rules is kept available for reference by all staff and contractors whose work may have an impact on the environment.

Site Diary

A site diary is maintained in the site office. This diary is to be used to record a daily log of events relating to the operation of the site and includes details of site inspections, complaints received, breakdowns, spillages, fires, rejected loads, emergencies, abnormal events and action taken, problems with waste received and actions taken, damage to fencing, gates, hard surfaces, bunds and storage bays.

The diary will be kept up-to-date and will be made available for inspection.

Visitors Book

All visitors to the facility must report to the Site Office on arrival and sign-in. Visitors will be made aware of the nature of the facility and the precautions to be taken. PPE will be provided if required.
Managing Documentation and Records

All records required by the permit will be legible, made as soon as reasonably practicable and be retained for a minimum of 6 years. If records are amended, the original and any subsequent amendments will remain legible, or are capable of retrieval. Events effecting the environment shall be kept until the permit is surrendered.

The documents that are included within the scope of the controls are as follows:

- Planning Permission
- Environmental Permit
- Site Working Plan
- Waste carriers’ registration
- EA Compliance Assessment Report(s) (CAR)
- Complaints
- Fire Prevention Plan
- Accident Management Plan
- Site Drainage Plan
- Health & Safety Policy
- Environmental Policy
- Duty of Care Records
- Destination of outgoing wastes
- Daily / Weekly Site Inspection Records
- Employee Training Records
- Internal Health, Safety and Environmental Audits
- Record of drainage system emptying’s
- Organisational Chart
- EA Quarterly Returns
- Site Diary

Reporting

A daily record of waste types and quantities received and removed from the site will be maintained and at the end of each quarter a summary will be sent to the Environment Agency in an agreed format, as outlined within the Environmental Permit. All reports and notifications required by the Environmental Permit will be sent to the Agency using the contact details supplied on writing by the Agency.

Notifications

The Agency shall be notified when any machinery, breakdown or failure of equipment causes significant pollution or has the potential for significant pollution. The Agency will also be informed when there is a breach of limit or when there are significant environmental effects. The confirmation of such an event shall be submitted in writing within 24 hours as outlined within the Environmental Permit.

All notifications and submissions will be sent to address specified by the Environment Agency and will quote the reference number and name of the Permit Holder.

4.0	ENVIRONMENTAL CONTROL, MONITORING AND REPORTING

Environmental Policy

The Environmental Policy is approved by the Managing Director and includes the continuous improvement of the facility’s environmental performance, so you we identify pollution risks and minimise them through appropriate measures.

A1 Sandwell Skips Limited recognises the importance of environmental protection and is committed to operating its business responsibly and in fulfilment of its compliance obligations relating to the removal, sorting, recycling and disposal of non-hazardous waste and inert materials. It is A1 Sandwell Skips Limited’s declared policy to operate with and to maintain good relations with all regulatory bodies.

An Environmental Risk Assessment has been produced by Stephen Barnes (Consultant) on behalf of A1 Sandwell Skips.

Fires on the site

The EA Permit requires that the operators take all appropriate measures to prevent fires on site. The EA have requested a Fire Prevention Plan for the site that must be approved by the Environment Agency and implemented. A Fire Prevention Plan that includes appropriate measures to prevent fires on site.

The permit does not allow the burning of any wastes, either in the open, inside buildings or in
any form of incinerator.

All reasonable precautions will be taken to prevent the outbreak of fire leading to the likely release of fugitive emissions. The deposit of hot or burning waste will be treated as an emergency and dealt with immediately.

In the first instance the site staff will extinguish the fire where possible. If the staff cannot deal with the fire, then the Fire Brigade will be contacted.

The Environment Agency will be advised, and the incident recorded on the Daily Site Diary. Fire emergency procedures are detailed within the Emergency Procedures.

Fire Water Run Off

Water used to extinguish or control a fire will be kept to the minimum required to effectively achieve the firefighting tactical plan. However, it is accepted that there will be some water run off which potentially may contain harmful contaminants from the fire and waste materials. Therefore, it is essential at the earliest opportunity to control the runoff in order to minimise the potential impacts to the environment and local infrastructure. The Fire Prevention Plan includes further details of how contaminated firewater will be managed at the site.

Accident Management Plan

A1 Sandwell Skips Limited recognises the importance of the prevention of accidents that may have environmental consequences and that it is crucial to limit those consequences. The company has developed a system to identify, assess and minimise the environmental risks and hazards of accidents and their consequences which forms the accident management plan.

The Accident Management Plan would be implemented and maintained at the site to ensure the site and site staff is fully prepared for such incidents. The Accident Management Plan would be reviewed at least every four years or as soon as practicable after an incident with changes made accordingly to minimise the risk of occurrence.

All accidents and breaches of the permit at the facility will be recorded on an Accident / Breach Report Form. The accident / breach will be investigated by the Site Manager. The EA will be notified of any breaches of the permit without delay (24 hours).

Vehicle & Plant Breakdowns

In the event of breakdown of vehicle(s), plant and equipment, repairs will be undertaken as a matter of urgency. If repairs cannot be resolved quickly an alternative vehicle(s), plant and equipment will be sourced from a supplier until the defect can be repaired.

Site Inspections

The daily site inspection checklist will be completed by a person who is familiar with the requirements of the written management system and permit for the site. All details of non-conformances, defects, problems and repairs will be recorded on the checklist on the day that each event occurs. Detailed comments will be recorded in the site diary.

Any major non-conformances found during the daily site inspection which are likely to lead to a breach of permit conditions will be rectified by the end of the working day in which they are found where possible. If a rectification is not possible by the end of the working day the Environment Agency will be contacted to agree a suitable timescale.

Internal audits will be carried out periodically to ensure that company policies and procedures are being adhered to and the EMS will be updated accordingly.

All repairs to site fencing will be made within 5 working days of the discovery of the damage and the site will be made secure until the repair has been affected.

Liquids

All liquids in containers, whose emission to water or land could cause pollution, will be provided with secondary containment to minimise, leakage and spillage from the primary container. Secondary containment at the site has been designed to hold 110% of the container’s contents.

Spillages

All site surfaces will be inspected daily when the site is in operation. Debris will be swept as required and placed in an appropriate skip.

Any spillages of fuel / oil will be cleared immediately by depositing sand or absorbents on the affected area. The sand or absorbents will be placed in an appropriate skip to be taken to a suitably licensed site for disposal. All spillages of waste and windblown litter will be cleared by the end of the working day in which they occur.

Spill Kits

Spillage kits with absorbent mats and booms are located at key locations around the site. Any used spillage material The Spillage kits will be checked by the Technically Competent Manager at least once a week and will be replenished as necessary.

Drainage

A1 Sandwell Skips Limited are committed to the management and maintenance of drainage systems, to prevent contamination of the ground and business interruption through flooding or loss of service.

Areas of the site used for non-hazardous waste handling operations will have impermeable concrete surfacing and sealed drainage. Inert waste is stored on hard standing.

The site is operated to prevent fugitive emissions to surface water and groundwater.

Liquids can only be discharged into a sewer subject to a consent issued by the local water company.

Odour

There would be no point source emissions to air from waste management operations at the facility. Odour has been assessed as a fugitive emission. Incoming wastes would be subject to inspection by site personnel who would be aware of the permitted wastes types that can be accepted at the facility and those which could be potentially malodorous and which could require special attention.

An Odour Management Plan has been produced by Stephen Barnes (Consultant) on behalf of A1 Sandwell Skips that shows how odour will to be controlled and managed at the site. The Odour Management Plan follows the guidance contained in the H4 Odour Management Guidance (March 2011). This Odour Management Plan is part of the overall management system. The Odour Management Plan explains how we will prevent or minimise odour if the site causes odour pollution. Appropriate measures have been introduced to prevent or minimise odour including restricting raw materials likely to cause odour, minimising quantities and storage times for odorous or potentially odorous materials, managing materials and processes in ways that minimises the production of odorous chemicals, etc.

Dust

Due to the nature of the wastes accepted at the WTS it is not anticipated that excessively dusty waste would arrive at the facility. Visual inspections shall be carried out by the Managing Director or his Authorised Deputy during the working day, especially during dry and windy conditions. The Managing Director or Authorised Deputy would assess the need for remedial action and implement such action where necessary.

In the event of adverse dusty conditions, appropriate measures will be implemented at the site in the form of a water hoses that will be deployed to supress the dust.

A Dust Emissions Management Plan has been produced by Stephen Barnes (Consultant) on behalf of A1 Sandwell Skips that shows how emissions will be controlled and managed at the site. This Dust Management Plan is part of the overall management system. Appropriate measures have been introduced to prevent emissions of dust and particulates, including bioaerosols, mud and litter, etc.

Noise & Vibration

It is not anticipated that site operations will cause a noise nuisance or vibration problem because the scale, location, vehicle/plant type and machinery and equipment used on site of the operation. Appropriate measures will be undertaken and these will include maintaining plant, machinery and equipment specifically to reduce noise levels and switching off vehicles, plant and equipment when not in use.

Pests

The facility will be inspected by both site management and employee(s) for infestations of pests, vermin and insects on a routine basis. In the event that specific waste is found to be responsible for attracting scavengers or pests or infestation, this waste would be removed from the proposed waste facility as soon as practicable. A specialist pest control contractor will be deployed if required. Contact details of a suitable contractor would be kept on site and would be available to all staff and the Environment Agency on request.

Litter

All waste handling and storage would take place within the confines of the WTS. The boundary of the site and its environs would be regularly checked and any windblown litter collected and disposed of appropriately. It would be the responsibility of the site staff to constantly monitor the site for any signs of escaping materials either from within the storage bays themselves or from vehicles delivering or removing materials to and from the site. Inspections would be carried out on a daily basis and a record maintained within the site diary.

Complaints Procedure

At A1 Sandwell Skips Limited we take complaints that we receive seriously and take the necessary actions to investigate the complaint. If a complaint is valid, we will:

- identify the cause
- minimise the impact of the activity causing the problem
- investigate the root cause of the problem
- take steps to ensure the problem is not repeated, this may include changing a piece of equipment or procedure
- record the complaint and what we did to investigate and resolve it
- amend our management system to reflect any changes.

The Managing Director or his Approved Deputy will be notified of any complaints received and the steps taken to ensure that the problem is not repeated.