## 2023
UNITED UTILITILES TRADE EFFLUENT SAMPLE ANAYLSIS DATA 2023 - FINAL SITE CONSENTED DISCHARGE (COMPOSITE SAMPLES)
Date | Ref No | Cu | Cd | Cr | Zn | Ni | Pb | Al | Total Toxic Metals | ph | C.O.D. (mg/l) | Susp Solids (mg/l) | Link to Analysis Sheet
2023-01-16 | N/A | 20.3 | <0.26 | 38.1 | 655 | 16.7 | <5.97 | 295 | 730 | 7 | 82 | 149 | Link
2023-02-02 | N/A | 47.4 | <0.26 | 97.6 | 194 | 4.13 | 14.5 | 699 | 357 | 7 | 170 | 230 | Link
2023-03-21 | N/A | 23.8 | <0.26 | 6.25 | 108 | <4.27 | <5.97 | 164 | 138 | 7 | 180 | 50 | Link
2023-05-03 | N/A | 67.7 | 0.37 | 106 | 470 | 20.7 | 22.9 | 1200 | 687 | 7 | 268 | 298 | Link
2023-05-23 | N/A | 42.3 | <0.26 | 53.2 | 286 | 5.08 | <5.97 | 329 | 387 | 7 | 404 | 129 | Link
2023-06-19 | N/A | 18.3 | 0.33 | 18.6 | 118 | <4.27 | <5.97 | 782 | 154 | 7 | 130 | 181 | Link
2023-07-25 | N/A | 9.25 | <0.19 | 19.6 | 116 | 3.33 | 8 | 241 | 148 | 8 | 224 | 100 | Link
2023-08-07 | N/A | <15.43 | <0.26 | 29 | 67.9 | <4.27 | <5.97 | 238 | 96.9 | 7 | 77 | 164 | Link
2023-09-25 | N/A | <15.43 | <0.26 | 35.8 | 419 | 8.3 | <5.97 | 229 | 463 | 7 | 72 | 144 | Link
2023-10-03 | N/A | 56.9 | 0.33 | 133 | 260 | 17.9 | <5.97 | 922 | 468 | 7 | 435 | 376 | Link
Consent | Limits | 500 | 10 | 1000 | 1000 | 500 | 500 |  | 7500 | 6 to 10
Max |  | 67.7 | 0.37 | 133 | 655 | 20.7 | 22.9 | 1200 | 730 |  | 435 | 376 | 0
Averages |  | 35.7437 |  | 53.715 | 269.39 |  |  |  | 362.89 | 7.1 | 204.2 | 182.1 | #DIV/0!
8
7
Sample readings in ug/l (unless stated) - Undertaken by United Utilities

## 2022
UNITED UTILITILES TRADE EFFLUENT SAMPLE ANAYLSIS DATA 2022 - FINAL SITE CONSENTED DISCHARGE (COMPOSITE SAMPLES)
Date | Ref No | Cu | Cd | Cr | Zn | Ni | Pb | Al | Total Toxic Metals | ph | C.O.D. (mg/l) | Susp Solids (mg/l) | Link to Analysis Sheet
2022-01-26 | N/A | 23.2 | <0.26 | 19.8 | 81.9 | <4.27 | <5.97 | 574 | 125 | 7 | 168 | 54 | Link
2022-02-21 | N/A | 9.92 | <0.19 | 8.6 | 38 | <1.99 | <4.38 | 182 | 56.5 | 7 | 97 | 64 | Link
2022-03-01 | N/A | 25.9 | 0.2 | 37 | 126 | <4.27 | <5.97 | 492 | 188 | 8 | 142 | 286 | Link
2022-05-04 | N/A | 59.5 | 0.41 | 37 | 378 | 9.6 | <5.97 | 734 | 484 | 7 | 229 | 206 | Link
2022-05-17 | N/A | 44.7 | 0.4 | 31.8 | 251 | 5.6 | 9.44 | 785 | 342 | 7 | 171 | 274 | Link
2022-06-20 | N/A | 56.4 | 0.5 | 33.7 | 620 | 13.1 | 11.1 | 874 | 735 | 7 | 250 | 490 | Link
2022-07-05 | N/A | 46.7 | 0.36 | 47.8 | 448 | 48.8 | <5.97 | 560 | 591 | 8 | 147 | 303 | Link
2022-08-22 | N/A | 27.2 | <0.26 | 68.3 | 117 | 5.2 | <5.97 | 949 | 218 | 7 | 107 | 163 | Link
2022-09-05 | N/A | <15.43 | <0.26 | 57.5 | 56.9 | <4.27 | <5.97 | 50.8 | 114 | 7 | 119 | 25 | Link
2022-10-24 | N/A | <15.43 | <0.26 | 14.4 | 25.9 | <4.27 | <5.97 | 80.8 | 40.4 | 7 | 120 | 47 | Link
2022-11-21 | N/A | 48.5 | 0.46 | 21.2 | 552 | 26.6 | 9.6 | 397 | 657 | 7 | 133 | 111 | Link
2022-12-08 | N/A | 85.8 | 0.44 | 245 | 795 | 14.4 | 10.5 | 1860 | 1150 | 7 | 274 | 286 | Link
Consent | Limits | 500 | 10 | 1000 | 1000 | 500 | 500 |  | 7500 | 6 to 10
Max |  | 85.8 | 0.5 | 245 | 795 | 48.8 | 11.1 | 1860 | 1150 |  | 274 | 490 | 0
Averages |  | 42.782 |  | 51.8417 | 290.8083 |  |  |  | 391.7417 | 7.1667 | 163.0833 | 192.4167 | #DIV/0!
8
7
Sample readings in ug/l (unless stated) - Undertaken by United Utilities

## 2021
UNITED UTILITILES TRADE EFFLUENT SAMPLE ANAYLSIS DATA 2021 - FINAL SITE CONSENTED DISCHARGE (COMPOSITE SAMPLES)
Date | Ref No | Cu | Cd | Cr | Zn | Ni | Pb | Al | Total Toxic Metals | ph | C.O.D. (mg/l) | Susp Solids (mg/l) | Link to Analysis Sheet
2021-01-24 | N/A | 14.2 | <0.19 | 11.9 | 50 | 2.74 | <4.38 | 566 | 78.8 | 8 | 56 | 28 | Link
2021-02-07 | N/A | <15.43 | 0.32 | 11.5 | 47.8 | <4.27 | <5.97 | 134 | 59.3 | 7 | 67 | 21 | Link
2021-04-14 | N/A | 33.7 | <0.26 | 56.4 | 182 | 6.8 | <5.97 | 593 | 279 | 7 | 296 | 253 | Link
2021-05-23 | N/A | <15.43 | <0.26 | 11.6 | 36.7 | <4.27 | <5.97 | 328 | 328 | 7 | 63 | 78 | Link
2021-06-22 | N/A | 19.4 | 0.2 | 33.9 | 202 | <1.99 | 6.3 | 754 | 261 | 7 | 173 | 117 | Link
2021-09-20 | N/A | 41.6 | <0.26 | 69.9 | 149 | 5 | <5.97 | 886 | 266 | 7 | 126 | 264 | Link
2021-09-27 | N/A | 51.8 | 0.6 | 589 | 247 | 5.32 | 12.7 | 4530 | 906 | 7 | 119 | 252 | Link
2021-10-07 | N/A | 26.9 | <0.26 | 22 | 118 | 5.7 | <5.97 | 698 | 173 | 7 | 214 | 179 | Link
2021-10-26 | N/A | 26.2 | 0.34 | 103 | 110 | <4.27 | <5.97 | 792 | 239 | 7 | 148 | 252 | Link
2021-11-08 | N/A | 70.2 | 0.54 | 53.2 | 372 | 7.1 | <5.97 | 1210 | 503 | 7 | 0 | 564 | Link
2021-11-24 | N/A | 43.4 | <0.26 | 41.3 | 203 | <4.27 | <5.97 | 325 | 287 | 7 | 304 | 198 | Link
2021-12-08 | N/A | <15.43 | <0.26 | 12 | 50.5 | <4.27 | <5.97 | 934 | 62.6 | 7 | 77 | 52 | Link
Consent | Limits | 500 | 10 | 1000 | 1000 | 500 | 500 |  | 7500 | 6 to 10
Max |  | 70.2 | 0.6 | 589 | 372 | 7.1 | 12.7 | 4530 | 906 |  | 304 | 564 | 0
Averages |  | 36.3778 |  | 84.6417 | 147.3333 |  |  |  | 286.8917 | 7.0833 | 136.9167 | 188.1667 | #DIV/0!
8
7
Sample readings in ug/l (unless stated) - Undertaken by United Utilities

## 2020
UNITED UTILITILES TRADE EFFLUENT SAMPLE ANAYLSIS DATA 2020 - FINAL SITE CONSENTED DISCHARGE (COMPOSITE SAMPLES)
Date | Ref No | Cu | Cd | Cr | Zn | Ni | Pb | Al | Total Toxic Metals | ph | C.O.D. (mg/l) | Susp Solids (mg/l) | Link to Analysis Sheet
2020-05-26 | N/A | No data | No data | No data | No data | No data | No data | 113 | No data | 7 | 51 | 24 | Link
2020-06-12 | N/A | 23.2 | 0.3 | 17 | 171 | 5.6 | <4.38 | 442 | 217 | 7 | 21.8 | 16.3 | Link
2020-06-29 | N/A | <6.2 | <0.19 | 13.5 | 23.3 | <1.99 | <4.38 | 568 | 36.8 | 7 | 28 | 21 | Link
2020-07-07 | N/A | <15.43 | <0.26 | 49.3 | 93 | <4.27 | <5.97 | 4240 | 142 | 7 | 115 | 138 | Link
2020-07-21 | N/A | 23.9 | 0.27 | 33.4 | 89.7 | <4.27 | 6.74 | 592 | 154 | 7 | 96 | 141 | Link
2020-08-06 | N/A | <15.43 | <0.26 | 58.6 | 80.8 | <4.27 | <5.97 | 793 | 139 | 7 | 83 | 85 | Link
2020-09-01 | N/A | 11.7 | <0.26 | 8.3 | 40.3 | <1.99 | <4.38 | 198 | 60.4 | 7 | 102 | 38 | Link
2020-09-16 | N/A | <15.43 | <0.26 | 23.1 | 87 | <4.27 | <5.97 | 424 | 110 | 7 | 127 | 63 | Link
2020-09-30 | N/A | <15.43 | <0.26 | 21.7 | 139 | <4.27 | <5.97 | 699 | 177 | 7 | 294 | 202 | Link
2020-10-15 | N/A | 16.7 | 0.2 | 15.3 | 81.3 | 5.67 | 7 | 553 | 119 | 7 | 127 | 55 | Link
2020-11-16 | N/A | <6.2 | <0.19 | 7.1 | 36.1 | 2.34 | <4.38 | 257 | 45.6 | 7 | 53 | 29 | Link
2020-12-16 | N/A | 16.2 | 0.27 | 42.8 | 400 | 4.5 | <5.97 | 828 | 464 | 7 | 102 | 196 | Link
Consent | Limits | 500 | 10 | 1000 | 1000 | 500 | 500 |  | 7500 | 6 to 10
Max |  | 23.9 | 0.3 | 58.6 | 400 | 5.67 | 7 | 4240 | 464 |  | 294 | 202 | 0
Averages |  | 18.34 |  | 26.3727 | 112.8636 |  |  |  | 151.3455 | 7 | 99.9833 | 84.025 | #DIV/0!
7
7
Sample readings in ug/l (unless stated) - Undertaken by United Utilities