


[image: image1.jpg]ENCO

GLOBAL TESTING

¢

D





CASHMERE WORKS, BIRKSLAND STREET, BRADFORD, WEST YORKSHIRE, BD3 9SX, UNITED KINGDOM

CLIENT'S NAME:  

Mr Richard Norris

CLIENT'S ADDRESS: 
Haworth Scouring Company, Cashmere Works, Birksland Street, Bradford, BD3 9SX

DATE OF RECEIPT:
16/1/24

 OUR REF: 
A6996
DATE(S) OF ANALYSIS:
16 - 30/1/24
       
 SAMPLE No: 1
DATE OF ISSUE:

30/1/24

ANALYST: Enco
SAMPLE DESCRIPTION:
Anaerobic Digestion Liquor 3 (Completion point)
RESULTS OF PESTICIDE RESIDUE ANALYSIS – Digestate as received
	ORGANO-

CHLORINE (OC) PESTICIDES
	Concentration

(g/litre or ppb)
	ORGANO-PHOSPHORUS

(OP) PESTICIDES
	Concentration (g/litre or ppb)

	 HCH (total)
	<0.05
	propetamphos
	<0.05

	HCB
	<0.05
	diazinon
	175.63

	aldrin
	<0.05
	trns-chlorfenvinphos
	<0.05

	dieldrin
	<0.05
	fenchlorphos 
	<0.05

	endrin
	<0.05
	TOTAL OPs
	175.63

	-endosulfan
	<0.05
	SYNTHETIC PYRETHROID
(SP) PESTICIDES
	Concentration (g/litre or ppb)

	DDT (total)
	<0.05
	
	

	
	
	cyfluthrin
	<0.05

	
	
	cypermethrin
	37.87

	
	
	deltamethrin
	<0.05

	
	
	flumethrin
	<0.05

	
	
	permethrin
	<0.05

	TOTAL OCs
	<0.05
	TOTAL SPs
	37.87


N/A = Not applicable     < = Limit of Determination- (Less than values not included in totals)

NOTE: 
[image: image2.jpg]ENCO

GLOBAL TESTING

¢

D





ENCO LABORATORY

CASHMERE WORKS, BIRKSLAND STREET, BRADFORD, BD3 9SX, UK

CLIENT'S NAME: 

Richard Norris, MD


CLIENT'S ADDRESS: 
Haworth Scouring Company, Cashmere Works, Birksland Street, Bradford, BD3 9SX.

DATE OF RECEIPT:
16/1/24

 OUR REF: 
A6996
DATE(S) OF ANALYSIS:
16 - 30/1/24
       
 SAMPLE No: 1

DATE OF ISSUE:

30/1/24

ANALYST: Enco
SAMPLE DESCRIPTION:
Anaerobic Digestion Liquor 3 (Completion point)
	Parameter
	Value



	Chemical Oxygen Demand – as received
	>20,000 mg/litre

	Settled Solids – as received
	720 mg/litre

	Chemical Oxygen Demand – after decanter and DAF flocculation
	1,997 mg/litre

	Settled Solids – as received
	<10 mg/litre

	pH – as received
	8.23

	pH – after flocculation
	5.1


Note: 
RESULTS OF PESTICIDE RESIDUE ANALYSIS – DAF Supernatant
	ORGANO-

CHLORINE (OC) PESTICIDES
	Concentration

(g/litre or ppb)
	ORGANO-PHOSPHORUS

(OP) PESTICIDES
	Concentration (g/litre or ppb)

	 HCH (total)
	<0.05
	propetamphos
	<0.05

	HCB
	<0.05
	diazinon
	15.68

	aldrin
	<0.05
	trns-chlorfenvinphos
	<0.05

	dieldrin
	<0.05
	fenchlorphos 
	<0.05

	endrin
	<0.05
	TOTAL OPs
	15.68

	-endosulfan
	<0.05
	SYNTHETIC PYRETHROID
(SP) PESTICIDES
	Concentration (g/litre or ppb)

	DDT (total)
	<0.05
	
	

	
	
	cyfluthrin
	<0.05

	
	
	cypermethrin
	<0.05

	
	
	deltamethrin
	<0.05

	
	
	flumethrin
	<0.05

	
	
	permethrin
	<0.05

	TOTAL OCs
	<0.05
	TOTAL SPs
	<0.05


N/A = Not applicable     < = Limit of Determination- (Less than values not included in totals)

NOTE: 

Signed:…………………………………                    Dated:……30/1/2024……     
Samples submitted for testing are accepted on the understanding that the report issued cannot form the basis of, or instrument for, any legal liability against Enco Global Testing Services Ltd and applies specifically to the sample tested and not necessarily to the bulk.

