[image: image1.jpg]ENCO

GLOBAL TESTING

¢

D





ENCO LABORATORY

CASHMERE WORKS, BIRKSLAND STREET, BRADFORD, BD3 9SX, UK
CLIENT'S NAME: 

Richard Norris, MD


CLIENT'S ADDRESS: 
Haworth Scouring Company, Cashmere Works, Birksland Street, Bradford, BD3 9SX.
DATE OF RECEIPT:
1/11/23


OUR REF: 
A6939
DATE(S) OF ANALYSIS:
1-7/11/23


SAMPLE No:    1
DATE OF ISSUE:

7/11/23


ANALYST:
M. Madden
SAMPLE DESCRIPTION:
Effluent for Anaerobic Digestion Trial
	Parameter
	Value


	Total Solids content
	2.16%

	Inorganic Solids
	23.6%

	Organic Solids
	76.4%

	Chemical Oxygen Demand
	27,940 mg/litre

	pH
	8.1

	Grease content
	0.34%

	Suspended Solids content
	9,600 mg/litre

	Settleable Solids content
	4,140 mg/litre


Signed:…………………………………                    Dated:……7/11/2023……     
Samples submitted for testing are accepted on the understanding that the report issued cannot form the basis of, or instrument for, any legal liability against Enco Global Testing Services Ltd and applies specifically to the sample tested and not necessarily to the bulk.
