[image: image1.jpg]ENCO

GLOBAL TESTING

¢

D





ENCO LABORATORY

CASHMERE WORKS, BIRKSLAND STREET, BRADFORD, BD3 9SX, UK
CLIENT'S NAME: 

Rob Bailey, Engineering Manager


CLIENT'S ADDRESS: 
Haworth Scouring Company, Cashmere Works, Birksland Street, Bradford, BD3 9SX.
DATE OF RECEIPT:
17/10/23

OUR REF: 
A7013
DATE(S) OF ANALYSIS:
23-25/1/24

SAMPLE No: 1
DATE OF ISSUE:

31/1/24

ANALYST:
M. Madden
SAMPLE DESCRIPTION:
Effluent Treatment Chemical – Biologic SR2
COD & H2S Analysis

	Sample Description
	Settled COD

 (mg/litre)
	H2S

	Untreated Wool scour effluent
	64,562
	2.5

	1.47g/litre addition
	69,825
	<2

	2.93g/litre addition
	80,712
	<2


Notes: Test temperature = 23oC

Test duration =48 hours


Test carried out according to SciCorp pail test protocol

Signed:…… [image: image2.jpg]



Dated:……31/1/2024……
Samples submitted for testing are accepted on the understanding that the report issued cannot form the basis of, or instrument for, any legal liability against Enco Global Testing Services Ltd and applies specifically to the sample tested and not necessarily to the bulk.
