## S1 form
FORM S1 - REPORTING OF MONITORING DATA
Installation name: |  | Cashmere Works
Operator: |  | Haworth Scouring Company Limited
Permit Number: |  | EPR/BS6025IF
Report Period Start: |  | 2025-01-01
Report Period End: |  | 2025-12-31
EMISSIONS TO SEWER
2025 | [7 empty] | 2024 | [6 empty] | 2023
Parameter |  | Emission | Limit | Number of | Minimum | Maximum | Mean | Parameter | Emission | Limit | Number of | Minimum | Maximum | Mean | Parameter | Emission | Limit | Number of | Minimum | Maximum | Mean
|  | Point |  | records in | Value in | Value in | Value in |  | Point |  | records in | Value in | Value in | Value in |  | Point |  | records in | Value in | Value in | Value in
|  |  |  | report period | report period | report period | report period |  |  |  | report period | report period | report period | report period |  |  |  | report period | report period | report period | report period
Daily Flow (m3/day) |  | S1 | 850 | 10 | 214 | 503 | 374 | Daily Flow (m3/day) | S1 | 850 | 10 | 210.6 | 492 | 300.0333 | Daily Flow (m3/day) | S1 | 850 | 5 | 352 | 652 | 525
pH |  | S1 | 6 - 10 | 12 | 6 | 10 | 8 | pH | S1 | 6 - 10 | 4 | 6.44 | 7.13 | 6.8425 | pH | S1 | 6 - 10 | 12 | 7 | 9.52 | 8
COD (mg/l) |  | S1 | 45000 | 20 | 4530 | 13700 | 7159 | COD (mg/l) | S1 | 45000 | 10 | 2810 | 12042 | 7559 | COD (mg/l) | S1 | 45000 | 17 | 3409 | 14765 | 8724
Settleable Solids (mg/l) |  | S1 | 5000 | 20 | 1 | 246 | 39 | Settleable Solids (mg/l) | S1 | 5000 | 10 | 1 | 213 | 37.2 | Settleable Solids (mg/l) | S1 | 5000 | 17 | 0 | 3300 | 438
HCH (ug/l) |  | S1 | 5 | 4 | 0.193 | 1.917 | 0.672 | HCH (ug/l) | S1 | 5 | 4 | 0.285 | 0.299 | 0.2955 | HCH (ug/l) | S1 | 5 | 4 | 0.06 | 1.81 | 0.617
HCB (ug/l) |  | S1 | 1 | 4 | 0.051 | 0.506 | 0.177 | HCB (ug/l) | S1 | 1 | 4 | 0.203 | 0.203 | 0.203 | HCB (ug/l) | S1 | 1 | 4 | 0.04 | 1.01 | 0.364
Aldrin (ug/l) |  | S1 | 1 | 4 | 0.058 | 0.576 | 0.202 | Aldrin (ug/l) | S1 | 1 | 4 | 0.231 | 0.231 | 0.231 | Aldrin (ug/l) | S1 | 1 | 4 | 0.05 | 1.15 | 0.416
Dieldrin (ug/l) |  | S1 | 1 | 4 | 0.084 | 0.836 | 0.293 | Dieldrin (ug/l) | S1 | 1 | 4 | 0.335 | 0.335 | 0.335 | Dieldrin (ug/l) | S1 | 1 | 4 | 0.07 | 1.67 | 0.603
Endrin (ug/l) |  | S1 | 1 | 4 | 0.068 | 0.671 | 0.235 | Endrin (ug/l) | S1 | 1 | 4 | 0.269 | 0.269 | 0.269 | Endrin (ug/l) | S1 | 1 | 4 | 0.06 | 1.34 | 0.465
Endosulphan (ug/l) |  | S1 | 1 | 4 | 0.087 | 0.866 | 0.303 | Endosulphan (ug/l) | S1 | 1 | 4 | 0.347 | 0.363 | 0.359 | Endosulphan (ug/l) | S1 | 1 | 4 | 0.07 | 1.81 | 0.652
DDT (ug/l) |  | S1 | 3 | 4 | 0.107 | 1.056 | 0.37 | DDT (ug/l) | S1 | 3 | 4 | 0.233 | 0.233 | 0.233 | DDT (ug/l) | S1 | 3 | 4 | 0.05 | 1.09 | 0.402
Propetamphos (ug/l) |  | S1 | 150 | 4 | 0.073 | 1.45 | 0.579 | Propetamphos (ug/l) | S1 | 150 | 4 | 0.145 | 0.145 | 0.145 | Propetamphos (ug/l) | S1 | 150 | 4 | 0.03 | 0.721 | 0.26
Diazinon (ug/l) |  | S1 | 800 | 18 | 8.74 | 87.4 | 38.897 | Diazinon (ug/l) | S1 | 800 | 7 | 15 | 55.5 | 30.7 | Diazinon (ug/l) | S1 | 800 | 13 | 0.463 | 135 | 41.028
Chlorfenvinphos (ug/l) |  | S1 | 35 | 4 | 0.122 | 1.22 | 0.427 | Chlorfenvinphos (ug/l) | S1 | 35 | 4 | 0.243 | 0.243 | 0.243 | Chlorfenvinphos (ug/l) | S1 | 35 | 4 | 0.05 | 1.22 | 0.439
Cyfluthrin (ug/l) |  | S1 | 1 | 4 | 0.092 | 0.911 | 0.32 | Cyfluthrin (ug/l) | S1 | 1 | 4 | 0.183 | 0.183 | 0.183 | Cyfluthrin (ug/l) | S1 | 1 | 4 | 0.04 | 0.91 | 0.329
Cypermethrin (ug/l) |  | S1 | 110 | 19 | 0.297 | 5.71 | 1.583 | Cypermethrin (ug/l) | S1 | 110 | 9 | 0.075 | 5.06 | 1.2192 | Cypermethrin (ug/l) | S1 | 110 | 11 | 0.06 | 61.3 | 9.34
Permethrin (ug/l) |  | S1 | 3.5 | 4 | 0.171 | 1.692 | 0.594 | Permethrin (ug/l) | S1 | 3.5 | 4 | 0.189 | 0.189 | 0.189 | Permethrin (ug/l) | S1 | 3.5 | 4 | 0.07 | 1.22 | 0.417
Flucofuron (ug/l) |  | S1 | 100 | 4 | 25 | 25 | 25 | Flucofuron (ug/l) | S1 | 100 | 4 | 25 | 25 | 25 | Flucofuron (ug/l) | S1 | 100 | 4 | 25 | 25 | 25
Sulcofuron (ug/l) |  | S1 | 250 | 4 | 25 | 25 | 25 | Sulcofuron (ug/l) | S1 | 250 | 4 | 25 | 25 | 25 | Sulcofuron (ug/l) | S1 | 250 | 4 | 25 | 25 | 25
Mercury (ug/l) |  | S1 | 10 | 4 | 0.2 | 1 | 0.6 | Mercury (ug/l) | S1 | 10 | 4 | 0.2 | 0.5 | 0.275 | Mercury (ug/l) | S1 | 10 | 4 | 0.2 | 0.5 | 0.35
Cadmium(ug/l) |  | S1 | 20 | 4 | 0.7 | 0.7 | 0.7 | Cadmium(ug/l) | S1 | 20 | 4 | 0.07 | 0.7 | 0.5425 | Cadmium(ug/l) | S1 | 20 | 4 | 0.7 | 0.7 | 0.7
Signed on behalf of operator:
Date: |  |  | 2026-03-23
NOTES: | ISO17025, MCERTS accredited analytical sub-contractor lifted their minimum
detection limit to slightly greater than 1ug/litre for some pesticides for quarters 3 & 4 of the year -
hence some "maximum values" are greater than the set limit but actual results were
"less than" values (i.e. Dieldrin result for 4 quarter was <1.670ug/litre.)
It is understood that this was a temporary instrumentation issue at the sub-contractor (ALS Ltd.)

## Sheet1
Effluent Before AD or ETP |  |  |  | Effluent After ETP | [6 empty] | Effluent after AD
Parameter | Emission | Limit | Mean | Parameter | Emission | Limit | Number of | Minimum | Maximum | Mean | Parameter |  | Emission | Limit | Mean
| Point |  | Value in |  | Point |  | records in | Value in | Value in | Value in |  |  | Point |  | Value in
|  |  | report period |  |  |  | report period | report period | report period | report period |  |  |  |  | report period
Daily Flow (m3/day) | S1 | 850 |  | Daily Flow (m3/day) | S1 | 850 | 10 | 214 | 503 | 374 | Daily Flow (m3/day) |  | S1 | 850
pH | S1 | 6 - 10 | 8.1 | pH | S1 | 6 - 10 | 12 | 6 | 10 | 8 | pH |  | S1 | 6 - 10 | 8.23
COD (mg/l) | S1 | 45000 | 27940 | COD (mg/l) | S1 | 45000 | 20 | 4530 | 13700 | 7159 | COD (mg/l) |  | S1 | 45000 | 20000
Settleable Solids (mg/l) | S1 | 5000 | 4140 | Settleable Solids (mg/l) | S1 | 5000 | 20 | 1 | 246 | 39 | Settleable Solids (mg/l) |  | S1 | 5000 | 720
HCH (ug/l) | S1 | 5 | <0.05 | HCH (ug/l) | S1 | 5 | 4 | 0.193 | 1.917 | 0.672 | HCH (ug/l) |  | S1 | 5 | <0.05
HCB (ug/l) | S1 | 1 | <0.05 | HCB (ug/l) | S1 | 1 | 4 | 0.051 | 0.506 | 0.177 | HCB (ug/l) |  | S1 | 1 | <0.05
Aldrin (ug/l) | S1 | 1 | <0.05 | Aldrin (ug/l) | S1 | 1 | 4 | 0.058 | 0.576 | 0.202 | Aldrin (ug/l) |  | S1 | 1 | <0.05
Dieldrin (ug/l) | S1 | 1 | <0.05 | Dieldrin (ug/l) | S1 | 1 | 4 | 0.084 | 0.836 | 0.293 | Dieldrin (ug/l) |  | S1 | 1 | <0.05
Endrin (ug/l) | S1 | 1 | <0.05 | Endrin (ug/l) | S1 | 1 | 4 | 0.068 | 0.671 | 0.235 | Endrin (ug/l) |  | S1 | 1 | <0.05
Endosulphan (ug/l) | S1 | 1 | <0.05 | Endosulphan (ug/l) | S1 | 1 | 4 | 0.087 | 0.866 | 0.303 | Endosulphan (ug/l) |  | S1 | 1 | <0.05
DDT (ug/l) | S1 | 3 | <0.05 | DDT (ug/l) | S1 | 3 | 4 | 0.107 | 1.056 | 0.37 | DDT (ug/l) |  | S1 | 3 | <0.05
Propetamphos (ug/l) | S1 | 150 | <0.05 | Propetamphos (ug/l) | S1 | 150 | 4 | 0.073 | 1.45 | 0.579 | Propetamphos (ug/l) |  | S1 | 150 | <0.05
Diazinon (ug/l) | S1 | 800 | 344.67 | Diazinon (ug/l) | S1 | 800 | 18 | 8.74 | 87.4 | 38.897 | Diazinon (ug/l) |  | S1 | 800 | 175.63
Chlorfenvinphos (ug/l) | S1 | 35 | <0.05 | Chlorfenvinphos (ug/l) | S1 | 35 | 4 | 0.122 | 1.22 | 0.427 | Chlorfenvinphos (ug/l) |  | S1 | 35 | <0.05
Cyfluthrin (ug/l) | S1 | 1 | <0.05 | Cyfluthrin (ug/l) | S1 | 1 | 4 | 0.092 | 0.911 | 0.32 | Cyfluthrin (ug/l) |  | S1 | 1 | <0.05
Cypermethrin (ug/l) | S1 | 110 | 359.19 | Cypermethrin (ug/l) | S1 | 110 | 19 | 0.297 | 5.71 | 1.583 | Cypermethrin (ug/l) |  | S1 | 110 | 37.87
Permethrin (ug/l) | S1 | 3.5 | <0.05 | Permethrin (ug/l) | S1 | 3.5 | 4 | 0.171 | 1.692 | 0.594 | Permethrin (ug/l) |  | S1 | 3.5 | <0.05
Flucofuron (ug/l) | S1 | 100 |  | Flucofuron (ug/l) | S1 | 100 | 4 | 25 | 25 | 25 | Flucofuron (ug/l) |  | S1 | 100
Sulcofuron (ug/l) | S1 | 250 |  | Sulcofuron (ug/l) | S1 | 250 | 4 | 25 | 25 | 25 | Sulcofuron (ug/l) |  | S1 | 250
Mercury (ug/l) | S1 | 10 |  | Mercury (ug/l) | S1 | 10 | 4 | 0.2 | 1 | 0.6 | Mercury (ug/l) |  | S1 | 10
Cadmium(ug/l) | S1 | 20 |  | Cadmium(ug/l) | S1 | 20 | 4 | 0.7 | 0.7 | 0.7 | Cadmium(ug/l) |  | S1 | 20
|  |  |  | Cypermethrin reduction % |  |  |  |  | 98.4103 | 99.5593 | Applied Cypermethrin reduction | ug/l |  |  | 0.60201 | based on 98.41% reduction
[11 empty] | Permethrin |  |  |  | 0.025 | Assume 50% of LoD as per EA advice in email