## Sheet1
Name | Date | Time | Batch | Status | Flags | Charge Code | Sampler | BOD atu | COD | Set COD @pH7 | Susp solids | pH | Ammonia as N | Tot oxid N | Nitrite as N | Nitrate as N | Orthophos | Sulphate | Chloride | Be | B mg/L | Al mg/L | Ti mg/L | V mg/L | Cr mg/L | Mn mg/L | Fe mg/L | Co mg/L | Ni mg/l | Cu mg/L | Zn mg/L | As mg/l | Sr mg/L | Mo mg/L | Cd mg/L | Sb mg/L | Hg mg/L | Pb mg/L | TOTAL TH | TOTAL U | TOT.Cd ug/L
Veolia (Blue Haze) | 2020-09-17 | 9:03 | C1R | Exceptions |  | WATH807 | 2911 | 171 | 2923 | 2846 | 251 | 7.8 | 1770 | <2.00 | <0.400 | <0.200 | 16.44 | <100 | 2087 | <0.0100 | 7 | 0.8 | <1.0000 | <1.0000 | 0.5 | 0.3 | 6.9 | <0.1000 | 0.2 | 0.2 | 0.4 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2020-10-14 | 9:25 | S0R | Exceptions |  | WATH807 | 2911 | 258 | 3368 | 3309 | 43 | 7.9 | 2000 | <2.00 | <0.400 | <0.200 | 21.11 | <100 | 2375 | <0.0100 | 7 | 1 | <1.0000 | <1.0000 | 0.7 | 0.3 | 8.4 | <0.1000 | 0.2 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2020-11-26 | 12:25 | S0R | Exceptions |  | WATH807 | 2911 | 203 | 2828 | 2927 | 23 | 7.9 | 2250 | <2.00 | <0.400 | <0.200 | 13.97 | <100 | 1987 | <0.0100 | 6 | 1.3 | <1.0000 | <1.0000 | 0.6 | 0.3 | 7.5 | <0.1000 | 0.2 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | 0.003 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2020-12-17 | 9:25 | S0R | Exceptions |  | WATH807 | 2911 | 206 | 2895 | 2755 | 123 | 7.8 | 1590 | <2.00 | <0.400 | <0.200 | 15.54 | <100 | 2504 | <0.0100 | 6 | 0.8 | <1.0000 | <1.0000 | 0.5 | 0.4 | 9.1 | <0.1000 | 0.2 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | 1 | <5.0000
Veolia (Blue Haze) | 2021-01-20 | 11:30 | S0R | Exceptions |  | WATH807 | 2911 | 170 | 2726 | 2667 | 33 | 8 | 1730 | <2.00 | <0.400 | <0.200 | 14.03 | <100 | 1840 | <0.0100 | 5 | 0.6 | <1.0000 | <1.0000 | 0.4 | 0.4 | 4.9 | <0.1000 | 0.1 | 0.1 | 0.5 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-02-23 | 9:53 | S0R | Exceptions |  | WATH807 | 2911 | 180 | 2807 | 2511 | 931 | 7.9 | 1550 | <2.00 | <0.400 | <0.200 | 12.4 | <100 | 1732 | <0.0100 | 6 | 0.9 | <1.0000 | <1.0000 | 0.6 | 0.4 | 7.4 | <0.1000 | 0.1 | 0.2 | 0.5 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-01 | 11:30 | S0R | Exceptions |  | WATH815 | 39432 | 196 | 2974 | 2894 | 89 | 8.2 | 1690 | <2.00 | <0.400 | <0.200 | 14.36 | <100 | 1933 | <0.0100 | 7 | 1.5 | <1.0000 | <1.0000 | 0.5 | 0.4 | 7.1 | <0.1000 | 0.1 | 0.2 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-02 | 11:00 | S0R | Exceptions |  | WATH | 39432 | 225 | 2835 | 2815 | 71 | 7.9 | 1830 | <2.00 | <0.400 | <0.200 | 15.5 | <100 | 1906 | <0.0100 | 7 | 0.8 | <1.0000 | <1.0000 | 0.5 | 0.3 | 7.2 | <0.1000 | 0.1 | 0.1 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-03 | 11:04 | S0R | Exceptions |  | WATH | 39432 | 183 | 2894 | 2854 | 46 | 8 | 2750 | <2.00 | <0.400 | <0.200 | 15.79 | <100 | 1893 | <0.0100 | 6 | 8.1 | <1.0000 | <1.0000 | 0.7 | 0.7 | 19.6 | <0.1000 | 0.2 | 0.2 | 0.4 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-04 | 11:15 | S0R | Exceptions |  | WATH807 | 39432 | 194 | 2809 | 2829 | 68 | 7.9 | 3100 | <2.00 | <0.400 | <0.200 | 18.57 | <100 | 2275 | <0.0100 | 6 | 0.7 | <1.0000 | <1.0000 | 0.5 | 0.3 | 6.7 | <0.1000 | 0.1 | 0.1 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-05 | 11:00 | S0R | Exceptions |  | WATH | 39432 | 172 | 2914 | 2874 | 40 | 7.9 | 2900 | <2.00 | <0.400 | <0.200 | 15.05 | <100 | 1825 | <0.0100 | 5 | 0.8 | <1.0000 | <1.0000 | 0.6 | 0.3 | 5.9 | <0.1000 | 0.1 | 0.1 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-08 | 11:45 | S0R | Exceptions |  | WATH817 | 39432 | 196 | 3015 | 2859 | 554 | 8 | 1700 | <2.00 | <0.400 | <0.200 | 16.1 | <100 | 2110 | <0.0100 | 6 | 0.9 | <1.0000 | <1.0000 | 0.6 | 0.3 | 6.6 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-09 | 11:15 | S0R | Exceptions |  | WATH817 | 39432 |  | 3057 | 2879 | 854 | 8 | 1690 | <20.00 | <4.000 | <0.200 | 15 | <1000 | 1416 | <0.0100 | 7 | 1 | <1.0000 | <1.0000 | 0.7 | 0.3 | 7.5 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-10 | 10:45 | S0R | Exceptions |  | WATH817 | 39432 |  | 2759 | 2774 | 787 | 7.9 | 1730 | <2.00 | <0.400 | <0.200 | 15.87 | <100 | 1769 | <0.0100 | 4 | 2.5 | <1.0000 | <1.0000 | 0.3 | 0.4 | 10.9 | <0.1000 | 0.1 | 0.3 | 1.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-11 | 11:16 | S0R | Exceptions |  | WATH817 | 0 | 209 | 2967 | 2817 | 1738 | 7.9 | 3050 | <2.00 | <0.400 | <0.200 | 13.56 | <100 | 1793 | <0.0100 | 7 | 2.2 | <1.0000 | <1.0000 | 0.8 | 0.3 | 12.1 | <0.1000 | 0.1 | 0.1 | 0.4 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-11 | 12:50 | S0R | Exceptions |  | WATH817 | 0 | 222 | 2998 | 2794 | 1202 | 7.9 | 2590 | <2.00 | <0.400 | <0.200 | 13.65 | <100 | 1808 | <0.0100 | 8 | 1.7 | <1.0000 | <1.0000 | 0.8 | 0.3 | 11.1 | <0.1000 | 0.1 | <0.100 | 0.4 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-15 | 11:30 | S0R | Exceptions |  | WATH817 | 39432 |  | 3498 | 3577 | 28 | 7.8 | 1970 | <2.00 | <0.400 | <0.200 | 19.27 | <100 | 2381 | <0.0100 | 8 | 1.3 | <1.0000 | <1.0000 | 1 | 0.3 | 8.1 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-15 | 12:30 | S0R | Exceptions |  | WATH817 | 39432 |  | 3359 | 3458 | 54 | 8.1 | 1840 | <2.00 | <0.400 | <0.200 | 20.09 | <100 | 2529 | <0.0100 | 4 | 1.8 | <1.0000 | <1.0000 | 0.4 | 0.3 | 7.6 | <0.1000 | <0.1000 | 0.1 | 0.5 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-17 | 11:10 | S0R | Exceptions |  | WATH817 | 39432 | 257 | 3648 | 3508 | 81 | 7.9 | 2140 | <2.00 | <0.400 | <0.200 | 16.04 | <100 | 1973 | <0.0100 | 7 | 1.5 | <1.0000 | <1.0000 | 0.7 | 0.3 | 11.9 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-17 | 11:40 | S0R | Exceptions |  | WATH817 | 39432 | 231 | 3369 | 3329 | 32 | 8 | 1850 | <2.00 | <0.400 | <0.200 | 15.94 | <100 | 1970 | <0.0100 | 7 | 1.6 | <1.0000 | <1.0000 | 0.7 | 0.3 | 11.2 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-18 | 9:37 | S0R | Exceptions |  | WATH807 | 2911 | 232 | 3078 | 3098 | 66 | 7.9 | 2630 | <2.00 | <0.400 | <0.200 | 19.05 | <100 | 2571 | <0.0100 | 7 | 1 | <1.0000 | <1.0000 | 0.6 | 0.3 | 8.2 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-18 | 11:10 | S0R | Exceptions |  | WATH817 | 39432 | 203 | 3337 | 3436 | 41 | 7.9 | 2620 | <2.00 | <0.400 | <0.200 | 18.78 | <100 | 2379 | <0.0100 | 7 | 0.9 | <1.0000 | <1.0000 | 0.6 | 0.3 | 9.7 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-19 | 10:40 | S0R | Exceptions |  | WATH817 | 39432 | 180 | 3407 | 3309 | 44 | 8 | 2860 | <2.00 | <0.400 | <0.200 | 15.93 | <100 | 2005 | <0.0100 | 7 | 1 | <1.0000 | <1.0000 | 0.8 | 0.3 | 7.5 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-22 | 11:00 | S0R | Exceptions |  | WATH817 | 39432 | 220 | 3422 | 3303 | 90 | 8.2 | 2700 | 3.9 | <0.400 | 3.96 | 16.39 | <100 | 2202 | <0.0100 | 7 | 1.1 | <1.0000 | <1.0000 | 0.9 | 0.4 | 9.5 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-23 | 10:30 | S0R | Exceptions |  | WATH817 | 39432 | 235 | 3267 | 3188 | 166 | 7.9 | 2000 | <2.00 | <0.400 | <0.200 | 17.47 | <100 | 341 | <0.0100 | 5 | 1 | <1.0000 | <1.0000 | 0.7 | 0.4 | 10.5 | <0.1000 | 0.1 | <0.100 | 0.3 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-24 | 10:00 | S0R | Exceptions |  | WATH817 | 39432 |  | 2535 | 2437 | 209 | 7.8 | 1550 | <20.00 | <0.400 | <0.200 | 10.8 | <100 | 1260 | <0.0100 | 6 | 1.1 | <1.0000 | <1.0000 | 0.6 | 0.4 | 9.4 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.020000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-25 | 10:00 | S0R | Exceptions |  | WATH817 | 39432 | 153 | 2337 | 2298 | 53 | 7.9 | 1470 | <20.00 | <0.400 | <0.200 | 12.7 | <100 | 1431 | <0.0100 | 5 | 0.8 | <1.0000 | <1.0000 | 0.5 | 0.3 | 9.2 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-26 | 9:50 | S0R | Exceptions |  | WATH817 | 39432 |  | 3145 | 3105 | 64 | 8 | 1860 | <2.00 | <0.400 | <0.200 | 17.35 | <100 | 2264 | <0.0100 | 5 | 1 | <1.0000 | <1.0000 | 0.5 | 0.4 | 14 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-29 | 11:09 | S0R | Exceptions |  | WATH817 | 39432 | 171 | 2600 | 2500 | 134 | 8.2 | 1530 | <2.00 | <0.400 | <0.200 | 15.05 | <100 | 2092 | <0.0100 | 5 | 1.1 | <1.0000 | <1.0000 | 0.5 | 0.4 | 9.1 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-30 | 9:50 | S0R | Exceptions |  | WATH817 | 39432 |  | 3151 | 3033 | 56 | 7.9 | 1800 | <2.00 | <0.400 | <0.200 | 15.54 | <100 | 1856 | <0.0100 | 6 | 3.6 | <1.0000 | <1.0000 | 0.6 | 0.5 | 27.4 | <0.1000 | 0.1 | <0.100 | 0.7 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-03-31 | 10:30 | S0R | Exceptions |  | WATH817 | 39432 | 212 | 3059 | 2899 | 285 | 8 | 2640 | <2.00 | <0.400 | 0.29 | 13.08 | <100 | 1808
Veolia (Blue Haze) | 2021-03-31 | 12:40 | S0R |  |  | WATH817 | 39432 | [12 empty] | <0.0100 | 7 | 1.1 | <1.0000 | <1.0000 | 0.6 | 0.8 | 20.5 | <0.1000 | 0.2 | <0.100 | 0.5 | <0.5000 | 1 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-04-01 | 10:10 | S0R | Exceptions |  | WATH817 | 39432 | 219 | 2959 | 2959 | 100 | 8 | 2530 | <2.00 | <0.400 | 0.44 | 13.5 | <100 | 1797 | <0.0100 | 6 | 0.9 | <1.0000 | <1.0000 | 0.7 | 0.3 | 9.9 | <0.1000 | 0.1 | <0.100 | 0.2 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-05-13 | 8:22 | S0R | Exceptions |  | WATH807 | 2911 | 197 | 3172 | 3093 | 59 | 7.9 | 3060 | <2.00 | <0.400 | <0.200 | 18.2 | <100 | 2525 | <0.0100 | 7 | 1.2 | <1.0000 | <1.0000 | 0.9 | 0.3 | 12.9 | <0.1000 | 0.1 | 0.1 | 0.5 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-06-09 | 9:35 | S0R | Exceptions |  | WATH807 | 2911 | 197 | 3398 | 3398 | 80 | 8 | 2090 | <2.00 | <0.400 | <0.200 | 20.46 | <100 | 2520 | <0.0100 | 8 | 1.2 | <1.0000 | <1.0000 | 0.8 | 0.4 | 10.4 | <0.1000 | 0.2 | 2.1 | 0.7 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-08-11 | 7:53 | S0R | Exceptions |  | WATH807 | 2911 |  | 3302 | 3302 | 41 | 8.1 | 1790 | <2.00 | <0.400 | <0.200 | 16.5 | <100 | 1971 | <0.0100 | 7 | 1.6 | <1.0000 | <1.0000 | 0.8 | 0.3 | 8.9 | <0.1000 | 0.1 | 0.1 | 0.6 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
Veolia (Blue Haze) | 2021-09-01 | 12:40 | S0R |  |  | WATH807 | 2911 | [12 empty] | <0.0100 | 7 | 0.9 | <1.0000 | <1.0000 | 0.7 | 0.3 | 8 | <0.1000 | 0.2 | 0.1 | 0.4 | <0.5000 | <1.0000 | <0.1000 | <0.0050 | <3.0000 | <0.002000 | <0.2000 | <1.000 | <1.000 | <5.0000
[7 empty] | MAX | 258 | 3648 | 3577 | 1738 | 8.2 | 3100 | 3.9 | 0 | 3.96 | 21.11 | 0 | 2571 | 0 | 8 | 8.1 | 0 | 0 | 1 | 0.8 | 27.4 | 0 | 0.2 | 2.1 | 1.2 | 0 | 1 | 0 | 0 | 0 | 0.003 | 0 | 0 | 1 | 0
[7 empty] | AVERAGE | 203.4074 | 3051.7714 | 2989.5429 | 243.8857 | 7.9543 | 2138.5714 | 3.9 | #DIV/0! | 1.5633 | 15.9737 | #DIV/0! | 1975.0857 | #DIV/0! | 6.3333 | 1.425 | #DIV/0! | #DIV/0! | 0.63611 | 0.36111 | 10.0778 | #DIV/0! | 0.12286 | 0.27333 | 0.36944 | #DIV/0! | 1 | #DIV/0! | #DIV/0! | #DIV/0! | 0.003 | #DIV/0! | #DIV/0! | 1 | #DIV/0!