## Issue Log
Issue and Revision Record
Revision | Date | Originator | Checker | Approver | Description
A | 2024-11-22 | Claire Cowdrey | Anita Manns | Anita Manns | In response to NDM RfI Sept 2024
Document reference: | 790101_Appropriate Measures_GOD November 2024
Information class: | Standard
This document is issued for the party which commissioned it and for specific purposes connected with the above-captioned project only. It should not be relied upon by any other party or used for any other purpose.
We accept no responsibility for the consequences of this document being relied upon by any other party, or being used for any other purpose, or containing any error or omission which is due to an error or omission in data supplied to us by other parties.
This document contains confidential information and proprietary intellectual property. It should not be shown to other parties without consent from us and from the party which commissioned it.

## Summary
Appropriate Measures inert and non hazardous waste | Biological waste treatment: appropriate measures for permitted facilities | Topic | Comment
Part 1 | Part 1 | When appropriate measures apply | N/A, context only
| Part 2 | Definition of biodegradable and sewage sludge | N/A, context only
| Part 3 | Bespoke wastes suitable for biological treatment | N/A, context only
| Part 4 | Site location, design and capacity
Part 2 | Part 5 | General Management Systems
Part 3 | Part 6 | Preacceptance, acceptance and tracking
Part 4 | Part 7 | Waste storage, segregation, transfer and handling
Part 5 | Part 8 | Waste Treatment
| Part 9 | Outputs
| Part 10 | The Control of Major Accident Hazard Regulations 2015 (COMAH)
Part 6 | Part 11 | Emissions Control
Part 7 |  | Emissions monitoring and limits
Part 8 | Part 12 | Process Efficiency
Part 9 |  | Waste minimisation, recovery and disposal
| Part 13 | Bespoke waste assessment

## Assessment
Requirement | Appropriate measure section
| Non-hazardous and inert | Biowaste | Acceptance of waste to head of works (cess and chemical toilet waste | Supporting Document | Section
Management system | Part 2 | Part 5 | Southern Water have a management plan as described in the Main Supporting Document. It will be updated to include the waste activity, and feature the potential impacts of climate change. | 709101_MSD_Main_PEA January 2025 | Section 5.5
Staff competence | Part 2 | Part 5 | Technical competence explanation is featured in the Main Supporting Document, and applies to this waste activity. Staff carrying out waste acceptance checks, including sampling and analysis of waste, will be trained to classify and characterise waste, identify whether it is suitable for the facility, and manage any loads that do not conform to waste acceptance criteria determine end of waste products | 709101_MSD_Main_PEA January 2025 | Section 5.3
Accident management plan | Part 2 | Part 5 | Accident Management Plan has been prepared to incorpate accidents associated with the waste activity. | 790101_MSD_AMP_PEA March 2024
Contingency plan and procedures | Part 2 | Part 5 | Accident Management Plan has been prepared to incorporate contingency plans and procedures. Southern Water's EMS also includes Operational Contingency Plans and Procedures. | 790101_MSD_AMP_PEA March 2024 | Section 6
Facility decommissioning | Part 2 | Part 5 | The site is expected to operate long term. The Site Condition Report will be maintained for any future surrender of the permitted activities to ensure the site leaves the condition of the land in a satisfactory state. At decommission it will be undertaken in accordance with the Appropriate Measures, or subsequent equilvant guidance.
Waste pre-acceptance | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_PEA December 2024
Waste acceptance | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_PEA December 2024
Quarantine | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_PEA December 2024
Waste tracking | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_PEA December 2024
Waste Storage | Part 4 | Part 7 | Direct import to post digestion tanks for dewatering. Storage systems are to conform to CIRIA guidance C736 Containment systems for the prevention of pollution, with secondary containment. | 790101-MMD-IED-PEA-CA-C-001-IED ADBA tool P03
Segregation | Part 4 | Part 7 | N/A, no imports of raw/digested cake for temporary storage or liquid digestate for dewatering accepted at the Site. No acceptance of grit and screenings at the Site for temporary storage Only raw cake for anaerobic digestion is accepted and imports to head of works
Site Location |  | Part 4 | Southern Water's EMS to be updated to consider the risk of climate change on existing facility and to include contingency measures, where applicable.
Site design |  | Part 4 | Southern Water have assessed the containment structures against CIRIA 736. | 790101-MMD-IED-PEA-CA-C-001-IED ADBA tool P03 and 790101_MSD_AMP_PEA March 2024
Site Capacity |  | Part 4 | Site capacity of the activity is addressed in the Main Supporting Document. | 709101_MSD_Main_PEA January 2025 | Section 6.1
Waste treatment | Part 5 | Part 8 | An existing site. Up to date written details of treatment activities and abatement technology and control equipment are kept along with process flow diagrams. Characteristics and inventories of waste streams to be generated as part of the imposed permit and improvement conditions | 709101_MSD_Main_PEA January 2025 | Section 1
Soils and inert waste | Part 5 |  | N/A
Waste treatment outputs, including fines | Part 5 |  | N/A
Waste treatment for landfill | Part 5 |  | N/A
Abnormal operating conditions |  | Part 8 | N/A | 790101_MSD_AMP_PEA March 2024 790101_ERA_OdourMP_PEA January 2025 | Section 3 Section 4.2.3
Pre-treatment |  | Part 8 | N/A | 709101_MSD_Main_PEA January 2025 | Section 1
Process monitoring systems |  | Part 8 | N/A | 709101_MSD_Main_PEA January 2025
Mechanical treatment |  | Part 8 | N/A
Aerobic treatment and process control |  | Part 8 | N/A
Open air composting |  | Part 8 | N/A
In vessel and enclosed systems aerobic processes |  | Part 8 | N/A
Mechanical and biological treatment and mechanical heat treatment |  | Part 8 | N/A
AD and TAD plants treatment and process control |  | Part 8 | N/A
Biogas production and management – AD plants |  | Part 8 | N/A
Biogas treatment and storage – AD plants |  | Part 8 | N/A
Inspection, maintenance and monitoring |  | Part 5 | Schedules for the inspection and maintenance of all assets and infrastructure are in place. Monitoring programmes are in place where they are currently required. Some monitoring and sampling will be implemented as part of the permit compliance requirements. Some procedures are outlined in the Accident Management Plan. The Odour Management Plan provides other relevant details. | 709101_MSD_Main_PEA January 2025 790101_ERA_OdourMP_PEA January 2025 | Section 6.8 Section 5
Preventing accidental emissions |  | Part 5 |  | 790101_MSD_AMP_PEA March 2024 790101_ERA_OdourMP_PEA January 2025 | Section 3 Sections 4&5
Security Measures |  | Part 5 | Addressed in the Environmental Risk Assessment and Main Supporting Document | 790101_ERA_PEA January 2025 709101_MSD_Main_PEA January 2025 | Section 3.2 Section 6.5
Fire and explosion prevention |  | Part 5 | Addressed in the Environmental Risk Assessment and Accident Management Plan | 790101_ERA_PEA January 2025 790101_MSD_AMP_PEA March 2024 | Appendix B Sections 3&6
Firefighting |  | Part 5 | Addressed in the Environmental Risk Assessment and Accident Management Plan | 790101_ERA_PEA January 2025 790101_MSD_AMP_PEA March 2024 | Appendix B Sections 3&6
Record keeping and procedures |  | Part 5 | Addressed in the Company EMS, Odour Management Plan and Accident Management | 790101_MSD_AMP_PEA March 2024 790101_ERA_OdourMP_PEA January 2025 | Section 5 Sections 7&8
Plant commissioning, validation and decommissioning |  | Part 5 | N/A
Enclosure within buildings | Part 6 |  | N/A
Point source emissions to air (channelled emissions) | Part 6 | Part 11 | N/A, enclosed tanks.
Fugitive emissions to air | Part 6 | Part 11 | Odour control for the handling of imports is within the Odour Management Plan, and management of dust, mud an litter in the Environmental Risk Assessment | 790101_ERA_OdourMP_PEA Janaury 2025 790101_ERA_PEA January 2025 | All Section 3.2
Point source emissions to water (including sewer) | Part 6 | Part 11 | Effluent is directed to the inlet works. Inventory to be established following the sampling proposal. | 790101_Sampling proposal PEA January 2025
Fugitive emissions to land and water | Part 6 | Part 11 | Containment Stragey demonstrates Southern Water are committed to bring the site to meet CIRIA 736 or an equivalent approved standard. Spill response is documented in the Accident Management Plan. | 790101-MMD-IED-PEA-CA-C-001-IED ADBA tool P03 and 790101_MSD_AMP_PEA March 2024
Pests | Part 6 | Part 12 | Pests are not expected to cause pollution, hazard or annoyance at sensitive receptors as current measures are suitable, therefore a pest management plan is not required. | 790101_ERA_ PEA January 2025 | Section 3.2
Emissions monitoring and limits: Emissions to air | Part 7 | Part 11 | N/A
Emissions monitoring and limits: Medium combustion plant directive | Part 7 | Part 11 | N/A
Emissions monitoring and limits: Emissions to water and sewer | Part 7 | Part 11 | Effluent is directed to the inlet works. Inventory to be established following the sampling proposal. | 790101_Sampling proposal PEA January 2025
Emissions inventory |  | Part 11 | Effluent is directed to the inlet works. Inventory to be established following the sampling proposal. No point emissions to air. | 790101_Sampling proposal PEA January 2025
Meteorological conditions |  | Part 11 | Southern Water will record daily in the site diary the following meteorological data: ● Air temperature ● Relative Humidity ● Wind Direction ● Wind Speed ● Rainfall Meteorological data will be reviewed in advance of activities that may present an odour concern, such as movement of sludge cake, to consider suitable measure to limit odour. For example, time such activities when wind speed is low. Meteorological data will also be available to complete odour records to establish potential trends. | 790101_ERA_OdourMP_PEA January 2025 | Section 5
Bioaerosols |  | Part 11 | The site is within 250m of a sensitive receptor. A bioaerosol risk assessment was provided | 790101_ERA_BioRA_PEA March 2024
Emissions of odour |  | Part 11 | An Odour Management Plan has been prepared to include controls for this activity. | 790101_ERA_OdourMP_PEA January 2025
Masking agents, chemical neutralising agents and topical barrier |  | Part 11 | An Odour Management Plan has been prepared to include controls for this activity. | 790101_ERA_OdourMP_PEA January 2025
Leak detection and repair |  | Part 11 | A Leak Detection Repair Plan has been provided, and address any leaks from post digestion onwards (in the overall Site process). | 790101_MSD_LDAR_PEA March 2024
Emissions of noise and vibration |  | Part 11 | Addressed in the Environmental Risk Assessment | 790101_ERA_PEA January 2025 | Appendix B
Energy efficiency (installations only) | Part 8 | Part 12 | N/A
Raw materials (installations only) | Part 8 | Part 12 | N/A
Water use (installations only) | Part 8 | Part 12 | N/A
Waste minimisation, recovery and disposal | Part 9 | Part 9 | Addressed in the Residue Management and Main Supporting Document | 790101_MSD_ResidueMP_PEA December 2024 709101_MSD_Main_PEA January 2025 | All Section 6.10
Outputs from aerobic processes – compost | Part 9 | Part 9 | N/A
MBT and MHT outputs |  | Part 9 | N/A
Outputs from anaerobic processes – digestate |  | Part 9 | Management of outputs from the AD and import activities is featured in the Residue Management Plan. | 790101_MSD_ResidueMP_PEA December 2024 | All
The Control of Major Accident Hazard Regulations 2015 (COMAH) |  | Part 10 | Site does not meet the COMAH regulations threshold
Inhibition values for aerobic and anaerobic processes |  | Part 13 | N/A