## Methodology
HAZARD SEVERITY
| Effect On: | [5 empty] | Normal
Hazard Severity | Humans Offsite | Humans Onsite | Groundwater | Air | Land | Controlled Waters and Sewer | Secondary Consequences
V.Low | No impact / effect off site. | Minor nuisance | No loss to ground water | No loss to, or impact on air. | No loss to, or impact on, land. | No loss to, or impact on, controlled waters or sewer | Internal to site only.
Low | Minor off-site effects, local or near boundary only. | Nuisance | No loss to ground water | Minor effect to air on site but no effect offsite | No offsite loss to land. Losses to land on-site that are easily remediated | Possible loss to sewer, no harm to STW. | Possible external complaint.
[6 empty] | No loss to controlled waters. | No regulatory action.
Medium | Off site nuisance / effects | Minor injury / effect. Transient – no TLI | Loss to CSG owned land requiring remediation to avoid any impact on groundwater. | Localised and temporary off site nuisance / effects - no breach of Air Quality Standards / Benchmark Values | Impact on CSG owned land requiring a clear up operation. |  | Numerous external complaints.
|  | (Time Loss Injury). |  |  |  | Loss to sewer requiring notification to STW. | Possible breach of permit conditions.
Possible breach of discharge agreement.
[6 empty] | Minor loss to controlled waters that will not result in a fish kill or any significant impact. | Possible Regulatory Enforcement / Prosecution.
Local media interest.
High | Widespread and / or prolonged significant offsite effect. | Possible TLI (Time Loss Injury) – temporary disability. | Loss to land beyond CSG boundary requiring remediation to avoid any impact on groundwater. | Widespread and / or prolonged significant offsite effect - breach of Air Quality Standards / Benchmark Values | Impact beyond CSG owned land requiring a clear up operation. | Loss to sewer, action required to protect STW. | Local Evacuation
[6 empty] | Loss to controlled water resulting in a minor fish kill or similar effect. | National Media Interest.
[6 empty] | Loss to controlled water resulting in tainting of water abstracted downstream. | Limited damage to local crops, livestock, wildlife.
Breach of permit conditions.
Breach of discharge consent.
Regulatory Enforcement / Prosecution.
V.High | Offsite damage to health. | Permanent Health Damage. | Ground contamination resulting in significant contamination of local groundwater. | Reduction in Air Quality that poses an acute threat to health / Environment beyond the boundary of the installation | Widespread and / or severe ground contamination beyond site boundary. | Loss to sewer, treatment works damaged / knocked out. | Local evacuation
[6 empty] | Loss to controlled water resulting in a large fish kill or similar damage. | National / International Media Interest.
[6 empty] | Loss to controlled water resulting in ill health effects for consumers of water abstracted downstream. | Loss of local crops, livestock, wildlife.
Breach of licence conditions.
Breach of discharge consent.
Regulatory Enforcement / Prosecution.
Government Investigation
Likelihood of Hazard Occurring after Control Measures are in Place
Description | Definition
Not Likely | Three or more control measure failures need to occur before the hazard can be realised.
Possible | More than one control measure failure is needed for the hazard can be realised.
Quite Possible | The hazard may be realised following a single control measure failure.
Likely | The hazard may be realised without a failure of control measures.
Very Likely | The hazard will frequently be realised without a failure of control measures.
HAZARD CLASSIFICATION
RESIDUAL RISK CLASSIFICATION
|  | INTOLERABLE | INTOLERABLE | INTOLERABLE | INTOLERABLE
V.HIGH | TOLERABLE
|  | INTOLERABLE | INTOLERABLE | INTOLERABLE | INTOLERABLE
HIGH | TOLERABLE
MEDIUM | INSIGNIFICANT | TOLERABLE |  | INTOLERABLE | INTOLERABLE
INTOLERABLE
LOW | INSIGNIFICANT | INSIGNIFICANT | TOLERABLE | TOLERABLE
INTOLERABLE
| INSIGNIFICANT | INSIGNIFICANT | INSIGNIFICANT | INSIGNIFICANT | TOLERABLE
V.LOW
| NOT LIKELY | POSSIBLE | QUITE POSSIBLE | LIKELY | VERY LIKELY
LIKELIHOOD
Cleansing Service Group Ltd
Environmental Risk Assessment - Methodology
Cleansing Service Group Ltd
Climate Change Risk Assessment - Methodology

## Climate Change Adaptation
CSG Depot Avonmouth - Aqueous Waste Treatment Facility
|  |  | Hazard Severity (after control measures) | [7 empty] | Residual Risk Classification
Risk | Potential Hazard | Control Measures for mitigation of risk | Humans (Offsite) | Humans (Onsite) | Ground Water | Air | Land | Surface Water | Secondary consequences | Likelihood Classification | Humans (Offsite) | Humans (Onsite) | Ground Water | Air | Land | Surface Water | Secondary consequences | Overall Residual Risk Classification
Increased summer temperatures | Increased waste reactions and fire potential | We do not propose to treat or store wastes that could lead to exothermic reactions, or spontaneous combustion | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Not likely | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
| Dry vegetation may ignite when close to hot cutting areas | Any hot work is controlled under a permit to work scheme. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Not likely | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
There will be no vegetation within or near the permit boundary.
| High temperature expansion of pipework, plant etc. | Pipe runs are designed to allow for expansion and contraction, regular maintenance of plant and equipment. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
Daily and monthly visual checks for structural integrity.
5 yearly NDT tank tests.
The installationis fully contained and returns to the treatment plant, the containment is subject to regular visual checks.
| Dust | Site is fully concreted and dust is not an issue for this process. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Not likely | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
Changing winter temperatures | Increased temperatures could lead to increased odour complaints | Odour will be managed in line with the mitigation laid out in the general risk assessment. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
| Lower temperatures leading to increased freezing | Pipe runs are designed to allow for expansion and contraction, regular maintenance of plant and equipment. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
Daily and monthly visual checks for structural integrity.
5 yearly NDT tank tests.
Operational area fully bunded, bund is also subject to regular visual checks.
Pipes could be lagged if increased freezing became prevalent.
Daily rainfall extremes | Increased surface water and site flooding | Site has prepared a flood plan. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
Site is protected from fluvial flooding by flood defenses; the site will also have tertiary containment which will act as it's own flood defense in such a scenario.
Any rainfall falling within the bund can be stored and discharged to sewer over a longer period of time, reducing the burden on underground infrastructure.
Increased winter rainfall | Increased surface water and site flooding | As above. | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
Decreased summer rainfall | Increased reliance on mains water for dust suppression | Dust is not anticipated to be a significant issue on site (see above) | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | V.Low | Possible | Ins | Ins | Ins | Ins | Ins | Ins | Ins | Insignificant
CSG has a strategic plan to roll out rainwater harvesting measures at each location
Water management plan will be developed if such conditions become prevalent