Non Technical Summary

Introduction

Plasterboard Recycling Group Ltd is located at Smoke Lane, Chittening, Avonmouth Bristol, BS11 0YA. The site is approximately 2 Hectares in size.  At the time of writing this FPP, the site currently consists of concrete impermeable surface and hardstanding in good order over the site where waste is to be stored.

The site’s main activity will be the storage & recycling of plasterboard. The process is housed in a large warehouse with good noise and dust suppression. The surrounding land use is a mix of industrial and agricultural. Two categories of end product are created - Gypsum and Backing Paper; these  are stockpiled, as required, in bays at the end of their processing line or in one of the concrete Storage Bays. The actual quantity and location of stored waste and products will vary from time to time, depending upon fluctuations in supply and demand.

The annual throughput will be 250,000 tpa with an approximate maximum on site as per the volumes in the fire prevention plan. Processing capacity of around 1000t/day.

This application has been put together after discussions with the EA in pre-app EPR/LB3200K/A001.

As part of the process small volumes of paper and nails will be collected and removed from site on a regular basis.

Site Location

The site is located in Avonmouth industrial estate at BS11 0YA.

The site is located just west of the M49 and some 950m east of the River Severn SSSI. The site is approximately 2.0 Hectares and all the internal and external layout is impermeable concrete. There are protected habitats and species within 50m of the site boundary. The remainder of the site being industrial & commercial. There are no nearby residential properties.

Process

The primary process line is very simple including shredding of plasterboard, screening and sorting to separate out paper and metals (nails, staples etc).

Site Layout

Gypsum/plasterboard has low flammability/combustibility, however it is stored in large concrete firebays as per the layout above. The site is surrounded by 5 fire hydrtants and the warehouse gives very good noise and dust suppression.

Site Location