Solway river basin district: climate change risk assessment worksheet

Name (as on your part A application form): Mr. Kevin Buckle (Messrs Buckle –Partnership)

Our permit reference number (if you have one): Not yet permitted

Your document reference number: BF Appendix 17 to application

Risk assessment worksheet for the 2050s
Solway river basin district
You must carry out a climate change risk assessment for any new bespoke waste and installations permit applications if you expect to operate for more than 5 years. Use the user guide to complete the table. You can add in extra pages if necessary.
Consider how your operations will be affected by the changes in weather and climate described in the table. Consider any changes to average climate conditions that may impact on your operations, for example extreme rainfall.
Also consider:
•	critical thresholds - where a ‘tipping point’ is reached, for example a specific temperature where site processes cannot operate safely
•	changes to averages - for example an entire summer of higher than expected rainfall causing waterlogging
•	where hazards may combine to cause more impacts
You can add in other climate variables if you wish.
If you have stated on your application form that you do not expect to be operational in 2050, you must still consider climate change risks for the time you do intend to operate. Whilst the variables are for the 2050s, this is an estimated date and you may experience these conditions before then.
This worksheet will sit in your management system. It must appear on the management system summary you submit with your application, even if you do not need to submit the whole risk assessment with your application.
If your pre-mitigation risk score (column D) is 5 or higher, you must complete columns E to H.
Potential changing climate variable	A / Impact	B / Likelihood	C / Severity	D / Risk / (B x C)	E / Mitigation / (what will you do to mitigate this risk)	F / Likelihood / (after mitigation)	G / Severity / (after mitigation)	H / Residual risk / (F x G)
1. Summer daily maximum temperature may be around 6°C higher compared to average summer temperatures now.	Ventilation system unable to maintain optimum temperature in livestock housing but daytime peaks offset by range extensively planted up with shade and shelter	2	2	4	None. Overall lift in house temperature creates dryness in houses and reduced ammonia generation.	2	2	4
2. Winter daily maximum temperature could be 4°C more than the current average, with the potential for more extreme temperatures, both warmer and colder than present.	No negative impact. Higher temp. will reduce ammonia generation and incur less energy consumption in ‘drying air’.	1	1	1	None . Likely to be overall positive benefit to operation and air quality	1	1	1
3. The biggest rainfall events are up to 20% more intense than current extremes (peak rainfall intensity)*.	a. swales may need greater capacity / b. surface water drains systems possibly overloaded. / Both off-set by storage in scratch area underdrains (buffer) Off-set by extensive tree planting on site	3 / 3	3 / 2	9 / 6	Install first flush separator on existing swale, high level overflow to stream on proposed site swale / Consider drain fall when designing new site. / Designed for variable flow regimes. Possible need for larger diam outfall pipe or greater retention if new guidelines issued.	2 / 2	2 / 2	4 / 4
4. Average winter rainfall may increase by 26% on today’s averages.	Potential for surface water system being overloaded, but offset at both sites by scratch area (stone-filled) acting as buffering capacity for roof and scratch area incident rainfally	3	2	6	Increase and amend surface water treatment / management as above (Q.3). increased tree cover will help buffer flow peaks.	2	2	4
5. Sea level could be as much as 0.6m higher compared to today’s level *.	Inland site and located on top of minor watershed. Little drainage coming onto site. No flooding ever recorded	2	2	4	No further action required	2	2	4
6. Drier summers, potentially up to 33% less rain than now.	Increase dust but remote location even with greater fan usage.. Significant benefit in ammonia prevention and reduced power consumption to ‘keep dry’.	2	2	4	No further action. Dryness encourages birds to range and therefore less dust (during daylight hours) derived from houses	2	1	2
7. At its peak, the flow in watercourses could be 30% more than now, and at its lowest it could be 70% less than now.	Discharge point is to ephemeral watercourse/ ditch. (head of catchment)	2	2	4	No further action. Extensive tree cover does and will buffer out anticipated high peak in stream. Already dry for most of summer period. Local W/c is at its source.	1	1	1

*Indicates data has come from climate change allowances as part of the spatial planning process. Evidence from your planning submission is acceptable evidence for this worksheet.