SITE CONDITION REPORT TEMPLATE

For full details, see H5 SCR guide for applicants v2.0  4 August 2008

COMPLETE SECTIONS 1-3 AND SUBMIT WITH APPLICATION

DURING THE LIFE OF THE PERMIT: MAINTAIN SECTIONS 4-7

AT SURRENDER: ADD NEW DOC REFERENCE IN 1.0; COMPLETE SECTIONS 8-10; & SUBMIT WITH YOUR SURRENDER APPLICATION.

| 1.0 SITE DETAILS |  |
| --- | --- |
| Name of the applicant | Essex Waste Limited (EWL) |
| Activity address | Stour Business Park, Little Wratting, Haverhill, CB9 7TD |
| National grid reference | TL 69773 47502 |

| Document reference and dates for Site Condition Report at permit application and surrender | 487/2 - SCR 19th December 2025 |
| --- | --- |
| Document references for site plans (including location and boundaries) | 487/2 - Permit Boundary 487/2 - Site Layout |

Note:

In Part A of the application form you must give us details of the site’s location and provide us with a site plan. We need a detailed site plan (or plans) showing:

- Site location, the area covered by the site condition report, and the location and nature of the activities and/or waste facilities on the site.

- Locations of receptors, sources of emissions/releases, and monitoring points.

- Site drainage.

- Site surfacing.

If this information is not shown on the site plan required by Part A of the application form then you should submit the additional plan or plans with this site condition report.

| 2.0 Condition of the land at permit issue |  |  |  |
| --- | --- | --- | --- |
| Environmental setting including: - geology - hydrogeology - surface waters |  |  | The Site is located within the Lewes Nodular Chalk Formation, Seaford Chalk Formation, Newhaven Chalk Formations and Culver Chalk Formation (Undifferentiated). Superficially, head-clay, silt, sand and gravel deposits are present at The Site. The Site is within a groundwater source protection zone 1. The Site is located within Flood Zone 1. |
| Pollution history including: - pollution incidents that may have affected land - historical land-uses and associated contaminants - any visual/olfactory evidence of existing contamination - evidence of damage to pollution prevention measures |  |  | The most recent use of The Site, in line with approved and appealed planning permissions, is for open air storage (class B8). A Contaminated Land and Intrusive Investigation Report was produced by Apple Environmental in September 2024, in relation to planning application DCON(A)/23/0304, for the land north of The Site. The report concludes that none of the tested chemical determinands had concentrations that exceeded acceptable guideline criteria for the commercial use of the land, however asbestos residue was detected in three obtained samples. It is likely that the asbestos present is localised, and not widespread, however the report recommends that additional studies are completed to establish whether the asbestos fibres have become airborne. The investigations also highlighted an elevated concentration in sulphates in the upper ground and very high alkalinity. Whilst this report is for the land north of The Site, and not for The Site itself, further investigations may need to be carried out to determine if there are any adverse effects this has had on The Site. There are no historical land uses available in the public register. Historic OS maps show an empty field with a building that was constructed by 1946-1950. The use of the building is unclear. In 1991 planning permission was granted for the erection of a new abattoir and lairage (E/91/3071/P) for land at The Site and the surrounding industrial units, including to the north. Whilst there are no plans available on the public register, it is unlikely that the abattoir and lairage were constructed on The Site and were likely constructed on the land north of The Site. |
| Evidence of historic contamination, for example, historical site investigation, assessment, remediation and verification reports (where available) |  |  | For site to the north: CL/3623/KAR Land Contamination Site Investigation Report – September 2024 |
| Baseline soil and groundwater reference data |  |  | N/A |
| Supporting |  Source information identifying environmental setting and pollution |  |  |
| information |  | incidents Planning permission DCON(A)/23/0304. Report reference CL/3623/KAR. |  |
|  |  | Historical Ordnance Survey plans Historic OS Maps |  |
|  |  | Site reconnaissance |  |
|  |  | Historical investigation / assessment / remediation / verification reports |  |
|  |  | Baseline soil and groundwater reference data |  |

| 3.0 Permitted activities |  |
| --- | --- |
| Permitted activities | Registration WEX459876 – Essex Waste Limited. T5 exemption for Screening and Blending Waste. Expires 23/06/2028. Registration WEX425164 – J.S. Wright and Sons Limited. D7 Exemption for Burning Waste in the Open. Expires 17/12/2027. Registration WEX451654 – Essex Waste Limited. D7 Exemption for Burning Waste in the Open. Expires 19/05/2028. UI Exemption for Use of Waste in Construction. Expires 19/05/2028. |
| Non-permitted activities undertaken | None |
| Document references for:  plan showing activity layout; and  environmental risk assessment. | 487/2 - Site Layout 487/2 - ERA |

Note:

In Part B of the application form you must tell us about the activities that you will undertake at the site. You must also give us an environmental risk assessment.  This risk assessment must be based on our guidance (Environmental Risk Assessment - EPR H1) or use an equivalent approach.

It is essential that you identify in your environmental risk assessment all the substances used and produced that could pollute the soil or groundwater if there were an accident, or if measures to protect land fail.

These include substances that would be classified as ‘dangerous’ under the Control of Major Accident Hazards (COMAH) regulations and also raw materials, fuels, intermediates, products, wastes and effluents.

If your submitted environmental risk assessment does not adequately address the risks to soil and groundwater we may need to request further information from you or even refuse your permit application.

| 4.0 Changes to the activity |  |  |
| --- | --- | --- |
| Have there been any changes to the activity boundary? |  |  |
| Have there been any changes to the permitted activities? |  |  |
| Have any ‘dangerous substances’ not identified in the Application Site Condition Report been used or produced as a result of the permitted activities? |  |  |
| Checklist of supporting information | - Plan showing any changes to the boundary (where relevant) - Description of the changes to the permitted activities (where relevant) - List of ‘dangerous substances’ used/produced by the permitted activities that were not identified in the Application Site Condition Report (where relevant) |  |

| 5.0 Measures taken to protect land |  |
| --- | --- |
| See annual site protection monitoring reports. |  |
| Checklist of supporting information | - Inspection records and summary of findings of inspections for all pollution prevention measures - Records of maintenance, repair and replacement of pollution prevention measures |

| 6.0 Pollution incidents that may have had an impact on land, and their remediation |  |  |
| --- | --- | --- |
| No pollution incidents that may have impacted the land have occurred since Lubrizol acquired the facility in 2004. |  |  |
| Checklist supporting information | of | - Records of pollution incidents that may have impacted on land - Records of their investigation and remediation |

| 7.0 Soil gas and water quality monitoring (where undertaken) |  |  |
| --- | --- | --- |
| Not applicable. |  |  |
| Checklist supporting information | of | - Description of soil gas and/or water monitoring undertaken - Monitoring results (including graphs) |

| 8.0 Decommissioning and removal of pollution risk |  |
| --- | --- |
| Checklist of supporting information | - Site closure plan - List of potential sources of pollution risk - Investigation and remediation reports (where relevant) |

| 9.0 Reference data and remediation (where relevant) |  |
| --- | --- |
| Checklist of supporting information | - Land and/or groundwater data collected at application (if collected) - Land and/or groundwater data collected at surrender (where needed) - Assessment of satisfactory state - Remediation and verification reports (where undertaken) |

10.0 Statement of site condition