|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Source** | **Pathway** | **Receptor** | **Harm** | **Likelihood** | **Consequence** | **Magnitude of Risk** | **Justification of Magnitude** | **Risk Management** | **Residual Risk** |
| Point source during transfer from tanker to tank | Air | Staff | Inhalation of VOCs  Release of odour | Low | Medium | Low – Medium | Site staff to have full PPE. Unloading process will be enclosed. | ISO14001.  Full PPE provided.  Short duration associated with connecting tanker.  Maintenance of all tanks and pipe work.  Training for all staff. | Low |
| Point source during transfer from tanker to tank | Air | Local residents | Inhalation of VOCs  Release of odour | Low | Medium | Low – Medium | No nearby residents | ISO14001.  Closest residents c650m distant  Short duration associated with connecting tanker.  Likelihood of off-site emissions is very low.  Maintenance of all tanks and pipe work.  Training for all staff. | Very low |
| Transfer between tank and tanker | Air | Staff | Inhalation of VOCs  Release of odour | Low | Medium | Low – Medium | No nearby residents | ISO14001.  Short duration associated with connecting tanker. Likelihood of off-site emissions is very low. | Very low |
| Transfer between tank and tanker | Air | Local residents | Inhalation of VOCs  Release of odour | Low | Medium | Low – Medium | No nearby residents | ISO14001.  Closest residents c650m distant  Short duration associated with connecting tanker. Likelihood of off-site emissions is very low. | Very low |
| Transfer of water to foul sewer | Air/Water | Staff | Inhalation of VOCs  Release of odour | Low | Low | Low | Water to enter foul sewer via oil interceptor to remove any residual oil | ISO14001.  Full maintenance of drainage system, gullies, pipe-work and interceptor. | Very low |
| Transfer of water to foul sewer | Air/Water | Local residents | Inhalation of VOCs  Release of odour | Low | Low | Low | Water to enter foul sewer via oil interceptor to remove any residual oil | ISO14001.  Full maintenance of drainage system, gullies, pipe-work and interceptor. | Very low |