## Genral Noise Survey Notes
Onsite Worksheet - v0.1
Long Term Locations | Where the SLM has been set? | Distance to the nearest façade | Which Area is the Kit based? | Which kit have you used? | Equipment | Manufacturer | Model | Serial No. | Pre Calibration | Post Calibration | Notes and Relevant Information about the Measurement position and Surroundings
Measurement Position 1 (MP1) | Other - Specified in the notes | Don't apply façade correction | North London | Kit 1 | SLM | Svantek | 971A | 87159 | 113.9 | 114 | MP1 situated on a tripod 1.5m from ground in a small couryard area
[5 empty] | Calibrator | Svantek | SV33 | 125774
General Desription about the Acoustic Environment of the Area. | Heavy vehicle movements audible on site, reversing warnings etc. Loud impulsive crashes from waste recycling being emptied into large skips. Occasional metallic hammering coming from within the cardboard recycling warehouse to the south.
Qualititave Data
What are the dominant noise sources? | Consistant loud noise from recycling facility/warehouse to the north where recycling is being broken down and processed. This noise is reflecting off the façade of the cardboard recycling warehouse to the south in the direction of NSRs to East.
What / Where are the closest NSRs? Describe intervening ground? | Closest NSRs shown on map
Other Useful Notes? | All noise on site is audible from both NSR locations but more so from NSRs to the east.
Site Map
Dominant noise source
Cardboard recycling warehouse

## Data
L664.SVL : Total results
|  |  | P1 (A, Lin) | P1 (A, Fast) | P1 (A, Lin) | P1 (A, Lin)
|  |  | LAeq tot (Calc, 1, TH) [dB] | max(LAFmax) tot (Calc, 1, TH) [dB] | LAeq tot Histogram (Calc, 1, TH) [dB] | LAeq tot Histogram (Calc, 2, TH) [dB]
|  |  | Int.15 m, Whole data, Non-cum | Int.15 m, Whole data, Non-cum | Int.15 m, Whole data, Non-cum | Int.15 m, Whole data, Non-cum
No. | Start date & time | Duration | LAeq,15min | LAFmax,15min | LA90,15min | LA10,15min
1 | 04/08/2023 10:30:00 | 00:15:00.000 | 57.16 | 82.77 | 50.4 | 55.3
2 | 04/08/2023 10:45:00 | 00:15:00.000 | 52.5 | 79.15 | 49.6 | 53.4
3 | 04/08/2023 11:00:00 | 00:15:00.000 | 50.17 | 58.82 | 47.8 | 51.9
4 | 04/08/2023 11:15:00 | 00:15:00.000 | 50.64 | 63.18 | 48.4 | 52.3
5 | 04/08/2023 11:30:00 | 00:15:00.000 | 52.54 | 66.67 | 49.6 | 54
6 | 04/08/2023 11:45:00 | 00:15:00.000 | 51.29 | 61.65 | 48.4 | 53.3
7 | 04/08/2023 12:00:00 | 00:15:00.000 | 54.85 | 75.52 | 49.1 | 57.4
8 | 04/08/2023 12:15:00 | 00:15:00.000 | 57.56 | 71.37 | 52.2 | 59.9
9 | 04/08/2023 12:30:00 | 00:15:00.000 | 52.62 | 70.96 | 50.3 | 54.4
10 | 04/08/2023 12:45:00 | 00:15:00.000 | 51.89 | 66.23 | 50.1 | 53.1
11 | 04/08/2023 13:00:00 | 00:15:00.000 | 50.64 | 64.81 | 47.6 | 52.2
12 | 04/08/2023 13:15:00 | 00:15:00.000 | 52.79 | 69.1 | 47.8 | 55.8
13 | 04/08/2023 13:30:00 | 00:15:00.000 | 53.74 | 69.4 | 49.8 | 55.6
14 | 04/08/2023 13:45:00 | 00:15:00.000 | 52.88 | 70.66 | 48.8 | 53.9
15 | 04/08/2023 14:00:00 | 00:15:00.000 | 52.61 | 71.09 | 48.3 | 54
16 | 04/08/2023 14:15:00 | 00:15:00.000 | 50.89 | 64.82 | 47.6 | 52.8
17 | 04/08/2023 14:30:00 | 00:15:00.000 | 50.22 | 64.67 | 48.1 | 51.7
18 | 04/08/2023 14:45:00 | 00:15:00.000 | 51.99 | 71.94 | 48.5 | 53.9
19 | 04/08/2023 15:00:00 | 00:15:00.000 | 52.07 | 77.61 | 49 | 53.6
20 | 04/08/2023 15:15:00 | 00:15:00.000 | 49.46 | 59.05 | 47.1 | 50.9
21 | 04/08/2023 15:30:00 | 00:15:00.000 | 48.87 | 63.74 | 46.2 | 49.8
22 | 04/08/2023 15:45:00 | 00:15:00.000 | 50.26 | 72.33 | 46.4 | 52.4
23 | 04/08/2023 16:00:00 | 00:15:00.000 | 50.79 | 69.18 | 47.3 | 51.7
24 | 04/08/2023 16:15:00 | 00:15:00.000 | 49.92 | 66.11 | 46.5 | 50.9
25 | 04/08/2023 16:30:00 | 00:15:00.000 | 46.99 | 55.88 | 44.8 | 48.6
26 | 04/08/2023 16:45:00 | 00:15:00.000 | 48.68 | 63.76 | 44.8 | 50.5
27 | 04/08/2023 17:00:00 | 00:15:00.000 | 46.43 | 63.24 | 43.7 | 47.9
28 | 04/08/2023 17:15:00 | 00:15:00.000 | 47.97 | 68.75 | 44.3 | 48.7
29 | 04/08/2023 17:30:00 | 00:15:00.000 | 48.74 | 63.04 | 45.1 | 50.8
30 | 04/08/2023 17:45:00 | 00:15:00.000 | 48.53 | 65.89 | 45.1 | 48.8
31 | 04/08/2023 18:00:00 | 00:15:00.000 | 47.64 | 60.26 | 44.7 | 49.4
32 | 04/08/2023 18:15:00 | 00:15:00.000 | 48.86 | 64.96 | 45.2 | 49.3
33 | 04/08/2023 18:30:00 | 00:15:00.000 | 47.15 | 62 | 44.3 | 49.1
34 | 04/08/2023 18:45:00 | 00:15:00.000 | 52.39 | 69.87 | 44.2 | 50.5
35 | 04/08/2023 19:00:00 | 00:15:00.000 | 49.75 | 71.03 | 44.5 | 48.8
36 | 04/08/2023 19:15:00 | 00:15:00.000 | 47.43 | 64.84 | 44.2 | 48.9
37 | 04/08/2023 19:30:00 | 00:15:00.000 | 49.35 | 71.04 | 44.9 | 49.6
38 | 04/08/2023 19:45:00 | 00:15:00.000 | 48.27 | 65.77 | 45.2 | 49.6
39 | 04/08/2023 20:00:00 | 00:15:00.000 | 47.25 | 62.28 | 44.4 | 49
40 | 04/08/2023 20:15:00 | 00:15:00.000 | 54.62 | 80.44 | 45.2 | 50.7
41 | 04/08/2023 20:30:00 | 00:15:00.000 | 47.04 | 55.2 | 44.8 | 48.7
42 | 04/08/2023 20:45:00 | 00:15:00.000 | 48.03 | 63.57 | 46 | 49.3
43 | 04/08/2023 21:00:00 | 00:15:00.000 | 47.77 | 59.07 | 46 | 49
44 | 04/08/2023 21:15:00 | 00:15:00.000 | 47.23 | 59.58 | 44.8 | 48.7
45 | 04/08/2023 21:30:00 | 00:15:00.000 | 45.51 | 56.79 | 43 | 47.3
46 | 04/08/2023 21:45:00 | 00:15:00.000 | 45.51 | 66.07 | 42.6 | 46.8
47 | 04/08/2023 22:00:00 | 00:15:00.000 | 46.99 | 66.39 | 43.7 | 48.7
48 | 04/08/2023 22:15:00 | 00:15:00.000 | 46.59 | 62.92 | 41.8 | 47.4
49 | 04/08/2023 22:30:00 | 00:15:00.000 | 54.08 | 86.33 | 41.5 | 47.4
50 | 04/08/2023 22:45:00 | 00:15:00.000 | 44.74 | 50.28 | 42.3 | 46.7
51 | 04/08/2023 23:00:00 | 00:15:00.000 | 46.43 | 62.22 | 42 | 48.3
52 | 04/08/2023 23:15:00 | 00:15:00.000 | 46.07 | 53.33 | 43.7 | 47.9
53 | 04/08/2023 23:30:00 | 00:15:00.000 | 46.41 | 59.14 | 42.4 | 49.1
54 | 04/08/2023 23:45:00 | 00:15:00.000 | 48.33 | 62.22 | 43 | 50
55 | 05/08/2023 00:00:00 | 00:15:00.000 | 42.79 | 50.64 | 39.4 | 45.5
56 | 05/08/2023 00:15:00 | 00:15:00.000 | 42.03 | 51.6 | 37.1 | 45 | 44
57 | 05/08/2023 00:30:00 | 00:15:00.000 | 41.91 | 51.59 | 37.6 | 44.5
58 | 05/08/2023 00:45:00 | 00:15:00.000 | 42.77 | 60.43 | 37.8 | 44.9
59 | 05/08/2023 01:00:00 | 00:15:00.000 | 41.76 | 52.95 | 37.3 | 44.8
60 | 05/08/2023 01:15:00 | 00:15:00.000 | 41.4 | 55.09 | 35 | 44.5
61 | 05/08/2023 01:30:00 | 00:15:00.000 | 40.25 | 53.16 | 32.5 | 43.7
62 | 05/08/2023 01:45:00 | 00:15:00.000 | 41.54 | 57.2 | 31.1 | 45.1
63 | 05/08/2023 02:00:00 | 00:15:00.000 | 39.44 | 60.43 | 31.3 | 43.3
64 | 05/08/2023 02:15:00 | 00:15:00.000 | 39.84 | 50.74 | 33 | 43.9
65 | 05/08/2023 02:30:00 | 00:15:00.000 | 38.31 | 52.44 | 29.6 | 42
66 | 05/08/2023 02:45:00 | 00:15:00.000 | 38.81 | 60.43 | 28.9 | 40.7
67 | 05/08/2023 03:00:00 | 00:15:00.000 | 36.94 | 50.21 | 29.2 | 40.5
68 | 05/08/2023 03:15:00 | 00:15:00.000 | 38.76 | 50.78 | 31 | 42.4
69 | 05/08/2023 03:30:00 | 00:15:00.000 | 40.76 | 56.81 | 32.7 | 44.5
70 | 05/08/2023 03:45:00 | 00:15:00.000 | 38.49 | 53.08 | 32.2 | 41.8
71 | 05/08/2023 04:00:00 | 00:15:00.000 | 41.68 | 51.8 | 31.7 | 46.7
72 | 05/08/2023 04:15:00 | 00:15:00.000 | 41.1 | 58.16 | 33.8 | 44.7
73 | 05/08/2023 04:30:00 | 00:15:00.000 | 43.05 | 52.63 | 35.1 | 47.1
74 | 05/08/2023 04:45:00 | 00:15:00.000 | 41.39 | 58.21 | 34.8 | 44.5
75 | 05/08/2023 05:00:00 | 00:15:00.000 | 42.3 | 58.52 | 35.4 | 45.2
76 | 05/08/2023 05:15:00 | 00:15:00.000 | 46.38 | 59.08 | 41.6 | 49.3
77 | 05/08/2023 05:30:00 | 00:15:00.000 | 43.87 | 58.68 | 38.9 | 46.6
78 | 05/08/2023 05:45:00 | 00:15:00.000 | 50.62 | 79.52 | 40.5 | 50.9
79 | 05/08/2023 06:00:00 | 00:15:00.000 | 65.46 | 94.03 | 45.3 | 65.4
80 | 05/08/2023 06:15:00 | 00:15:00.000 | 67.39 | 95.08 | 48 | 62.2
81 | 05/08/2023 06:30:00 | 00:15:00.000 | 64.51 | 96.58 | 48.9 | 63.2
82 | 05/08/2023 06:45:00 | 00:15:00.000 | 63.69 | 92 | 49.3 | 66.9
83 | 05/08/2023 07:00:00 | 00:15:00.000 | 76.48 | 111.21 | 49.6 | 70.6
84 | 05/08/2023 07:15:00 | 00:15:00.000 | 57.15 | 73.99 | 52.2 | 59.5
85 | 05/08/2023 07:30:00 | 00:15:00.000 | 62.53 | 91.91 | 49.7 | 65.6
86 | 05/08/2023 07:45:00 | 00:15:00.000 | 69.09 | 98.08 | 54.1 | 71.4
87 | 05/08/2023 08:00:00 | 00:15:00.000 | 57.56 | 85.98 | 53 | 58.5
88 | 05/08/2023 08:15:00 | 00:15:00.000 | 56.04 | 74.29 | 53.1 | 57.7
89 | 05/08/2023 08:30:00 | 00:15:00.000 | 63.53 | 84.32 | 54.7 | 66.7
90 | 05/08/2023 08:45:00 | 00:15:00.000 | 64.3 | 84.94 | 58.8 | 64.7
91 | 05/08/2023 09:00:00 | 00:15:00.000 | 82.2 | 101.89 | 58.8 | 86.1
92 | 05/08/2023 09:15:00 | 00:15:00.000 | 69.77 | 90.36 | 54.8 | 74.5
93 | 05/08/2023 09:30:00 | 00:15:00.000 | 88.2 | 113.27 | 64.9 | 85.7 |  | 40.8
94 | 05/08/2023 09:45:00 | 00:15:00.000 | 76.96 | 99.45 | 62.8 | 74.4
95 | 05/08/2023 10:00:00 | 00:15:00.000 | 79.19 | 101.58 | 60.6 | 81.1
96 | 05/08/2023 10:15:00 | 00:15:00.000 | 64.72 | 84.62 | 58 | 67.5
97 | 05/08/2023 10:30:00 | 00:15:00.000 | 79.98 | 107.42 | 59.2 | 79.2
98 | 05/08/2023 10:45:00 | 00:15:00.000 | 80.52 | 99.87 | 59.4 | 83.6
99 | 05/08/2023 11:00:00 | 00:15:00.000 | 79.6 | 102.09 | 63.5 | 82.2
100 | 05/08/2023 11:15:00 | 00:15:00.000 | 77.71 | 102 | 59.7 | 76
101 | 05/08/2023 11:30:00 | 00:15:00.000 | 75.62 | 94.91 | 58.8 | 78.6
102 | 05/08/2023 11:45:00 | 00:15:00.000 | 73.26 | 94.32 | 59.8 | 76.6
103 | 05/08/2023 12:00:00 | 00:15:00.000 | 62.03 | 85.43 | 49.6 | 65.2
104 | 05/08/2023 12:15:00 | 00:15:00.000 | 62.34 | 79.32 | 51.1 | 66.3
105 | 05/08/2023 12:30:00 | 00:15:00.000 | 63.88 | 77.19 | 57.1 | 67.1
106 | 05/08/2023 12:45:00 | 00:15:00.000 | 68.4 | 88.18 | 57.7 | 70.7
107 | 05/08/2023 13:00:00 | 00:15:00.000 | 67.23 | 86.27 | 57.2 | 70.4
108 | 05/08/2023 13:15:00 | 00:15:00.000 | 73.84 | 91.49 | 61.6 | 77.4
109 | 05/08/2023 13:30:00 | 00:15:00.000 | 71.12 | 91.37 | 56.3 | 75.3
110 | 05/08/2023 13:45:00 | 00:15:00.000 | 60.64 | 86.86 | 46 | 59.6
111 | 05/08/2023 14:00:00 | 00:15:00.000 | 57.47 | 80.24 | 45 | 54.1
112 | 05/08/2023 14:15:00 | 00:15:00.000 | 48.82 | 73.04 | 44.4 | 50.5
113 | 05/08/2023 14:30:00 | 00:15:00.000 | 47.26 | 69.56 | 43.8 | 47.8
114 | 05/08/2023 14:45:00 | 00:15:00.000 | 46.7 | 63.63 | 44.4 | 48.6
115 | 05/08/2023 15:00:00 | 00:15:00.000 | 46.09 | 55.15 | 44.6 | 47.3
116 | 05/08/2023 15:15:00 | 00:15:00.000 | 46.56 | 56.39 | 44.1 | 48.5
117 | 05/08/2023 15:30:00 | 00:15:00.000 | 43.38 | 49.24 | 42.1 | 44.6
118 | 05/08/2023 15:45:00 | 00:15:00.000 | 43.77 | 52.8 | 41.9 | 45.4
119 | 05/08/2023 16:00:00 | 00:15:00.000 | 43.49 | 50.13 | 42.2 | 44.6
120 | 05/08/2023 16:15:00 | 00:15:00.000 | 43.99 | 54.33 | 42.8 | 44.9
121 | 05/08/2023 16:30:00 | 00:15:00.000 | 44.73 | 50.53 | 43.4 | 45.8
122 | 05/08/2023 16:45:00 | 00:15:00.000 | 45.32 | 52.84 | 43.5 | 46.8
123 | 05/08/2023 17:00:00 | 00:15:00.000 | 44.54 | 51.27 | 42 | 46.5
124 | 05/08/2023 17:15:00 | 00:15:00.000 | 44.4 | 52.22 | 43 | 45.7
125 | 05/08/2023 17:30:00 | 00:15:00.000 | 45.84 | 52.19 | 43.8 | 47.4
126 | 05/08/2023 17:45:00 | 00:15:00.000 | 44.4 | 48.69 | 43 | 45.7
127 | 05/08/2023 18:00:00 | 00:15:00.000 | 43.93 | 50.69 | 42.5 | 44.9
128 | 05/08/2023 18:15:00 | 00:15:00.000 | 44.71 | 53.26 | 43.3 | 45.8
129 | 05/08/2023 18:30:00 | 00:15:00.000 | 44.32 | 49.52 | 43.1 | 45.4
130 | 05/08/2023 18:45:00 | 00:15:00.000 | 45.06 | 49.73 | 43.6 | 46.2
131 | 05/08/2023 19:00:00 | 00:15:00.000 | 44.97 | 50.92 | 44 | 45.9
132 | 05/08/2023 19:15:00 | 00:15:00.000 | 45.67 | 51.83 | 44 | 47.1
133 | 05/08/2023 19:30:00 | 00:15:00.000 | 44.74 | 51.99 | 43 | 46
134 | 05/08/2023 19:45:00 | 00:15:00.000 | 46.4 | 54.23 | 43.9 | 48.4
135 | 05/08/2023 20:00:00 | 00:15:00.000 | 44.94 | 51.47 | 43 | 46.6
136 | 05/08/2023 20:15:00 | 00:15:00.000 | 46.7 | 54.89 | 44 | 48.5
137 | 05/08/2023 20:30:00 | 00:15:00.000 | 47.04 | 58.07 | 44.2 | 49.2
138 | 05/08/2023 20:45:00 | 00:15:00.000 | 46.95 | 59.47 | 44.1 | 49.2
139 | 05/08/2023 21:00:00 | 00:15:00.000 | 44.17 | 51.32 | 42.2 | 45.7
140 | 05/08/2023 21:15:00 | 00:15:00.000 | 53.29 | 83.41 | 42.6 | 46.8
141 | 05/08/2023 21:30:00 | 00:15:00.000 | 45.64 | 73.44 | 43.4 | 46.5
142 | 05/08/2023 21:45:00 | 00:15:00.000 | 62.13 | 90.33 | 46 | 64.9
143 | 05/08/2023 22:00:00 | 00:15:00.000 | 58.74 | 76.88 | 50.3 | 61.1
144 | 05/08/2023 22:15:00 | 00:15:00.000 | 55.36 | 64.12 | 50.3 | 58.2
145 | 05/08/2023 22:30:00 | 00:15:00.000 | 58.63 | 75.82 | 50.9 | 61.7
146 | 05/08/2023 22:45:00 | 00:15:00.000 | 60.06 | 80.46 | 49.2 | 63.6
147 | 05/08/2023 23:00:00 | 00:15:00.000 | 49.8 | 64.36 | 47.1 | 51.8
148 | 05/08/2023 23:15:00 | 00:15:00.000 | 50.72 | 65.28 | 45.7 | 53.7
149 | 05/08/2023 23:30:00 | 00:15:00.000 | 46.18 | 58.57 | 43.9 | 47.8
150 | 05/08/2023 23:45:00 | 00:15:00.000 | 45.61 | 56.6 | 43.9 | 47
151 | 06/08/2023 00:00:00 | 00:15:00.000 | 46.5 | 60.08 | 43.8 | 47.7
152 | 06/08/2023 00:15:00 | 00:15:00.000 | 45.31 | 55.42 | 43 | 47.3
153 | 06/08/2023 00:30:00 | 00:15:00.000 | 44.32 | 57.04 | 42.1 | 46.3
154 | 06/08/2023 00:45:00 | 00:15:00.000 | 44.68 | 55.8 | 42.1 | 46.5
155 | 06/08/2023 01:00:00 | 00:15:00.000 | 44.11 | 55.88 | 41.2 | 45.8
156 | 06/08/2023 01:15:00 | 00:15:00.000 | 44.8 | 57.84 | 42 | 46.4
157 | 06/08/2023 01:30:00 | 00:15:00.000 | 57.66 | 86.39 | 43 | 57.7
158 | 06/08/2023 01:45:00 | 00:15:00.000 | 44.63 | 52.7 | 42.4 | 46.5
159 | 06/08/2023 02:00:00 | 00:15:00.000 | 44.34 | 54.39 | 42.1 | 46.1
160 | 06/08/2023 02:15:00 | 00:15:00.000 | 47.84 | 74.87 | 41.1 | 47.1
161 | 06/08/2023 02:30:00 | 00:15:00.000 | 44.66 | 53.35 | 40.9 | 48.5
162 | 06/08/2023 02:45:00 | 00:15:00.000 | 42.25 | 51.73 | 40.8 | 43.5
163 | 06/08/2023 03:00:00 | 00:15:00.000 | 41.75 | 50.14 | 40.1 | 42.9
164 | 06/08/2023 03:15:00 | 00:15:00.000 | 42.52 | 52.81 | 40.1 | 44.7
165 | 06/08/2023 03:30:00 | 00:15:00.000 | 41.76 | 54.63 | 39.2 | 44.1
166 | 06/08/2023 03:45:00 | 00:15:00.000 | 41.69 | 51.62 | 39.7 | 43.1
167 | 06/08/2023 04:00:00 | 00:15:00.000 | 41.45 | 49.89 | 40 | 42.7
168 | 06/08/2023 04:15:00 | 00:15:00.000 | 41.35 | 49.99 | 39.7 | 42.6
169 | 06/08/2023 04:30:00 | 00:15:00.000 | 41.5 | 53.1 | 39 | 43.6
170 | 06/08/2023 04:45:00 | 00:15:00.000 | 41.29 | 52.22 | 39.4 | 42.7
171 | 06/08/2023 05:00:00 | 00:15:00.000 | 40.87 | 48.62 | 38.9 | 42.3
172 | 06/08/2023 05:15:00 | 00:15:00.000 | 41.26 | 51.32 | 39.3 | 42.8
173 | 06/08/2023 05:30:00 | 00:15:00.000 | 40.08 | 53.51 | 38.4 | 41.2
174 | 06/08/2023 05:45:00 | 00:15:00.000 | 39.48 | 52.85 | 38.1 | 40.7
175 | 06/08/2023 06:00:00 | 00:15:00.000 | 38.87 | 49.66 | 37.2 | 40.2
176 | 06/08/2023 06:15:00 | 00:15:00.000 | 40.05 | 47.52 | 38.4 | 41.4
177 | 06/08/2023 06:30:00 | 00:15:00.000 | 40.61 | 50 | 39.1 | 41.8
178 | 06/08/2023 06:45:00 | 00:15:00.000 | 40.28 | 49.75 | 38.8 | 41.6
179 | 06/08/2023 07:00:00 | 00:15:00.000 | 39.95 | 45.83 | 38.2 | 41.5
180 | 06/08/2023 07:15:00 | 00:15:00.000 | 40.94 | 47.68 | 38.9 | 42.5
181 | 06/08/2023 07:30:00 | 00:15:00.000 | 41.2 | 49.52 | 39.3 | 42.4
182 | 06/08/2023 07:45:00 | 00:15:00.000 | 47.74 | 63.64 | 42.2 | 51
183 | 06/08/2023 08:00:00 | 00:15:00.000 | 44.48 | 53.64 | 41 | 46.9
184 | 06/08/2023 08:15:00 | 00:15:00.000 | 47.01 | 62.01 | 42.1 | 49.9
185 | 06/08/2023 08:30:00 | 00:15:00.000 | 47.52 | 59.29 | 42.6 | 50.3
186 | 06/08/2023 08:45:00 | 00:15:00.000 | 54.36 | 88.34 | 42.6 | 48.8
187 | 06/08/2023 09:00:00 | 00:15:00.000 | 46.98 | 58.67 | 42.4 | 49.9
188 | 06/08/2023 09:15:00 | 00:15:00.000 | 49.29 | 81.21 | 42.9 | 49.6
189 | 06/08/2023 09:30:00 | 00:15:00.000 | 44.57 | 57.52 | 41.1 | 46.8
190 | 06/08/2023 09:45:00 | 00:15:00.000 | 42.75 | 47.89 | 40.8 | 44.4
191 | 06/08/2023 10:00:00 | 00:15:00.000 | 40.41 | 46.54 | 38.7 | 41.8
192 | 06/08/2023 10:15:00 | 00:15:00.000 | 40.93 | 48.25 | 39 | 42.7
193 | 06/08/2023 10:30:00 | 00:15:00.000 | 40.74 | 46.73 | 39 | 42.1
194 | 06/08/2023 10:45:00 | 00:15:00.000 | 39.96 | 46.03 | 38.8 | 40.9
195 | 06/08/2023 11:00:00 | 00:15:00.000 | 39.98 | 43.94 | 38.5 | 41.1
196 | 06/08/2023 11:15:00 | 00:15:00.000 | 38.88 | 45.18 | 37.3 | 40.2
197 | 06/08/2023 11:30:00 | 00:15:00.000 | 39.07 | 43.95 | 37.2 | 40.7
198 | 06/08/2023 11:45:00 | 00:15:00.000 | 39.36 | 45.56 | 37.7 | 40.8
199 | 06/08/2023 12:00:00 | 00:15:00.000 | 39.34 | 44.57 | 38 | 40.6
200 | 06/08/2023 12:15:00 | 00:15:00.000 | 38.7 | 44.22 | 37.1 | 40
201 | 06/08/2023 12:30:00 | 00:15:00.000 | 39.66 | 45.79 | 37.4 | 41.5
202 | 06/08/2023 12:45:00 | 00:15:00.000 | 38.5 | 43.87 | 37.2 | 39.7
203 | 06/08/2023 13:00:00 | 00:15:00.000 | 38.54 | 42.42 | 37.2 | 39.7
204 | 06/08/2023 13:15:00 | 00:15:00.000 | 39.11 | 44.57 | 37.6 | 40.4
205 | 06/08/2023 13:30:00 | 00:15:00.000 | 39.84 | 44.49 | 38.3 | 41
206 | 06/08/2023 13:45:00 | 00:15:00.000 | 40.25 | 44.9 | 38.9 | 41.5
207 | 06/08/2023 14:00:00 | 00:15:00.000 | 40.09 | 45.33 | 38.4 | 41.5
208 | 06/08/2023 14:15:00 | 00:15:00.000 | 40.98 | 44.83 | 39.4 | 42.1
209 | 06/08/2023 14:30:00 | 00:15:00.000 | 42.19 | 51.77 | 40.3 | 43.8
210 | 06/08/2023 14:45:00 | 00:15:00.000 | 43.36 | 51.89 | 40.8 | 45.2
211 | 06/08/2023 15:00:00 | 00:15:00.000 | 41.22 | 49.69 | 38.7 | 42.9
212 | 06/08/2023 15:15:00 | 00:15:00.000 | 44.61 | 54.01 | 41.3 | 46.7
213 | 06/08/2023 15:30:00 | 00:15:00.000 | 43.81 | 50.84 | 39.8 | 46.1
214 | 06/08/2023 15:45:00 | 00:15:00.000 | 49.74 | 70.43 | 43.7 | 52.6
215 | 06/08/2023 16:00:00 | 00:15:00.000 | 49.15 | 59.72 | 45.3 | 51.5
216 | 06/08/2023 16:15:00 | 00:15:00.000 | 49.92 | 62.1 | 45.4 | 52.5
217 | 06/08/2023 16:30:00 | 00:15:00.000 | 50.46 | 61.42 | 46.1 | 53.4
218 | 06/08/2023 16:45:00 | 00:15:00.000 | 49.24 | 59.45 | 45 | 52.1
219 | 06/08/2023 17:00:00 | 00:15:00.000 | 48.82 | 57.77 | 43.9 | 51.7
220 | 06/08/2023 17:15:00 | 00:15:00.000 | 51.41 | 62.44 | 47.3 | 53.9
221 | 06/08/2023 17:30:00 | 00:15:00.000 | 50.57 | 60.11 | 44.3 | 54.1
222 | 06/08/2023 17:45:00 | 00:15:00.000 | 49.52 | 67.47 | 43.9 | 52.6
223 | 06/08/2023 18:00:00 | 00:15:00.000 | 50.09 | 66.75 | 44.3 | 53.1
224 | 06/08/2023 18:15:00 | 00:15:00.000 | 44.53 | 59.67 | 39.1 | 47.7
225 | 06/08/2023 18:30:00 | 00:15:00.000 | 42.82 | 61.43 | 37.7 | 45.5
226 | 06/08/2023 18:45:00 | 00:15:00.000 | 40.6 | 50.81 | 38.1 | 42.8
227 | 06/08/2023 19:00:00 | 00:15:00.000 | 41.58 | 53.07 | 38.6 | 44
228 | 06/08/2023 19:15:00 | 00:15:00.000 | 47.77 | 62.67 | 42.1 | 50.9
229 | 06/08/2023 19:30:00 | 00:15:00.000 | 47.44 | 57.82 | 43.3 | 50.2
230 | 06/08/2023 19:45:00 | 00:15:00.000 | 47.01 | 63.76 | 43 | 49.2
231 | 06/08/2023 20:00:00 | 00:15:00.000 | 51.48 | 64.76 | 46.2 | 54.8
232 | 06/08/2023 20:15:00 | 00:15:00.000 | 54.36 | 76.47 | 46.5 | 54.7
233 | 06/08/2023 20:30:00 | 00:15:00.000 | 48.97 | 61.37 | 43.7 | 52.2
234 | 06/08/2023 20:45:00 | 00:15:00.000 | 48.74 | 66.21 | 43.2 | 51.6
235 | 06/08/2023 21:00:00 | 00:15:00.000 | 48.67 | 69.49 | 42.2 | 50.6
236 | 06/08/2023 21:15:00 | 00:15:00.000 | 48.54 | 66.8 | 41.1 | 52.3
237 | 06/08/2023 21:30:00 | 00:15:00.000 | 44.41 | 53.05 | 41.2 | 46.9
238 | 06/08/2023 21:45:00 | 00:15:00.000 | 48.08 | 62.84 | 42.9 | 51.2
239 | 06/08/2023 22:00:00 | 00:15:00.000 | 47.81 | 59.89 | 42.5 | 50.6
240 | 06/08/2023 22:15:00 | 00:15:00.000 | 49.19 | 62.89 | 43.7 | 52.2
241 | 06/08/2023 22:30:00 | 00:15:00.000 | 47.83 | 61.9 | 42.8 | 50.5
242 | 06/08/2023 22:45:00 | 00:15:00.000 | 45.61 | 57.06 | 42.1 | 47.8
243 | 06/08/2023 23:00:00 | 00:15:00.000 | 46.17 | 57.85 | 43.2 | 48.5
244 | 06/08/2023 23:15:00 | 00:15:00.000 | 44.9 | 53.76 | 41.5 | 47.2
245 | 06/08/2023 23:30:00 | 00:15:00.000 | 42.14 | 51.76 | 40.2 | 43.9
246 | 06/08/2023 23:45:00 | 00:15:00.000 | 41.2 | 47.89 | 39.3 | 42.6
247 | 07/08/2023 00:00:00 | 00:15:00.000 | 41.25 | 50.26 | 39.3 | 42.8
248 | 07/08/2023 00:15:00 | 00:15:00.000 | 46.07 | 57.69 | 42.2 | 48.6
249 | 07/08/2023 00:30:00 | 00:15:00.000 | 54.33 | 81.95 | 39.1 | 49.6
250 | 07/08/2023 00:45:00 | 00:15:00.000 | 46.83 | 69.35 | 40 | 44.5
251 | 07/08/2023 01:00:00 | 00:15:00.000 | 55.61 | 74.51 | 45.4 | 60.1
252 | 07/08/2023 01:15:00 | 00:15:00.000 | 46.81 | 57.69 | 43.7 | 49.5
253 | 07/08/2023 01:30:00 | 00:15:00.000 | 52.39 | 66.89 | 47 | 55.2
254 | 07/08/2023 01:45:00 | 00:15:00.000 | 55.41 | 80.61 | 47.3 | 55.4
255 | 07/08/2023 02:00:00 | 00:15:00.000 | 57.54 | 82.84 | 46.6 | 55.4
256 | 07/08/2023 02:15:00 | 00:15:00.000 | 50.95 | 64.54 | 46.5 | 53.7
257 | 07/08/2023 02:30:00 | 00:15:00.000 | 55.69 | 77.09 | 48.1 | 55.9
258 | 07/08/2023 02:45:00 | 00:15:00.000 | 51.59 | 65.41 | 46.9 | 54.1
259 | 07/08/2023 03:00:00 | 00:15:00.000 | 48.51 | 59.98 | 43.5 | 51.6
260 | 07/08/2023 03:15:00 | 00:15:00.000 | 46.3 | 55 | 42.4 | 48.7
261 | 07/08/2023 03:30:00 | 00:15:00.000 | 46.19 | 56.02 | 42.2 | 48.7
262 | 07/08/2023 03:45:00 | 00:15:00.000 | 47.34 | 57.19 | 42.8 | 50.1
263 | 07/08/2023 04:00:00 | 00:15:00.000 | 47.29 | 58.53 | 43.5 | 49.6
264 | 07/08/2023 04:15:00 | 00:15:00.000 | 48.81 | 62.86 | 44.2 | 51.6
265 | 07/08/2023 04:30:00 | 00:15:00.000 | 50.57 | 63.67 | 45.6 | 52.8
266 | 07/08/2023 04:45:00 | 00:15:00.000 | 47.85 | 60.15 | 43.3 | 50.5
267 | 07/08/2023 05:00:00 | 00:15:00.000 | 47.09 | 57.06 | 43.5 | 49.6
268 | 07/08/2023 05:15:00 | 00:15:00.000 | 47.78 | 57.13 | 44.2 | 50.3
269 | 07/08/2023 05:30:00 | 00:15:00.000 | 47.32 | 57.94 | 43.7 | 49.8
270 | 07/08/2023 05:45:00 | 00:15:00.000 | 56.69 | 82.81 | 46.3 | 57.3
271 | 07/08/2023 06:00:00 | 00:15:00.000 | 51.57 | 63.28 | 47.6 | 53.1
272 | 07/08/2023 06:15:00 | 00:15:00.000 | 51.12 | 64.28 | 47.6 | 53.5
273 | 07/08/2023 06:30:00 | 00:15:00.000 | 49.54 | 58.97 | 44.4 | 52.6
274 | 07/08/2023 06:45:00 | 00:15:00.000 | 50.29 | 64.81 | 44.5 | 53.3
275 | 07/08/2023 07:00:00 | 00:15:00.000 | 51.29 | 84.91 | 43 | 52.5
276 | 07/08/2023 07:15:00 | 00:15:00.000 | 56.64 | 79.72 | 41.4 | 60.3
277 | 07/08/2023 07:30:00 | 00:15:00.000 | 55.57 | 86.26 | 42.9 | 55.7
278 | 07/08/2023 07:45:00 | 00:15:00.000 | 46.37 | 62.72 | 40.1 | 50.1
279 | 07/08/2023 08:00:00 | 00:15:00.000 | 47.99 | 60.44 | 42.5 | 50.7
280 | 07/08/2023 08:15:00 | 00:15:00.000 | 48.44 | 69.86 | 43.2 | 51.1
281 | 07/08/2023 08:30:00 | 00:15:00.000 | 49.35 | 65.05 | 43.6 | 52.5
282 | 07/08/2023 08:45:00 | 00:15:00.000 | 49.44 | 60.18 | 45 | 52.1
283 | 07/08/2023 09:00:00 | 00:15:00.000 | 53.74 | 75.29 | 43.4 | 58
284 | 07/08/2023 09:15:00 | 00:15:00.000 | 50.97 | 67.3 | 45 | 54
285 | 07/08/2023 09:30:00 | 00:15:00.000 | 54.12 | 78.35 | 47.6 | 53.8
286 | 07/08/2023 09:45:00 | 00:15:00.000 | 58.74 | 77.92 | 47.1 | 63.2
287 | 07/08/2023 10:00:00 | 00:15:00.000 | 49.83 | 62.73 | 45.7 | 52.3
288 | 07/08/2023 10:15:00 | 00:15:00.000 | 49.93 | 71.11 | 44.1 | 53
289 | 07/08/2023 10:30:00 | 00:15:00.000 | 49.98 | 65.51 | 45.3 | 52.8
290 | 07/08/2023 10:45:00 | 00:15:00.000 | 49.64 | 59.68 | 45.8 | 52
291 | 07/08/2023 11:00:00 | 00:15:00.000 | 49.55 | 62.49 | 45.3 | 51.9
292 | 07/08/2023 11:15:00 | 00:15:00.000 | 51.26 | 62.37 | 47.3 | 54.1
293 | 07/08/2023 11:30:00 | 00:15:00.000 | 48.84 | 61.5 | 44.6 | 51.6
294 | 07/08/2023 11:45:00 | 00:15:00.000 | 46.92 | 55.57 | 44.5 | 48.9
295 | 07/08/2023 12:00:00 | 00:15:00.000 | 49.42 | 64.52 | 44.7 | 52.7
296 | 07/08/2023 12:15:00 | 00:15:00.000 | 51.13 | 60.09 | 47.4 | 53.6
297 | 07/08/2023 12:30:00 | 00:15:00.000 | 47.86 | 61.17 | 44.7 | 49.9
298 | 07/08/2023 12:45:00 | 00:15:00.000 | 47.73 | 59.84 | 44.4 | 50.1
299 | 07/08/2023 13:00:00 | 00:15:00.000 | 50.83 | 68.57 | 47.7 | 52.9
300 | 07/08/2023 13:15:00 | 00:15:00.000 | 49.56 | 67.1 | 46.1 | 51.7
301 | 07/08/2023 13:30:00 | 00:15:00.000 | 51.26 | 71.91 | 46.4 | 54.4
302 | 07/08/2023 13:45:00 | 00:15:00.000 | 51.47 | 67.57 | 47 | 54
303 | 07/08/2023 14:00:00 | 00:15:00.000 | 51.63 | 70.17 | 46.2 | 55
304 | 07/08/2023 14:15:00 | 00:15:00.000 | 57.79 | 75.3 | 51.6 | 59.8

## Weekday
07/08/2023 00:00:00 | 39.3 | 04/08/2023 10:30:00 | 50.4
07/08/2023 00:15:00 | 42.2 | 04/08/2023 10:45:00 | 49.6
07/08/2023 00:30:00 | 39.1 | 04/08/2023 11:00:00 | 47.8
07/08/2023 00:45:00 | 40 | 04/08/2023 11:15:00 | 48.4
07/08/2023 01:00:00 | 45.4 | 04/08/2023 11:30:00 | 49.6
07/08/2023 01:15:00 | 43.7 | 04/08/2023 11:45:00 | 48.4
07/08/2023 01:30:00 | 47 | 04/08/2023 12:00:00 | 49.1
07/08/2023 01:45:00 | 47.3 | 04/08/2023 12:15:00 | 52.2
07/08/2023 02:00:00 | 46.6 | 04/08/2023 12:30:00 | 50.3
07/08/2023 02:15:00 | 46.5 | 04/08/2023 12:45:00 | 50.1
07/08/2023 02:30:00 | 48.1 | 04/08/2023 13:00:00 | 47.6
07/08/2023 02:45:00 | 46.9 | 04/08/2023 13:15:00 | 47.8
07/08/2023 03:00:00 | 43.5 | 04/08/2023 13:30:00 | 49.8
07/08/2023 03:15:00 | 42.4 | 04/08/2023 13:45:00 | 48.8
07/08/2023 03:30:00 | 42.2 | 04/08/2023 14:00:00 | 48.3
07/08/2023 03:45:00 | 42.8 | 04/08/2023 14:15:00 | 47.6
07/08/2023 04:00:00 | 43.5 | 04/08/2023 14:30:00 | 48.1
07/08/2023 04:15:00 | 44.2 | 04/08/2023 14:45:00 | 48.5
07/08/2023 04:30:00 | 45.6 | 04/08/2023 15:00:00 | 49
07/08/2023 04:45:00 | 43.3 | 04/08/2023 15:15:00 | 47.1
07/08/2023 05:00:00 | 43.5 | 04/08/2023 15:30:00 | 46.2
07/08/2023 05:15:00 | 44.2 | 04/08/2023 15:45:00 | 46.4
07/08/2023 05:30:00 | 43.7 | 04/08/2023 16:00:00 | 47.3
07/08/2023 05:45:00 | 46.3 | 04/08/2023 16:15:00 | 46.5
07/08/2023 06:00:00 | 47.6 | 04/08/2023 16:30:00 | 44.8
07/08/2023 06:15:00 | 47.6 | 04/08/2023 16:45:00 | 44.8
07/08/2023 06:30:00 | 44.4 | 04/08/2023 17:00:00 | 43.7 | Times of inactivity |  | LA90
07/08/2023 06:45:00 | 44.5 | 04/08/2023 17:15:00 | 44.3 | Friday 04/08/2023
07/08/2023 07:00:00 | 43 | 04/08/2023 17:30:00 | 45.1
07/08/2023 07:15:00 | 41.4 | 04/08/2023 17:45:00 | 45.1 | 04/08/2023 16:00:00 | 00:15:00.000 | 47.3 | 44.45
07/08/2023 07:30:00 | 42.9 | 04/08/2023 18:00:00 | 44.7 | 04/08/2023 16:15:00 | 00:15:00.000 | 46.5
07/08/2023 07:45:00 | 40.1 | 04/08/2023 18:15:00 | 45.2 | 04/08/2023 16:30:00 | 00:15:00.000 | 44.8
07/08/2023 08:00:00 | 42.5 | 04/08/2023 18:30:00 | 44.3 | 04/08/2023 16:45:00 | 00:15:00.000 | 44.8
07/08/2023 08:15:00 | 43.2 | 04/08/2023 18:45:00 | 44.2 | 04/08/2023 17:00:00 | 00:15:00.000 | 43.7
07/08/2023 08:30:00 | 43.6 | 04/08/2023 19:00:00 | 44.5 | 04/08/2023 17:15:00 | 00:15:00.000 | 44.3
07/08/2023 08:45:00 | 45 | 04/08/2023 19:15:00 | 44.2 | 04/08/2023 17:30:00 | 00:15:00.000 | 45.1
07/08/2023 09:00:00 | 43.4 | 04/08/2023 19:30:00 | 44.9 | 04/08/2023 17:45:00 | 00:15:00.000 | 45.1
07/08/2023 09:15:00 | 45 | 04/08/2023 19:45:00 | 45.2 | 04/08/2023 18:00:00 | 00:15:00.000 | 44.7
07/08/2023 09:30:00 | 47.6 | 04/08/2023 20:00:00 | 44.4 | 04/08/2023 18:15:00 | 00:15:00.000 | 45.2
07/08/2023 09:45:00 | 47.1 | 04/08/2023 20:15:00 | 45.2 | 04/08/2023 18:30:00 | 00:15:00.000 | 44.3
07/08/2023 10:00:00 | 45.7 | 04/08/2023 20:30:00 | 44.8 | 04/08/2023 18:45:00 | 00:15:00.000 | 44.2
07/08/2023 10:15:00 | 44.1 | 04/08/2023 20:45:00 | 46 | 04/08/2023 19:00:00 | 00:15:00.000 | 44.5
07/08/2023 10:30:00 | 45.3 | 04/08/2023 21:00:00 | 46 | 04/08/2023 19:15:00 | 00:15:00.000 | 44.2
07/08/2023 10:45:00 | 45.8 | 04/08/2023 21:15:00 | 44.8 | 04/08/2023 19:30:00 | 00:15:00.000 | 44.9
07/08/2023 11:00:00 | 45.3 | 04/08/2023 21:30:00 | 43 | 04/08/2023 19:45:00 | 00:15:00.000 | 45.2
07/08/2023 11:15:00 | 47.3 | 04/08/2023 21:45:00 | 42.6 | 04/08/2023 20:00:00 | 00:15:00.000 | 44.4
07/08/2023 11:30:00 | 44.6 | 04/08/2023 22:00:00 | 43.7 | 04/08/2023 20:15:00 | 00:15:00.000 | 45.2
07/08/2023 11:45:00 | 44.5 | 04/08/2023 22:15:00 | 41.8 | 04/08/2023 20:30:00 | 00:15:00.000 | 44.8
07/08/2023 12:00:00 | 44.7 | 04/08/2023 22:30:00 | 41.5 | 04/08/2023 20:45:00 | 00:15:00.000 | 46
07/08/2023 12:15:00 | 47.4 | 04/08/2023 22:45:00 | 42.3 | 04/08/2023 21:00:00 | 00:15:00.000 | 46
07/08/2023 12:30:00 | 44.7 | 04/08/2023 23:00:00 | 42 | 04/08/2023 21:15:00 | 00:15:00.000 | 44.8
07/08/2023 12:45:00 | 44.4 | 04/08/2023 23:15:00 | 43.7 | 04/08/2023 21:30:00 | 00:15:00.000 | 43
07/08/2023 13:00:00 | 47.7 | 04/08/2023 23:30:00 | 42.4 | 04/08/2023 21:45:00 | 00:15:00.000 | 42.6
07/08/2023 13:15:00 | 46.1 | 04/08/2023 23:45:00 | 43 | 04/08/2023 22:00:00 | 00:15:00.000 | 43.7
07/08/2023 13:30:00 | 46.4 |  |  | 04/08/2023 22:15:00 | 00:15:00.000 | 41.8
07/08/2023 13:45:00 | 47 |  |  | 04/08/2023 22:30:00 | 00:15:00.000 | 41.5
07/08/2023 14:00:00 | 46.2 |  |  | 04/08/2023 22:45:00 | 00:15:00.000 | 42.3
07/08/2023 14:15:00 | 51.6 |  |  | 04/08/2023 23:00:00 | 00:15:00.000 | 42
|  |  |  | 04/08/2023 23:15:00 | 00:15:00.000 | 43.7
|  |  |  | 04/08/2023 23:30:00 | 00:15:00.000 | 42.4
|  |  |  | 04/08/2023 23:45:00 | 00:15:00.000 | 43