POLIHIM-SS UK LTD

Environmental Instruction Water Pollution Control (EI-05)

Revision No. : 1

Date : 24 – 11 – 2019

| Prepared by : | Sonia Vladimirova |
| --- | --- |
|  | (EMR) |
| Approved by : | Polina Stefanova |
|  | (Director) |

###### Revision History

| Revision Date | Description | Sections Affected | Revised By | Approved By |
| --- | --- | --- | --- | --- |
| 24/11/2019 | First issue | - - | - - | Polina Stefanova |

- Purpose

This instruction outlines the practices to be adopted for water pollution control and to comply with legal and other requirements.

- Scope

This environmental instruction is applicable to the activities and operations which have the potential to give rise to water pollution and includes best practice procedures for the following:

- Storage of hazardous waste oil (130205*)

- Procedure

  - Best Practices for Water Pollution Control

Operators shall ensure:

- Surfaces and containment or drainage facilities are adequate on site

- There is adequate resistance to chemical attack

- Impervious surfaces are checked and undergo regular maintenance

- Spill containment kerbs are provided

- Any spillage is contained without access to surface or ground water

- Record in daily equipment checks the state of all containment equipment, pipes and connectors and identify faults as soon as they are noticed

- Monitoring and Checking

The EMR shall ensure that:

- facilities specified in this EI are provided adequately;

- practices specified in this or other relevant EI are followed by staff and relevant contractors; and

The Plant Manager or his / her delegate shall:

- ensure that sufficient measures are carried out to control water pollution from company operations and activities.

- where nonconformity are identified corrective action measures are defined and implemented in accordance with EP-07 Enquiry / Complaint / Nonconformity Handling.

- Records

| Record Description | Record Location/ Retention Responsibility | Minimum Retention Time |
| --- | --- | --- |
| Plant and facility check (EF-EI03-01) | EMR | 3 years |

- Appendix

N/A