## Issue Log
Issue and Revision Record
Revision | Date | Originator | Checker | Approver | Description
A | 2024-12-11 | Shannon Stone | Anita Manns | Anita Manns | In response to NDM RfI Dec 2024
Document reference: | 790101_Appropriate Measures_GRA December 2024
Information class: | Standard
This document is issued for the party which commissioned it and for specific purposes connected with the above-captioned project only. It should not be relied upon by any other party or used for any other purpose.
We accept no responsibility for the consequences of this document being relied upon by any other party, or being used for any other purpose, or containing any error or omission which is due to an error or omission in data supplied to us by other parties.
This document contains confidential information and proprietary intellectual property. It should not be shown to other parties without consent from us and from the party which commissioned it.

## Summary
Appropriate Measures inert and non hazardous waste | Biological waste treatment: appropriate measures for permitted facilities | Topic | Comment
Part 1 | Part 1 | When appropriate measures apply | N/A, context only
| Part 2 | Definition of biodegradable and sewage sludge | N/A, context only
| Part 3 | Bespoke wastes suitable for biological treatment | N/A, context only
| Part 4 | Site location, design and capacity
Part 2 | Part 5 | General Management Systems
Part 3 | Part 6 | Preacceptance, acceptance and tracking
Part 4 | Part 7 | Waste storage, segregation, transfer and handling
Part 5 | Part 8 | Waste Treatment
| Part 9 | Outputs
| Part 10 | The Control of Major Accident Hazard Regulations 2015 (COMAH)
Part 6 | Part 11 | Emissions Control
Part 7 |  | Emissions monitoring and limits
Part 8 | Part 12 | Process Efficiency
Part 9 |  | Waste minimisation, recovery and disposal
| Part 13 | Bespoke waste assessment

## Assessment
Requirement | Appropriate measure section |  | Waste Activity
| Non-hazardous and inert | Biowaste | Temporary storage of sludge cake (digested) | Supporting Document | Section
Management system | Part 2 | Part 5 | Southern Water have a management plan as described in the Main Supporting Document. It will be updated to include the waste activity, and feature the potential impacts of climate change. | 709101_MSD_Main_GRA December 2024 | Section 5.5
Staff competence | Part 2 | Part 5 | Technical competence explanation is featured in the Main Supporting Document, and applies to this waste activity. Staff carrying out waste acceptance checks, including sampling and analysis of waste, will be trained to classify and characterise waste, identify whether it is suitable for the facility, and manage any loads that do not conform to waste acceptance criteria determine end of waste products | 709101_MSD_Main_GRA December 2024 | Section 5.3
Accident management plan | Part 2 | Part 5 | Accident Management Plan has been prepared to incorporate accidents associated with the waste activity. | 790101_MSD_AMP_GRA December 2024
Contingency plan and procedures | Part 2 | Part 5 | Accident Management Plan has been prepared to incorporate contingency plans and procedures. Southern Water's EMS also includes Operational Contingency Plans and Procedures. | 790101_MSD_AMP_GRA December 2024 | Section 6
Facility decommissioning | Part 2 | Part 5 | The site is expected to operate long term. The Site Condition Report will be maintained for any future surrender of the permitted activities to ensure the site leaves the condition of the land in a satisfactory state. At decommission it will be undertaken in accordance with the Appropriate Measures, or subsequent equilvant guidance.
Waste pre-acceptance | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_GRA December 2024
Waste acceptance | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_GRA December 2024
Quarantine | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_GRA December 2024
Waste tracking | Part 3 | Part 6 | The Waste Acceptance document provided is applicable to the waste activity and has been developed based on the appropriate measures. | 790101_WasteAcceptance_GRA December 2024
Waste Storage | Part 4 | Part 7 | Cake to be stored in cake bays for minimum time for maturation (where required), or to allow for contingency for other sites to become back online to store the cake. Cake bays to be cleared and cleaned after collection to prevent deposits of aging waste. The management system states the maximum storage capacity of cake bay for the activity. Waste handling is carried out by competent staff using appropriate equipment. Waste handling will be limited to deposit and collection only, to limit double handling. | 790101-MMD-IED-GRA-CA-C-001-IED ADBA Tool P04
Segregation | Part 4 | Part 7 | Cake imports will be stored separately to cake generated at the Site. Clear signs to be present and movement of cake to be observed by the Site Manager, to ensure cake does not cross contaminate. Bay is washed down after use.
Site Location |  | Part 4 | Southern Water's EMS to be updated to consider the risk of climate change on existing facility and to include contingency measures, where applicable.
Site design |  | Part 4 | An existing site. Storage and handling of cake waste on site to be located as far as technically and economically possible from any sensitive receptors | 790101-MMD-IED-GRA-CA-C-001-IED ADBA Tool P04
Site Capacity |  | Part 4 | Site capacity of the activity is addressed in the Main Supporting Document. | 709101_MSD_Main_GRA December 2024 | Section 6.1
Waste treatment | Part 5 | Part 8 | An existing site. Up to date written details of treatment activities and abatement technology and control equipment are kept along with process flow diagrams. Characteristics and inventories of waste streams to be generated as part of the imposed permit and improvement conditions | 709101_MSD_Main_GRA December 2024 | Section 1
Soils and inert waste | Part 5 |  | N/A
Waste treatment outputs, including fines | Part 5 |  | N/A
Waste treatment for landfill | Part 5 |  | N/A
Abnormal operating conditions |  | Part 8 | Procedures in place for managing unexpected releases or loss of containment and any unplanned breakdowns and planned plant shutdown. Forms part of the Accident Management Plan, Odour Management Plan and wider Company EMS | 790101_MSD_AMP_GRA December 2024 790101_ERA_OdourMP_GRA December 2024 | Section 3 Section 4.2.3
Pre-treatment |  | Part 8 | Pre-treatment in the form of AD prior to storage of biosolids (digested, dewatered cake) for the temporary storage pending removal and spreading to land. Acceptance of dewatered raw cake (pre-digestion) for the temporary storage at a site before going elsewhere for digestion. Acceptance of digested, liquid sludge for dewatering where capacity is limited elsewhere at other sites or in the event of emergency shut down. Process described in the Main Supporting Document. | 709101_MSD_Main_GRA December 2024 | Section 1
Process monitoring systems |  | Part 8 | N/A | 709101_MSD_Main_GRA December 2024
Mechanical treatment |  | Part 8 | N/A
Aerobic treatment and process control |  | Part 8 | N/A
Open air composting |  | Part 8 | N/A
In vessel and enclosed systems aerobic processes |  | Part 8 | N/A
Mechanical and biological treatment and mechanical heat treatment |  | Part 8 | N/A
AD and TAD plants treatment and process control |  | Part 8 | N/A
Biogas production and management – AD plants |  | Part 8 | N/A
Biogas treatment and storage – AD plants |  | Part 8 | N/A
Inspection, maintenance and monitoring |  | Part 5 | Schedules for the inspection and maintenance of all assets and infrastructure are in place. Monitoring programmes are in place where they are currently required. Some monitoring and sampling will be implemented as part of the permit compliance requirements. The Odour Management Plan and Main Supporting Docoument addressed this. | 709101_MSD_Main_GRA December 2024 790101_ERA_OdourMP_GRA December 2024 | Section 6.8 Section 5
Preventing accidental emissions |  | Part 5 | Addressed in the Accident Management Plan and Odour Management Plan | 790101_MSD_AMP_GRA December 2024 790101_ERA_OdourMP_GRA December 2024 | Section 3 Sections 4&5
Security Measures |  | Part 5 | Addressed in the Environmental Risk Assessment and Main Supporting Document | 790101_ERA_QUE August 2024 709101_MSD_Main_GRA December 2024 | Section 3.2 Section 6.5
Fire and explosion prevention |  | Part 5 | Addressed in the Environmental Risk Assessment and Accident Management Plan | 790101_ERA_GRA December 2024 790101_MSD_AMP_GRA February 2024 | Appendix B Sections 3&6
Firefighting |  | Part 5 | Addressed in the Environmental Risk Assessment and Accident Management Plan | 790101_ERA_GRA December 2024 790101_MSD_AMP_GRA February 2024 | Appendix B Sections 3&6
Record keeping and procedures |  | Part 5 | Addressed in the Company EMS, Odour Management Plan and Accident Management | 790101_MSD_AMP_GRA December 2024 790101_ERA_OdourMP_GRA December 2024 | Section 5 Sections 7&8
Plant commissioning, validation and decommissioning |  | Part 5 | N/A
Enclosure within buildings | Part 6 |  | N/A
Point source emissions to air (channelled emissions) | Part 6 | Part 11 | N/A
Fugitive emissions to air | Part 6 | Part 11 | Odour control for the handling and storage of cake is within the Odour Management Plan, and management of dust, mud an litter in the Environmental Risk Assessment | 790101_ERA_OdourMP_GRA December 2024 790101_ERA_GRA December 2024 | All Section 3.2
Point source emissions to water (including sewer) | Part 6 | Part 11 | N/A | 790101_Sampling proposal GRA December 2024
Fugitive emissions to land and water | Part 6 | Part 11 | N/A | 790101-MMD-IED-GRA-CA-C-001-IED ADBA Tool P04 790101_MSD_AMP_GRA February 2024
Pests | Part 6 | Part 12 | Pests are not expected to cause pollution, hazard or annoyance at sensitive receptors as current measures are suitable, therefore a pest management plan is not required. | 790101_ERA_GRA December 2024 | Section 3.2
Emissions monitoring and limits: Emissions to air | Part 7 | Part 11 | N/A
Emissions monitoring and limits: Medium combustion plant directive | Part 7 | Part 11 | N/A
Emissions monitoring and limits: Emissions to water and sewer | Part 7 | Part 11 | Cake bay storage has drainage that takes surface run off, directed to the inlet works. Inventory to be established following the sampling proposal. | 790101_Sampling proposal GRA December 2024
Emissions inventory |  | Part 11 | Cake bay storage has drainage that takes surface run off, directed to the inlet works. Inventory to be established following the sampling proposal. No point emissions to air. | 790101_Sampling proposal GRA December 2024
Meteorological conditions |  | Part 11 | Southern Water will record daily in the site diary the following meteorological data: ● Air temperature ● Relative Humidity ● Wind Direction ● Wind Speed ● Rainfall Meteorological data will be reviewed in advance of activities that may present an odour concern, such as movement of sludge cake, to consider suitable measure to limit odour. For example, time such activities when wind speed is low. Meteorological data will also be available to complete odour records to establish potential trends. | 790101_ERA_OdourMP_GRA December 2024 | Section 5
Bioaerosols |  | Part 11 | The site is not within 250m of a sensitive receptor, therefore a bioaerosol risk assessment is not applicable.
Emissions of odour |  | Part 11 | An Odour Management Plan has been prepared to include controls for this activity. | 790101_ERA_OdourMP_GRA December 2024
Masking agents, chemical neutralising agents and topical barrier |  | Part 11 | An Odour Management Plan has been prepared to include controls for this activity. | 790101_ERA_OdourMP_GRA December 2024
Leak detection and repair |  | Part 11 | N/A | 790101_MSD_LDAR_GRA February 2024
Emissions of noise and vibration |  | Part 11 | Addressed in the Environmental Risk Assessment | 790101_ERA_GRA December 2024 | Appendix B
Energy efficiency (installations only) | Part 8 | Part 12 | N/A
Raw materials (installations only) | Part 8 | Part 12 | N/A
Water use (installations only) | Part 8 | Part 12 | N/A
Waste minimisation, recovery and disposal | Part 9 | Part 9 | Addressed in the Residue Management and Main Supporting Document | 790101_MSD_ResidueMP_GRA December 2024 709101_MSD_Main_GRA December 2024 | All Section 6.10
Outputs from aerobic processes – compost | Part 9 | Part 9 | N/A
MBT and MHT outputs |  | Part 9 | N/A
Outputs from anaerobic processes – digestate |  | Part 9 | N/A | 790101_MSD_ResidueMP_GRA December 2024 | All
The Control of Major Accident Hazard Regulations 2015 (COMAH) |  | Part 10 | N/A
Inhibition values for aerobic and anaerobic processes |  | Part 13 | N/A