Quarantine Area – Description and Controls

A designated quarantine area is provided for the temporary holding of incoming COSHH waste containers pending verification and sorting.

Purpose

The quarantine area is used for:

- Temporary holding of newly received full COSHH bins prior to inspection and sorting.

- Segregation of any waste suspected of being non-conforming or not covered under the permit.

Physical Controls

- The quarantine area is located within the warehouse building.

- It is physically segregated from operational storage areas.

- The area is fenced and secured with locked access.

- Only authorised trained staff have access.

- Waste remains in sealed, UN-approved containers.

- Storage occurs on impermeable concrete surfacing.

- Drainage is sealed and controlled in line with site containment measures.

Operational Controls

- All incoming waste is subject to the Waste Acceptance Procedure (WAP).

- Containers are visually inspected upon arrival.

- Any waste suspected of being outside permit scope is isolated immediately within the quarantine area.

- Non-conforming waste is either:

  - Rejected and removed from site as soon as practicable, or

  - Managed in accordance with permit variation requirements (if applicable).

Storage Duration

- Waste held in quarantine is stored only for the minimum time necessary to complete inspection and classification.

- Maximum storage duration does not exceed site storage limits and remains within the overall permitted tonnage cap.

Environmental Protection

- No waste is opened within the quarantine area.

- No mixing or treatment takes place in quarantine.

- Spill kits are available in the immediate vicinity.

- Emergency procedures apply equally to the quarantine area.

Risk Conclusion

Given that the quarantine area is internally located, secure, segregated, and situated on impermeable surfacing with sealed drainage, the risk of emissions to land, water, or air is negligible following controls.