Document Reference HL12 – Appropriate Measures

As part of our compliance reporting, please find details of the current measures in place at Heighington lane under Section 2.4

Accident Prevention Measures

- Fire prevention and emergency response procedures are implemented in line with EA guidance.

- Staff are trained in spill response and pollution prevention protocols.

#### Current Drainage Arrangements

- Waste storage and tipping areas drain to foul sewer via an interceptor.

- No isolation valves or containment systems are currently installed to prevent discharge during incidents.

- Surface water flows from non-operational areas are directed to surface water drains, with no impact on waste storage zones.

This arrangement provides basic pollution prevention but does not yet meet EA expectations for containment/isolation during emergencies.

#### Next Steps

We are actively exploring options to:

- Explore isolation valves or containment systems to prevent discharge during incidents.