Document Reference – HL9

Durham County Council

Heighington Lane Transfer Station

Working Plan Summary

,

Heighington Lane Waste Transfer Station

Working Plan

Contents

1.	SITE DESCRIPTION & CHARACTERISATION OF RISK	3

1.1.	Description of Operations	3

1.2.	Permitted Wastes.	5

1.3.	Hours of Operation.	6

1.4.	Site Staffing.	6

1.5.	Changes to Technically Competent Persons.	7

1.6.	Amendments to Working Plan and Supporting Information.	7

2.	SITE ENGINEERING FOR POLLUTION PREVENTION & CONTROL	8

2.1.	Engineered Site Containment & Drainage System.	8

3.	SITE INFRASTRUCTURE	10

3.1.	Provision of Site Identification Board.	10

3.2.	Site Security.	10

4.	SITE OPERATIONS	11

4.1.	Control of Mud and Debris.	11

4.2.	Potentially Polluting Leaks and Spillages.	11

4.3.	Fires on Site.	12

4.4.	Waste Acceptance, Control Systems and Procedures.	12

4.5.	Waste Quantity Measurement System.	14

4.6.	Storage of Specified Wastes.	15

5.	POLLUTION CONTROL, MONITORING & REPORTING	17

5.1.	Groundwater Monitoring and Reporting.	17

5.2.	Surface Water Quality Monitoring and Reporting.	17

5.3.	Monitoring and Recording of Meteorological Conditions.	17

6.	AMENITY MANAGEMENT & MONITORING	18

6.1.	Control, Monitoring & Reporting of Dusts, Fibres & Particulates.	18

6.2.	Control of Odours.	18

6.3.	Control and Monitoring of Noise.	20

6.4.	Control of Pest Infestations.	20

6.5.	Control of Scavenging Birds and Other Scavengers.	20

6.6.	Control of Litter.	21

7.	SITE RECORDS	22

7.1.	Security and Availability of Records.	22

7.2.	Record of Waste Movements.	22

7.3.	Site Diary.	23

7.4.	Household Hazardous Waste Register	23

7.5.	Asbestos Register	23

DRAWINGS	24

APPENDICES	25

APPENDIX A: BS EN ISO 9001 Quality Management System Documents	26

APPENDIX B: Risk Assessments	27

APPENDIX C: Hazardous Household Waste List	28