| Calculation parameters | KLCP CCGT Settings |  | Reference setting |  |
| --- | --- | --- | --- | --- |
| Calculation model: General | Point calculation | Grid calculation | Point calculation | Grid calculation |
| Adapt assessment area seamlessly to the receiver position |  |  |  |  |
| L /m |  |  |  |  |
| Terrain triangulation edges are obstacle | Yes | Yes |  | Yes |
| consider negative loop way at terraine triangular lines | Yes | Yes |  | Yes |
| Improved interpolation in boundary areas | Yes | Yes |  | Yes |
| Free field in front of refl. surfaces/m |  |  |  |  |
| acc. to sources | 1.0 | 1.0 |  | 1.0 |
| acc. to immission points | 1.0 | 1.0 |  | 1.0 |
| House: white border in grid | No | No |  | No |
| Intermediate messages: | No | No |  | No |
| Calculation model: Parameters | Optimised | Optimised |  | "reference settings" |
| Limiting range of sound sources: |  |  |  |  |
| * Limit the search radius (distance source-IP): | No | No |  | No |
| * minimum level difference /dB: | No | No |  | No |
| Projection of line sound sources | Yes | Yes |  | Yes |
| Projection of area sound sources | Yes | Yes |  | Yes |
| Limit projection | No | No |  | No |
| * Radius /m around source: |  |  |  |  |
| * Radius /m around IP: |  |  |  |  |
| Minimum length for sections /m | 1.0 | 1.0 |  | 1.0 |
| Variable min. length for sections: |  |  |  |  |
| * in percent of the distance from the IP source | No | No |  | No |
| Add. factor for distance criterion | 1.0 | 1.0 |  | 1.0 |
| Barrier attenuation differing from guideline: | No | No |  | No |
| * Cut-off limit for insertion loss: |  |  |  |  |
| * Limit /dB for single screens: |  |  |  |  |
| * Limit /dB for multiple screens: |  |  |  |  |
| Calculate attenuation for VDI 2720, ISO9613 |  |  |  |  |
| * Lateral pathway | Yes | Yes |  | Yes |
| * Lateral pathway for image sources | No | No |  | No |
| Reflection |  |  |  |  |
| Reflection (max. order) | 1 | 1 |  | 1 |
| Limit the search radius (distance source-IP): | No | No |  | No |
| * Search radius /m |  |  |  |  |
| Limiting range of reflecting surfaces /m: |  |  |  |  |
| * Radius around source or IP /m: | No | No |  | No |
| * minimum level difference /dB: | No | No |  | No |
| Image source from projection | Yes | Yes |  | Yes |
| No refl. if entirely screened | Yes | Yes |  | Yes |
| Save rays as help lines | No | No |  | No |
| section control |  |  |  |  |
| Section control acc. Schall 03 [2012]: | Yes | Yes |  | Yes |
| Section control for other calculation methods, too: | No | No |  | No |
| Accelerated iteration (approximation): | No | No |  | No |
| Requested accuracy /dB: | 0.1 | 0.1 |  | 0.1 |
| Show intermediate results: | No | No |  | No |

| Global parameters | KLCP CCGT Settings | [Reference setting] |
| --- | --- | --- |
| Default for G outside DBOD-elements | 1.00 | 0.00 |
| Temperature /°C | 10 | 10 |
| Relative humidity /% | 70 | 70 |
| Living area per inhab-/m² (=0.8*gross) | 40.00 | 40.00 |
| Average storey height /m | 2.80 | 2.80 |

| Parameters of library: ISO 9613-2 | KLCP CCGT Settings | [Reference setting] |
| --- | --- | --- |
| Downwind conditions | Yes | Yes |
| Simplified equation (Nr. 7.3.2) for ground effect |  |  |
| for frequency-dependent calculation | No | No |
| for frequency-independent calculation | Yes | Yes |
| Evaluating the mean height hm | according to ISO 9613-2 (2024) | according to ISO 9613-2 (1999) |
| Simplified calculation using free propagation conditions (release 7/2002)(obsolete) | No | No |
| Attenuation due to screening - subtract negative ground effect | No | No |
| Deduction no more than to -Dz | No | No |
| "Additional recommendations" - ISO TR 17534-3 | Yes | Yes |
| ABar acc. "Erlass Thüringen" (2015-01-10) | No | No |
| Accounts for vegetation | Yes | Yes |
| Accounts for housing | Yes | Yes |
| Accounts for ground effect | Yes | Yes |