Ref. FHL RA 013.

# RISK ASSESSMENT

Description of Operation/Activity being assessed:	         					Location: Green waste/Compost facility

Potential Fires at the compost facility.

Operations include.

1. Receive inspect and stockpile materials.

2. Shred and stockpile material into block/windrow format.

3. Monitor and turn shredded/stockpiled compost and wood waste material.

4. Screen composted material to end product.

Site Address:

Wroot Road Compost Facility

Wroot Road

Finningley

Doncaster

DN9 3DU

RISK RATING – record any significant risks on the attached sheets using this rating system for severity and likelihood (Risk Rating = severity x likelihood):

Risk Ratings assume all listed control measures are in place.

# Severity

| ###### Likelihood | ## S1 Minor injury; first aid may be required or discomfort experienced | ##### S2 Lost time incident | S3 Notifiable incident under RIDDOR | S4 Permanent disability | S5 Death to one or more persons |
| --- | --- | --- | --- | --- | --- |
| L1 Improbable – unlikely occurrence | 1 | 2 | 3 | 4 | 5 |
| L2 Possible or rare occurrence | 2 | 4 | 6 | 8 | 10 |
| L3 Occasional or likely occurrence | 3 | 6 | 9 | 12 | 15 |
| L4 Frequent or highly likely occurrence | 4 | 8 | 12 | 16 | 20 |
| L5 Common or imminent occurrence | 5 | 10 | 15 | 20 | 25 |

| Risk Rating | Action |
| --- | --- |
| 1 - 4 | Insignificant Risk. No further action required. |
| 5 - 9 | Low Risk. Ensure control measures are maintained. |
| 10 - 14 | Moderate Risk. Ensure control measures are maintained. Monitor accident reporting. Review control measures annually or following reported incidents. |
| 15 - 25 | High Risk. Do not proceed. Suspend operation immediately. Do not recommence or proceed until risk rating can be reduced to Moderate. |

Ref FHL RA 013 						RISK ASSESSMENT RECORD SHEET

| ### Hazard |  | Observations | Persons Exposed | #### Existing Controls | #### Severity | #### Likelihood | Risk Rating (S x L) | Comments and Recommendations |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1, Fire, potential burns Environmental impacts | Potential compost stockpile fires caused by high temperatures. | Staff, Contractors, Visitors. | Temperature monitoring of windrows and stockpiles. Stock of water, Staff training, Fire extinguishers regularly serviced and checked, Tractor and bowser | 6 | 2 | 12 | Regular recorded monitoring at least once a week. Issue site specific Fire Prevention Plan |
|  | 2, Fire potential burns. Environmental Impacts | Potential compost fires caused by dry windrows in the summer months. | Staff, Contractors, Visitors | Moisture monitoring of windrows and stockpiles. Stock of water, Staff training, Fire extinguishers regularly serviced and checked, Tractor and bowser | 6 | 2 | 12 | Regular recorded monitoring and ensure adequate source of water available on site at all times. Issue site specific Fire Prevention Plan |
|  | 3, Fire potential burns and damage to equipment. | Potential fires to plant and equipment. | Staff, Contractors, Visitors. | Regular maintenance and cleaning checks of machines. Fire extinguishers installed to machines and serviced regularly | 6 | 2 | 12 | Regular checks of fire defence equipment. Annual inspection of fire extinguishers Issue site specific Fire Prevention Plan |
|  | 4, Fire, potential burns to personnel | Potential of injuries to personnel ( burns ) | Staff, Contractors, Visitors. | Emergency procedure. Fire marshal training to staff. First Aid qualified staff | 1 | 10 | 10 | Ensure staff awareness of fire procedure Ensure regular checks of fire equipment. Issue site specific Fire Prevention Plan |
|  | 5. Fire potential burns, smoke, Environmental Iimpact. | Fire damage to plant and equipment. | Staff, contractors Visitors | Maintenance procedures/daily check lists. Isolate all plant and equipment at the end of each shift. Separate all plant and park away from each other at the end of each shift. All keys and isolators to be returned to the office at the end of each shift. | 3 | 2 | 6 | Monitor actions daily/weekly |

| ASSESSMENT COMPLETED BY: S HOLDING | DATE: 7.3.20 | Next Review Date: 6.3.21 |
| --- | --- | --- |