Freeland Horticulture Ltd – Monitoring Emissions

Monitoring Odours
- See attached Odour Management Plan.
- Daily odour monitoring scale recorded in site diary.

Monitoring Dust
- Daily dust monitoring recorded in the site diary.
- Implementing best practice procedures.
- Tractor and water bowser used to dampen down dust levels in the operational area when required.
- Contracted road sweeper on site every week to clean site road, site entrance, yard and surrounding areas. Recorded in site dairy.
- Water sprinklers set up in the loading bay area.

Bio-aerosol Monitoring

Not a condition of the present Waste Management Permit.

Monitoring Leachate

- The Leachate drainage system is a fully self contained system which drains into a leachate storage lagoon, the system is monitored daily/ weekly and recorded on the site inspection sheet.
- The Leachate lagoon storage levels are monitored and recorded daily in the site diary.
- If the leachate levels rise towards 90% in heavy rainfall periods it is removed from site by tankers to an appropriate waste disposal point.
- All leachate disposal movements are recorded in compliance with duty of care waste transfer procedures.