## Crockway 2024
NVZ Regulations - Storage Requirements
Compliance Year 2023/2024
Farmer | Crockway Farms Limited
Farm Name | Crockway Farm
Date | 2024-01-01
Livestock Type | Average Numbers |  | House Type | Proportion Collected as Slurry | Volume per Head per Month | Total Monthly Volume m³
Sow Place | 4106 |  | FSF | 100% | 0.33 | 1354.98 |  | Data
[10 empty] | Length | Width | Depth
Maiden Gilt place | 1750 |  | FSF | 100% | 0.13 | 227.5
Weaner 7-13kg | 4000 |  | FSF | 100% | 0.03 | 120
[8 empty] | Open dirty yard area |  | 9155 | m³
Grower 13-30kg | 4000 |  | FSF | 100% | 0.05 | 200 |  | and run off from silage clamps
Breeding Boar | 11 |  | FSF | 100% | 0.26 | 2.86
[8 empty] | Pig type | Wash water(lt/pig place/week) | pig places | factor | monthly water (M³)
[6 empty] | 0 |  | Sows with litter | 10 | 880 | 0.0043 | 37.84
[8 empty] | 7-13kg | 2 | 4000 | 0.0043 | 34.4
[6 empty] | 0 |  | 13-31kg | 2.6 | 4000 | 0.0043 | 44.72
[8 empty] | 31kg-66kg | 1.9 |  | 0.0043 | 0
[6 empty] | 0 |  | Maiden Gilts | 0.6 | 1750 | 0.0043 | 4.515
121.475
0
|  |  |  | Total Slurry Collected m³ |  | 1905.34
Slurry Store Size capacity | 9764.34 | m³
Storage under slats (1.3 months production) | 2656.862 | m³ | [5 empty] | Under Building Storage
Rainfall | 75 | mm
[7 empty] | Building | Length | Width | Depth | Number | Total Storage
Rainfall on Store | 16.95 | m³ |  |  |  |  | Flat decks | 10 | 5 | 0.8 | 33 | 1320
[7 empty] | Farrowing Houses | 14 | 1 | 0.8 | 20 | 224
Wash down water | 121.45 | m³ |  |  |  |  | Large Farrowing Room | 64 | 13 | 0.8 | 1 | 665.6
[7 empty] | Grower Sheds | 39 | 25 | 0.8 | 2 | 1560
Rainfall on Yards | 0 | m³ |  |  |  |  | Bacon Room | 23 | 39 | 0.8 | 2 | 1435.2
[7 empty] | Gilt House | 35 | 8 | 0.8 | 1 | 224
Total Monthly Production | 2043.74 | m³
[7 empty] | Total |  |  |  |  | 5428.8
Storage period | 6 | months
Storage Capacity Required | 12262.44 | m³
Surplus / Deficit Storage | 158.762 | m³
Store 1 - 31 meters diameter by 5.7 meters working depth= 4302.17 cubic meters with 300mm freeboard
Store 2 - 31 meters diameter by 5.7 meters depth = 4302.17 cubic meters with 300mm freeboard
Exisitng store 3 - 1160 cubic meters (15.5 m diameter and 5.4 m tall) 226 sqm
Wash water stored within the slurry system
Storage under slats
5428 cubic meters - to allow for compliance with frequent slurry removal of at least every 12 weeks slurry storage calculation assumes 1.3 months storage under slats = 2656.86 cubic meters
Conclusion:
Crockway Farm has sufficent slurry storage for 6 months. This includes utilizing 1.3 months worth of stroage under the slats in pig buildings. This still allows the unit to be complaint with frequent slurry removal emmsion factors.