## MCP Info
LCY10 Datacentre Medium Combustion Plant Information (EP application QP3108ST)
This document is in support of the Application (ref QP3108ST) for an environmental permit Part B2 – General – new bespoke permit"
Appenix 1 - Section 13: "Information to be provided by the operator to the competent authority for each Medium Combustion Plant as identified in Annex I of Medium Combustion Plant Directive (EU/2015/2193)"
| Site Name: | LCY10 Datacentre
| Grid Ref: | TQ 37672 79263
| Address: | Units 1, 2 and 4, Greenwich View Place, Isle of Dogs, London, E14 9NN
| MCP Specific Identifier | Grid Reference | Rated Thermal Input (MW) | Type of MCP | Type of Fuel | Date of First Operation | NACE Code | Expected Annual Operating Hours
| Generator 1 | TQ 37649 79307 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 2 | TQ 37655 79308 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 3 | TQ 37659 79308 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 4 | TQ 37663 79307 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 5 | TQ 37661 79209 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 6 | TQ 37660 79214 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 7 | TQ 37661 79219 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 8 | TQ 37661 79225 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50
| Generator 9 | TQ 37662 79228 | 8.26 | Standby Diesel Engine | Gas Oil | Not yet operational - due 2022 | 6311 | 50