## Table 13.1
Table B13.1
| Q95 (m3/s) | Q70 (m3/s) | Q50 (m3/s) | Q10 (m3/s) | Q5 (m3/s) | Maximum volume to be abstracted each year (in cubic metres) | Maximum daily amount (in cubic metres) | Maximum hourly amount (in cubic metres) | Number of hours per day water is abstracted
Initial Blackwell Hatches | 0.091 | 0.133 | 0.176 | 0.184 | 0.171 | 5550336 | 14774.4 | 615.6 | 24
Maximum Blackwell Hatches (2 x 750 mm dia pipes) | 0.186 | 0.262 | 0.332 | 0.418 | 0.398 | 10469952 | 34387.2 | 1432.8 | 24
Annual Volume Extracted Based off Q50 flow
Maximum Daily and Hourly Volume Extracted is based off Q5 flow
Initial values based off 600 mm dia opening as per ENVIMSW002033-ATK-ZZ-300-TM-HY-000001 supplied with application.
Maximum values based of further modelling with 2 x 750 mm pipes fully open