**Not Duly Making Questions Farm Application EPR/GP38008B**

1. Final broiler numbers needs confirmation

Are numbers 105000 as in Non-Tech summary Appendix 4 or 110000 in screening assessment and in your B3.5 application form?

Final maximum number is 110000 birds

1. Site Drainage

Mention of French drains are these only for collection of yard water or yard water and roof water? French drains not being used now. All dirty/contaminated yard water now diverted to underground tanks prior to spreading to land.

Please clarify the following:

* Roof water – does this go via underground pipes via attenuation pond off site and not via French drain soakaways Underground pipes to attenuation pond.
* Yard water – lightly contaminated water – does this go via French drain soakaways? Does water get transferred via pipes to attenuation pond and then off site or just soakaway on site and not get transferred off site? Stored in underground tanks prior to spreading to land.

Please add soakaways to site drainage plan and if relevant add any pipework for light contaminated water to transfer to attenuation pond. Map attached.