## Data
Determinand | Unit | Limit | 2023 | [11 empty] | 2024 | [11 empty] | 2025 | [11 empty] | 2026
|  |  | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December
pH | pH Units | >5 and <10 | 2023 January: 8.2; 2023 February: 7.6; 2023 March: 8.1; 2023 April: 7.9; 2023 May: 7.8; 2023 June: 7.8; 2023 August: 8; 2023 September: 7.8; 2023 October: 7.8; 2023 November: 7.9; 2024 January: 7.4; 2024 February: 7.7; 2024 March: 7; 2024 April: 7.8; 2024 May: 7.8; 2024 June: 7.7; 2024 July: 8.2; 2024 August: 7.3; 2024 September: 7.3; 2024 October: 7.8; 2024 November: 7.8; 2024 December: 8; 2025 January: 7.5; 2025 February: 7.9
pH upper limit |  |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
pH lower limit |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Ammoniacal Nitrogen as NH4 | µg/l |  | 2023 January: 1450; 2023 February: 732; 2023 March: 75; 2023 April: 345; 2023 May: 508; 2023 June: 416; 2023 August: 162; 2023 September: 133; 2023 October: 69; 2023 November: 58; 2024 January: I/S; 2024 February: 704; 2024 March: 482; 2024 April: 242; 2024 May: 1050; 2024 June: 1590; 2024 July: 312; 2024 August: 3000; 2024 September: 4840; 2024 October: 5180; 2024 November: 17000; 2024 December: 20500; 2025 January: 9880; 2025 February: 6340
Chemical Oxygen Demand | mg/l |  | 2023 January: 34; 2023 February: 62; 2023 March: 30; 2023 April: 30; 2023 May: 43; 2023 June: 34; 2023 August: 29; 2023 September: 35; 2023 October: 43; 2023 November: 98; 2024 January: 8; 2024 February: 62; 2024 March: I/S; 2024 April: 32; 2024 May: 29; 2024 June: 27; 2024 July: 46; 2024 August: 71; 2024 September: 72; 2024 October: 50; 2024 November: 475; 2024 December: 477; 2025 January: 217; 2025 February: 82
Biological Oxygen Demand | mg/l |  | 2023 January: 9; 2023 February: 5; 2023 March: <5; 2023 April: 5; 2023 May: < 5; 2023 June: < 5; 2023 August: < 5; 2023 September: I/S; 2023 October: < 5; 2023 November: < 5; 2024 January: 6; 2024 February: 19; 2024 March: < 5; 2024 April: 20; 2024 May: 13; 2024 June: < 5; 2024 July: 50; 2024 August: 178; 2024 September: 18; 2024 October: 20; 2024 November: 246; 2024 December: 272; 2025 January: 144; 2025 February: 192
Total Suspended Solids | mg/l | 200 | 2023 January: 15; 2023 February: 19; 2023 March: 19; 2023 April: 54; 2023 May: 74; 2023 June: 10; 2023 August: 32; 2023 September: 77; 2023 October: 37; 2023 November: 8; 2024 January: < 5; 2024 February: 13; 2024 March: 6; 2024 April: 9; 2024 May: 19; 2024 June: 7; 2024 July: 7; 2024 August: 7; 2024 September: 13; 2024 October: 7; 2024 November: 6; 2024 December: 35; 2025 January: 103; 2025 February: 377
TSS Limit |  |  | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Arsenic (dissolved) | µg/l |  | 2023 January: <5; 2023 February: <5; 2023 March: <5; 2023 April: < 5; 2023 May: < 5; 2023 June: < 5; 2023 August: < 5; 2023 September: < 5; 2023 October: < 5; 2023 November: 3; 2024 January: 1.3; 2024 February: 1.8; 2024 March: 1.3; 2024 April: 2.6; 2024 May: 3.2; 2024 June: 2.7; 2024 July: 6; 2024 August: 6.1; 2024 September: 3.6; 2024 October: 5.5; 2024 November: 10.7; 2024 December: 8.9; 2025 January: 9.1; 2025 February: 6.1
Cadmium (dissolved) | µg/l |  | 2023 January: <0.4; 2023 February: <0.4; 2023 March: <0.4; 2023 April: < 0.4; 2023 May: < 0.4; 2023 June: < 0.4; 2023 August: < 0.4; 2023 September: < 0.4; 2023 October: < 0.4; 2023 November: 0.5; 2024 January: < 0.2; 2024 February: < 0.2; 2024 March: < 0.2; 2024 April: < 0.2; 2024 May: < 0.2; 2024 June: < 0.2; 2024 July: < 0.2; 2024 August: < 0.2; 2024 September: < 0.2; 2024 October: < 0.2; 2024 November: < 0.2; 2024 December: < 0.2; 2025 January: < 0.2; 2025 February: < 0.2
Chromium (dissolved) | µg/l |  | 2023 January: 9; 2023 February: 8; 2023 March: 11; 2023 April: 9; 2023 May: 10; 2023 June: 11; 2023 August: 9; 2023 September: < 5; 2023 October: < 5; 2023 November: 4.5; 2024 January: 2.7; 2024 February: 1.4; 2024 March: 1; 2024 April: 1.7; 2024 May: 0.8; 2024 June: 0.2; 2024 July: 0.3; 2024 August: 4.2; 2024 September: 2.9; 2024 October: 1.2; 2024 November: 5.4; 2024 December: 7.5; 2025 January: 6.2; 2025 February: 0.8
Copper (dissolved) | µg/l |  | 2023 January: 6; 2023 February: 7; 2023 March: 7; 2023 April: 11; 2023 May: 12; 2023 June: < 5; 2023 August: 5; 2023 September: 5; 2023 October: 7; 2023 November: 6.8; 2024 January: 3.8; 2024 February: 9.8; 2024 March: 3.7; 2024 April: 6; 2024 May: 2.2; 2024 June: 6.6; 2024 July: 4.4; 2024 August: 5.6; 2024 September: 22.4; 2024 October: 5.3; 2024 November: 6.5; 2024 December: 12; 2025 January: 8.5; 2025 February: 1.7
Lead (dissolved) | µg/l |  | 2023 January: <5; 2023 February: <5; 2023 March: <5; 2023 April: < 5; 2023 May: < 5; 2023 June: < 5; 2023 August: < 5; 2023 September: < 5; 2023 October: < 5; 2023 November: 0.6; 2024 January: < 0.2; 2024 February: 0.9; 2024 March: 0.3; 2024 April: 0.4; 2024 May: 0.5; 2024 June: 0.2; 2024 July: < 0.2; 2024 August: 0.8; 2024 September: 2.3; 2024 October: 0.5; 2024 November: 2.5; 2024 December: 5.2; 2025 January: 2; 2025 February: 0.7
Mercury (dissolved) | µg/l |  | 2023 January: <0.05; 2023 February: 0.05; 2023 March: <0.05; 2023 April: < 0.05; 2023 May: < 0.05; 2023 June: < 0.05; 2023 August: < 0.05; 2023 September: < 0.05; 2023 October: < 0.05; 2023 November: 0.06; 2024 January: < 0.04; 2024 February: < 0.04; 2024 March: < 0.04; 2024 April: < 0.04; 2024 May: < 0.04; 2024 June: 0.04; 2024 July: < 0.04; 2024 August: 0.11; 2024 September: < 0.04; 2024 October: < 0.04; 2024 November: 0.07; 2024 December: < 0.04; 2025 January: 0.05; 2025 February: < 0.04
Nickel (dissolved) | µg/l |  | 2023 January: <5; 2023 February: <5; 2023 March: <5; 2023 April: < 5; 2023 May: < 5; 2023 June: < 5; 2023 August: < 5; 2023 September: < 5; 2023 October: < 5; 2023 November: 8.1; 2024 January: 70.1; 2024 February: 57.4; 2024 March: 160; 2024 April: 3.6; 2024 May: 2; 2024 June: 2; 2024 July: 4.1; 2024 August: 7.9; 2024 September: 5.4; 2024 October: 2.1; 2024 November: 4.1; 2024 December: 4.7; 2025 January: 5.2; 2025 February: 3.7
Selenium (dissolved) | µg/l |  | 2023 January: <5; 2023 February: <5; 2023 March: <5; 2023 April: < 5; 2023 May: < 5; 2023 June: < 5; 2023 August: < 5; 2023 September: < 5; 2023 October: < 5; 2023 November: 1.2; 2024 January: 0.6; 2024 February: 0.5; 2024 March: 1.4; 2024 April: 0.3; 2024 May: 0.3; 2024 June: 0.7; 2024 July: 0.8; 2024 August: 1; 2024 September: 1.2; 2024 October: < 0.2; 2024 November: 0.2; 2024 December: < 0.2; 2025 January: 0.3; 2025 February: 0.3
Zinc (dissolved) | µg/l |  | 2023 January: 17; 2023 February: 156; 2023 March: 148; 2023 April: 28; 2023 May: 48; 2023 June: 25; 2023 August: 21; 2023 September: 18; 2023 October: 21; 2023 November: 6; 2024 January: 14; 2024 February: 27; 2024 March: 14; 2024 April: 4; 2024 May: 4; 2024 June: 11; 2024 July: 10; 2024 August: 49; 2024 September: 12; 2024 October: 6; 2024 November: 9; 2024 December: 25; 2025 January: 43; 2025 February: 13
EPH (C10 - C40) | µg/l |  | 2023 January: <10; 2023 February: 714; 2023 March: <10; 2023 April: 213; 2023 May: 44; 2023 June: 70; 2023 August: 201; 2023 September: 1084; 2023 October: < 10; 2023 November: < 10; 2024 January: < 10; 2024 February: 24; 2024 March: 37; 2024 April: 13; 2024 May: 30; 2024 June: 106; 2024 July: 33; 2024 August: 36; 2024 September: 29; 2024 October: 21; 2024 November: 122; 2024 December: 42; 2025 January: 57; 2025 February: 231
Naphthalene | µg/l |  | 2023 January: 0.11; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: 0.01; 2023 June: 0.02; 2023 August: 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Acenaphthylene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Acenaphthene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Fluorene | µg/l |  | 2023 January: <0.01; 2023 February: 0.19; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Phenanthrene | µg/l |  | 2023 January: <0.01; 2023 February: 0.18; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: 0.02; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: 0.03; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: 0.02; 2025 January: < 0.01; 2025 February: 0.03
Anthracene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Fluoranthene | µg/l |  | 2023 January: 0.06; 2023 February: 0.08; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: 0.01; 2024 April: 0.02; 2024 May: 0.04; 2024 June: 0.08; 2024 July: < 0.01; 2024 August: 0.03; 2024 September: 0.02; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: 0.02; 2025 January: < 0.01; 2025 February: 0.09
Pyrene | µg/l |  | 2023 January: 0.08; 2023 February: 0.07; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: 0.01; 2023 June: 0.02; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: 0.02; 2024 April: 0.02; 2024 May: 0.04; 2024 June: 0.05; 2024 July: < 0.01; 2024 August: 0.03; 2024 September: 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: 0.09
Benzo(a)anthracene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: 0.03
Chrysene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: 0.03
Benzo(b)fluoranthene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: 0.05
Benzo(k)fluoranthene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Benzo(a)pyrene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Indeno(1,2,3-cd)pyrene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Dibenz(a,h)anthracene | µg/l |  | 2023 January: <0.01; 2023 February: <0.01; 2023 March: <0.01; 2023 April: < 0.01; 2023 May: < 0.01; 2023 June: < 0.01; 2023 August: < 0.01; 2023 September: < 0.01; 2023 October: < 0.01; 2023 November: < 0.01; 2024 January: < 0.01; 2024 February: < 0.01; 2024 March: < 0.01; 2024 April: < 0.01; 2024 May: < 0.01; 2024 June: < 0.01; 2024 July: < 0.01; 2024 August: < 0.01; 2024 September: < 0.01; 2024 October: < 0.01; 2024 November: < 0.01; 2024 December: < 0.01; 2025 January: < 0.01; 2025 February: < 0.01
Benzo(ghi)perylene | µg/l |  | 2023 January: <0.008; 2023 February: <0.008; 2023 March: <0.008; 2023 April: < 0.008; 2023 May: < 0.008; 2023 June: < 0.008; 2023 August: < 0.008; 2023 September: < 0.008; 2023 October: < 0.008; 2023 November: < 0.008; 2024 January: < 0.008; 2024 February: < 0.008; 2024 March: < 0.008; 2024 April: < 0.008; 2024 May: < 0.008; 2024 June: < 0.008; 2024 July: < 0.008; 2024 August: < 0.008; 2024 September: < 0.008; 2024 October: < 0.008; 2024 November: < 0.008; 2024 December: < 0.008; 2025 January: < 0.008; 2025 February: < 0.008
Total EPA-16 PAHs | µg/l | 150 | 2023 January: 0.25; 2023 February: 0.52; 2023 March: <0.16; 2023 April: < 0.16; 2023 May: < 0.16; 2023 June: < 0.16; 2023 August: < 0.16; 2023 September: < 0.16; 2023 October: < 0.16; 2023 November: < 0.16; 2024 January: < 0.16; 2024 February: < 0.16; 2024 March: < 0.16; 2024 April: < 0.16; 2024 May: < 0.16; 2024 June: < 0.16; 2024 July: < 0.16; 2024 August: < 0.16; 2024 September: < 0.16; 2024 October: < 0.16; 2024 November: < 0.16; 2024 December: < 0.16; 2025 January: < 0.16; 2025 February: 0.32
PAH limit |  |  | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150