SITE CONDITION REPORT TEMPLATE

SECTIONS 1-3 COMPLETED WHEN SUBMITTING APPLICATION

SECTIONS 4-7: TO BE MAINTAIN DURING THE LIFE OF THE PERMIT

SECTIONS 8-10: TO BE COMPLETED AT SURRENDER OF SITE, NEW DOC REFERENCE TO BE ADDED IN 1.0 & SUBMITTED WITH SURRENDER APPLICATION.

| 1.0 SITE DETAILS |  |  |
| --- | --- | --- |
| Business Name | Safran Landing Systems Services UK Ltd |  |
| Activity address | Meteor Business Park Cheltenham Rd East Gloucester GL2 9QL |  |
| National grid reference | Site Bounded by 388126,221872 388526,222272. |  |

| Document reference | SLSS.ENV.25.EP.SCR.01 Dated: 18.12.2024 |
| --- | --- |

| Document references for site plans (including location and boundaries) | BCT.001.P.002 Dated: 18.12.2024 |
| --- | --- |

Note:

In Part A of the application form you must give us details of the site’s location and provide us with a site plan. We need a detailed site plan (or plans) showing:

- Site location, the area covered by the site condition report, and the location and nature of the activities and/or waste facilities on the site.

- Locations of receptors, sources of emissions/releases, and monitoring points.

- Site drainage.

- Site surfacing.

If this information is not shown on the site plan required by Part A of the application form then you should submit the additional plan or plans with this site condition report.

| 2.0 Condition of the land at permit issue |  |  |
| --- | --- | --- |
| Environmental setting including: - geology - hydrogeology - surface waters |  | Dispersal report included within Condition report detailing Geology, Hydrology and Surface waters. Section added to include Environmental information detailing Flood risk for site |
| Pollution history including: - pollution incidents that may have affected land - historical land-uses and associated contaminants - any visual/olfactory evidence of existing contamination - evidence of damage to pollution prevention measures |  | There are no pollution incidents that may have affected the land on site. The site was built in the period after the Second world War, circa 1947 as part of the infrastructure for the Gloucestershire Airport. |
| Evidence of historic contamination, for example, historical site investigation, assessment, remediation and verification reports (where available) |  | The site has been used for Aerospace engineering purposes since being built with no recorded environmental issues, however the continual use during this period has in all likelihood increased the potential for soils to contain higher than normal levels of trace element s. Hanger 5 has only been in operation as part of the SLSS site since 2021 with prior occupation by Dowty Propellors. |
| Baseline soil and groundwater reference data |  | There is no recorded baseline. The site has however conducted periodic testing of ground waters through 2002-2017 through various boreholes located across site. This testing showed levels of 3 VOCs - 1,1,1 Trichloroethane. 1,1 Dichloroethane. 1,1 Dichloroethene This recording is shown on database IPPC Groundwater Results 2002-2017 A secondary session of borehole testing was completed in 2025 to identify contamination of groundwater including Hanger 5. |
| Supporting information | - Source information identifying environmental setting and pollution incidents - Historical Ordnance Survey plans - Site reconnaissance - Historical investigation / assessment / remediation / verification reports - Baseline soil and groundwater reference data |  |

| 3.0 Permitted activities |  |
| --- | --- |
| Permitted activities | Emissions to air from Electroplating Facility |
| Non-permitted activities undertaken | Disassembly of Aerospace landing gears with activities including Non-Destructive testing (NDT), machining and painting processes on site to enable the servicing and repair of Airbus and Boeing equipment. |
| Document references for: - plan showing activity layout; and - environmental risk assessment. | Layout plans are held for site activity with continual Change management activity monitored for environmental impact of all new process’ |

| 4.0 Changes to the activity |  |  |
| --- | --- | --- |
| Have there been any changes to the activity boundary? |  | Boundary of site is shown on boundary plan BCT.001.P.001. This encompassed Hangers 1, 3 and 4. This boundary was increased in 2021 with SLSS taking over the former Dowty Propellors building Hanger 5 as sown on proposed boundary plan BCT.002.P.001 |
| Have there been any changes to the permitted activities? |  | Permitted activity hasn’t changed for production but the site is in the process of applying for a variation notice to include a Zinc Nickel plating line, this new line will in the long term replace the Cadmium plating line and potentially reduce the environmental risk |
| Have any ‘dangerous substances’ not identified in the Application Site Condition Report been used or produced as a result of the permitted activities? |  | None |
| Checklist of supporting information | - Plan showing any changes to the boundary (where relevant) - Description of the changes to the permitted activities (where relevant) - List of ‘dangerous substances’ used/produced by the permitted activities that were not identified in the Application Site Condition Report (where relevant) |  |

| 5.0 Measures taken to protect land |  |
| --- | --- |
| The site operates as a responsible business with minimal impact on the environment, this includes active carbon reduction measures and a BAT process for all new equipment introduces for our plating process. All activity on site is controlled to minimise the potential for environmental issues. |  |
| Checklist of supporting information | - Inspection records and summary of findings of inspections for all pollution prevention measures - Records of maintenance, repair and replacement of pollution prevention measures |

| 6.0 Pollution incidents that may have had an impact on land, and their remediation |  |
| --- | --- |
| There are no known environmental incidents on site that would cause environmental land or water contamination. |  |
| Checklist of supporting information | - Records of pollution incidents that may have impacted on land - Records of their investigation and remediation |

| 7.0 Soil gas and water quality monitoring (where undertaken) |  |
| --- | --- |
| No soils sampling carried out across site but a period of water sampling was completed for boreholes located across site – 2002-2017 |  |
| Checklist of supporting information | - Description of soil gas and/or water monitoring undertaken - Monitoring results (including graphs) |

| 8.0 Decommissioning and removal of pollution risk |  |
| --- | --- |
| Prior to decommissioning the site a survey will be carried out in conjunction with the Leasing Agent to identify pollution arising from operational activity carried out on site. The Leasing Agent and Safran Landing Systems Services UK Ltd will then agree a procedure for returning the land to a condition where there is no impact on site condition arising from activities carried out while occupying the site. |  |
| Checklist of supporting information | - Site closure plan – N/A no plan to decommission site - List of potential sources of pollution risk – see Risk Assessment - Investigation and remediation reports (where relevant) – N/A |

| 9.0 Reference data and remediation (where relevant) |  |
| --- | --- |
| The Site as part of its permitted operations hasn’t needed to take land and/or Groundwater samples. Historically as part of site monitoring Safran Landing Systems Services engaged in a program of self-imposed ground water sampling taken from various boreholes across site, samples taken during this period show there is no identifiable deterioration of groundwater conditions across this period. |  |
| Checklist of supporting information | - Land and/or groundwater data collected at application (if collected) - Land and/or groundwater data collected at surrender (where needed) - Assessment of satisfactory state - Remediation and verification reports (where undertaken) |

10.0 Statement of site condition

The site condition does not show any levels of contamination for site above what would be expected of an industrial park.