Upper House Farm Standby Generators.

Upper House Farm poultry operations have two standby generators,

Site A generator has a thermal input of 978kw.

Site B generator has a thermal input of 1.51mw.

Generators will not be test run more than 50hrs per annum.

Generators will not be operated more than 500hrs per annum averaged over 3 years, as backup for mains interruption including testing.