Hergest Camp Farm, Kington, HR5 3ER

** Picture 1** Grid over settlement chamber, NE of House 1 taking the water off the yard.

The 2 small metal covers at the top of the picture is where the 2 diverters are located.

The one on the left allows clean water to run to another settlement chamber before going to the river. This is completely shut off when we are washing down the site.

The one on the right allows dirty water to flow into the dirty water tank at turnaround.

**A picture containing outdoor, ground, metal, concrete

Description automatically generatedPicture 2** – This shows the same as above with the grids removed.

A picture containing ground, dirty, building material, stone

Description automatically generated

Picture 3 – This is the left diverter (with metal yard cover open). The diverter is open position in this photo and to close it, it is pushed down and the pipe is completely blocked off.

**Picture 4** – This is the first inspection chamber on the North corner of House 1 where the clean water from the above photo’s 1, 2 and 3 comes in, as well as the under-ground roof water pipes from Houses 1 to 4.



**Picture 5** – This shows the covers of 2 Inspection Chambers and 2 settlement chambers on the North corner of House 1 before the clear water flows to the river Arrow.

A picture containing outdoor, ground, tree, dirt

Description automatically generated

**Picture 6** – This is the out fall pipe beside the river Arrow



**Picture 7** French Drains between Houses 2 & 3

A picture containing sky, outdoor, ground, scene

Description automatically generated

**Picture 8** Concrete slope between Houses 3 & 4. Falling into the drain bottom right by house 3.

A picture containing sky, outdoor

Description automatically generated

**Picture 9** - Gutters on Houses 5 & 6. Down pipe feeds into clean water drain.



Picture 10 – This shows the 6 inches of insulation between the external tin and the internal wooden ply wall of the Generator shed giving excellent sound reduction.

A picture containing yellow

Description automatically generated

Picture 11 - Generator House with the door open for this picture.

A picture containing indoor

Description automatically generatedPicture 12 - Generator Exhaust insulted