MASS BALANCE (MONTE CARLO): Version 6.0

Calculations: 07 October 2025 at 04:23

| Discharge: | Dimlington SW |  |  |  |
| --- | --- | --- | --- | --- |
| River: | Fosse Drain |  |  | 0 |
| Pollutant: | PFOS | Target: | 0.00065 | (mean) |

| Mean u/s river flow | 0.35 |  | Mean discharge flow | 0.34 |  |
| --- | --- | --- | --- | --- | --- |
| 95-percentile low flow | 0.086 |  | Standard deviation | 0.0000 |  |
|  |  | (confidence) |  |  | (confidence) |
| Mean u/s river quality | 0.0003 | (0.0003 - 0.0003) | Mean d/s river quality | 0.0007 | (0.0003 - 0.0010) |
| Standard deviation | 0.00 | (0.0000 - 0.0000) | Standard deviation | 0.0007 | (0.0004 - 0.0009) |
| Number of samples | 4 |  | Number of samples | 10 |  |
| CURRENT DISCHARGE |  | (confidence) | REQUIRED DISCHARGE |  | (confidence) |
| Mean discharge quality | 0.0010 | (0.0004 - 0.0016) | Mean discharge quality | 0.0009 | (0.0004 - 0.0015) |
| Standard deviation | 0.0013 | (0.0009 - 0.0017) | Standard deviation | 0.0012 | (0.0008 - 0.0015) |
| Number of samples | 13 |  | Number of samples | 13 |  |
| 95-percentile | 0.0031 | (0.0018 - 0.0087) | 95-percentile | 0.0031 | (0.0018 - 0.0079) |
| 99-percentile | 0.0062 | (0.0031 - 0.023) | 99-percentile | 0.0062 | (0.0031 - 0.020) |
| 99.5-percentile | 0.0079 | (0.0038 - 0.033) | 99.5-percentile | 0.0079 | (0.0036 - 0.029) |

| CORRELATION COEFFICIENTS |  |
| --- | --- |
| River and discharge flow | 0.6000 |
| River flow and quality | -0.3000 |
| Discharge flow and quality | -0.2000 |

|  | FILES WITH NON-PARAMETRIC DATA |
| --- | --- |
| River flow | none |
| River quality | none |
| Discharge flow | none |
| Discharge quality | none |
| Intermittent discharge flow |  |

|  | INTERMTTENT DISCHARGE ADDED |
| --- | --- |
| % time in operation | 0.0000 |
| Mean flow (when operating) | 0.0000 |
| Standard deviation | 0.0000 |
| Correlation coefficient | 0.0000 |
| Mean quality | 0.0000 |
| Standard deviation | (0.0000 - 0.0000) |
| Correlation with flow | 0 |