MASS BALANCE (MONTE CARLO): Version 6.0

Calculations: 08 October 2025 at 03:51

| Discharge: | Dimlington SW |  |  |  |
| --- | --- | --- | --- | --- |
| River: | Fosse Drain |  |  | 0 |
| Pollutant: | PFOS | Target: | 36 | 95-percentile |

| Mean u/s river flow | 0.35 |  | Mean discharge flow | 0.34 |  |
| --- | --- | --- | --- | --- | --- |
| 95-percentile low flow | 0.086 |  | Standard deviation | 0.0000 |  |
|  |  | (confidence) |  |  | (confidence) |
| Mean u/s river quality | 0.0003 | (0.0003 - 0.0003) | Mean d/s river quality | 17.2 | (12.4 - 22.0) |
| Standard deviation | 0.00 | (0.0000 - 0.0000) | Standard deviation | 9.71 | (6.45 - 13.0) |
| Number of samples | 4 |  | Number of samples | 13 |  |
| 95-percentile | 0.0003 | (0.0003 - 0.0000) | 95-percentile | 36.0 | (26.9 - 61.4) |
| CURRENT DISCHARGE |  | (confidence) | REQUIRED DISCHARGE |  | (confidence) |
| Mean discharge quality | 0.0028 | (0.0022 - 0.0034) | Mean discharge quality | 30.9 | (23.8 - 38.0) |
| Standard deviation | 0.0013 | (0.0009 - 0.0017) | Standard deviation | 14.4 | (9.54 - 19.2) |
| Number of samples | 13 |  | Number of samples | 13 |  |
| 95-percentile | 0.0053 | (0.0041 - 0.0083) | 95-percentile | 0.0053 | (46.3 - 92.4) |
| 99-percentile | 0.0071 | (0.0052 - 0.013) | 99-percentile | 0.0071 | (57.9 - 141) |
| 99.5-percentile | 0.0079 | (0.0057 - 0.015) | 99.5-percentile | 0.0079 | (62.5 - 166) |

| CORRELATION COEFFICIENTS |  |
| --- | --- |
| River and discharge flow | 0.6000 |
| River flow and quality | -0.3000 |
| Discharge flow and quality | -0.2000 |

|  | FILES WITH NON-PARAMETRIC DATA |
| --- | --- |
| River flow | none |
| River quality | none |
| Discharge flow | none |
| Discharge quality | none |
| Intermittent discharge flow |  |

|  | INTERMTTENT DISCHARGE ADDED |
| --- | --- |
| % time in operation | 0.0000 |
| Mean flow (when operating) | 0.0000 |
| Standard deviation | 0.0000 |
| Correlation coefficient | 0.0000 |
| Mean quality | 0.0000 |
| Standard deviation | (0.0000 - 0.0000) |
| Correlation with flow | 0 |