Humber river basin district: climate change risk assessment worksheet

Name (as on your part A application form):

Our permit reference number (if you have one):

Your document reference number:

Risk assessment worksheet for the 2050s
Humber river basin district
You must carry out a climate change risk assessment for any new bespoke waste and installations permit applications if you expect to operate for more than 5 years. Use the user guide to complete the table. You can add in extra pages if necessary.
Consider how your operations will be affected by the changes in weather and climate described in the table. Consider any changes to average climate conditions that may impact on your operations, for example extreme rainfall.
Also consider:
•	critical thresholds - where a ‘tipping point’ is reached, for example a specific temperature where site processes cannot operate safely
•	changes to averages - for example an entire summer of higher than expected rainfall causing waterlogging
•	where hazards may combine to cause more impacts
You can add in other climate variables if you wish.
If you have stated on your application form that you do not expect to be operational in 2050, you must still consider climate change risks for the time you do intend to operate. Whilst the variables are for the 2050s, this is an estimated date and you may experience these conditions before then.
This worksheet will sit in your management system. It must appear on the management system summary you submit with your application, even if you do not need to submit the whole risk assessment with your application.
If your pre-mitigation risk score (column D) is 5 or higher, you must complete columns E to H.
Potential changing climate variable	A / Impact	B / Likelihood	C / Severity	D / Risk / (B x C)	E / Mitigation / (what will you do to mitigate this risk)	F / Likelihood / (after mitigation)	G / Severity / (after mitigation)	H / Residual risk / (F x G)
1. Summer daily maximum temperature may be around 6°C higher compared to average summer temperatures now.	Increased ambient air temperature affecting cooling requirements.	3	2	6	Periodically review heat output and ambient air temperature during summer season. / Should the review find that the seasonal temperature is impacting heat output then an options assessment can be performed with regards to supplementary cooling. / Install additional cooling as required.	3	1	3
2. Winter daily maximum temperature could be 4°C more than the current average, with the potential for more extreme temperatures, both warmer and colder than present.	No negative impact expected. / Should reduce potential for freezing of any pipework.	1	1	1	No mitigation required as very low risk. Score under 5.	1	1	1
3. The biggest rainfall events are up to 20% more intense than current extremes (peak rainfall intensity)*.	a) Surface water drainage system overloaded. b) Wash-out of biomass storage area. c) Overtopping of bunds.	a) 3 / b) 2 / c) 1	a) 2 / b) 2 / c) 1	a) 6 / b) 4 / c) 1	a) Develop a surface water management plan should this occur. / Enact findings of the surface water management plan. / b) No mitigation required as very low risk. Score under 5. / c) No mitigation required as very low risk. Score under 5.	a) 2	1	2
4. Average winter rainfall may increase by 29% on today’s averages.	Surface water drainage system overloaded.	3	2	6	Develop a surface water management plan should this occur. / Enact findings of the surface water management plan.	2	2	4
5. Sea level could be as much as 0.6m higher compared to today’s level *.	Inland site. Low impact expected.	3	2	6	Monitor permanent change to local river levels. / Liaise with EA flood risk team with regards to localised flood defences. / Periodically review and update flood risk assessment (FRA) to assess changes. / FRA made the following recommendations which will be adhered to: / “It is recommended that the plant equipment is raised above 1.20m from average site level to 3.50m AOD to keep the plant equipment away from any potential flood waters. These platforms should be made from water resistant material, such as concrete and treated with a protective coating. / It is recommended that the floor level of the fuel store should be 600mm up from average site level which would place the floor level at 2.90m AOD, with flood resilience measures included up to the depth of predicted flooding for the relevant events (i.e. up to 3.50m AOD)”.	2	1	2
6. Drier summers, potentially up to 34% less rain than now.	Increased dust – less water to suppress.	2	1	2	No mitigation required as very low risk. Score under 5.	2	1	2
7. At its peak, the flow in watercourses could be 30% more than now, and at its lowest it could be 65% less than now.	No discharge to watercourse.	1	1	1	No mitigation required as very low risk. Score under 5.	1	1	1

*Indicates data has come from climate change allowances as part of the spatial planning process. Evidence from your planning submission is acceptable evidence for this worksheet.