## Receptors
Receptors within 1km
Receptor | Legend | Type | Sensitivity | Distance and Direction from Permitted site
Westminster Gardens | A | Residential | High | 35m East
King Edwards Road | B | Residential | High | 75m North
Barking Fire Station | C | Fire Station | Low | 95m North East
Gascoigne Road | D | Commerical/Retail | Medium | 110 North West
Mayes Brook Local Wildlife Site | E | Ecological | Medium | Adjoining South
Beckton Creekside Nature Reserve | F | Ecological | Medium | 230m South
Beckton Sewage Treatment Works | G | Industrial | Low | 260m South West
River Roding | H | Surface Water | High | 140m South
A13 | I | Main Road | Low | 25m North
River Road Industrial Estate | J | Industrial | Low | 300m South East
Charlton Crescent | K | Residential | High | 510m East
Greatfields Park | L | Recreational | Medium | 135m North East
4 Schools | M | Educational | High | 470m North West
Jenkins Lane Depot | N | Waste Management | Low | 890m South West
Railway | O | Railway | Low | 660m North West
There are no SSSI, SPAs, SACs or Ramsar Sites within 6km.
Ripple Local Nature Reserve is 1.7km east of the site.
Groundwater | Status
Bedrock Geology | Unproductive
Superficial | Secondary (undifferentiated)
Source Protection Zones | None
Groundwater Vulnerability | Medium-Low
Overall Sensitivity | Low

## Risk Assessment
Site specific environmental risk assessment
Nature of Facility |  |  |  | Physical Treatment of Non Hazardous Waste - Tyres Only
Location: |  |  |  | G&S Tyre Services Limited, Kingsbridge Road, Barking, IG11 0BD
Location of environmentally sensitive sites (km / m): |  |  |  | See Receptors Tab
Risk assessment carried out by: |  |  |  | Alison Crooks, Integrated Skills Limited
Date: |  |  |  | 2.5.2024
Document Reference |  |  |  | G&S-KR-ERA-V1
Data and information |  |  |  |  | Judgement |  |  | Action (by operator)
Receptor | Source | Harm | Pathway | Probability of exposure | Consequence | Magnitude of risk | Justification for magnitude | Risk management | Residual risk
What is at risk? What do I wish to protect? | What is the agent or process with potential to cause harm? | What are the harmful consequences if things go wrong? | How might the receptor come into contact with the source? | How likely is this contact? | How severe will the consequences be if this occurs? | What is the overall magnitude of the risk? | On what did I base my judgement? | How can I best manage the risk to reduce the magnitude? | What is the magnitude of the risk after management? (This residual risk will be controlled by Compliance Assessment).
Local human population | Releases of particulate matter (dusts) and micro-organisms (bioaerosols). | Harm to human health - respiratory irritation and illness. | Air transport then inhalation. | Low | Low | Low | Permitted waste types do not include dusts, powders or loose fibres and have a low potential to produce bioaerosols | Speed restrictions on site. Site is used to receive, store, sort and treat tyres and waste tyres. No shredding takes place. Selected tyres are re-treaded within a building. Visual inspection of dust levels daily | Low
Local human population | Releases of particulate matter (dusts) and micro-organisms (bioaerosols). | Nuisance - dust on cars, clothing etc. | Air transport then deposition | Low | Low | Low | No shredding takes place. Tyres and waste tyres are received as whole units. | As above. | Low
Release of particulate matter (dusts) and micro-organisms (bioaerosols) | Local Air Quality | Harm to Local Air Quality | Atmosphere | Low | Low | Low | The site is an Air Quality Management Area. Nature of waste has a low liklihood of generating dust. | Same as above | Low
Local human population, livestock and wildlife. | Litter | Nuisance, loss of amenity and harm to animal health | Air transport then deposition | Low | Medium | Low - Medium | Local residents often sensitive to litter. Litter is not associated with the waste stream. | Visual inspection of litter levels weekly Implement litter picking duties as necessary Waste tyres stored as whole units. | Low
Local human population | Mud on local roads | Nuisance, loss of amenity, road traffic accidents. | Vehicles entering and leaving site. | Very low | Very low | Very Low | Road safety, local residents often sensitive to mud on roads. Mud is not associated with the type of waste. | Mud is not associated with this waste stream. The entire site is concreted. | Very Low
Local human population | Odour | Nuisance, loss of amenity | Air transport then inhalation. | Very low | Very low | Very low | Residents will be sensitive to odour, however, odour is not typically associated with the waste. Long established business in this location. | Regular cleaning and daily checks. | Very Low
Local human population | Noise and vibration | Nuisance, loss of amenity, loss of sleep. | Noise through the air and vibration through the ground. | Very low | Very low | Low | Local residents often sensitive to noise and vibration. This is a long established business in this location. Close to A13 main road. | Speed limits for vehicles. Regular maintenance of hardstanding to prevent uneven surfaces All plant and machinery to be maintained in accordance with manufacturers specifications Daytime hours of operation. Re-treading takes place inside a building and is no different to a general industrial operation.Established business without any previous effects on the nearest neightbours. | Very Low
Local human population | Scavenging animals and scavenging birds | Harm to human health - from waste carried off site and faeces. Nuisance and loss of amenity. | Air transport and over land | Very low | Very low | Very low | Permitted wastes will not attract scavenging animals and birds. | Pest control contractor will be commissioned if pests become a problem. | Low
Local human population | Pests (e.g. flies) | Harm to human health, nuisance, loss of amenity | Air transport and over land | Very low | Low | Low | Permitted wastes could attract scavenging animals and birds. No food waste accepted. | As above. | Low
Spillages of liquids, contaminated rainwater runoff | Surface water runoff | Sedimentation surface water, harm to water quality |  | Low | Medium | Low-Medium | Concrete surface with drainage. | Only tyres and waste tyres accepted at this site. Concrete surface with drainage. | Low
Groundwater | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Chronic effects: contamination of groundwater, requiring treatment of water or closure of borehole. | Transport through soil/groundwater then extraction at borehole. | Low | Low | Low | Site is not in a groundwater source protection zone. Low sensitivity of groundwater | Entire site is concreted with sealed drainage. Daily checks on infrastracture | Low
Local Wildlife site (Mayes Brook) | Spillage of liquids, leachate from waste, contaminated rainwater run-off from waste e.g. containing suspended solids. | Sedimentation surface water, harm to water quality, nutrient enrichments, smothering vegetation | Runoff, air transport | Low | Medium | Low-Medium | The site will only manage waste tyres. | Re-treading takes place inside buidling. Storage areas outside on concrete surface with drainage. No shredding takes place. Established business without any previous effects on the receptor. | Low
Protected sites - European sites and SSSIs | Any | Harm to protected site through toxic contamination, nutrient enrichment, smothering, disturbance, predation etc. | Any | Medium | Medium | Medium | Waste operations may cause harm to and deterioration of nature conservation sites. No designated sites within 2km. | All of the above. | Low
| Very low | Low | Medium | High
High | 4 | 8 | 12 | 16
Medium | 3 | 6 | 9 | 12
Low | 2 | 4 | 6 | 8
Very low | 1 | 2 | 3 | 4
|  |  |  | Very low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Low |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | Medium |  | #REF! | #REF! | #REF! | #REF!
|  |  |  | High |  | 2 | 2 | 4 | Low
[6 empty] | 2 | 2 | 4 | Low
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | 1 | 1 | 1 | Low
[6 empty] | 1 | 1 | 1 | Low
| Very low | Low | Medium | High |  | #REF! | #REF! | #REF! | #REF!
Very low | 1 | 2 | 3 | 4 |  | #REF! | #REF! | #REF! | #REF!
Low | 2 | 4 | 6 | 8 |  | 1 | 1 | 1 | Low
Medium | 3 | 6 | 9 | 12 |  | #REF! | #REF! | #REF! | #REF!
High | 4 | 8 | 12 | 16 |  | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
[6 empty] | #REF! | #REF! | #REF! | #REF!
Note on B18: Receptors to consider should include: atmosphere, land, surface waters, groundwater, humans, wildlife and their habitats. A single receptor may be at risk from several different sources and all must be addressed.
Note on C18: The Source of hazard will be the activity or operation taking place for which a particular hazard may arise.
Note on D18: Harm may arise when a specific hazard is realised.
Note on E18: Pathways are the routes or means by which defined hazards may potentially realise their consequences at the receptors.
Note on F18: Probability of exposure is the likelihood of the receptors being exposed to the hazard. Example definitions: High – exposure is probable: direct exposure likely with no / few barriers between hazard source and receptor; Medium – exposure is fairly probable: feasible exposure possible - barriers to exposure less controllable; Low – exposure is unlikely: several barriers exist between hazards source and receptors to mitigate against exposure: Very Low – exposure is very unlikely: effective, multiple barriers in place to mitigate against exposure.
Note on G18: The consequences of a hazard being realised may be actual or potential harm. This will include be on a high/medium/low/very low score using attributes and scaling to consider 'harm'.
Note on H18: Magnitude of the risk is determined by combining the probability with the magnitude of the potential consequences High risks require additional assessment and active management Medium risks require additional assessment and may require active management/monitoring Low and very low risks require periodic review.
Note on J18: Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce risk.

## Accident Management Plan
Accident Management Plan
Event | Likelihood of Occurrence | Consequence of Occurrence | Actions Taken or Proposed to Minimise the Likelihood or Consequences of Occurrence | Actions Planned if the Event Does Occur | Staff Responsible
Accidents associated with waste types | Very Unlikely | Incompatible waste or incorrect wastes leading to harm | Waste Acceptance Procedures. No Hazardous waste accepted. Operator only handles specific waste stream. | Implement quarantine procedures and informing customers of incorrect waste disposal. | TCM to train all staff.All staff responsible for checking incoming waste
Flooding based on Environment Agency indicative floodplain maps | Site is Flood Zone three which benefits from flood defences. | Localised flooding | Daily checks of drainage and concrete surface to prevent pooling and localised flooding. | Operator will sign up for Flood Warnings. | TCM/Site Manager through daily checks
Flooding based on Environment Agency indicative floodplain maps | Site has a low risk from surface water flooding. | Localised flooding | Daily checks of drainage and concrete surface to prevent pooling and localised flooding. | Operator will sign up for Flood Warnings. | TCM/Site Manager through daily checks
Minor fires associated with machinery | Unlikely and infrequent | Damage or injury from minor fires would be minimal with long term effect unlikely | Fire fighting equipment available throughout site | Implement Fire Prevention Plan | TCM to train all staff.All staff responsible for fire prevention
External certification of extinguishers
Appropriate storage
Fires associated with storage of fuel | Unlikely. No fuel storage at the site. | Damage or injury could be significant based on nature of material. | Fire fighting equipment available throughout site | Implement Fire Prevention Plan | As above
External certification of extinguishers
Appropriate storage
Fires caused by arson and/or vandalism | Unlikely and infrequent given waste types. Security provided by Shoreham Port | Damage or injury from minor fires would be minimal with long term effect unlikely | Site is secured out of hours. | Implement Fire Prevention Plan | As above
CCTC provided throughout
Buidlings locked out of hours
Minor spillage caused by machinery and fuel/oil leaks from vehicles | Unlikely and infrequent | No pathway to surface water or groundwater. Localised spillage would be minimal with long term effect unlikely | Spill kits provided | Implement Spillage Procedure | TCM to train all staff.All staff responsible for spillage prevention and clean up
Vehicle manoeuvring will be controlled. Low level of use
Regular maintenance of plant and machinery
Site has sealed drainage to capture any surface water.
Major spillage, for example the fuel tank | Unlikely and infrequent | No pathway to surface water or groundwater. Localised spillage would be minimal with long term effect unlikely | Any fuel tank to be bunded and relocated away from the site activities and vehicle manoeuvring. | Implement Spillage Procedure | As above
Explosions | Very Unlikely | Damage to People, atmosphere, buildings | In the event of an explosion Emergency Services to be called. | Call Emergency Services | All staff
Climate Change | Likely | Damage to People, atmosphere, buildings | Climate Change Risk Assessment | Climate Change Risk Assessment | All staff
Prepared | 10.7.2024
Review Date | 2028-06-01

## Climate Change Risk Assessment
Summer Daily Maximum Temperature / Drier Summers
The summer average temperature may be 7oC higher, with the potential for extreme temperatures as high as 40oC. Summers could also have less rainfall than now.
Impact 1 - Increased risk of fire
During periods of higher temperatures, there is a higher risk of waste self heating. Tyre is continously managed. Tyres are imported for re-treading, re-fitting or transfer. Arrangements made to continally move the tyres.
The site manager will increase the frequency of daily checks. Tyre storage areas to be dampened down.
The plant and machinery will be subject to daily checks, this includes checking the fire extinguishers.
Impact 2 - Increased risk of fire caused by electrical components
Electrical components checked annual by third party.
Impact 3 - Increased risk of damage to plastic pipes and hoses
During periods of higher temperatures, there is a higher risk of degradation of pipework. No external pipework
Impact 4 - Increased risk of Dust
During prolonged dry weather periods, there is an increase risk of dust emissions from stockpiles and site roads. The operation has a low liklihood of generating dust.
The site manager will consider using a road sweeper to clean the yard and access road.
Daily checks will observe if dust is present and trigger cleaning requirements.
Additional training to be provided to help staff understand the increased risks associated with this type of weather event.
Impact 5 - Increased risk of drought
The operation has a low water use.
If drought conditions persist that result in a water ban, the operator will consider installing tanks to collect roof water for future use.
Impact 6 - Increased risk of pests and scavengers
Increased checks and commission pest control contractor.
Low likelihood of pests, not associated with the waste types.
Winter Daily Maximum Temperature
The winter average temperature may be 4oC higher.
Impact 1 – Odour Complaints
Odour complaints are not likely, as the waste is not typically odorous.
Impact 2 – Burst Pipes
No water pipes at the site.
Daily Extreme Rainfall
Rainfall intensity could increase by up to 20% on today’s values.
Impact 1 – Site Surface Water and Flooding
Flood warning plan is in place for the site.
Increased frequency of checking / cleaning drainage.
Impact 2 – Site Surface Water and Flooding
There is also the potential for drainage systems to be overwhelmed.
The Site Manager will monitor the forecast at the start of each week. In the event of a weather warning from the Met Office, the drainage system will be checked and if necessary arrangements made to empty the system.
Average Winter Rainfall
Rainfall intensity could increase by up to 40% on today’s values.
Impact 1 – Site Surface Water and Flooding
Flood warning plan is in place for the site.
Impact 2 – Site Surface Water and Flooding
There is also the potential for drainage systems to be overwhelmed.
The Site Manager will monitor the forecast at the start of each week. In the event of a weather warning from the Met Office, the drainage system will be checked and if necessary arrangements made to empty the system.
Drier Summers
Summers could see potential up to 40% less rain than now.
Impact 1 – Long period of hot and dry weather could lead to a drought and impact water supplies.
The site operator will monitor the water use during the dry season. This will enable improved planning for the following years.
Sea Level Rise
Impact 1 –Flooding
Flood defences have been installed for this area.
River flow
The flow in watercourses could be 50% more than now at its peak and 80% less than now at its lowest.
Impact 1 – On site Drainage systems
The site operations do not rely on river water for supplies.
The site drainage does not rely on river water for discharges.
Storms
Storms could see a change in frequency and intensity. The unique combination of increased wind speeds, increased rainfall, and lightning during these events provides the potential for more extreme storm impacts.
Impact 1 – Wind Damage
The site management will review weather forecasts at the start of each working week. In the event that the Met Office issue a weather warning for storms (high winds and / or rainfall), the operator will carry out additional site checks. This will include checking stock levels.
The site infrastructure will also be checked.
The site will be cleaned in the days before, to minimise the risk associated with dust and litter emissions being generated.
Following any storm, the site manager will carry out additional checks on infrastructure to assess any damage and programme any necessary repairs. Carry out any litter picking.
Impact 2 – Wind damage to above ground tanks
As above, the site management will review weather forecasts at the start of each working week. In the event that the Met Office issue a weather warning for storms (high winds and / or rainfall), the operator will carry out additional site checks.
The site infrastructure will also be checked.
Following any storm, the site manager will carry out additional checks on infrastructure to assess any damage and programme any necessary repairs.
Impact 3 – Lighting Strikes
In the event of a lightning strike on any of the buildings or infrastructure, the site manager will carry out an assessment of damage and implement repairs as necessary.

## Wind Rose
Source:
https://www.meteoblue.com/en/weather/historyclimate/climatemodelled/beckton_united-kingdom_2656052