## SLR
S Norton Barking H1 SWPRA
Job No: | 416.065442.00001 | Made by | R.Coldicott | Date | 2024-05-13
Ref: |  | Checked |  | Sheet |  | of
Reviewed

## Tests
Test 1 (Estuarine)
Contaminant | Average Effluent Concentration (µg/l) | AA-EQS |  | Maximum Effluent Concentration (µg/l) | MAC-EQS
Arsenic, Total | 75.61 | 25 | FAIL | 457 | N/A | N/A
Cadmium, Total | 0.998 | 0.2 | FAIL | 3.3 | 1.5 | FAIL
Chromium, Total | 6.6 | 0.6 | FAIL | 18 | 32 | PASS
Copper, Total | 57.8 | 3.6 | FAIL | 130 | N/A | N/A
Cyanide | 15.8 | 1 | FAIL | 48 | 5 | FAIL
Lead, Total | 168.6 | 1.3 | FAIL | 390 | 14 | FAIL
Mercury, Total | 0.187 | N/A | N/A | 1 | 0.07 | FAIL
Nickel, Total | 20.24 | 8.6 | FAIL | 29 | 34 | PASS
Zinc, Total | 852.8 | 6.8 | FAIL | 1900 | N/A | FAIL
Silver, Total | 0.73 | 0.5 | FAIL | 1 | 1 | FAIL
Tin, Total | 2.08 | 10 | PASS | 4.1 | N/A | N/A
Vanadium, Total | 4.28 | 100 | PASS | 8.42 | N/A | N/A
Phenol | 22.15 | 7.7 | FAIL | 100 | 46 | FAIL
Test 2 (Freshwater) | [6 empty] | Average Effluent flow rate | 0.00032
[7 empty] | Maximum Effluent flow rate | 0.014
[7 empty] | Q95 River flow rate | 7.54
Contaminant | Average Effluent Concentration (µg/l) | STRF | Average Release Concentration (µg/l) | Average PC | AA-EQS | % of AA-EQS | Maximum Effluent Concentration (µg/l) | Maximum Release Concentration (µg/l) | Maximum PC | MAC-EQS | % of MAC-EQS
Arsenic, Total | 75.61 | 0.89 | 67.2929 | 3.777e-05 | 25 | 0.0001511% | 457 | 406.73 | 0.7538 | N/A | N/A
Cadmium, Total | 0.998 | 0.37 | 0.36926 | 1.5702e-05 | 0.2 | 0.007851% | 3.3 | 1.221 | 0.0022629 | 1.5 | 0.1509%
Chromium, Total | 6.6 | 0.16 | 1.056 | 6.7902e-06 | 0.6 | 0.001132% | 18 | 2.88 | 0.0053376 | 32 | 0.01668%
Copper, Total | 57.8 | 0.21 | 12.138 | 8.9121e-06 | 3.6 | 0.0002476% | 130 | 27.3 | 0.050596 | N/A | N/A
Cyanide | 15.8 | 0.32 | 5.056 | 1.358e-05 | 1 | 0.001358% | 48 | 15.36 | 0.028467 | 5 | 0.5693%
Lead, Total | 168.6 | 0.17 | 28.662 | 7.2145e-06 | 1.3 | 0.000555% | 390 | 66.3 | 0.12288 | 14 | 0.8777%
Mercury, Total | 0.187 | 0.67 | 0.12529 | 2.8434e-05 | N/A | N/A | 1 | 0.67 | 0.0012417 | 0.07 | 1.774%
Nickel, Total | 20.24 | 0.76 | 15.3824 | 3.2253e-05 | 8.6 | 0.000375% | 29 | 22.04 | 0.040847 | 34 | 0.1201%
Zinc, Total | 852.8 | 0.33 | 281.424 | 1.4005e-05 | 6.8 | 0.000206% | 1900 | 627 | 1.162 | N/A | N/A
Silver, Total | 0.73 | 1 | 0.73 | 4.2439e-05 | 0.5 | 0.008488% | 1 | 1 | 0.0018533 | 1 | 0.1853%
Phenol | 22.15 | 0.17 | 3.7655 | 7.2145e-06 | 7.7 | 9.37e-05% | 100 | 17 | 0.031506 | 46 | 0.06849%