## Sheet1
MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD
Version 2.5 |  |  |  | Version 2.5 |  |  |  | Version 2.5
Calculations done on 28/11/2024 at 10.45 |  |  |  | Calculations done on 28/11/2024 at 11.33 |  |  |  | Calculations done on 28/11/2024 at 11.50
Name of discharge | Muntons Trade Effluent - Current discharge |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (1500m3/24hr) |  |  | Name of discharge | Muntons Trade Effluent - Maximum Proposed Discharge (2500m3/24hr)
Name of river | River Gipping |  |  | Name of river | River Gipping |  |  | Name of river | River Gipping
Name of determinand | Ammoniacal Nitrogen |  |  | Name of determinand | Ammoniacal Nitrogen |  |  | Name of determinand | Ammoniacal Nitrogen
INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS
UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE
Mean flow | 0.63 | Mean quality | 0.13 | Mean flow | 0.63 | Mean quality | 0.14 | Mean flow | 0.63 | Mean quality | 0.14
95% exceedence flow | 0.09 | Standard deviation of quality | 0.09 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.09 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.12
Mean quality | 0.12 | 90-percentile quality | 0.23 | Mean quality | 0.12 | 90-percentile quality | 0.23 | Mean quality | 0.12 | 90-percentile quality | 0.24
Standard deviation of quality | 0.07 | 95-percentile quality | 0.28 | Standard deviation of quality | 0.07 | 95-percentile quality | 0.29 | Standard deviation of quality | 0.07 | 95-percentile quality | 0.30
90-percentile | 0.21 | 99-percentile quality | 0.45 | 90-percentile | 0.21 | 99-percentile quality | 0.47 | 90-percentile | 0.21 | 99-percentile quality | 0.54
DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY
Mean flow | 0.02 | Mean quality | 0.32 | Mean flow | 0.02 | Mean quality | 0.32 | Mean flow | 0.03 | Mean quality | 0.32
Standard deviation of flow | 0.00 | Standard deviation of quality | 0.85 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.85 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.85
Mean quality | 0.33 | 95-percentile quality | 1.31 | Mean quality | 0.33 | 95-percentile quality | 1.31 | Mean quality | 0.33 | 95-percentile quality | 1.31
Standard deviation of quality | 1.56 | 99-percentile quality | 3.97 | Standard deviation of quality | 1.56 | 99-percentile quality | 3.97 | Standard deviation of quality | 1.56 | 99-percentile quality | 3.97
... or 95-percentile | 1.26 | 99.5-percentile quality | 5.37 | ... or 95-percentile | 1.26 | 99.5-percentile quality | 5.37 | ... or 95-percentile | 1.26 | 99.5-percentile quality | 5.37
MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD
Version 2.5 |  |  |  | Version 2.5 |  |  |  | Version 2.5
Calculations done on 28/11/2024 at 14.45 |  |  |  | Calculations done on 28/11/2024 at 14.49 |  |  |  | Calculations done on 28/11/2024 at 14.52
Name of discharge | Muntons Trade Effluent - Current Data |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (1500m3/24hr) |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (2500m3/24hr)
Name of river | River Gipping |  |  | Name of river | River Gipping |  |  | Name of river | River Gipping
Name of determinand | BOD |  |  | Name of determinand | BOD |  |  | Name of determinand | BOD
INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS
UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE
Mean flow | 0.63 | Mean quality | 3.16 | Mean flow | 0.63 | Mean quality | 3.16 | Mean flow | 0.63 | Mean quality | 3.15
95% exceedence flow | 0.09 | Standard deviation of quality | 2.10 | 95% exceedence flow | 0.09 | Standard deviation of quality | 2.08 | 95% exceedence flow | 0.09 | Standard deviation of quality | 2.00
Mean quality | 3.14 | 90-percentile quality | 5.53 | Mean quality | 3.14 | 90-percentile quality | 5.53 | Mean quality | 3.14 | 90-percentile quality | 5.39
Standard deviation of quality | 2.17 | 95-percentile quality | 7.05 | Standard deviation of quality | 2.17 | 95-percentile quality | 7.03 | Standard deviation of quality | 2.17 | 95-percentile quality | 6.94
90-percentile | 5.75 | 99-percentile quality | 10.13 | 90-percentile | 5.75 | 99-percentile quality | 9.97 | 90-percentile | 5.75 | 99-percentile quality | 9.82
DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY
Mean flow | 0.02 | Mean quality | 3.03 | Mean flow | 0.02 | Mean quality | 3.03 | Mean flow | 0.03 | Mean quality | 3.03
Standard deviation of flow | 0.00 | Standard deviation of quality | 0.82 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.82 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.82
Mean quality | 3.00 | 95-percentile quality | 4.52 | Mean quality | 3.00 | 95-percentile quality | 4.52 | Mean quality | 3.00 | 95-percentile quality | 4.52
Standard deviation of quality | 0.82 | 99-percentile quality | 5.35 | Standard deviation of quality | 0.82 | 99-percentile quality | 5.35 | Standard deviation of quality | 0.82 | 99-percentile quality | 5.35
... or 95-percentile | 4.50 | 99.5-percentile quality | 5.60 | ... or 95-percentile | 4.50 | 99.5-percentile quality | 5.60 | ... or 95-percentile | 4.50 | 99.5-percentile quality | 5.60
MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD
Version 2.5 |  |  |  | Version 2.5 |  |  |  | Version 2.5
Calculations done on 28/11/2024 at 11.02 |  |  |  | Calculations done on 28/11/2024 at 11.44 |  |  |  | Calculations done on 28/11/2024 at 11.58
Name of discharge | Muntons Trade Effluent - Current Discharge |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (1500m3/24hr) |  |  | Name of discharge | Muntons Trade Effluent - Maximum Proposed Discharge (2500m3/24hr)
Name of river | River Gipping |  |  | Name of river | River Gipping |  |  | Name of river | River Gipping
Name of determinand | pH |  |  | Name of determinand | pH |  |  | Name of determinand | pH
INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS
UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE
Mean flow | 0.63 | Mean quality | 7.79 | Mean flow | 0.63 | Mean quality | 7.79 | Mean flow | 0.63 | Mean quality | 7.79
95% exceedence flow | 0.09 | Standard deviation of quality | 0.16 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.16 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.15
Mean quality | 7.79 | 90-percentile quality | 7.99 | Mean quality | 7.79 | 90-percentile quality | 7.99 | Mean quality | 7.79 | 90-percentile quality | 7.98
Standard deviation of quality | 0.17 | 95-percentile quality | 8.06 | Standard deviation of quality | 0.17 | 95-percentile quality | 8.05 | Standard deviation of quality | 0.17 | 95-percentile quality | 8.04
90-percentile | 8.01 | 99-percentile quality | 8.15 | 90-percentile | 8.01 | 99-percentile quality | 8.15 | 90-percentile | 8.01 | 99-percentile quality | 8.15
DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY
Mean flow | 0.02 | Mean quality | 7.75 | Mean flow | 0.02 | Mean quality | 7.75 | Mean flow | 0.03 | Mean quality | 7.75
Standard deviation of flow | 0.00 | Standard deviation of quality | 0.18 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.18 | Standard deviation of flow | 0.00 | Standard deviation of quality | 0.18
Mean quality | 7.75 | 95-percentile quality | 8.05 | Mean quality | 7.75 | 95-percentile quality | 8.05 | Mean quality | 7.75 | 95-percentile quality | 8.05
Standard deviation of quality | 0.18 | 99-percentile quality | 8.16 | Standard deviation of quality | 0.18 | 99-percentile quality | 8.16 | Standard deviation of quality | 0.18 | 99-percentile quality | 8.16
... or 95-percentile | 8.04 | 99.5-percentile quality | 8.20 | ... or 95-percentile | 8.04 | 99.5-percentile quality | 8.20 | ... or 95-percentile | 8.04 | 99.5-percentile quality | 8.20
MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD
Version 2.5 |  |  |  | Version 2.5 |  |  |  | Version 2.5
Calculations done on 28/11/2024 at 11.05 |  |  |  | Calculations done on 28/11/2024 at 11.46 |  |  |  | Calculations done on 28/11/2024 at 12.00
Name of discharge | Muntons Trade Effluent - Current Discharge |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (1500m3/24hr) |  |  | Name of discharge | Muntons Trade Effluent - Maximum Proposed Discharge (2500m3/24hr)
Name of river | River Gipping |  |  | Name of river | River Gipping |  |  | Name of river | River Gipping
Name of determinand | Temperature |  |  | Name of determinand | Temperature |  |  | Name of determinand | Temperature
INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS
UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE
Mean flow | 0.63 | Mean quality | 17.45 | Mean flow | 0.63 | Mean quality | 17.47 | Mean flow | 0.63 | Mean quality | 17.56
95% exceedence flow | 0.09 | Standard deviation of quality | 1.28 | 95% exceedence flow | 0.09 | Standard deviation of quality | 1.28 | 95% exceedence flow | 0.09 | Standard deviation of quality | 1.27
Mean quality | 17.30 | 90-percentile quality | 19.12 | Mean quality | 17.30 | 90-percentile quality | 19.13 | Mean quality | 17.30 | 90-percentile quality | 19.24
Standard deviation of quality | 1.35 | 95-percentile quality | 19.64 | Standard deviation of quality | 1.35 | 95-percentile quality | 19.63 | Standard deviation of quality | 1.35 | 95-percentile quality | 19.73
90-percentile | 19.05 | 99-percentile quality | 20.39 | 90-percentile | 19.05 | 99-percentile quality | 20.43 | 90-percentile | 19.05 | 99-percentile quality | 20.70
DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY
Mean flow | 0.02 | Mean quality | 19.99 | Mean flow | 0.02 | Mean quality | 19.99 | Mean flow | 0.03 | Mean quality | 19.99
Standard deviation of flow | 0.00 | Standard deviation of quality | 3.00 | Standard deviation of flow | 0.00 | Standard deviation of quality | 3.00 | Standard deviation of flow | 0.00 | Standard deviation of quality | 3.00
Mean quality | 19.84 | 95-percentile quality | 25.23 | Mean quality | 19.84 | 95-percentile quality | 25.23 | Mean quality | 19.84 | 95-percentile quality | 25.23
Standard deviation of quality | 3.01 | 99-percentile quality | 27.73 | Standard deviation of quality | 3.01 | 99-percentile quality | 27.73 | Standard deviation of quality | 3.01 | 99-percentile quality | 27.73
... or 95-percentile | 25.15 | 99.5-percentile quality | 28.44 | ... or 95-percentile | 25.15 | 99.5-percentile quality | 28.44 | ... or 95-percentile | 25.15 | 99.5-percentile quality | 28.44
MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD |  |  |  | MASS BALANCE CALCULATION: MONTE CARLO METHOD
Version 2.5 |  |  |  | Version 2.5 |  |  |  | Version 2.5
Calculations done on 28/11/2024 at 10.58 |  |  |  | Calculations done on 28/11/2024 at 11.41 |  |  |  | Calculations done on 28/11/2024 at 11.56
Name of discharge | Muntons Trade Effluent - Current Discharge |  |  | Name of discharge | Muntons Trade Effluent - Current Maximum Discharge (1500m3/24hr) |  |  | Name of discharge | Muntons Trade Effluent - Maximum Proposed Discharge (2500m3/24hr)
Name of river | River Gipping |  |  | Name of river | River Gipping |  |  | Name of river | River Gipping
Name of determinand | Total Nitrogen |  |  | Name of determinand | Total Nitrogen |  |  | Name of determinand | Total Nitrogen
INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS |  | INPUT DATA |  | RESULTS
UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE |  | UPSTREAM RIVER DATA |  | RIVER DOWNSTREAM OF DISCHARGE
Mean flow | 0.63 | Mean quality | 7.33 | Mean flow | 0.63 | Mean quality | 7.35 | Mean flow | 0.63 | Mean quality | 7.46
95% exceedence flow | 0.09 | Standard deviation of quality | 0.61 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.62 | 95% exceedence flow | 0.09 | Standard deviation of quality | 0.70
Mean quality | 7.18 | 90-percentile quality | 8.15 | Mean quality | 7.18 | 90-percentile quality | 8.17 | Mean quality | 7.18 | 90-percentile quality | 8.35
Standard deviation of quality | 0.60 | 95-percentile quality | 8.40 | Standard deviation of quality | 0.60 | 95-percentile quality | 8.46 | Standard deviation of quality | 0.60 | 95-percentile quality | 8.73
90-percentile | 7.96 | 99-percentile quality | 8.89 | 90-percentile | 7.96 | 99-percentile quality | 9.00 | 90-percentile | 7.96 | 99-percentile quality | 9.69
DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY |  | DISCHARGE DATA |  | DISCHARGE QUALITY
Mean flow | 0.02 | Mean quality | 10.15 | Mean flow | 0.02 | Mean quality | 10.15 | Mean flow | 0.03 | Mean quality | 10.15
Standard deviation of flow | 0.00 | Standard deviation of quality | 3.56 | Standard deviation of flow | 0.00 | Standard deviation of quality | 3.56 | Standard deviation of flow | 0.00 | Standard deviation of quality | 3.56
Mean quality | 10.00 | 95-percentile quality | 16.80 | Mean quality | 10.00 | 95-percentile quality | 16.80 | Mean quality | 10.00 | 95-percentile quality | 16.80
Standard deviation of quality | 3.59 | 99-percentile quality | 20.87 | Standard deviation of quality | 3.59 | 99-percentile quality | 20.87 | Standard deviation of quality | 3.59 | 99-percentile quality | 20.87
... or 95-percentile | 16.67 | 99.5-percentile quality | 22.14 | ... or 95-percentile | 16.67 | 99.5-percentile quality | 22.14 | ... or 95-percentile | 16.67 | 99.5-percentile quality | 22.14