**Appendix 12: Housing and Drainage Review**

Reviewed by: L Bentley

Date: September 2023

*No site visit undertaken*. *Answers are based on information from the operator and review of BAT guidance as of September 2023.*

The proposed installation (see Appendix 4) is in line with BAT guidance in terms of design and management. Routine maintenance schedules (please see Appendix 3) will maintain these standards and we will regularly review any areas which could be improved in future.

***1****. Is manure and slurry managed to the standards in How to Comply?*

Manure and slurry are managed to BAT - no further action required

N.B. Floating cover of clay balls on slurry lagoon must be “topped up”/refreshed when needed

***2****. Is clean water drainage managed to the standards in How to Comply?*

Clean water drainage is managed to BAT - no further action required

***3.*** *Is ventilation managed to the standards in How to Comply?*

Ventilation is managed to BAT - no further action required

***4****. Is temperature managed to the standards in How to Comply?*

Temperature is managed to BAT - no further action required

***5.*** *Does the general management conform to the standards in How to Comply?*

Buildings and the wider installation are managed to BAT - no further action required