## START HERE
Bradgate Bakery BAT Assessment - Permit Variation Application
This Excel file has been put together to enable Operators to provide a structured response to their Reg61 Notice questions. Different worksheets are provided for you to provide answers for the following questions: - FDM General BATCs no 1 - 15 - Sector specific BATCs - Emissions to water - Emissions to air - Medium Combustion Plant - Climate Change Adaptation - Site condition baseline - Containment - Waste treatment (anaerobic digestion) [only if you operate an AD plant] We expect that you will need to provide us with a number of additional files for the information we need. You may also wish to use a Word continuation sheet for information about your plant, rather than include a significant quantity of text in column H.
Please refer to our document "Guidance for completing the Regulation 61 Information Notice Response Tool" when preparing your submission. A copy of this document is on our Citizen Space webpage |  | Citizen Space webpage
With reference to the questions set out in the Reg 61 Information notice, please complete the following steps:
1. Complete the site details worksheet
2. Complete the worksheet for the General BAT conclusions 1-15.
3. Complete the relevant sector specific worksheet(s) for your permitted activity/activities, along with any others which apply to activities that you carry out. If your sector is not listed then proceed to step 4.
4. Complete the respective worksheets for water emissions, air emissions, Medium Combustion Plant, Climate Change Adaptation, Site condition baseline, containment and waste treatment.
5. Enclose any supplementary supporting information for your responses eg site plan, data tables etc in a clearly referenced separate document(s) using a suitable format.
6. Provide responses to the remaining questions on the Reg 61 Notice which do not feature in this Notice response tool in a separate, clearly referenced document.
7. On the "List of files" worksheet, list any separate documents which are part of your complete response to the Notice, including those which are referenced within this file.
Optional - We have also provided an opportunity to provide feedback on using this Tool. Please include any suggestions for how this Tool can be made easier to use on the final worksheet
8. Prior to submitting your response, please check the Reg 61 Information Notice to ensure that you have answered all the questions. There are some questions which this Response Tool doesn't cover.
9. Submitting your response: email the completed Response Tool along with supplementary files, to the email addresses below:
To: | PSC@environment-agency.gov.uk
cc: | FDMPermitReview@environment-agency.gov.uk
The maximum file size we can accept via email is 10MB for personal inboxes and 20MB for shared inboxes. If your submission is larger, we suggest using one of the following work-arounds. Please choose whichever method is most convenient to you:
1. | Split your response into multiple emails
2. | Use a secure web based file transfer portal, such as DropBox, and send us a link to it. If you need to specify which email accounts can assess the documents, please allow access to PSC@environment-agency.gov.uk and FDMPermitReview@environment-agency.gov.uk. If you can, try to avoid including password protection or an expiry date but if you do, please provide us with these details.

## List of files
R61 Notice response - supplementary information List
No. | R61 Notice Qu. No. | R61 Notice Q. subject | Where is the supplementary info referenced? | File Title/Reference | Summary of content | file type
eg.: | 10 | Emissions to air | cell H2; Air emissions tab | "Site plan +air em points" | Site plan drawing showing air emission point locations | pdf
1 | 1(i) | EMS | I8 Gen BATCs | EMS001-3 | Environmental Policy | PDF
2 | 1(i) | EMS | I8 Gen BATCs | EMS000-7 | Manual for EMS | PDF
3 | 1(i) | EMS | I8 Gen BATCs | 1 | Minutes from Management review | PDF
4 | 1(i) | EMS | I8 Gen BATCs | 2 | Slides from management review | PDF
5 | 1(ii) | EMS | I9 Gen BATCs | EMS000-7 | Manual for EMS | PDF
6 | 1(iii) | EMS | I10 Gen BATCs | EMS001-3 | Environmental Policy | PDF
7 | 1(iv) | EMS | I11 Gen BATCs | EMS002-6 | Aspects & impacts Procedure | PDF
8 | 1(iv) | EMS | I11 Gen BATCs | EMS003-7 | Aspects & Impacts register | XL
9 | 1(v) | EMS | I12 Gen BATCs | EMS000-7 | Manual for EMS | PDF
10 | 1(v) | EMS | I12 Gen BATCs | 024-2 EMS | Internal guidance for Environmental advisers | PDF
11 | 1(vi) | EMS | I13 Gen BATCs | EMS000-7 | Manual for EMS | PDF
12 | 1(vii) | EMS | I14 Gen BATCs | EMS000-7 | Manual for EMS | PDF
13 | 1(vii) | EMS | I14 Gen BATCs | EMS022-3 | detail which training required for each role | XL
14 | 1(viii) | EMS | I15 Gen BATCs | EMS021-3 | Communications procedure | PDF
15 | 1(viii) | EMS | I15 Gen BATCs | EMS018-4 | Communications Log | XL
16 | 1(ix) | EMS | I16 Gen BATCs | 3 | example of weekly team brief document | PDF
17 | 1(ix) | EMS | I16 Gen BATCs | 4 | example notice board environmental moment | PDF
18 | 1(ix) | EMS | I16 Gen BATCs | 5 | example weekly managers meeting slides | PDF
19 | 1(x) | EMS | I17 Gen BATCs | EMS000-7 | Manual for EMS | PDF
20 | 1(x) | EMS | I17 Gen BATCs | 024-2 EMS | Internal guidance for Environmental advisers | PDF
21 | 1(x) | EMS | I17 Gen BATCs | 6 | example check sheet showing noise & odour checks | PDF
22 | 1(x) | EMS | I17 Gen BATCs | 7 | example refrigeration service sheet with Fgas leak detection record | PDF
23 | 1(xi) | EMS | I18 Gen BATCs | EMS005-6 | 2024 annual environmental plan contains plan, schedule, audit and incident monitoring | XL
24 | 1(xii) | EMS | I19 Gen BATCs | 8 | example of Fgas refrigerant inventory | XL
25 | 1(xii) | EMS | I19 Gen BATCs | 9 | extract from Mainsaver our maintenance program showing Ashton green maintenance plan | XL
26 | 1(xiii) | EMS | I20 Gen BATCs | EMS000-7 | Manual for EMS | PDF
27 | 1(xiii) | EMS | I20 Gen BATCs | EMS010-5 | Accident management plan | PDF
28 | 1(xiv) | EMS | I21 Gen BATCs | 10 | biodiversity net gain report for AG3 project (new build) | PDF
29 | 1(xiv) | EMS | I21 Gen BATCs | 12 | example document showing where environment has been considered during design of building | PDF
30 | 1(xiv) | EMS | I21 Gen BATCs | 13 | example document showing where environment has been considered during design of services | PDF
31 | 1(xv) | EMS | I22 Gen BATCs | EMS013-4 | effluent monitoring plan | PDF
32 | 1(xv) | EMS | I22 Gen BATCs | EMS014-5 | emissions monitoring plan | PDF
33 | 1(xvi) | EMS | I23 Gen BATCs | 11 | example of group (category) benchmarking - food waste performance report | PDF
34 | 1(xvi) | EMS | I23 Gen BATCs | 16 | example of group (category) benchmarking - energy performance report | Word
35 | 1(xvii) | EMS | I24 Gen BATCs | 14 | last CAR from compliance audit | PDF
36 | 1(xvii) | EMS | I24 Gen BATCs | 15 | last ISO14001 audit report | PDF
37 | 1(xviii) | EMS | I25 Gen BATCs | 17 | example of an incident record in EVOTIX | PDF
38 | 1(xix) | EMS | I26 Gen BATCs | 2 | Slides from management review | PDF
39 | 1(xx) | EMS | I27 Gen BATCs | EMS023-3 | Energy Policy | PDF
40 | 1BAT(i) | EMS | I28 Gen BATCs | EMS015-4 | Noise management plan | PDF
41 | 1BAT(ii) | EMS | I29 Gen BATCs | EMS011-4 | Odour management plan | PDF
42 | 1BAT(iii) | EMS | I30 Gen BATCs | 18 | charts showing utility use through the year | PP
43 | 1BAT(iii) | EMS | I30 Gen BATCs | 19 | AG site layout showing location of emission points | PDF
44 | 1BAT(iii) | EMS | I30 Gen BATCs | 20 | MR site layout showing location of emission points | PDF
45 | 1BAT(iii) | EMS | I30 Gen BATCs | 39 | Extract from our stock management system EVOLVE showing inventory of all raw materials & usage YTD | XL
46 | 1BAT(iv) | EMS | I31 Gen BATCs | 21 | report from last ESOS study | PDF
47 | 1BAT(iv) | EMS | I31 Gen BATCs | 22 | copy of last 4 yearly resource efficiency review | PDF
48 | 1BAT(iv) | EMS | I31 Gen BATCs | 32 | slide from management meeting showing 2025 energy & water reduction capital plan | PP
49 | 2(i) | EMS - Inventory of inputs/ outputs | I34 Gen BATCs | EMS031-1 | Life Cycle Assessment | PDF
50 | 2(ii) | EMS - Inventory of inputs/ outputs | I35 Gen BATCs | 18 | charts showing utility use through the year | PP
51 | 2(ii) | EMS - Inventory of inputs/ outputs | I35 Gen BATCs | 22 | copy of last 4 yearly resource efficiency review | PDF
52 | 2(ii) | EMS - Inventory of inputs/ outputs | I35 Gen BATCs | 23 | example of water efficiency improvement | PP
53 | 2(iii) | EMS - Inventory of inputs/ outputs | I36 Gen BATCs | EMS013-4 | effluent monitoring plan | PDF
54 | 2(iii) | EMS - Inventory of inputs/ outputs | I36 Gen BATCs | 24 | annual effluent consent compliance report | PP
55 | 2(iii) | EMS - Inventory of inputs/ outputs | I36 Gen BATCs | 25 | Screenshot example of in line effluent monitoring system iHost | PP
56 | 2(iv) | EMS - Inventory of inputs/ outputs | I37 Gen BATCs | EMS014-5 | emissions monitoring plan | PDF
57 | 2(iv) | EMS - Inventory of inputs/ outputs | I37 Gen BATCs | 26 | annual emissions monitoring report | PDF
58 | 2(v) | EMS - Inventory of inputs/ outputs | I38 Gen BATCs | 27 | example of a daily carbon desktop report showing utility use | PDF
59 | 2(v) | EMS - Inventory of inputs/ outputs | I38 Gen BATCs | 22 | copy of last 4 yearly resource efficiency review | PDF
60 | 2(v) | EMS - Inventory of inputs/ outputs | I38 Gen BATCs | 39 | Extract from our stock management system EVOLVE showing inventory of all raw materials & usage YTD | XL
61 | 2(vi) | EMS - Inventory of inputs/ outputs | I39 Gen BATCs | 28 | example of KPI monitoring for energy consumption and food waste - presented at weekly management meetings | PP
62 | 2(vi) | EMS - Inventory of inputs/ outputs | I39 Gen BATCs | 29 | Example of a report from EVOLVE showing how variances on raw materials are measured | XL
63 | 3 | Monitoring process parameters emissions to water | I41 Gen BATCs | EMS013-4 | effluent monitoring plan | PDF
64 | 4 | Monitoring emissions to water | I42 Gen BATCs | EMS014-5 | emissions monitoring plan | PDF
65 | 5 | monitoring air emissions | I43 Gen BATCs | EMS014-5 | emissions monitoring plan | PDF
66 | 5 | monitoring air emissions | I43 Gen BATCs | 26 | annual emissions monitoring report | PDF
67 | 6 | energy efficiency | I44 Gen BATCs | 21 | report from last ESOS study | PDF
68 | 6 | energy efficiency | I44 Gen BATCs | 22 | copy of last 4 yearly resource efficiency review | PDF
69 | 6 | energy efficiency | I44 Gen BATCs | 30 | slides showing examples of energy efficiency initiatives | PP
70 | 6 | energy efficiency | I44 Gen BATCs | 32 | slide from management meeting showing 2025 energy & water reduction capital plan | PP
71 | 7 | water & waste minimisation | I45 Gen BATCs | 23 | example of water efficiency improvement | PP
72 | 7 | water & waste minimisation | I45 Gen BATCs | 31 | charts & data from EA returns over last 4 years - displays performance improvements | XL
73 | 9 | use of refrigerants | I47 Gen BATCs | 33 | slides showing Fgas reductions already made | PP
74 | 9 | use of refrigerants | I47 Gen BATCs | 34 | action plan to further remove F Gas | XL
75 | 10 | increase resource efficiency | I48 Gen BATCs | 35 | report from waste contractor showing recycle, reuse, recovery from Ashton green | PDF
76 | 10 | increase resource efficiency | I48 Gen BATCs | 36 | report from waste contractor showing recycle, reuse, recovery from Madeline road | PDF
77 | 10 | increase resource efficiency | I48 Gen BATCs | EMS031-1 | Life Cycle Assessment | PDF
78 | 11 | Emissions to water - waste water buffer storage | I49 Gen BATCs | 37 | layout of proposed effluent plan design for Ashton green | PP
79 | 13 | Noise - management plan | I52 Gen BATCs | EMS015-4 | Noise management plan | PDF
80 | 13 | Noise - management plan | I52 Gen BATCs | 6 | example check sheet showing noise & odour checks | PDF
81 | 13 | Noise - management plan | I52 Gen BATCs | 38 | BAT assessment submitted at last variation showing how we had considered noise controls meeting BAT | Word
82 | 14 | Noise minimisation | I53 Gen BATCs | EMS015-4 | Noise management plan | PDF
83 | 15 | Odour - management plan | I54 Gen BATCs | EMS011-4 | Odour management plan | PDF
84 |  | Site plans - water & sewer points | I3 Water emissions | BB-23-1002 | Madeline road site layout with drainage plans | PDF
85 |  | Site plans - water & sewer points | I3 Water emissions | AG-23-110 | Ashton Green site layout with drainage plans | PDF
86 |  | Air Emissions | H3 | 19 | AG site layout showing location of emission points | PDF
87 |  | Air Emissions | H3 | 20 | MR site layout showing location of emission points | PDF
88
89
INSERT MORE ROWS IF REQUIRED

## Site details
|  | Site Details |  |  | Picklist:
1 | Company: | Samworth Brothers Limited |  | as given on permit | Animal Feed
2 | Permit Reference Number: | EPR/CP3430WV |  | in format "AB1234CD" | Brewing
3 | Name of Installation: | Bradgate Bakery |  |  | Dairies
4 | Site Address: | Madeline Road -Madeline Road, Beaumont Leys, Leicester, LE4 1WX Ashton Green - 5 Bennion Road, Beaumont Leys, Leicester LE4 2AD |  |  | Ethanol production
Fish & Shellfish processing
5 | Main FDM sector: | Other… |  | select relevant sector, which are sections in the BAT Conclusions; use Other for any sector not listed eg confectionary, bakery goods, malting | Fruit & Vegetable sector
6 | Additional FDM sector(s): |  |  |  | Grain milling
Meat processing
Oilseed processing & Vegetable oil refining
7 | Production capacity: | please state capacity against appropriate EPR schedule reference for your plant: |  | Capacity is the theoretical maximum capacity of the plant, not a maximum actual production | Soft drinks & nectar/juice from processed fruit & veg
| 6.8(A)(d) (i) |  | t/d | finished product production capacity; only animal raw materials | Starch production
| 6.8(A)(d) (ii) |  | t/d | finished product production capacity; only vegetable raw materials | Sugar manufacturing
| 6.8(A)(d) (iii) (aa) |  | t/d | finished product production capacity; mix of animal & veg raw materials (> 10% animal) | Other…
| 6.8(A)(d) (iii) (bb) | 250 | t/d | finished product production capacity; mix of animal & veg raw materials
| for (d) (iii), give "A": |  | % | A = fraction of animal material (by weight) of finished product production capacity
| 6.8(A) (e) |  | t/d | quantity of milk received
|  | What production capacity figure was used in your most recent H1 impact assessment? |  | Original Permit Application data
If this is different to your current maximum capacity, please state the capacity limit you wish to have in your permit:
8 | Contact details: | Please provide a name and contact details in case we need further information |  | Please add a second person if the first person is not always available
| Name: | Katharine Nethercot |  | Neil Traynor
| Role: | Environmental Adviser |  | SHE Manager
| Email address: | katharine.nerthercot@bradgate-bakery.co.uk |  | neil.traynor@bradgate-bakery.co.uk
| Telephone number: | 01162361100 |  | 07557276277

## Gen BATCs 1 - 15
| Operator: | Samworth Brothers Limited |  |  | Permit Ref: | EPR/CP3430WV
| Installation name: | Bradgate Bakery |  |  | Site Address: | Madeline Road -Madeline Road, Beaumont Leys, Leicester, LE4 1WX Ashton Green - 5 Bennion Road, Beaumont Leys, Leicester LE4 2AD
You should refer to the BAT Conclusions for the Food, Drink and Milk industry, published on the 4th December 2019 (link below), which contain more detail than that included within this tool. BAT Gap Analysis: For each BAT Conclusion, assess your compliance with BAT and insert your conclusion in column F using the picklist. In col H, provide a brief description of how compliance is achieved, or provide an explanation or comments where the col F response is not "Yes". Expand row height to accommodate text if required. Additional information or data can be provided in a separate file and referenced in Col I, then list the file in the table on tab "Supplementary Info list" Complete this tab and then other relevant sector specific tab(s)
FDM BREF BAT Conclusions decision: |  | https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32019D2031&from=EN
Full FDM BREF document including BAT conclusions: |  | https://eippcb.jrc.ec.europa.eu/sites/default/files/2020-01/JRC118627_FDM_Bref_2019_published.pdf
BAT No. | Topic | Brief Description | BAT | Applicable BAT- AEL | Compliant now? | Derogation needed? | Provide brief comments on how compliance with BAT is (or will be) achieved, or a justification for an alternative response | Doc Ref for supplementary info
1 | EMS | Improve overall environmental performance | Implement an EMS that incorporates all of the following features: i) commitment, leadership, and accountability of the management, including senior management, for the implementation of an effective EMS; | - | Yes |  | Environmental policy signed off by Site Director, Management Review process, Clause 5 of Environmental Manual | EMS 001-3 Environmental Policy 1. Environmental Management Review SLT Minutes 16.10.23 2. EMS Management Review Oct 2025 EMS000-7 Environmental Manual
|  |  | ii) an analysis that includes the determination of the organisation’s context, the identification of the needs and expectations of interested parties, the identification of characteristics of the installation that are associated with possible risks for the environment (or human health) as well as of the applicable legal requirements relating to the environment; | - | Yes |  | Described in clause 4 of our Environmental Manual | EMS 000-7 EMS Environmental Manual
|  |  | iii) development of an environmental policy that includes the continuous improvement of the environmental performance of the installation; | - | Yes |  | Details included in our environmental policy | EMS 001-3 Environmental Policy
|  |  | iv) establishing objectives and performance indicators in relation to significant environmental aspects, including safeguarding compliance with applicable legal requirements; | - | Yes |  | Aspects & Impacts Procedure, Aspects & Impacts Register - this pulls out "Significant" Aspects and identifies performance indicators | EMS 002 - 6 Aspects & Impacts Procedure EMS 003 - 7 Aspects & Impacts register
|  |  | v) planning and implementing the necessary procedures and actions (including corrective and preventive actions where needed), to achieve the environmental objectives and avoid environmental risks; | - | Yes |  | Described in clause 6 of our Environmental Manual Corrective & Preventative actions managed via our online SHE system "EVOTIX" as described in EMS 024-2 EMS Internal Guidance | EMS 000-7 EMS Environmental Manual EMS 024 - 2 EMS Internal Guidance
|  |  | vi) determination of structures, roles and responsibilities in relation to environmental aspects and objectives and provision of the financial and human resources needed; | - | Yes |  | Described in Clause 5 of our Environmental Manual | EMS 000-7 EMS Environmental Manual
|  |  | vii) ensuring the necessary competence and awareness of staff whose work may affect the environmental performance of the installation (e.g. by providing information and training); | - | Yes |  | Described in Clause 7 of our Environmental Manual with specific training requirements detailed in the training requirements matrix | EMS 000-7 EMS Environmental Manual EMS 022 - 3 Training Requirements Matrix
|  |  | viii) internal and external communication; | - | Yes |  | Described in our Communications Procedure and evidenced in our Communications log | EMS 021 - 3 Environmental Communications Procedure. EMS 018 - 4 Communication plan & log
|  |  | ix) fostering employee involvement in good environmental management practices; | - | Yes |  | Weekly Environmental Moments displayed on notice boards, briefed to all employees by team leaders in weekly team briefs and part of weekly management meeting presentation packs | 3. weekly team brief wk 21 4. Environmental moment wk 44 5. Weekly managers meeting wk 43
|  |  | x) Establishing and maintaining a management manual and written procedures to control activities with significant environmental impact as well as relevant records; | - | Yes |  | Environmental Manual & Internal guidance explains the central controls. Individual sites / departments will have specific procedures and records. Examples- Shift Hygiene external check sheet & F Gas leak detection record | EMS 000-7 EMS Environmental Manual EMS 024 - 2 EMS Internal Guidance 6. AG Hygiene daily check sheet. 7. Refrigeration service visit with F Gas leak detection record
|  |  | xi) effective operational planning and process control; | - | Yes |  | Daily operational activities driven by customer order plans which are electronic system based. Annual Environmental Plan sets out the schedule of activities for the year. | EMS 005-6 Environmental plan & tracker
|  |  | xii) implementation of appropriate maintenance programmes; | - | Yes |  | Examples - F- Gas inspection schedule, Extract from Mainsaver (maintenance management tool) | 8. AG refrigeration equipment schedule 9. Mainsaver extract AG schedule
|  |  | xiii) emergency preparedness and response protocols, including the prevention and/or mitigation of the adverse (environmental) impacts of emergency situations; | - | Yes |  | Description of Emergency protocol within clause 8 of environmental manual, we also have an Acident Management plan and all hygiene personnel trained in spill control every 6 months | EMS 000-7 EMS Environmental Manual EMS 010-5 Accident management Plan
|  |  | xiv) when (re)designing a (new) installation or a part thereof, consideration of its environmental impacts throughout its life, which includes construction, maintenance, operation and decommissioning; | - | Yes |  | This is mainly incorporated into URS documents, but also documents such as BNG study | 10. Bradgate Bakery BNG Report, 12.AG3 Design Preliminaries, 13. AG3 Design Preliminaries - Utilities
|  |  | xv) implementation of a monitoring and measurement programme, if necessary, information can be found in the Reference Report on Monitoring of Emissions to Air and Water from IED Installations; | - | Yes |  | As described in our Effluent Monitoring Plan & Emissions Monitoring Plan. Also energy and water use are monitored via Carbon Desktop and internal reporting systems. | EMS 013 -4 Effluent Monitoring Plan, EMS 014 -5 Emissions Monitoring Plan
|  |  | xvi) application of sectoral benchmarking on a regular basis; | - | Yes |  | Benchmarking conducted monthly against other Samworth Brothers businesses through the monthly board reports | 11. Week 42 FTG Food Waste Report 16. Extract from Group board report - Energy
|  |  | xvii) periodic independent (as far as practicable) internal auditing and periodic independent external auditing in order to assess the environmental performance and to determine whether or not the EMS conforms to planned arrangements and has been properly implemented and maintained; | - | Yes |  | Internal audits carried out by Technical dept, Annual Compliance audits (as per environmental plan carried out by Qualified Environmental Adviser, EMS accredited to ISO14001 - examples of compliance audits and ISO14001 report attached | 14. Example Compliance Audit Report 15. BSI ISO 14001 Report
|  |  | xviii) evaluation of causes of nonconformities, implementation of corrective actions in response to nonconformities, review of the effectiveness of corrective actions, and determination of whether similar nonconformities exist or could potentially occur; | - | Yes |  | These are managed via our online SHE reporting system EVOTIX | 17. Example Env incident report
|  |  | xix) periodic review, by senior management, of the EMS and its continuing suitability, adequacy and effectiveness; | - | Yes |  | Management reviews held twice yearly | 2. EMS Management Review Oct 23
|  |  | xx) following and taking into account the development of cleaner techniques. | - | Yes |  | Our Energy policy states - Ensure energy is purchased from only renewable sources. • Continually investigate the potential to use renewable energy technology at site level and invest in this where there is a compelling business case. | EMS 023 - 3 Energy Policy
|  |  | BAT is also to incorporate the following features in the EMS: i) noise management plan (see BAT 13); | - | Yes |  | We have a noise management plan | EMS 015 - 4 Noise Managememt Plan
|  |  | ii) odour management plan (see BAT 15); | - | Yes |  | We have an odour management plan | EMS 011 - 4 Odour Management Plan
|  |  | iii) inventory of water, energy and raw materials consumption as well as of waste water and waste gas streams (see BAT 2); | - | Yes |  | Energy and water consumption are recorded in Carbon Desktop (web based system) but also recorded in a spreadsheet to drive performance charts. Raw materials inventory and consumption is held within our stock management system EVOLVE. Waste water and waste gas streams identifed on our emissions layouts. | 18. Utility Consumption Charts 19. AG Emissions Map 20. MR Emissions map 39. Extract from EVOLVE
|  |  | iv) energy efficiency plan (see BAT 6a). | - | Yes |  | Last ESOS study was carried out in May 2023 - Engineering develop annual plans based on recommendations and capital availability. Energy improvments are built into the Environmental improvement plan under "taking action on climate". Also carried out a Resource efficiency review in Feb 2024 | 21. 2023 ESOS Energy Audit Report, EMS 005-6 Environmental plan & 22. 2024 Resource efficiency review 32. 2025 RG energy reduction plan
2 | EMS - inventory of inputs & outputs | Increase resource efficiency and reduce emissions | Establish, maintain and regularly review (including when a significant change occurs) an inventory of water, energy and raw materials consumption as well as of waste water and waste gas streams, as part of the environmental management system (see BAT 1), that incorporates all of the following features: | - | Yes
|  |  | I. Information about the food, drink and milk production processes, including: (a) simplified process flow sheets that show the origin of the emissions; (b) descriptions of process-integrated techniques and waste water/waste gas treatment techniques to prevent or reduce emissions, including their performance. | - | Yes |  | Life cycle assessment attached | EMS 031 -1 Bradgate Life Cycle Assessment
|  |  | II. Information about water consumption and usage (e.g. flow diagrams and water mass balances), and identification of actions to reduce water consumption and waste water volume (see BAT 7). | - | Yes |  | Water usage recorded weekly and reported monthly via board reports. Each site will develop initiatives to reduce water consumption, along with the resource efficiency review. Example of initiative attached. | 18.utility consumption charts, 22. 2024 resource efficiency review, 23. water efficiency improvement example
|  |  | III. Information about the quantity and characteristics of the waste water streams, such as: (a) average values and variability of flow, pH and temperature; (b) average concentration and load values of relevant pollutants/parameters (e.g. TOC or COD, nitrogen species, phosphorus, chloride, conductivity) and their variability. | - | Yes |  | Waste water streams constantly monitored via iHost (web based) for Flow, pH & Temp. Samples analysed by Severn Trent water at lease monthly but on average 40 samples per year (as per effluent monitoring plan. these results are notified by email to site and group environmental manager. | EMS 013-4 effluent monitoring plan 24. Discharge consent results 25. Screenshot example of iHost
|  |  | IV. Information about the characteristics of the waste gas streams, such as: (a) average values and variability of flow and temperature; (b) average concentration and load values of relevant pollutants/parameters (e.g. dust, TVOC, CO, NOX, SOX) and their variability; (c) presence of other substances that may affect the waste gas treatment system or plant safety (e.g. oxygen, water vapour, dust). | - | Yes |  | Annual emissions monitoring as described in emissions monitoring plan | EMS 014-5 emissions monitoring plan, 26. Bradgate emissions monitoring 2024
|  |  | V. Information about energy consumption and usage, the quantity of raw materials used, as well as the quantity and characteristics of residues generated, and identification of actions for continuous improvement of resource efficiency (see for example BAT 6 and BAT 10). | - | Yes |  | Carbon Desktop (web based) monitors energy consumption and issues daily reports to sites, Our raw materials are managed and monitored via EVOLVE business management system. Resource efficiency reviews take place | 27. Example Carbon Desktop report 22. Resource efficiency review 39. Extract from EVOLVE
|  |  | VI. Identification and implementation of an appropriate monitoring strategy with the aim of increasing resource efficiency, taking into account energy, water and raw materials consumption. Monitoring can include direct measurements, calculations or recording with an appropriate frequency. The monitoring is broken down at the most appropriate level (e.g. at process or plant/installation level). | - | Yes |  | Energy consumption measured in absolute (kWH) and intensity (kWH/t) format. Water measured in absolute (m3) and intensity (m3/t) format. Intensities presented at weekly management meetings Raw material efficiency measured, monitored and targetted daily via our MUV (usage variance) process. Food waste intensity measured and has reduction target set by group. FWI presented at weekly managers meeting. | 28. Environmental KPI example 29. Example MUV daily report
3 | Monitoring - process parameters for emissions to water | Monitor key process parameters at key locations for emissions to water | For relevant emissions to water as identified by the inventory of waste water streams (see BAT 2), BAT is to monitor key process parameters (e.g. continuous monitoring of waste water flow, pH and temperature) at key locations (e.g. at the inlet and/or outlet of the pre-treatment, at the inlet to the final treatment, at the point where the emission leaves the installation). | - | Yes |  | Effluent monitoring plan | EMS 013-4 effluent monitoring plan
4 | Monitoring - emissions to water | Monitor emissions to water to the required frequencies and standards | BAT is to monitor emissions to water with at least the frequency given [refer table] and in accordance with EN standards. If EN standards are not available, BAT is to use ISO, national or other international standards that ensure the provision of data of an equivalent scientific quality. | - | Yes |  | There are no emissions to water with the exception of surface water to storm sewer. The monitoring program for this is described in EMS 014-5 emissions monitoring plan as required by environmental permit | EMS 014-5 emissions monitoring plan
5 | Monitoring - air emissions | Monitor channelled emissions to air to the required frequencies and standards | BAT is to monitor channelled emissions to air with at least the frequency given [refer table] and in accordance with EN standards. | - | Yes |  | Emmisions to air monitored annually as per emissions monitoring plan | EMS 014-5 emissions monitoring plan, 26. Bradgate emissions monitoring 2024
6 | Energy efficiency | Increase energy efficiency | In order to increase energy efficiency, BAT is to use an energy efficiency plan (BAT 6a) and an appropriate combination of the common techniques listed in technique 6b within the table in the BATCs. | - | Yes |  | Last ESOS study was carried out in May 2023 - Engineering develop annual plans based on recommendations and capital availability. Energy improvments are built into the Environmental improvement plan under "taking action on climate". Also carried out a Resource efficiency review in Feb 2024 | 21. 2023 ESOS Energy Audit Report, EMS 005-6 Environmental plan 22. 2024 Resource efficiency review 30. Energy efficiency plan examples 32. 2025 RB Energy reduction plan
7 | Water and waste water minimisation | Reduce water consumption and the volume of waste water discharged | In order to reduce water consumption and the volume of waste water discharged, BAT is to use BAT 7a and one or a combination of the techniques b to k given below. [for detail of each technique, refer BAT 7 table in BATCs) (a) water recycling and/or reuse (b) Optimisation of water flow (c) Optimisation of water nozzles and hoses (d) Segregation of water streams Techniques related to cleaning operations: (e) Dry cleaning (f) Pigging system for pipes (g) High-pressure cleaning (h) Optimisation of chemical dosing and water use in cleaning-in-place (CIP) (i) Low-pressure foam and/or gel cleaning (j) Optimised design and construction of equipment and process areas (k) Cleaning of equipment as soon as possible | - | Yes |  | Plan to reuse water in pasta quench tanks (note final water must be fresh & chilled for food safety requirements) in Utilities efficiency plan. All water sources segregated, CIP units fitted to each line to reduce water consumption. Investigated use of UV floor cleaners but unsucessful. Plans to trial powder floor sanitiser to remove the need for wet cleaning. Low flow water nozzles in use across both sites Efficiency improvements have resulted in a 20% reduction in water intensity over last 4 years (see annual return data) | 23. Water efficiency improvement example. 31. Annual return 4 year data
8 | Use of harmful substances | Prevent or reduce the use of harmful substances | In order to prevent or reduce the use of harmful substances, e.g. in cleaning and disinfection, BAT is to use one or a combination of the techniques given below. (a) Proper selection of cleaning chemicals and/or disinfectants (b) Reuse of cleaning chemicals in cleaning-in-place (CIP) (c) Dry cleaning (d) Optimised design and construction of equipment and process areas [for detail of each technique, refer BAT 8 table in BATCs] | - | Yes |  | Chemicals are purposefully selected in conjunction with our chemical suppliers and in line with technical requirements. Dry cleaning is used wherever possible (i.e. AVS cleans and sanitising). Chemicals are issued by supplier as advised. Equipment designed to reduce excessive wet cleaning (e.g. belts are removable so they can be soaked rather than continually washed)
9 | Use of refrigerants | Prevent emissions of ozone depleting substances and of substances with high global warming potential | In order to prevent emissions of ozone-depleting substances and of substances with a high global warming potential from cooling and freezing, BAT is to use refrigerants without ozone depletion potential and with a low global warming potential. | - | Yes |  | Main refrigeration plant at Ashton Green has always been Ammonia refrigerant, Madeline Road Main plant converted to Ammonia in 2022. We have an F-Gas reduction plan in place. New freezers at AG will use CO2 | 33. F-Gas reductions 34. F Gas action plan
10 | Resource efficiency | Iincrease resource efficiency | In order to increase resource efficiency, BAT is to use one or a combination of the techniques given below: (a) Anaerobic digestion (b) Use of residues (c) Separation of residues (d) Recovery and reuse of residues from the pasteuriser (e) Phosphorus recovery as struvite (f) Use of waste water for land spreading | - | Yes |  | Bradgate operates under zero to landfill principles. All waste & bread surplus collected by single contractor who issues weekly reports on Re-use, Recycle, Recover split. CAT3 food waste and Bread surplus sent to AD Other surplus (production overs, raw material surplus etc) distributed to Fareshare or company shop | 35 &36. Volumes Pie Charts EMS 031-1 Bradgate Life Cycle Assessment | The recommended approach to address this BAT conclusion is to describe how you implement the waste hierarchy for the food and drink sector for your process related waste streams. For further information refer to: Defra waste hierarchy for the food and drink sector
11 | Emissions to water - waste water buffer storage | Provision of appropriate buffer storage capacity for waste water | In order to prevent uncontrolled emissions to water, BAT is to provide an appropriate buffer storage capacity for waste water. | - | Yes |  | Madeline Rd has a balance tank for pH correction which provides a buffer. Also effluent is pumped from a pit to the balance tank. Pumps can be switched off in emergency. Capital for Ashton Green effluent treatment plant has been approved and we are just waiting for final design specs. ETP at AG will have large buffer tank. All effluent discharged to Severn Trent sewer. Both sites have Penstock valves fitted to storm water drainage systems thatclose automatically if pH levels outside the range of 6-10 are detected. these can also be closed manually. Ashton Green has a large SUDS pond for surface water prior to discharge to public sewer. Variation to add ETP to Ashton Green to treat process effluent prior to discharge to sewer. ETP will include 3 primary treatment stages: Screening; pH correction; Fat Trap. | 37. AG ETP layout & AG ETP Layout
12 | Emissions to water - treatment | To reduce emissions to water | In order to reduce emissions to water, BAT is to use an appropriate combination of the techniques given below. Preliminary, primary and general treatment (a) Equalisation (b) Neutralisation (c) Physical separate (eg screens, sieves, primary settlement tanks etc) Aerobic and/or anaerobic treatment (secondary treatment) (d) Aerobic and/or anaerobic treatment (eg activated sludge, aerobic lagoon etc) (e) Nitification and/or denitrification (f) Partial nitration - anaerobic ammonium oxidation Phosphorus recovery and/or removal (g) Phosphorus recovery as struvite (h) Precipitation (i) Enhanced biological phosphorus removal Final solids removal (j) Coagulation and flocculation (k) Sedimentation (l) Filtration (eg sand filtration, microfiltration, ultrafiltration) (m) Flotation [for detail of each technique, refer BAT 12 table 1 in BATCs, copied in to col J] | (a) Equalisation (b) Neutralisation (c) Physical seperation through drain catch pots. | Yes |  | Emissions to Water - No direct emissions to water other than clean rain water to public storm sewer.Storm water drainage systems have interceptors fitted to remove any oil contamination. Both sites have Penstock valves fitted to storm water drainage systems that close automatically if pH levels outside the range of 6-10 are detected, these can also be closed manually. Ashton Green has a large SUDS pond for surface water prior to discharge to public sewer. Emissions to foul sewer - Madeline Rd has Effluent pH correction and solids removal plant. Capital for Ashton Green effluent treatment plant has been approved and final design specs and site built. Variation submitted to EA to include ETP into permit. All effluent discharged to Severn Trent sewer under TECs (one for each site)
|  |  | REFER FOOTNOTES - scroll right for table or refer BATCs publication | -
13 | Noise - management plan | Prevent or reduce noise emissions | In order to prevent or, where that is not practicable, to reduce noise emissions, BAT is to set up, implement and regularly review a noise management plan, as part of the environmental management system (see BAT 1), that includes all of the following elements: - a protocol containing actions and timelines; - a protocol for conducting noise emissions monitoring; - a protocol for response to identified noise events, eg complaints; - a noise reduction programme designed to identify the source(s), to measure/estimate noise and vibration exposure, to characterise the contributions of the sources and to implement prevention and/or reduction measures. Note: BAT13 is only applicable where a noise nuisance at sensitive receptors is expected and/or has been substantiated. | - |  |  | Noise management plan in place and reviewed annually Daily Qualatitive noise monitorng carried out by Hygiene teams BAT assessment completed as part of recent permit variation | EMS 015-4 Noise management plan 6. AG Hygiene daily check sheet 38. Ammonia plant BAT assessment and NIA completed in March 2026 to support variatoin application
14 | Noise minimisation | Prevent or reduce noise emissions | In order to prevent or, where that is not practicable, to reduce noise emissions, BAT is to use one or a combination of the techniques given below. (a) Appropriate location of equipment and buildings (b) Operational measures (c) Low-noise equipment (d) Noise control equipment (e) Noise abatement [for detail of each technique, refer BAT 14 table in BATCs] | - |  |  | The sites use a combination of plant location, acoustic barriers, natural planting and embankments as attenuation and to reduce to a minimum the risk of noise nuisance. No noise complaints have been received. Noise control measures are detailed in section 3 of our noise management plan | EMS 015-4 noise management plan and NIA completed in March 2026 to support variatoin application
15 | Odour - management plan | Prevent or reduce odour emissions | In order to prevent or, where that is not practicable, to reduce odour emissions, BAT is to set up, implement and regularly review an odour management plan, as part of the environmental management system (see BAT 1), that includes all of the following elements: - a protocol containing actions and timelines; - a protocol for conducting odour monitoring. - a protocol for response to identified odour incidents eg complaints; - an odour prevention and reduction programme designed to identify the source(s); to measure/estimate odour exposure: to characterise the contributions of the sources; and to implement prevention and/or reduction measures. BAT 15 is only applicable to cases where an odour nuisance at sensitive receptors is expected and/or has been substantiated. | - |  |  | No odour nuisance has been substantiated nor expected as process is mainly only assembly of low odour food items. However we do have an odour management plan in place as part of permit requirements. | EMS 011-4 Odour management plan

## Picklists (hidden)
Narrative BATCs | Numeric BATCs | Derogation | water emissions/u'gd structures | Air emissions | Climate change |  | Declaration
Yes | Yes | Derogation required | yes | Yes | Yes | Mains | Y
NO - but will be by 4 Dec 2023 | NO - but will be by 4 Dec 2023 | - | no | No | No | river abstraction
Other (please explain) | NO |  | unknown | Not applic | - | borehole
Not applic | Not applic |  |  |  |  | reused water only
other
mains/river abstraction/borehole/reused water only/other
ADD A NOT APPLIC OPTION | for some

## Water emissions
| EPR/CP3430WV | Samworth Brothers Limited |  | Bradgate Bakery
Water emissions
| Please provide a site plan indicating the locations of all water and sewer emission points, and give document reference here: | [5 empty] | BB-23-1002, AG-23-110
| For any effluent NOT discharged to sewer, have you undertaken a feasibility study for diverting this to sewer? | [6 empty] | if yes, provide outline of justification in col Q, under "Comments"
Complete the table below to the best of your available knowledge. Add extra rows if needed. If further information is required by us, we may set an improvement condition.
Row No | Name or reference of aqueous discharge | Source / Description / production processes discharging to this point | Name of receiving waterbody or sewer | Grid Ref of discharge point | Permit ref (if listed) | Approx daily volume (m3/d) | Approx release rate (l/s) | Approx % of time emission is operating | Details of any onsite treatment and/or controls | Type & Frequency of monitoring (if any) | Parameters measured | COMMENTS provide justification here for why any effluent is NOT discharged to sewer
e.g. |  |  | eg Yorkshire Water sewer, eg soakaway eg R Trent | [5 empty] | eg settlement, eg oil/water interceptor eg NONE | eg weekly spot sample | eg SS, flowrate
1 | Effluent | Wash down water from the factory during clean down | Severn Trent Water public foul sewer | Bradgate Bakery Beaumont Leys Madeline Road LE4 1WX SK57326 08841 | 008864V | 500 m3 average calendar year to date | Up to 12l/s (based on 20m3/h) | 60% | Drain baskets <10mm, pH correction and solids >4mm removal | Minimum Monthly sample analysis by Severn Trent Water Constant in line monitoring of Flow, pH and Temp by site (iHost) | 1. Temperature 43oC 2. pH between 6 and 10 3. Suspended Solids limit 1400mg/l 4. Phosphorus limit 25mg/l 5. COD limit 5000mg/l 6. NVM limit 500mg/l
2 | Surface water | Surface water from rainfall | Public Storm Sewer | Bradgate Bakery Beaumont Leys Madeline Road LE4 1WX SK57326 08841 |  | Variable | Variable | 80 | Penstock valve, interceptors, drain covers, spill kits | Visual - Monthly | No visible oils fats or greases
3 | Effluent | Wash down water from the factory during clean down | Severn Trent Water public foul sewer | Bradgate Bakery Beaumont Leys 5 Bennion Road LE4 2AD SK57761 09060 | 008403V | Up to 650 m3/d | up to 11 L/s | 60 | Drain baskets <10mm | Minimum Monthly sample analysis by Severn Trent Water Constant in line monitoring of Flow, pH and Temp by site (iHost) | 1. Temperature 43oC 2. pH between 6 and 10 3. Suspended Solids limit 2000mg/l 4. Phosphorus limit 25mg/l 5. COD limit 6000mg/l 6. NVM limit 450mg/l
4 | Surface water | Surface water from rainfall | Public Storm Sewer | Bradgate Bakery Beaumont Leys 5 Bennion Road LE4 2AD SK57761 09060 |  | Variable | Variable | 80 | Penstock valve, interceptors, drain covers, spill kits, SUDS | Visual - Monthly | No visible oils fats or greases
5
6
7
8
9
10

## Soft drinks&juice
| EPR/CP3430WV | Samworth Brothers Limited | Bradgate Bakery
Soft Drinks and nectar/juice made from processed fruit and vegetables
BAT No. | Topic | BAT | Applicable BAT- AEL | Compliant now? | Derogation needed? | COMMENTS Provide brief comments on how compliance with BAT is (or will be) achieved | Doc Ref for supplementary info
33 | Energy Efficiency | In order to increase energy efficiency, BAT is to use an appropriate combination of the techniques specified in BAT 6 and of the techniques given below. (a) Single pasteuriser for nectar/juice production (b) Hydraulic sugar transportation (c) Energy-efficient homogeniser for nectar/juice production | -
|  | Indicative EPLs | Applicable EPL | State current performance |  | Comments on achieved performance: If outside of range, provide justification and/or improvements planned
EPL | Specific energy consumption |  | 0.01 - 0.035 MWh/hl of products (yearly avg)
EPL | Specific waste water discharge |  | 0.08 - 0.2 m3/hl of products
Derogation
Yes
No
Maybe
Compliance
Yes - compliant now
Yes - compliant by 03/12/2023
No - will not be compliant

## Starch
| EPR/CP3430WV | Samworth Brothers Limited | Bradgate Bakery
Starch production
BAT No. | Topic | BAT | Applicable BAT- AEL | Compliant now? | Derogation needed? | COMMENTS Provide brief comments on how compliance with BAT is (or will be) achieved | Doc Ref for supplementary info
34 | Emissions to air | In order to reduce channelled dust emissions to air from starch, protein and fibre drying, BAT is to use one or a combination of the techniques given below. a. bag filter b. cyclone (c) wet scrubber
channelled dust emissions Insert applicable AEL mg/Nm3
|  | Indicative EPLs | Applicable EPL | State current performance |  | Comments on achieved performance: If outside of range, provide justification and/or improvements planned
EPL | Specific energy consumption |  | Insert applicable AEL from table 25 MWh/tonne of raw materials (annual avg)
EPL | Specific waste water discharge |  | Insert applicable AEL from table 26 m3/tonne of raw materials (annual avg)
Derogation
Yes
No
Maybe
Compliance
Yes - compliant now
Yes - compliant by 03/12/2023
No - will not be compliant

## Sugar
| EPR/CP3430WV | Samworth Brothers Limited | Bradgate Bakery
Sugar manufacturing
BAT No. | Topic | BAT | Applicable BAT- AEL | Compliant now? | Derogation needed? | COMMENTS Provide brief comments on how compliance with BAT is (or will be) achieved | Doc Ref for supplementary info
35 | Energy Efficiency | In order to increase the energy efficiency, BAT is to use an appropriate combination of the techniques specified in BAT 6 and one or a combination of the techniques given below. (a) Pressing of beet pulp (b) Indirect drying (steam drying) of beet pulp (c) Solar drying of beet pulp (d) Recycling of hot gases (e) Low-temperature (pre)drying of beet pulp
36 | Emissions to air - dust | In order to prevent or reduce channelled dust emissions to air from beet pulp drying, BAT is to use one or a combination of the techniques given below. (a) Use of gaseous fuels (b) cyclone (c) Wet scrubber (d) Indirect drying (steam drying) of beet pulp (e) Solar drying of beet pulp (f) Low-temperature (pre)drying of beet pulp
5 - 100 mg/Nm3 at 16% Oxygen & no correction for water content
37 | Emissions to air - SOx | In order to reduce channelled SOX emissions to air from high-temperature beet pulp drying (above 500 °C), BAT is to use one or a combination of the techniques given below. (a) Use of natural gas (b) Wet scrubber (c) Use of fuels with low sulphur content
30 - 100 mg/Nm3 at 16% Oxygen & no correction for water content
|  | Indicative EPLs | Applicable EPL | State current performance |  | Comments on achieved performance: If outside of range, provide justification and/or improvements planned
EPL | Specific energy consumption |  | 0.15 - 0.40 MWh/tonne of beets (annual avg)
EPL | Specific waste water discharge |  | 0.5 - 1.0 m3/tonne of beets (annual avg)
Derogation
Yes
No
Maybe
Compliance
Yes - compliant now
Yes - compliant by 03/12/2023
No - will not be compliant

## Water emission data
EPR/CP3430WV | Samworth Brothers Limited |  | Bradgate Bakery
Water emissions - effluent quality data | [8 empty] | Doc Ref for additional info
Does your effluent contain hazardous chemicals and elements? | [5 empty] | yes | may contain high or low level pH levels
If No, provide an outline of your justification for no haz chems being present:
Have you carried out any monitoring for hazardous chemicals and elements? | [5 empty] | no | provide your monitoring results in the table below
If yes, carry out an impact assessment using the H1 Tool, and state the doc ref here:
Are pesticides likely to be present in your effluent stream(s)? | [5 empty] | no
If No, provide an outline of your justification for no pesticides being present: | [5 empty] | no pesticides used on site
Provide an outline of your assessment of the likelihood of pesticide residues being present: | [5 empty] | Unlikely as we do not use pesticides
Have you carried out any monitoring for pesticide residues in your effluent? | [5 empty] | no | provide your monitoring results in the table below
Complete the tables below for each aqueous discharge to the best of your available knowledge. Include a list of any hazardous chemicals or substances which your discharge(s) may contain.
Add extra rows, or copy in additional tables, if needed. If further information is required by us, we may set an improvement condition.
Emission ref: | 9979725 MR |  | Discharged to: |  | Severn Trent Sewer
Pollutant | Hazardous? | ELV in permit (if any) | Measured concentrations: range of results mg/m3 |  |  | Daily LOAD kg/d |  | Period for this data | No samples | H1 Assessment carried out for this parameter
|  |  | Average | Minimum | Maximum | Average | Maximum
BOD
COD (or TOC) | no | 5000 | 1609.0625 | 1270 | 2250 |  |  | 2024 year to date | 32 | No
Total Suspended Solids (TSS) | no | 1400 | 563.125 | 256 | 1410 |  |  | 2024 year to date | 32 | No
Total Nitrogen (TN)
Total Phosphorus (TP) | no | 25 | 14.28 | 1.61 | 23.4 |  |  | 2024 year to date | 29 | No
NH3
pH | unknown | 6 to 10 | 7.732 | 6.3 | 9.5 |  |  | 2024 year to date | 25 | No
NVM | no | 500 | 294.15 | 190 | 490 |  |  | 2025 year to date | 20 | No
Other =
Other =
Pesticide = | [9 empty] | -
Pesticide = | [9 empty] | -
Pesticide = | [9 empty] | -
Insert additional rows if more are required
Emission ref: | 9979232 AG |  | Discharged to: |  | Severn Trent Sewer
Pollutant | Hazardous? | ELV in permit (if any) | Measured concentrations: range of results mg/m3 |  |  | Daily LOAD kg/d |  | Period for this data | No samples | H1 Assessment carried out for this parameter
|  |  | Average | Minimum | Maximum | Average | Maximum
BOD
COD (or TOC) | no | 6000 | 2289.58 | 1040 | 3840 |  |  | 2024 year to date | 24 | No
Total Suspended Solids (TSS) | no | 2000 | 833.5 | 356 | 1730 |  |  | 2024 year to date | 24 | No
Total Nitrogen (TN)
Total Phosphorus (TP) | no | 25 | 17.08 | 10.4 | 23.3 |  |  | 2024 year to date | 20 | No
NH3
pH | unknown | 6 to 10 | 8.1666 | 7 | 9.6 |  |  | 2024 year to date | 18 | No
NVM | no | 450 | 287.611 | 63.5 | 437 |  |  | 2025 year to date | 9 | No
Other = | Y / N
Other = | Y / N
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Insert additional rows if more are required
Emission ref: |  |  | Discharged to:
Pollutant | Hazardous? | ELV in permit (if any) | Measured concentrations: range of results mg/m3 |  |  | Daily LOAD kg/d |  | Period for this data | No samples | H1 Assessment carried out for this parameter
|  |  | Average | Minimum | Maximum | Average | Maximum
BOD | -
COD (or TOC) | -
Total Suspended Solids (TSS) | -
Total Nitrogen (TN) | -
Total Phosphorus (TP) | -
NH3 | -
Other = | Y / N
Other = | Y / N
Other = | Y / N
Other = | Y / N
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Insert additional rows if more are required
Emission ref: |  |  | Discharged to:
Pollutant | Hazardous? | ELV in permit (if any) | Measured concentrations: range of results mg/m3 |  |  | Daily LOAD kg/d |  | Period for this data | No samples | H1 Assessment carried out for this parameter
|  |  | Average | Minimum | Maximum | Average | Maximum
BOD | -
COD (or TOC) | -
Total Suspended Solids (TSS) | -
Total Nitrogen (TN) | -
Total Phosphorus (TP) | -
NH3 | -
Other = | Y / N
Other = | Y / N
Other = | Y / N
Other = | Y / N
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Pesticide = | Y / N | [8 empty] | -
Insert additional rows if more are required

## Air emissions
| EPR/CP3430WV | Samworth Brothers Limited |  | Bradgate Bakery
Air emissions
| Please provide a site plan indicating the locations of all air emission points, and give document reference here: |  |  |  |  | 20. MR Emissions map 19. AG Emissions map
Row No. | System ID (your plant ref) | Source | Location | Permit Ref (if listed) | Details of emission point | Nature of emission | Approx % of time emission is operating | Volumetric Flowrate (m3/hr) Design capacity or Average/typical (max) . | Main Pollutant(s) in emission | Type of Abatement provided (if any) | Type & Frequency of monitoring (if any) | MCERTS monitoring point? | Emission levels (mg/m3) Average Maximum | Doc Ref for monitoring results | COMMENTS
|  |  | provide brief description of location (eg boiler house), and cross refer to a site plan | eg A1 | eg stack, eg PRV, eg tank vent, eg louvre | eg Continuous / intermittent / Emergency | eg 10% eg 0% (emerg only) |  | eg dust | eg bag filter eg cyclone eg NONE | eg continuous; eg annual periodic | Y / N | (if data is available) |  | any other information you wish to provide
1 | TP1 | Potterton Boiler2 Gas burner extract | MR - Boiler House |  | Stack | Continuous | 45 | 532 | CO, Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
2 | TP2 | Potterton Boiler1 Gas burner extract | MR - Boiler House |  | Stack | Continuous | 45 | 532 | CO, Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
3 | TP3 | Fulton Steam Boiler | MR - Boiler House |  | Stack | Continuous | 70 | 181 | CO, Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
4 | TP4 | Clayton Steam Boiler | MR - Boiler House |  | Stack | Continuous | 70 | 894 | CO,Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
5 | TP5 | Hamworthy Hot Water Boilers | MR - Boiler House |  | Stack | Continuous | 90 | 483 | CO,Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
6 | TP6 | Traywash 1 | MR Traywash area |  | Stack | Continuous | 75 | 135 | CO,Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
7 | TP7 | Traywash 2 | MR Traywash area |  | Stack | Continuous | 75 | 135 | CO,Nox | None | Annual | Yes |  | 26. Bradgate emissions monitoring
8 | C2 | Traywash | MR Traywash area |  | Vent | Continuous | 75 | NA | Heat | None | NA | No |  | NA
9 | D1 | 40g Pasta Cooker | MR Prep Area |  | Vent | Continuous | 70 | NA | Water Vapour | None | NA | No |  | NA
10 | D2 | 40g Pasta Cooker | MR Prep Area |  | Vent | Continuous | 70 | NA | Water Vapour | None | NA | No |  | NA
11 | D3 | 90g Pasta cooker | MR Prep Area |  | Vent | Continuous | 70 | NA | Water Vapour | None | NA | No |  | NA
12 | D4 | 90g Pasta cooker | MR Prep Area |  | Vent | Continuous | 70 | NA | Water Vapour | None | NA | No |  | NA
13 | F1 | Fulton Steam Boiler | MR Above Pasta Chill |  | PRV | Emergency | 0 | NA | Steam | None | NA | No |  | NA
14 | F2 | Clayton Steam Boiler | MR Above Production Area |  | PRV | Emergency | 0 | NA | Steam | None | NA | No |  | NA
15 | F3 | Fulton Steam Boiler | MR Boiler House |  | PRV | Emergency | 0 | NA | Steam | None | NA | No |  | NA
16 | F4 | Clayton Steam Boiler | MR Boiler House |  | PRV | Emergency | 0 | NA | Steam | None | NA | No |  | NA
17 | TP1 | Rehama Hot water Boiler | AG Plant Room |  | Flue | Continuous | 90 | 809 | CO, NOx | None | Annual | Yes |  | 26. Bradgate emissions monitoring
18 | TP2 | Traywash gas burner | AG Traywash area |  | Flue | Continuous | 75 | 213 | CO, NOx | None | Annual | Yes |  | 26. Bradgate emissions monitoring
19 | TP3 | Byeworth Steam Boiler | AG Boiler House |  | Flue | Continuous | 80 | 1263 | CO, NOx | None | Annual | Yes |  | 26. Bradgate emissions monitoring
20 | TP4 | Arcadian Oven | AG Prep |  | Flue | Continuous | 30 | 213 | CO, NOx | None | Annual | Yes |  | 26. Bradgate emissions monitoring
21 | TP5 | Arcadian Oven | AG Prep |  | Flue | Continuous | 30 | 213 | CO, NOx | None | Annual | Yes |  | 26. Bradgate emissions monitoring
22 | D2 | Arcadian Oven (steam) | AG Prep |  | Flue | Continuous | 31 | NA | Steam | None | NA | No |  | NA
23 | Blue Dot on plan | Boiler Steam | AG Prep |  | PRV | Emergency | 0 | NA | Steam | None | NA | No |  | NA
24 | Green dot on plan | Oven Steam | AG Prep |  | Vent | Intermittent | 10 | NA | Steam | None | NA | No |  | NA
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Note on P4: Registered User: Use a row per parameter, and add additional rows if necessary

## Medium Combustion Plant
| EPR/CP3430WV | Samworth Brothers Limited |  |  | Bradgate Bakery
| Local Plant Name | Traceable identifier for the individual plant or generator (Note 1) | Easting (Note 2) | Northing (note 2) | Approx Commission Date | Size (MWth input) (Note 3) | Type of Combustion Technology | Fuel or Main Fuel | If an individual plant uses more than one fuel please give the proportions |  |  |  |  | Annual Load (%) | Expected Operating Hours Per Year (Note 4 ) | Stack Height (m) | Does the flue share a common windshield? | For Gas Turbines Only - Is there a WHRB / HRSG? | MCP EXCLUSIONS |  | Does the plant genenerate electricity under a Capacity Agreement or provide Balancing Services? (Note 7) | Can the plant meet MCPD Annex II ELVs (Note 8) | If the combustion plant is in an AQMA please state Local Authority | If the answer to column U is yes please provide details | Please provide conditions which define Start-up is complete | Please provide details of conditions that define when Shut-down begins
[9 empty] | % Natural Gas | % Gas Oil | % Bio Gas | % Other Fuel | Other Fuel (please specify) | [5 empty] | Is the combustion plant excluded under Article 2? (Note 5) | Does the operation of the plant fall under any exclusions from Emission Limit Values? (Note 6) | [6 empty] | WHRB/HRSG
Example/ Row ID | Boiler 1 | SN 123456789 | 234561 | 654321 | 2019-02-01 | 5 | e.g Boiler | Natural Gas | 100 |  |  |  |  | 85 | 3000 | 5 | Yes - But can be monitored separately | [5 empty] | Leeds CC |  |  |  | Yes
1 | MR Hamworthy Boiler 1 | 2240000331 | 457357 | 308820 | 2005 | 0.5 | Boiler | Natural Gas | 100% |  |  |  |  | 100% | 8760 | 10.91 | [10 empty] | No
2 | MR Hamworthy Boiler 2 | 2240000373 | 457357 | 308820 | 2017 | 0.5 | Boiler | Natural Gas | 100% |  |  |  |  | 100% | 8760 | (feeds through same as boiler 1)
3 | MR Clayton Steam Gen | B7645 | 457355 | 308835 | 2011 | 0.925 | Steam Generator | Natural Gas | 100% |  |  |  |  | 70% | 6132 | 11.01
4 | MR Fulton Boiler | B9832 | 457353 | 308839 | 2016 | 0.188 | Boiler | Natural Gas | 100% |  |  |  |  | 70% | 6132 | 10.91
5 | MR Potterton Boiler 1 | 02480A-00055 | 457351 | 308839 | 2005 | 0.55 | Boiler | Natural Gas | 100% |  |  |  |  | 45% | 3942 | 11.095
6 | MR Potterton Boiler 2 | 02480A-00064 | 457351 | 308841 | 2005 | 0.55 | Boiler | Natural Gas | 100% |  |  |  |  | 45% | 3942 | 11.095
7 | MR Traywash 1 | 636-T832-A/026/01R | 457275 | 308862 | 2006 | 0.14 | Burner | Natural Gas | 100% |  |  |  |  | 75% | 6570 | 7.889
8 | MR Traywash 2 | 369-C8HR-A/139/01V | 457276 | 308859 | 2006 | 0.14 | Burner | Natural Gas | 100% |  |  |  |  | 75% | 6570 | 7.854
9 | AG Rehama Boiler | P420 -3142587 (Burner) | 457728 | 309039 | 2014 | 0.838 | Boiler | Natural Gas | 100% |  |  |  |  | 90% | 7884 | 9.09
10 | AG Traywash |  | 457760 | 309101 | 2014 | 0.22 | Burner | Natural Gas | 100% |  |  |  |  | 75% | 6570 | 1089
11 | AG Byeworth Boiler | 2494005040 | 457792 | 309137 | 2015 | 1.045 | Boiler | Natural Gas | 100% |  |  |  |  | 80% | 7008 | 3.5
12 | AG Arcadian Oven (left) | 1157 | 457774 | 309116 | 2015 | 0.22 | Oven | Natural Gas | 100% |  |  |  |  | 30% | 2628 | 5.11
13 | AG Arcadian Oven (Right) | 1158 | 457777 | 309116 | 2015 | 0.22 | Oven | Natural Gas | 100% |  |  |  |  | 30% | 2628 | 5.11
Insert further rows if required
Notes
1 | Serial number or other unique identifier, name plate, manufacturer and or model
2 | gridreferencefinder.com can help you find this. This should be the MCP emission point and not the site.
3 | This is for each individual unit. You should calculate this using one of the methods in the Association of Manufacturers and suppliers of Power Systems and ancillary equipment (AMPS) technical note: "Determination of thermal input power
4 | This is the time when the combustion plant is operating and discharging emissions into the air. You can exclude start-up and shut-down time. For an MCP with multiple flues, give the time from when the first unit to operate passes its start-up threshold to when the last unit operating falls below its shutdown threshold)
5 | Excluded Plant are listed under Article 2 (3) MCPD (See next worksheet "Exclusions") If any apply further evidence must be provided
6 | Exclusions from ELVs are listed under Article 6 MCPD (See Exclusions Tab) If any apply further evidence must be provided
7 | Capacity Agreement has the meaning given in regulation 30 of the Eectricity Capacity Regulations 2014 (a).
Balancing Services - any services procured by the transmission system operator in order to balance demand and supply and to ensure security and quality of electricty supply
8 | Please provide details of any existing emissions monitoring and the results. Annex II ELVs can be found at this link: | [7 empty] | https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX:32015L2193&from=EN
You should consult the Article 2 and/or Article 3 of the Medium Combustion Plant Directive directly if you believe an exclusion may apply
Article 2 (3) - Exclusions from Scope of MCPD
| Article 2 (3) (a) | plant covered by Chapter III or Chapter IV IED
| Article 2 (3) (b) | combustion plants covered by Directive 97/68/EC of the European Parliament and of the Council on Non Road and Mobile Machinery
| Article 2 (3) (c) | on-farm combustion
| Article 2 (3) (d) | combustion plants in which the gaseous products of combustion are used for the direct heating or drying or any other treatment of objects or materials
| Article 2 (3) (e) | combustion plant in which the gaseous products of combustion are used for direct gas-fired heating used to heat indoor spaces for the purpose of improving work place conditions
| Article 2 (3) (f) | post-combustion plants used to purify the waste gases from industrial processes by combustion, and which are not operated as independent combustion plants
| Article 2 (3) (i) | facilities for the regeneration of catalytic cracking catalysts
| Article 2 (3) (j) | faciliites for the conversion of hydrogen sulphide into sulphur
| Article 2 (3) (k) | reactors used in the chemical industry
| Article 2 (3) (l) | coke battery furnaces
| Article 2 (3) (m) | cowpers
| Article 2 (3) (n) | crematoria
| Article 2 (3) (o) | combustion plant firing refinery fuels alone or with other fuels for the production of energy within mineral oil and gas refinerieis
| Article 2 (3) (p) | recovery boilers within installations for the production of pulp
Article 6 - Exclusions from Emission Limit Values
| Article 6 (3) | exisiting MCP that do not operate more than 500hrs as a rolling average over a 5 year period
| Article 6 (4) | exising medium combustion plants part of a small isolated system (SIS) or micro isolated system (MIS)
| Article 6 (5) | exising MCP rated > 5MWth where 50% of useful heat is delivered to public district heating network (5 year rolling average)
| Article 6 (6) | exising MCP rated > 5MWth at a gas compressor station for the national transmission system
| Article 6 (8) | new MCP that do not operate for more than 500 hrs as a rolling 3 year average
| Other | please state any other exclusions from MCP you may consider are relevant
Acronyms
| AQMA | Air Quality Management Area
| WHRB | Waste Heat recovery boiler
| HRSG | Heat recovery steam generator
Note on Z2: Registered User: is it worth putting these at the end so we can provide a bigger box? Presumably a lot of text will be required?
Note on AA2: Registered User as previous comment

## Climate Change Adaptation
| EPR/CP3430WV | Samworth Brothers Limited |  | Bradgate Bakery
Climate Change Adaptation
The aim of these questions is to establish whether your site is at risk of impacts from adverse weather. The questions have been designed for us to assess the vulnerability of your site and know whether you have already produced an action plan or carried out a Risk Assessment. If a Plan is not in place at a priority site, an improvement condition will be set to produce one. You do not need to produce a plan in response to this Notice.
Section | Topic | Question | Response | Further information or guidance: | Comments please add more details in this column if required
1 | Flooding | Is your site at risk of flooding? If NO, continue to section 2 | No | https://www.gov.uk/government/publications/preparing-for-flooding-a-guide-for-regulated-sites
|  | Have you prepared a flood plan? | No |  | We monitor flood risk data and will prepare a plan if things change
2 | Landspreading | Do you use landspreading to dispose/recycle sludge or other waste from your site? If NO, continue to section 3 | No
|  | Do you have contingency plans for disposal of these wastes in the event of land being unavailable for a prolonged period due to adverse weather etc? | -
If yes, please give date of latest review of your contingency plans:
3 | Prolonged Dry Weather / Drought | Is a resilient water supply a business critical factor for your installation? If NO, continue to section 4 | No | for example, does the Bref specify a water use BAT-AEPL for your sector?
If yes to previous Question, have you prepared a contingency plan in the event of dry weather or drought or reduced reliability of supply over time due to changing water availability (climate change)?
What is the source of your water used in plant operations?
Does your site discharge process effluent direct to a watercourse?
Have you considered the effect of drought or prolonged dry weather on your ability to continue to discharge effluent in low flow conditions?
4 | Other relevant topics/events | Give details in the Comments box | Yes | Eg rainwater management, winterisation (extreme cold weather) | We have a Climate Change Risk Assessment and already actioned the only item requiring mitigation
5 | Climate Change Action Plans and Risk Assessment | Where you have identified any specific risks or impacts above, please confirm that you have a climate change adaption plan which addresses those issues | Yes | How to prepare a Climate Change Action Plan, F&D guidance | EMS 030-1 Climate Change Risk Assessment
Adapting to climate change: industry sector examples for your risk assessment
Gov.uk: climate change adaptation risk assessment guidance
Gov.uk: climate change adaptation risk assessment worksheets

## RHS Baseline
|  | EPR/CP3430WV | Samworth Brothers Limited |  | Bradgate Bakery
| Site Baseline Conditions and Hazardous Substances | [7 empty] | picklist
| IED requires an assessment to be carried out for all hazardous substances used, produced or released within the installation. Where a risk to soil and groundwater is identified baseline conditions must be established and soil and groundwater monitoring carried out during the life of the permit. | [5 empty] | Please work down the questions and read the guidance in this column Reference your supplementary info in col G
Section | Topic | Description | Requirement | Compliant? / Response | Provide brief comments on how you meet this requirement (or will be) or a justification for an alternative response | Document reference for suppplementary info | Additional Guidance | Guidance links
1 | Site Condition Report (SCR) | Characterisation of site condition at the time of original permit application. | 1. A site condition report has been produced for the installation |  |  |  | Further information on site condition and baseline reports is also available in our H5 Site condition report guidance here: | Gov.uk: H5 Site condition report - guidance and templates
2. Intrusive investigation work was carried out to establish the extent of ground/groundwater pollution at the site at the time of application or shortly afterwards
3. Soil and groundwater monitoring is undertaken at the installation on an ongoing basis
4. The SCR is up to date and relevant for the installation
| IED Baseline report | Where the activity involves the use, production or release of Relevant Hazardous Substances,…the operator shall prepare and submit a baseline report before starting operation of an installation or before a permit is updated for the first time after 7 Jan 2013. IED Art 22(2) | 5. Confirm whether you carried out an assessment at the time of permit application, to determine whether a baseline report (under IED) was needed : |  |  |  | If you applied for your first environmental permit after 2013, you may have already done the baseline assessment.
|  |  | 6. If YES, please give date of assessment or report: | mm/yy |  |  | insert date of assessment or report in coloured box
|  |  | 7. Confirm that the original assessment is still relevant now: |  |  |  | Provide us with evidence of your up-to-date assessment or report.
|  | If you have answered YES for Question 7, then please submit evidence of your assessment as supplementary information, including your document ref here: If this is the case, you have completed this worksheet and you do not need to answer the questions below. |  |  |  |  | Provide us with evidence of your up-to-date assessment or report.
|  | If you have answered NO for Q7, please identify and outline what further work is required to update the original assessment: |  |  |  |  | We may set an improvement condition to ensure that this work is done.
If you have NOT carried out an assessment to establish whether there are Relevant Hazardous Substances at your site prior to receiving this Notice, then please continue with the questions below:
2 | Hazardous Substances | Complete a Stage 1 – 3 risk assessment for hazardous substances. As detailed within the EC Guidance concerning baseline reports (see link in col I) | 8. Stage 1 – Identify the hazardous substances used / stored on site |  |  |  | Hazardous substances are those defined in Article 3 of Regulation (EC) No. 1272/2008 on classification, labelling and packaging of substances and mixtures | https://www.legislation.gov.uk/eur/2008/1272/contents
|  |  | 9. Stage 2 – Identify if hazardous substances are capable of causing pollution. If they are capable of causing pollution they are then termed Relevant Hazardous Substances (RHS). |  |  |  | EU Guidance on how to produce a baseline report is available here it provides further detail on the stages of assessment. | EC Guidance concerning baseline reports
|  |  | 10. Stage 3 – Identify if pollution prevention measures and drains are fit for purpose in areas where hazardous substances are used / stored. Is there a possibility of soil or groundwater contamination? |  |  |  | Carry out a Risk Assessment to determine the possibility of soil and groundwater contamination at the installation with such substances
|  | If you have answered NO to Q10, ie there is no possibility of pollution by hazardous substances, then submit your Risk Assessment to us for review, including the document ref here: In this case, you have completed this worksheet and you do not need to answer the questions below. |  |  |  | Insert doc ref for risk assessment here:
if you have answered YES to Q10, then you will need a baseline report - you have identified that there are Relevant Hazardous Substances (RHS) and you need to undertake monitoring for these RHS. Please continue with the questions below.
| Relevant Hazardous Substances |  | 11. Produce a monitoring plan for all RHS where pollution of soil / groundwater is possible |  |  | Insert doc ref for monitoring plan here: | Further information on site condition and baseline reports is also available in our H5 Site condition report guidance here: | Gov.uk: H5 Site condition report - guidance and templates | Yes
|  | only complete this section if you have identified RHSs at the installation You should only answer YES to ONE of questions 12 - 14 | 12. Our existing soil and/or groundwater measurements are adequate to enable a baseline to be defined for the RHSs that we've identified. We provide a summary report demonstrating how the existing measurements are fit for purpose. |  |  | Insert doc ref for summary report here: | Refer to any intrusive work that you have already done to see if this is adequate. This may be part of the Site Condition Report carried out when you applied for your PPC permit. Refer to the second bullet point in Q11 of the R61 Notice |  | No
|  |  | 13. We have prepared a baseline report in response to this Notice containing information necessary to determine the current state of soil and groundwater contamination. We are submitting this as supplementary information |  |  | Insert doc ref for baseline report here: | A baseline report will be required if your existing soil and/or groundwater measurement are not appropriate (or you have none). | EC Guidance concerning baseline reports | Not Applic
|  |  | 14. We need more time to prepare and submit a baseline report. We request that the EA sets an Improvement Condition in our new permit to allow us time to complete this work. |  |  |  | Note that you will be charged on a Time & Materials basis for the review of submissions in response to an Improvement Condition

## Containment
| EPR/CP3430WV | Samworth Brothers Limited | Bradgate Bakery |  | 0
Containment
Complete the table below for each above-ground tank containing potentially polluting liquids at the site, including effluent tanks.
You may, if you prefer, provide the information required below in a separate document as a report eg using a Word/pdf doc. Provide doc ref here:
Please indicate which tanks share a bund eg by colour coding.
| Guidance on containment is available on our website: |  |  | gov.uk: leaks from containers | Also refer to the CIRIA C736 guidance doc "Containment systems for the prevention of pollution"
Row No. | Tank name or reference | Contents | Tank capacity (litres) | Location | Tank Material of Construction | Is tank bunded? | Is bund shared with other tanks? If so, which? | Capacity of bund (litres) | Bund capacity as % of tank capacity | Material of construction of bund | Does bund have a drain point? | Do any pipes penetrate bund wall? | Please give details of any tank overfill protection measures in place | Where does surfaced area outside bund drain to? | Where is the tanker fill point and how are drips captured? | What leak detection is provided (if any)? | When was the last bund integrity test carried out? | What maintenance measures (inc inspection) are in place for the tank and bund? | Outline how the bund is emptied | Provide any other information relating to the tank and bund here, eg details of any tertiary containment: | DOC REF for supporting info
| eg. DAF tank | eg. effluent with dosing chemicals | eg. 10000 | eg. ETP building |  | Y/N |  |  |  |  | Y/N | Y/N |  | eg surface water drain, eg foul drain
1 | Fuel Tank | Diesel | 3100 | Ashton Green Distribution Yard | HDPE | Y | N | Integral Bund 3410L | 110 | HDPE | N | N |  | Surface water drain via interceptor
2 | Terminol Bulk Tank | Sodium Hydroxide | 15000 | Madeline Road Chemical delivery bay | HDPE | Y | N | Integral Bund 1,650,000L | 110 | HDPE | N | N |  | Surface water drain via interceptor
3 | Caustak 30 Bulk Tank | Sodium Hydroxide | 15000 | Madeline Road Chemical delivery bay | HDPE | Y | N | Integral Bund 1,650,000L | 110 | HDPE | N | N |  | Surface water drain via interceptor
4 | Chlorfoam plus Bulk Tank | Potassium Hydroxide | 15000 | Madeline Road Chemical delivery bay | HDPE | Y | N | Integral Bund 1,650,000L | 110 | HDPE | N | N |  | Surface water drain via interceptor
5 | Acidic pH modifier Bulk Tank | 50% Sulphuric Acid Solution | 5000 | Madeline Road Effluent correction area | HDPE | Y | Y - Shared with Alkaline pH modifier bulk tank | 12000 | 240 (120 % of both tanks) | Concrete | Y | N | Sight Glass | Surface water drain via interceptor |  |  |  |  | Bund has a submersible pump which delivers any liquids back to the Trade effluent (pre correction drain)
6 | Alkaline pH modifier Bulk Tank | 32% Sodium Hydroxide Solution | 5000 | Madeline Road Effluent correction area | HDPE | Y | Y - Shared with Acidic pH modifier bulk tank | 12000 | 240 (120 % of both tanks) | Concrete | Y | N | Sight Glass | Surface water drain via interceptor |  |  |  |  | Bund has a submersible pump which delivers any liquids back to the Trade effluent (pre correction drain)
7 | Waste Engineering oil Tank | Used oils | 2500 | Madeline Road outside Boiler House | HDPE | Y | N | Integral Bund 2750L | 110 | HDPE | N | N |  | Surface water drain via interceptor
8 | Raw Effluent Sump Tank | Process Effluent | 6000 | Ashton Green ETP | HDPE | Y | Y | 402000 | 110 | Concrete | N | N | Level Sensors | Surface water drain leading to adjacent pond via interceptor. Pond has slam shut valve at discharge point which can be closed in event of emergency
9 | Screened Effluent Tank | Process Effluent | 4000 | Ashton Green ETP | HDPE | Y | Y | 402000 | 110 | Concrete | N | N | Level Sensors | Surface water drain leading to adjacent pond via interceptor. Pond has slam shut valve at discharge point which can be closed in event of emergency
10 | Balance Tank Capacity | Process Effluent | 258000 | Ashton Green ETP | HDPE | Y | Y | 402000 | 110 | Concrete | N | N | Level Sensors | Surface water drain leading to adjacent pond via interceptor. Pond has slam shut valve at discharge point which can be closed in event of emergency
11 | Acid Storage Tank (15%) | Sulphuric Acid Solution | 5000 | Ashton Green ETP | HDPE | Y | Y | 402000 | 110 | Concrete | N | N | Level Sensors | Surface water drain leading to adjacent pond via interceptor. Pond has slam shut valve at discharge point which can be closed in event of emergency
12 | Caustic Storage Tank (20%) | Sodium Hydroxide | 5000 | Ashton Green ETP | HDPE | Y | Y | 402000 | 110 | Concrete | N | N | Level Sensors | Surface water drain leading to adjacent pond via interceptor. Pond has slam shut valve at discharge point which can be closed in event of emergency
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
Note on H7: Registered User: If tank is not bunded, please give details of tertiary containment provided