# EPR/MP3621LD/A001 Duly Making

Duly Making Questions

- Non-Tech Summary (NTS)

Please update NTS adding following key points :

- Screening was for 50,000 pullets 20,000 in HV fan buildings and 30,000 in side/natural ventilation

- Now appears 60,000 please clarify total number and animal type pullets and confirm emission factor see link below and split of HV and side /natural ventilation bird numbers

Please confirm pullets not adult breeder layers.

NB ! Please respond within 24 hrs to this as any change will mean a re-run of ammonia assessment.

https://www.gov.uk/guidance/ammonia-emission-factors-for-pig-and-poultry-screening-modelling-and-reporting#ammonia-emission-factors-for-poultry

- Please confirm still three existing and two new poultry buildings.

- Please add  attenuation type for roof water  and lightly contaminated yard water attenuation

- Please confirm no discharge from installation boundary for clean water /lightly contaminated water and if there is please confirm which water source goes off site and via which attenuation

- Please confirm if carcass incinerator exists or not and add to tech standards if relevant

- Please confirm only heating is via LPG heaters and no biomass boilers within site

- Dust Management Plans

- Please update plan with heading receptors within 100 m not 400 m Updated.

- Odour and Noise Management Plans

Please confirm if single receptor at 60 m from boundary is operator owned/staff owned or not. If former can be deleted if latter needs to be kept Receptor is not operator owned/staff owned but a holiday let.

If OMP needed as relevant receptors within  400 m , please add odour monitoring via perimeter sniff check frequency ; minimum weekly. Sniff test added to OMP.

- Tech standards document

Please ensure technical standards document and drainage are consistent

Tech standard emissions column All amended as advised (no emissions outside of site boundary)

- Please add what attenuation type is there for yard and roof water clean water emissions

- Land emissions please confirm if separate soakaway for each house for roof water

- Unlined pond confirm only received ? lightly contaminated yard water

- Water ; site drainage plan does not show emissions beyond boundary if no discharge or clean/lightly contaminated water from boundary please delete from water emissions in table or add exact source of water and whether discharging via unlined pond

- Site Drainage Plan

Please ensure all air emissions included on plan including standby generator  Added EP1 to Generator

Please add all soakaways for all five houses for roof and lightly contaminated yard water All added

- BAT

Please confirm given potential bird changes that all poultry houses will comply with BAT 31b5

If OMP needed see above; then please add odour monitoring details for BAT compliance

All houses will be operating within BAT standard 31b5.

- Planning

At time of application, you stated no EIA

- Please confirm any know timescale for planning submission and for target date for operation with 4th

poultry house. Planning permission for the site was granted 19th February 2026.

Operational date proposed around November 2026.

- Standby Generator

Please confirm unit thermal input capacity and compliance with testing no more than 50 hours per annum and total combined testing and standby usage no more than 500 hours per annum 220KvA (0.191MW) The generator will only be tested within Assurance scheme protocols of 1 hour per week and usage per annum will not exceed 500hrs.

- Fees

£8020 is old fee now new application fee is £8324.76

Please pay difference of £ 304.76

- If there are any receptors within 100 m then Dust Management Plan needed and fee, please provide associated £643.56 review fee.

Request made to finance department to send fees with EPR/MP3621LD in ref: Line

SW/21/5/26