# ACCIDENT and EMERGENCY MANAGEMENT PLAN

G E Porter and Sons Ltd.,

Barn and Poplar Farms

## Lowfields,

## Navenby

Lincolnshire LN5 0LN

Telephone Number: 01522 810478

National Grid Reference: SK 9470 5800

# INDEX

- Key Contacts List and Site Information

- Site Plans:

  - Layout of the Site

  - Site Services and Drainage Plan

- Emergency Action Plans

  - Spillage of liquids: Chemicals and Fuels

  - Tank Failure

  - Fire

Notifiable Diseases

1. KEY CONTACTS LIST AND SITE INFORMATION

IN CASE OF EMERGENCY

Address Details:			Barn and Poplar Farm,

Lowfields,

Navenby,

Lincolnshire

LN5 0LN

Grid Reference of Unit:		SK 9470 5800

Key Site Contact Numbers:

Mobile: (James Porter)		07787 554233

Mobile: (Graham Porter)		07787 554233

Office (Navenby)			01522 810478

EMERGENCY CONTACT DETAILS:

| Emergency Services: | 999 or 112 |
| --- | --- |
| Local Police: | 0845 6060222 (non emergencies) |
| NHS Direct: | 0845 4647 |
| Environment Hotline: | 0800 807060 (24hr Emergency Hotline) |
| Environment Agency Regulator (Local Office) | 01522 7859212 |
| Local Authority – North Kesteven District Council | 01724 296296 |
| Water Supplier – Anglian Water | 08457 919155 (Water Leaks) 08457 145145 (Operational) |
| Electricity – Western Power | 0800 6783105 |
| Waste Management Contractor – Lindum Waste | 01522 706960 (Office Hours) |

EMERGENCY ACTION PLAN – SPILLAGE OF LIQUIDS: Chemicals and Fuels

Spillage Emergency Procedure:

### On discovering a spillage inform Broiler Farms Manager, James Porter, who will then take responsibility for managing the incident:

- Dispatch personnel to block the points where the surface water drainage enters the adjacent dyke.

- Dispatch personnel to return with a spillage kit

- Form a ‘dam’ to contain spillage

- Mop up chemical using absorbent materials provided and place in bags.

Post Spillage Procedure – Spillage has not been contained on site:

In the event of the spillage not being contained then

- Inform Graham Porter or a senior manager

- Phone Environment Hotline and report the incident

Post Spillage Procedure – Spillage contained within site drainage system:

- Wash remaining chemical from hard standing into the Foul Water Storage Tank

- Arrange for specialist pumping contractor to be on site

- Pump out drainage system

- Wash and re-pump drainage system

- Remove pumped material from site under ‘duty of care’

- Contact Environment Agency Regulator

- Re-open surface water access to the dyke

Record Incident in the Site Log and, if relevant, complete the “COMPLAINT, and NON-COMPLIANCE” RECORD

##### EMERGENCY ACTION PLAN – Tank Failure

#### This procedure covers the fuel tank for the generator

### On discovering a leakage inform Broiler Farms Manager, James Porter, who will then take responsibility for managing the incident:

- Isolate all equipment drawing liquid from the tank

- Take practicable and safe means of minimising the leakage until the tank can be emptied

- Arrange for pumping contractor to be on-site

- Pump out tank

- Determine disposal or storage options for pumped material

- Tank to be isolated and not used until either repaired or replaced

If the tank failure has resulted in spillages then refer to the relevant Chemical and Fuel Spillage Procedures

IF THE FAILURE HAS NOT BEEN CONTAINED THEN THE PERSON RESPONSIBLE FOR MANAGING THE INCIDENT MUST PHONE THE ENVIRONMENT AGENCY HOTLINE AND REPORT THE INCIDENT

COMPLETE ‘COMPLAINT, and NON-COMPLIANCE’ RECORD

###### EMERGENCY ACTION PLAN – Fire

Upon discovering a fire:

- Inform colleagues

- Sound Fire Alarm – Personnel to muster points

- Call Fire Brigade – 999

- Be prepared to give the following information:

Address:		J E Porter Ltd

Lowfields, Navenby

Lincoln

Post Code:		LN5 0LN

OS Grid Ref: 		SK 9470 5800

- If the fire is small and there are trained personnel present, attempt to extinguish with correct type of extinguisher provided, see below

- DO NOT attempt to extinguisher the fire if it is unsafe to do so

- Dispatch personnel to entrance to await and direct Fire Brigade

- Dispatch personnel to close emergency valves on storm water outfalls

- Notify Manager and Graham Porter

Fire Extinguisher Colour Codes

Ensure you are using the correct type of extinguisher. All are coloured red but have a distinct colour banding:

Colour:			Type:			Suitable for:

RED				Water			Wood, paper, textiles

BEIGE				Foam			Flammable Liquids

BLACK			CO2			Flammable Liquids, Electrical Fires

BLUE				Dry Powder                 Flammable Liquids, Electrical Fires

GREEN			Vaporising Liquids	Flammable Liquids, Electrical Fires

YELLOW			Wet Chemical		Flammable Liquids, Electrical Fires

EMERGENCY ACTION PLAN – NOTIFIABLE DISEASES

###### Avian Influenza Contingency Plan: Barn and Poplar Farms

What is Avian Influenza

Avian influenza (AI) is used to describe all of the influenza viruses that can infect birds – both wild and domestic. Many forms of the avian influenza virus cause only very mild symptoms in birds, or no symptoms at all. However, some strains of the influenza A virus can produce a highly contagious and rapidly fatal disease. These very virulent strains of the virus are known as "highly pathogenic avian influenza". It's these viruses that cause particular concern and currently a strain known as H5N1 is known to be present in migrating birds from Asia. Once at their destination, infected birds release the virus via nasal or saliva secretions or faeces into water - the water birds then get infected and in turn infect domestic fowl.

The “High Pathogenic” strain spreads rapidly and causes the death of the bird within 48 hours by attacking the respiratory tract and it also infects multiple organs and tissues causing massive internal bleeding or haemorrhaging.

This Contingency Plan is in place to ensure that:

- Measures are implemented at each broiler farm to minimize the risk of AI getting onto either of the broiler farms

- Farm staff are aware of the symptoms of AI and are able to recognise them at a very early stage

- Systems are in place to notify the key contacts (including the relevant authorities) of a suspected outbreak

- Site Protocols are in place to manage all movements on and off the site in the interim period between identification of a suspected outbreak and confirmation (or otherwise)

- In the event of a confirmed outbreak, the measures that should be taken.

- PREVENTING THE VIRUS ENTERING THE FARM

The H5N1 virus spreads very rapidly from farm to farm through the movement of live birds and people (especially when shoes and other clothing are contaminated), contaminated vehicles, equipment and feed and, under the right temperatures, can survive outside of the body. At low temperatures (4°C) it can survive for at least 35 days in faeces and up to six days in much higher temperatures (37°C).  Tight bio security measures are to be maintained at all times – as a minimum the following must be in place:

- Access to the site and buildings is restricted to authorised persons and vehicles only – do not assume that anyone seen on site has been given permission. Challenge them!

- All doors to buildings must be kept closed AT ALL TIMES

- Disinfect all footwear and wash hands on entering and leaving sheds.

- Areas around the sheds must be kept clear of both vegetation and equipment to avoid a harbourage for vermin -any signs of pests (rodents and birds) must be reported to the farm manager immediately

- Any equipment shared between Barn and Poplar must be cleaned and disinfected before moving site

- Overalls should be clean

- All vehicles used to transport chicks and broilers must be cleaned and sanitised in compliance with current regulatory requirements

- RECOGNISING THE SYMPTOMS

The signs can be similar to some other diseases, such as Newcastle Disease, and include:

  - Sudden death

  - Marked loss of appetite, reduced feed consumption

  - Depression

  - Coughing

  - Nasal and ocular discharge

  - Swollen face

  - Bluish discolouration of the comb

  - Diarrhoea

  - Nervous signs such as paralysis

- NOTIFYING A SUSPECTED OUTBREAK

If there is any indication of a potential outbreak then:

    - Graham Porter (07787 554233) and Rupert Beckford (07813 359535) must be informed immediately

    - Graham Porter, or in his absence Rupert Beckford, will the contact the farm’s veterinary consultant must be contacted immediately and following his advise:

    - Local Animal Health Office notified. For Barn and Poplar farms the contact is:

Lincoln Animal Health Office, Ceres House, 2 Searby Road, LINCOLN LN2 4DT

Tel: 01522 529951	Fax: 01522 560668	Nightline: 07623 937316

- SITE PROTOCOL WHILST THE SITE IS UNDER INVESTIGATION

Whilst an investigation is being carried out all movements of poultry, people, equipment and vehicles onto and from the site is to be restricted to those authorised by the official investigation team. There are to be no exceptions to this protocol.

A meeting of the senior managers within the business, including the Poultry Farms manager, Pig Unit manager, Feed mill manager and Arable Farms manager must be held and chaired by the Managing Director to consider the potential implications for all sectors of the business and to agree an action plan in the event of a confirmed outbreak. This action plan will include informing all relevant trade contacts for the mill, pig unit and arable in addition to the broiler farm.

- IF THE OUTBREAK IS CONFIRMED

- Should the outbreak be confirmed then the authorities would impose movement restrictions – all personnel must assist in any way required

- Site plans are to be made available to the authorities – a copy attached as Appendix 1

- The agreed Action Plan is to be implemented