## Sheet1
Hours per day of discharge | Flow rate (l/s) | BOD (mg/l) | Concentration of pollutant downstream | Within 10% deterioration?
24 | 2.3148 | 22 | 2.833 | Yes
Volume discharged per day 200cm3
F=0.175
C= 2.58
f=0.00231
c=22