## Performance Graphs
OSM | Blue Line is the consented limit
UWW

## OSM
[9 empty] | Sort Ord Det | 1 | 1 | 3 | 3 | 7 | 8 | 8 |  | 9 | 10 | 10 | 12 | 13 | 14 | 16 | 18 | 21 | 21 | 22 | 22 |  | 23 |  | 24 | 24
[9 empty] | Determinand Code | 4NONYLPH | 4NONYLPH | AG T | AG T | BOD5TAPR | BOD5TATU | BOD5TATU | BOD Consent | BODTALD | CD T | CD T | COD T | COD T LD | COD T PR | CODTBODT | CU T | HG T | HG T | NH4 T | NH4 T |  | SOL P105 | Solids Consent | TCMETH | TCMETH
[9 empty] | Determinand | 4-nonylphenol | 4-nonylphenol | Silver total | Silver total | BOD 5d tot % removed | BOD 5d total + ATU | BOD 5d total + ATU |  | BOD (ATU) total load | Cadmium total | Cadmium total | COD total | COD total load | COD total % removed | COD/BOD ratio-total | Copper total | Mercury total | Mercury total | Ammonium total | Ammonium total | Ammonia Consent | Solids part. 105°C |  | Trichloromethane | Trichloromethane
[9 empty] | Unit | µg/l | µg/l | µg/l | µg/l | % | mg/l | mg/l |  | kg/d | µg/l | µg/l | mg/l | kg/d | % | none | µg/l | µg/l | µg/l | mg/l | mg/l |  | mg/l |  | µg/l | µg/l
[9 empty] | Representation |  |  | Ag | Ag |  | O | O |  | O | Cd | Cd | O | O |  |  | Cu | Hg | Hg | N | N
From Date | To Date | Sort Ord Sp | Name Part1 | Name Part2 | Urn | Datetime | Date | Time | Purpose Code | Q | Val | Q | Val | Val | Q | Val |  | Val | Q | Val | Val | Val | Val | Val | Val | Q | Val | Q | Val |  | Val |  | Q | Val
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190181135 | 2019-01-18 | 11:35 | RE | < | 0.05 | < | 0.7 |  |  | 4 | 18 |  |  | 0.15 |  |  |  |  | 4.4 | < | 0.05 |  | 1.5 | 2 | 8 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190311355 | 2019-01-31 | 13:55 | RE | [6 empty] | 4 | 18 | [10 empty] | < | 0.5 | 2 | 8 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190461448 | 2019-02-15 | 14:48 | RE | < | 0.05 | < | 0.7 |  |  | 4 | 18 |  | < | 0.12 |  |  |  |  | 3.9 | < | 0.05 | < | 0.5 | 2 | 19 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190581220 | 2019-02-27 | 12:20 | RE | [6 empty] | 3 | 18 | [10 empty] | < | 0.5 | 2 | 10 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190771250 | 2019-03-18 | 12:50 | RE |  | CANCEL | < | 0.7 |  |  | 4 | 18 |  | < | 0.12 |  |  |  |  | 4.1 | < | 0.05 | < | 0.5 | 2 | 9 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190880900 | 2019-03-29 | 9:00 | RE | [6 empty] | 3 | 18 | [10 empty] | < | 0.5 | 2 | 3 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190941340 | 2019-04-04 | 13:40 | RE | < | 0.05 | < | 0.7 |  |  | 5 | 18 |  | < | 0.12 |  |  |  |  | 3.7 | < | 0.05 | < | 0.5 | 2 | 17 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191080910 | 2019-04-18 | 9:10 | RE | < | 0.05 | [5 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191131000 | 2019-04-23 | 10:00 | RE | [6 empty] | CANCEL | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191310901 | 2019-05-11 | 9:01 | RE | [6 empty] | 3 | 18 | [11 empty] | 0.6 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191341310 | 2019-05-14 | 13:10 | RE | [5 empty] | < | 1.9 | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191491005 | 2019-05-29 | 10:05 | RE | < | 0.05 | < | 0.7 |  | < | 1.9 | 18 |  | < | 0.12 |  |  |  |  | 4.4 | < | 0.1 | < | 0.5 | 2 | 7 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191650905 | 2019-06-14 | 9:05 | RE |  | CANCEL | < | 0.7 |  |  | 6 | 18 |  | < | 0.12 |  |  |  |  | 3.1 | < | 0.05 | < | 0.5 | 2 | 11 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191751340 | 2019-06-24 | 13:40 | RE | [6 empty] | 3 | 18 | [10 empty] | < | 0.5 | 2 | 7 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191901230 | 2019-07-09 | 12:30 | RE | < | 0.05 | < | 0.7 |  |  | 2 | 18 |  | < | 0.12 |  |  |  |  | 5.6 | < | 0.05 |  | 0.8 | 2 | 5 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191920850 | 2019-07-11 | 8:50 | RE | < | 0.05 | [5 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191981335 | 2019-07-17 | 13:35 | RE | [6 empty] | 2 | 18 | [10 empty] | < | 0.5 | 2 | 2.4 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192281255 | 2019-08-16 | 12:55 | RE | < | 0.05 | < | 0.7 |  | < | 1.9 | 18 |  |  | 0.15 |  |  |  |  | 4.4 | < | 0.05 | < | 0.5 | 2 | 5 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192421130 | 2019-08-30 | 11:30 | RE | [6 empty] | 2 | 18 | [10 empty] | < | 0.5 | 2 | 4 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192661335 | 2019-09-23 | 13:35 | RE | < | 0.05 | < | 0.7 |  |  | 3 | 18 |  | < | 0.12 |  |  |  |  | 2.7 | < | 0.05 | < | 0.5 | 2 | 3 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192881015 | 2019-10-15 | 10:15 | RE | < | 0.05 |  | 2.1 |  |  | 3 | 18 |  | < | 0.12 |  |  |  |  | 3.2 | < | 0.05 | < | 0.5 | 2 | 9 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193231242 | 2019-11-19 | 12:42 | RE | < | 0.05 |  | CANCEL |  |  | 3 | 18 |  | < | 0.12 | [5 empty] | < | 0.05 | < | 0.5 | 2 | 12 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193381412 | 2019-12-04 | 14:12 | RE |  | CANCEL |  | 0.037 |  |  | 4 | 18 |  | < | 0.12 | [5 empty] | < | 0.05 | < | 0.5 | 2 | 10 | 50 | < | 1
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193541141 | 2019-12-20 | 11:41 | RE |  |  |  | 0.052 |  |  |  | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200151336 | 2020-01-15 | 13:36 | RE | [6 empty] | 5 | 18 | [10 empty] | < | 0.5 | 2 | 11 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200561215 | 2020-02-25 | 12:15 | RE |  |  |  | CANCEL |  |  | 5 | 18 | [10 empty] | < | 0.5 | 2 | 12 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200901251 | 2020-03-30 | 12:51 | RE |  |  | < | 0.7 |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 11 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201211155 | 2020-04-30 | 11:55 | RE |  |  |  | CANCEL |  |  | 5 | 18 | [10 empty] | < | 0.5 | 2 | 9 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201501335 | 2020-05-29 | 13:35 | RE |  |  |  | CANCEL |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 4 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201641310 | 2020-06-12 | 13:10 | RE |  |  |  | CANCEL |  |  | 8 | 18 | [10 empty] | < | 0.5 | 2 | 16 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202111310 | 2020-07-29 | 13:10 | RE |  |  |  | CANCEL |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 3 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202251315 | 2020-08-12 | 13:15 | RE |  |  |  | CANCEL |  |  | 3 | 18 | [11 empty] | 2 | 2 | 9 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202701135 | 2020-09-26 | 11:35 | RE |  |  |  | CANCEL |  |  | 5 | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203001250 | 2020-10-26 | 12:50 | RE |  |  |  | CANCEL |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 13 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203221320 | 2020-11-17 | 13:20 | RE |  |  |  | CANCEL |  |  | 5 | 18 | [10 empty] | < | 0.5 | 2 | 21 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203451215 | 2020-12-10 | 12:15 | RE |  |  |  | CANCEL |  |  | 6 | 18 | [10 empty] | < | 0.5 | 2 | 15 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210181145 | 2021-01-18 | 11:45 | RE |  |  |  | CANCEL |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 13 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210530955 | 2021-02-22 | 9:55 | RE |  |  |  | CANCEL |  |  | 5 | 18 | [10 empty] | < | 0.5 | 2 | 11 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210781310 | 2021-03-19 | 13:10 | RE |  |  |  | CANCEL |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 7 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210990805 | 2021-04-09 | 8:05 | RE |  |  |  | CANCEL |  |  | 3 | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211241230 | 2021-05-04 | 12:30 | RE |  |  |  | CANCEL |  |  | 3 | 18 | [10 empty] | < | 0.5 | 2 | 11 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211671110 | 2021-06-16 | 11:10 | RE |  |  | < | 0.7 |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 15 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211951330 | 2021-07-14 | 13:30 | RE |  |  | < | 0.7 |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 7 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211971145 | 2021-07-16 | 11:45 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212281120 | 2021-08-16 | 11:20 | RE |  |  | < | 0.7 |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 10 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212661150 | 2021-09-23 | 11:50 | RE |  |  | < | 0.7 |  |  | 3 | 18 | [10 empty] | < | 0.5 | 2 | 8 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212951230 | 2021-10-22 | 12:30 | RE |  |  | < | 0.7 |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213161220 | 2021-11-12 | 12:20 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213230001 | 2021-11-19 | 0:01 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213231145 | 2021-11-19 | 11:45 | RE |  |  | < | 0.7 |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213331440 | 2021-11-29 | 14:40 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213351110 | 2021-12-01 | 11:10 | RE |  |  | < | 0.7 |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 11 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213401120 | 2021-12-06 | 11:20 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213431445 | 2021-12-09 | 14:45 | RE |  |  | < | 0.7 |  |  |  | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213480905 | 2021-12-14 | 9:05 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213500955 | 2021-12-16 | 9:55 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213571110 | 2021-12-23 | 11:10 | RE | [7 empty] | 18 | [12 empty] | 2 |  | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220100855 | 2022-01-10 | 8:55 | RE |  |  | < | 0.7 |  |  | 3 | 18 | [10 empty] | < | 0.5 | 2 | 7 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220341335 | 2022-02-03 | 13:35 | RE |  |  | < | 0.7 |  |  | 3 | 18 | [10 empty] | < | 0.5 | 2 | 5 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220620900 | 2022-03-03 | 9:00 | RE |  |  | < | 0.7 |  |  | 4 | 18 | [10 empty] | < | 0.5 | 2 | 9 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20221131000 | 2022-04-23 | 10:00 | RE |  |  | < | 0.7 |  |  | 2 | 18 | [10 empty] | < | 0.5 | 2 | 7 | 50
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20221381330 | 2022-05-18 | 13:30 | RE |  |  |  | CANCEL |  |  | CANCEL | 18 | [11 empty] | CANCEL | 2 | 5 | 50

## UWW
[9 empty] | Sort Ord Det | 1 | 1 | 3 | 3 | 7 | 8 | 8 | 9 |  | 10 | 10 | 12 | 13 | 14 | 16 |  | 18 | 21 | 21 | 22 | 22 | 23 | 24 | 24
[9 empty] | Determinand Code | 4NONYLPH | 4NONYLPH | AG T | AG T | BOD5TAPR | BOD5TATU | BOD5TATU | BODTALD | BOD Consent | CD T | CD T | COD T | COD T LD | COD T PR | CODTBODT |  | CU T | HG T | HG T | NH4 T | NH4 T | SOL P105 | TCMETH | TCMETH
[9 empty] | Determinand | 4-nonylphenol | 4-nonylphenol | Silver total | Silver total | BOD 5d tot % removed | BOD 5d total + ATU | BOD 5d total + ATU | BOD (ATU) total load |  | Cadmium total | Cadmium total | COD total | COD total load | COD total % removed | COD/BOD ratio-total | COD Limit | Copper total | Mercury total | Mercury total | Ammonium total | Ammonium total | Solids part. 105°C | Trichloromethane | Trichloromethane
[9 empty] | Unit | µg/l | µg/l | µg/l | µg/l | % | mg/l | mg/l | kg/d |  | µg/l | µg/l | mg/l | kg/d | % | none |  | µg/l | µg/l | µg/l | mg/l | mg/l | mg/l | µg/l | µg/l
[9 empty] | Representation |  |  | Ag | Ag |  | O | O | O |  | Cd | Cd | O | O |  |  |  | Cu | Hg | Hg | N | N
From Date | To Date | Sort Ord Sp | Name Part1 | Name Part2 | Urn | Datetime | Date | Time | Purpose Code | Q | Val | Q | Val | Val | Q | Val | Val |  | Q | Val | Val | Val | Val | Val |  | Val | Q | Val | Q | Val | Val | Q | Val
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150060900 | 2015-01-06 | 9:00 | RU |  |  |  |  | 99.2555 |  | 2 | 468.2646 | 25 |  |  | 32 | 7492.2339 | 94.7263 | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150280900 | 2015-01-28 | 9:00 | RU |  |  |  |  | 99.1014 |  | 3 | 811.4537 | 25 |  |  | 28 | 7573.5679 | 97.604 | 9.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150370900 | 2015-02-06 | 9:00 | RU |  |  |  |  | 98.2943 |  | 4 | 985.1128 | 25 |  |  | 35 | 8619.7373 | 93.9714 | 8.75 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150490900 | 2015-02-18 | 9:00 | RU |  |  |  |  | 98.33 |  | 3 | 670.6662 | 25 |  |  | 40 | 8942.2158 | 92.8502 | 13.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150670900 | 2015-03-08 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 30 | 6532.8516 | 91.1098 | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20150750900 | 2015-03-16 | 9:00 | RU |  |  |  |  | 98.0211 |  | 5 | 1233.337 | 25 |  |  | 34 | 8386.6914 | 94.0756 | 6.8 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151030900 | 2015-04-13 | 9:00 | RU |  |  |  |  | 98.4884 |  | 3 | 744.7069 | 25 |  |  | 31 | 7695.3042 | 92.5791 | 10.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151180900 | 2015-04-28 | 9:00 | RU |  |  |  |  | 99.0132 |  | 2 | 468.5486 | 25 |  |  | 32 | 7496.7773 | 94.8291 | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151340900 | 2015-05-14 | 9:00 | RU |  |  |  |  | 96.509 |  | 8 | 1916.2513 | 25 |  |  | 50 | 11976.5713 | 89.2345 | 6.25 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151410900 | 2015-05-21 | 9:00 | RU |  |  |  |  | 99.1254 |  | 2 | 451.5827 | 25 |  |  | 29 | 6547.9487 | 94.3924 | 14.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151580900 | 2015-06-07 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 31 | 6306.5269 | 94.0765 | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151700900 | 2015-06-19 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 36 | 7134.3945 | 94.4335 | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20151830900 | 2015-07-02 | 9:00 | RU |  |  |  |  | 99.1904 |  | 2 | 402.2222 | 25 |  |  | 38 | 7642.2217 | 93.795 | 19 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152040900 | 2015-07-23 | 9:00 | RU |  |  |  |  | -2284.8227 |  | 2 | 1003226.625 | 25 |  |  | 29 | 14546786 | -14164.8467 | 14.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152160900 | 2015-08-04 | 9:00 | RU | [6 empty] | CANCEL |  | 25 |  |  | CANCEL |  |  |  | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152230900 | 2015-08-11 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 30 | 21447750 | -21027.9102 | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152380900 | 2015-08-26 | 9:00 | RU |  |  |  |  | -6573.6108 |  | 3 | 3343599.25 | 25 |  |  | 33 | 36779592 | -25983.2012 | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152500900 | 2015-09-07 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 30 | 5831.9268 | 96.3635 | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152660900 | 2015-09-23 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 32 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152770900 | 2015-10-04 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20152920900 | 2015-10-19 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 31 |  |  | 15.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20153140900 | 2015-11-10 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20153260900 | 2015-11-22 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 23 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20153350900 | 2015-12-01 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20153440900 | 2015-12-10 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 37 |  |  | 9.25 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160050900 | 2016-01-05 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 20 |  |  | 10 | 125 |  |  |  | < | 1.6 | 3
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160260900 | 2016-01-26 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 36 |  |  | 18 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160360900 | 2016-02-05 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 35 |  |  | 8.75 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160490900 | 2016-02-18 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 26 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160610900 | 2016-03-01 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 45 |  |  | 11.25 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160730900 | 2016-03-13 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 27 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20160970900 | 2016-04-06 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 34 |  |  | 17 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161160900 | 2016-04-25 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 32 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161250900 | 2016-05-04 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161370900 | 2016-05-16 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161660900 | 2016-06-14 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 29 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161760900 | 2016-06-24 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161870900 | 2016-07-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 37 |  |  | 12.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20161950900 | 2016-07-13 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 31 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20162130900 | 2016-07-31 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20162420900 | 2016-08-29 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 24 |  |  | 12 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20162510900 | 2016-09-07 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20162730900 | 2016-09-29 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 29 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20162830900 | 2016-10-09 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 34 |  |  | 17 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20163040900 | 2016-10-30 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 36 |  |  | 18 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20163150900 | 2016-11-10 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 25 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20163220900 | 2016-11-17 | 9:00 | RU | [6 empty] | 9 |  | 25 |  |  | 36 |  |  | 4 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20163420900 | 2016-12-07 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20163470900 | 2016-12-12 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 30 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170170900 | 2017-01-17 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170220900 | 2017-01-22 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 30 |  |  | 15 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170430900 | 2017-02-12 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 22 |  |  | 7.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170530900 | 2017-02-22 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170730900 | 2017-03-14 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170820900 | 2017-03-23 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 30 |  |  | 6 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20170990900 | 2017-04-09 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171160900 | 2017-04-26 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171280900 | 2017-05-08 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 32 |  |  | 6.4 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171450900 | 2017-05-25 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 37 |  |  | 12.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171700900 | 2017-06-19 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 32 |  |  | 8 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171770900 | 2017-06-26 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 29 |  |  | 9.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20171860900 | 2017-07-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 31 |  |  | 10.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172090900 | 2017-07-28 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172280900 | 2017-08-16 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172360900 | 2017-08-24 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 28 |  |  | 9.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172480900 | 2017-09-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 29 |  |  | 9.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172600900 | 2017-09-17 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 34 |  |  | 8.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20172900900 | 2017-10-17 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20173030900 | 2017-10-30 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20173200900 | 2017-11-16 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 38 |  |  | 12.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20173250900 | 2017-11-21 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20173420900 | 2017-12-08 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 33 |  |  | 16.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20173480900 | 2017-12-14 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 33 |  |  | 16.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180120900 | 2018-01-12 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 33 |  |  | 16.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180280900 | 2018-01-28 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180440900 | 2018-02-13 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 37 |  |  | 18.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180520900 | 2018-02-21 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180640900 | 2018-03-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 31 |  |  | 10.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20180790900 | 2018-03-20 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 41 |  |  | 8.2 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181070900 | 2018-04-17 | 9:00 | RU | [6 empty] | 7 |  | 25 |  |  | 41 |  |  | 5.857 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181160900 | 2018-04-26 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 28 |  |  | 14 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181430900 | 2018-05-23 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 38 |  |  | 9.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181480900 | 2018-05-28 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181750900 | 2018-06-24 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 46 |  |  | 15.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20181820900 | 2018-07-01 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 31 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182000900 | 2018-07-19 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 39 |  |  | 9.75 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182060900 | 2018-07-25 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182150900 | 2018-08-03 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 36 |  |  | 12 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182390900 | 2018-08-27 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 27 |  |  | 9 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182480900 | 2018-09-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182630900 | 2018-09-20 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 39 |  |  | 7.8 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182740900 | 2018-10-01 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 27 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20182840900 | 2018-10-11 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20183080900 | 2018-11-04 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 27 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20183170900 | 2018-11-13 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 28 |  |  | 14 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20183400900 | 2018-12-06 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 23 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20183450900 | 2018-12-11 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 30 |  |  | 6 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20183450901 | 2018-12-11 | 9:01 | RU | [6 empty] | 5 |  | 25 |  |  | 30 |  |  | 6 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190200900 | 2019-01-20 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 44 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190440900 | 2019-02-13 | 9:00 | RU | [6 empty] | 6 |  | 25 |  |  | 48 |  |  | 8 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190490900 | 2019-02-18 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 38 |  |  | 19 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190570900 | 2019-02-26 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 38 |  |  | 19 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190780900 | 2019-03-19 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 38 |  |  | 7.6 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20190950900 | 2019-04-05 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 38 |  |  | 9.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191120900 | 2019-04-22 | 9:00 | RU | [6 empty] | 7 |  | 25 |  |  | 45 |  |  | 6.429 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191220900 | 2019-05-02 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 52 |  |  | 17.3333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191300900 | 2019-05-10 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191500900 | 2019-05-30 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 37 |  |  | 12.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191670900 | 2019-06-16 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 23 |  |  | 11.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191740900 | 2019-06-23 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 28 |  |  | 14 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191910900 | 2019-07-10 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 36 |  |  | 9 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20191970900 | 2019-07-16 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 37 |  |  | 12.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192380900 | 2019-08-26 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 31 |  |  | 15.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192410900 | 2019-08-29 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 34 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192510900 | 2019-09-08 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192670900 | 2019-09-24 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 25 |  |  | 12.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20192890900 | 2019-10-16 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 41 |  |  | 8.2 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193010900 | 2019-10-28 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 24 |  |  | 12 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193100001 | 2019-11-06 | 0:01 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193240900 | 2019-11-20 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 28 |  |  | 14 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193390900 | 2019-12-05 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20193450900 | 2019-12-11 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 26 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200140900 | 2020-01-14 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 26 |  |  | 8.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200220900 | 2020-01-22 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 36 |  |  | 12 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200400900 | 2020-02-09 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 27 |  |  | 9 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200550900 | 2020-02-24 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 23 |  |  | 11.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200650900 | 2020-03-05 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 34 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20200890900 | 2020-03-29 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201080900 | 2020-04-17 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 46 |  |  | 11.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201200900 | 2020-04-29 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 46 |  |  | 11.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201460900 | 2020-05-25 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 35 |  |  | 7 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201490900 | 2020-05-28 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201630900 | 2020-06-11 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 34 |  |  | 11.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201820900 | 2020-06-30 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 29 |  |  | 14.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20201980900 | 2020-07-16 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 32 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202100900 | 2020-07-28 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202240900 | 2020-08-11 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 36 |  |  | 18 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202440900 | 2020-08-31 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 25 |  |  | 8.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202570900 | 2020-09-13 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 29 |  |  | 9.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202690900 | 2020-09-25 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 29 |  |  | 9.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202800900 | 2020-10-06 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20202990900 | 2020-10-25 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203100900 | 2020-11-05 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 32 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203210900 | 2020-11-16 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 31 |  |  | 15.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203370900 | 2020-12-02 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 49 |  |  | 24.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20203440900 | 2020-12-09 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 30 |  |  | 10 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210200900 | 2021-01-20 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 21 |  |  | 7 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210270900 | 2021-01-27 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 28 |  |  | 9.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210450900 | 2021-02-14 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 27 |  |  | 9 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210540900 | 2021-02-23 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 36 |  |  | CANCEL | 125 |  |  |  | < | 0.5 | 2.4
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210700900 | 2021-03-11 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 27 |  |  | 13.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20210810900 | 2021-03-22 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 38 |  |  | 12.667 | 125 |  |  |  |  | 0.7 | 25
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211010900 | 2021-04-11 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125 |  |  |  | < | 0.5 | 3
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211130900 | 2021-04-23 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 48 |  |  | 16 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211250900 | 2021-05-05 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 37 |  |  | 12.333 | 125 |  |  |  | < | 0.5 | 5
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211440911 | 2021-05-24 | 9:11 | RU | [6 empty] | 3 |  | 25 |  |  | 27 |  |  | 9 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211800900 | 2021-06-29 | 9:00 | RU | [6 empty] | 10 |  | 25 |  |  | 51 |  |  | 5.1 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211820900 | 2021-07-01 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 38 |  |  | 12.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20211960900 | 2021-07-15 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 31 |  |  | 10.333 | 125 |  |  |  | < | 0.5 | 9
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212030900 | 2021-07-22 | 9:00 | RU | [6 empty] | 5 |  | 25 |  |  | 37 |  |  | 7.4 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212290900 | 2021-08-17 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125 |  |  |  | < | 0.5 | 2.4
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212350900 | 2021-08-23 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 25 |  |  | 8.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212670900 | 2021-09-24 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 35 |  |  | 8.75 | 125 |  |  |  | < | 0.5 | 8
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212690900 | 2021-09-26 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 23 |  |  | 7.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212850900 | 2021-10-12 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 37 |  |  | 9.25 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20212970900 | 2021-10-24 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 29 |  |  | 14.5 | 125 |  |  |  | < | 0.5 | 6
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213150900 | 2021-11-11 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 37 |  |  | 9.25 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213260900 | 2021-11-22 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 35 |  |  | 11.667 | 125 |  |  |  | < | 0.5 | 2.4
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213340900 | 2021-11-30 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 42 |  |  | 14 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20213420900 | 2021-12-08 | 9:00 | RU | [6 empty] | 7 |  | 25 |  |  | 43 |  |  | 6.143 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220090900 | 2022-01-09 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 26 |  |  | 13 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220300900 | 2022-01-30 | 9:00 | RU | [6 empty] | 4 |  | 25 |  |  | 34 |  |  | 8.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220330900 | 2022-02-02 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 34 |  |  | 17 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220390900 | 2022-02-08 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 27 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220610900 | 2022-03-02 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 32 |  |  | 10.667 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220820900 | 2022-03-23 | 9:00 | RU | [5 empty] | < | 1.9 |  | 25 |  |  | 37 |  |  | CANCEL | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20220930900 | 2022-04-03 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 25 |  |  | 12.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20221120900 | 2022-04-22 | 9:00 | RU | [6 empty] | 2 |  | 25 |  |  | 35 |  |  | 17.5 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20221240900 | 2022-05-04 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 40 |  |  | 13.333 | 125
2015-01-01 | 2022-06-09 | 2 | KNOSTROP STW | WORKS OUTLET COMBINE | 1093410 | 20221370900 | 2022-05-17 | 9:00 | RU | [6 empty] | 3 |  | 25 |  |  | 33 |  |  | 11 | 125