## Kingsnorth
Site: | Kingsnorth Jetty Road
Date: | 2020-04-23
2020-03-01
Tank | Capacity | Status | Content
2 | 510000 | Storage | Out of Service
3 | 142000 | Storage | Used Lube Oil
4 | 41000 | Storage | Process Water
5 | 41000 | Storage | Out of Service - Manway Removed
6 | 45000 | Storage | Process Water
7 | 2000 | Storage | Empty
8 | 121000 | Storage | Soluble Oil
9 | 121000 | Storage | Used Lube Oil
10 | 121000 | Storage | Process Water
12 | 5000 | Storage | Out of Service
16 | 360000 | Storage | Used Lube Oil
17 | 45000 | Storage | Used Lube Oil
18 | 60000 | Storage | Used Lube Oil
19 | 60000 | Storage | Used Lube Oil
20 | 60000 | Storage | Used Lube Oil
22 | 22000 | Storage | Empty
23 | 22000 | Storage | Empty
1778000
Although the tank above shows Bunds 1 - 4, bund 1 is not currently used as a bund, with both of the tanks stored within it being out of service.
As improvements would be required before either Bund 1 or the tanks within it could be brought back into service, no calculation is provided here.

## Bund 2
Site: | Kingsnorth Jetty Road
Date: | 2020-03-01
2020-03-01
Tank | Capacity | Status | Content | Volume
Litres
16 | 360000 | Storage | Used Lube Oil
17 | 45000 | Storage | Used Lube Oil
18 | 60000 | Storage | Used Lube Oil
19 | 60000 | Storage | Used Lube Oil
20 | 60000 | Storage | Used Lube Oil
22 | 22000 | Storage | Empty
23 | 22000 | Storage | Empty
| 629000 |  |  | 0
| Area of base |  | 407.2 | m2
| Height of bund |  | 1.4 | metres
| Volume of bund |  | 570.1 | m3
| Tank bases |  | 111.6 | m3
| Volume of bund less tank bases |  | 458.5 | m3
Required Bund Capacity
EITHER:
| 110% of largest tank | T16 | 360000 | litres
|  | 110% | 396000 | litres
or
| 25% of aggregated volume | T16, 17, 18, | 629000 | litres
19, 20, 22, 23
|  | 25% | 157250 | litres
| Fire Fighting Foam | 100mm freeboard required | 40.72 | m3
| 110% Bund Capacity Required |  | 396 | m3
| Fire Fighting Foam @100mm |  | 40.72 | m3
| Bund Capacity Required |  | 436.72 | m3
| Installed Bund Capacity |  | 458.5 | m3

## Bund 3
Site: | Kingsnorth Jetty Road
Date: | 2020-03-01
2020-03-01
Tank | Capacity | Status | Content | Volume
Litres
8 | 121000 | Storage | Soluble Oil
9 | 121000 | Storage | Used Lube Oil
10 | 121000 | Storage | Process Water
| 363000 |  |  | 0
| Area of base |  | 159.33 | m2
| Height of bund |  | 1.15 | metres
| Volume of bund |  | 183.2295 | m3
| Tank bases |  | 19.95 | m3
| Volume of bund less tank bases |  | 163.2795 | m3
Required Bund Capacity
EITHER:
| 110% of largest tank | T10 | 121000 | litres
|  | 110% | 133100 | litres
or
| 25% of aggregated volume | T8, T9, T10 | 363000 | litres
|  | 25% | 90750 | litres
| Fire Fighting Foam | 100mm freeboard required | 15.933 | m3
| 110% Bund Capacity Required |  | 133.1 | m3
| Fire Fighting Foam @100mm |  | 15.933 | m3
| Bund Capacity Required |  | 149.033 | m3
| Installed Bund Capacity |  | 163.2795 | m3

## Bund 4
Site: | Kingsnorth Jetty Road
Date: | 2020-03-01
2020-03-01
Tank | Capacity | Status | Content | Volume
Litres
3 | 142000 | Storage | Used Lube Oil
4 | 41000 | Storage | Process Water
5 | 41000 | Storage | Out of Service - Manway removed
6 | 45000 | Storage | Process Water
7 | 2000 | Storage | Empty
| 271000 |  |  | 0
| Area of base |  | 141.42 | m2
| Height of bund |  | 1.3 | metres
| Volume of bund |  | 183.846 | m3
| Tank bases |  | 11.7 | m3
| Volume of bund less tank bases |  | 172.146 | m3
Required Bund Capacity
EITHER:
| 110% of largest tank | T3 | 142000 | litres
|  | 110% | 156200 | litres
or
| 25% of aggregated volume | T3, 4, 5, 6, 7 | 271000 | litres
|  | 25% | 67750 | litres
| Fire Fighting Foam | 100mm freeboard required | 14.142 | m3
| 110% Bund Capacity Required |  | 156.2 | m3
| Fire Fighting Foam @100mm |  | 14.142 | m3
| Bund Capacity Required |  | 170.342 | m3
| Installed Bund Capacity |  | 172.146 | m3

## Newbury (hidden)
Site: | Newbury
Date: | 2018-06-30
Tank | Capacity | Status | Content | Volume | Product | Water | Acidic | Sludge | Empty or | Total | Product | Water | Acidic | Sludge | Empty | Total | Chlorine | Percent | Inspection | Inspection
|  |  |  | Litres |  |  | Water |  | 3rd Party |  |  |  | Water |  | 3rd Party | Volume | Content | Capacity | Date | Due
[9 empty] | or Clean | [5 empty] | or Clean
[9 empty] | Water | [5 empty] | Water
[5 empty] | % | % | % | % | % | % | Litres | Litres | Litres | Litres |  | Litres
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | [7 empty] | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0!
HOB | Reg | Status | Content | Volume | Product | Water | Acidic | Sludge | Empty or | Total | Product | Water | Acidic | Sludge | Empty or | Total | Chlorine | Comments
|  |  |  | Litres |  |  | Water |  | 3rd Party |  |  |  | Water |  | 3rd Party | Volume | Content
[9 empty] | or Clean | [5 empty] | or Clean
[9 empty] | Water | [5 empty] | Water
[5 empty] | % | % | % | % | % | % | Litres | Litres | Litres | Litres |  | Litres
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
IBCs | Vol | Status | Content | Volume | Product | Water | Acidic | Sludge | Empty or | Total | Product | Water | Acidic | Sludge | Empty or | Total | Chlorine | Comments
No | Litres |  |  | Litres |  |  | Water |  | 3rd Party |  |  |  | Water |  | 3rd Party | Volume | Content
[9 empty] | or Clean | [5 empty] | or Clean
[9 empty] | Water | [5 empty] | Water
[5 empty] | % | % | % | % | % | % | Litres | Litres | Litres | Litres |  | Litres
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
| 0 | [7 empty] | 100% | 100% | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
|  |  | GRAND TOTALS | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Sheet1 (hidden)
Acidic Water, Sludge & Oil | Storage
Anti-Freeze | Out of Service
Blended ULO | Third Party
Clean/Rainwater
Empty
Gas Oil - Boiler
GEN3
Kerosene - Boiler
Marpol
Marpol Slops
Other Fuels - Specify
Out of Service
Process Oil
Process Water
RFO
Tank Bottoms
UK PFO
Used Lube Oil
Waste Disposal Only

## Finance Notes (hidden)
All workings and returns are found in the directory N:/Finance/Management Accounts 2018/Slicker Recycling/month/workings/stock/ Information sent from sites on first working day - Copy information in the Stock Return directory as per the above: Ispwich Tank Stock Return - Amir Sharif Utilities & Raw Materials Spreadsheet - Amir Sharif Email T92 - showing amounts HOB - Kevin Coleby Kingsnorth Tank Stock Return - Alan Shepard Metre Readings - Alan Shepard Newport Tank Stock Return - Ade Pitman Prismo Stock Return - Ade Pitman Stourport Tank Stock Return - Dennis Willis Email Boiler Stock/Consumables - Dennis Willis Trafford Tank Stock Return - Luke Gray Satelite Stations Waste Oil Stocks - Malcolm Hardwick Update Tank Stock return summary form: 1) Prepare new month form prior to monthend - copying last figures into previous months columns. 2) Send Gary a copy of the last version of the previous month's summary form and he will issue the forms to the sites on the last working day. 3) When the forms start coming in on the fist working day copy and paste them into the summary form and carry out sense checks: Date of stock take Changes in the contents of stock especially looking for any items that may have a disposal costs. Check any content description which haven't been included on the summary tab. Query with Gary. Adding up and the cross check columns at the bottom of the form. Comments. 4) Manually enter the amounts for the Satelite Stations. Check with Gary the Sludge figure which isn't included on the return. 5) Check the summary sheet for any errors and that the cross adding up balance. 6) Items described at 'Waste disposal only' may have an additional provision. These need checking with Gary to determine any costs involved. Update Consumables report Ipswich - Figures on spreadsheet sent from Amir. Newport - Figures found on the old stock return under Treatment Chemicals. (Need to check how this will be reported in future). Stourport - Figures found on email . Kingsnorth - Figures found on the stock return. Update Prismo Stock Levels Newport Spreadsheet found under Stock Returns/Newport/Prismo Stock Levels. Copy prices and formulae from prior month. Boiler Stock 1) Copy the opening stock figures from previous month. 2) Enter brought in - Quantity figures found from the sites 'ins'. Filter on the tank number which can be found on the stock return. You can also double check by filtering on the descriptions. Enter total of the Volume Litres. 3) Enter watered off quantity figures - the difference between Volume Litres and Dry Litres for the items on the 'ins'. 4) Enter usage - Quantity figures found Ispwich - Spreadsheet from Amir under Utility Meter Reading Kings north - Metre readings from Alan Shepard Newport - Old Stock Return Stourport - email from Dennis 5) Enter Actual Stock quantity figures - Amount found on Stock Summary; combined figure of 'Gas Oil Boiler' and ' Kerosene Boiler'. 6) Investigate any quantity difference between actual stock and closing stock; calculation show under 'Book to Physical difference'. 7) Enter price per litre brounght in - Information for MOD : Sales/MOD_Feb18_180308_1132 Go to Cost Summary Tab and lookup Slicker in House Fuel Collections Then go to Workings Tab to find break down. Other Suppliers such as Hingley & Callow obtain information form purchase invoice. 8) The spreadsheet will automatically calculate the Actual Stock Value Total Costs and Price Per Litres. The row 'Opening Stock Plus Bought In' calculates a new average cost PPl by dividing the Costs by Quantity. Update the Tank Stock Return Summary with the new PPL. Additional Provision Update spreadsheet with any non standard/additional costs. Stock Summary Update summary from taking the information from the Tank Summary form.