# SR2026 number 1: generic risk assessment

SR2026 number 1: new and existing, low risk, mobile medium combustion plant (MCP) which are boilers

The Environment Agency produces the generic risk assessments for all standard rules permits. These list the potential risks and specify measures required, to manage them. The list of specified measures is not intended to be exhaustive or comprehensive and additional appropriate measures may be required to manage potential risks.

Applicants should check the risk assessments to understand:

- the potential risks of Medium Combustion Plant (MCP) under this standard rule set

- if your proposed activity has the same risks and whether you can apply for the MCP standard rules permit

- how to manage the risk effectively

Each risk comprises:

- information about the source, pathway and receptor and the potential harm to that receptor

- an assessment of the level of risk and justification of that assessment

- actions for managing the risk (through permitting) and a residual risk rating after managing it

Risk management involves breaking or limiting the source-pathway-receptor linkage to reduce the risk. If the Environment Agency set minimum distances they explain the basis of the distances, for example by modelling.

The Environment Agency controls the residual risk (after risk management) when they assess compliance.

If you need to check the meaning of any terms used (in the context of this risk assessment), see the explanation of terms.

This generic risk assessment is based on the following parameters which define the scope of the permit and associated rules.

Parameter 1

The permitted activity is operating one or more new or existing medium combustion plant (MCP) which is a boiler

Parameter 2

The total capacity of any combustion plant of any size at the permitted location must together be less than 20MWth input capacity individually or aggregated

Parameter 3

Air quality is protected by emission limit values (ELVs)

Parameter 4

Deployment of mobile medium combustion plant will not increase operational combustion capacity at a regulated facility

Parameter 5

The site must be a minimum distance from a protected habitat depending on the emissions limits they can achieve, the duration of deployment, the capacity of boilers deployed, fuel used and whether a stack is used, these are set out in the permit

Parameter 6

Dual fuel is permitted on mobile boilers as a back-up fuel, but it may only be used for for 10% of operating hours per deployment

## 1. Risk to local human population

### 1.1 Releases of oxides of nitrogen (NOx)

NOx gases travel through the air and can be inhaled.

The Environment Agency has assessed the potential harm to human health as follows:

- respiratory irritation

- illness

#### Assessment of risk

The Environment Agency has assessed the:

- likelihood of the hazard affecting the receptor to be low

- overall severity of potential consequence to be medium

- overall risk rating to be medium

The reasons for giving the activity this rating is because there is a potential for exposure to:

- anyone living close to the site where the deployment takes place

- members of the public at locations to which they have access to and could be regularly exposed

#### Managing the risk

The following measures will manage the risk:

- activities shall be managed and operated in accordance with a management system which includes the inspection and maintenance of equipment (including engine management systems)

- point source emissions to air have emission limit requirements for NOx specified in the permit

- monitoring of emission levels from the plant is required by the permit in accordance with guidance Monitoring Stack emissions: low risk MCP’s and specified generators or using monitoring equipment, techniques, personnel and organisations with MCERTS certification or MCERTS accreditation (as appropriate)

- other monitoring shall be reported in accordance with the permit requirements

- stacks shall be vertical without caps and cowls unless that is not practicable

Taking these actions will normally control the risk so that it can be rated as ‘low’.

## 2. Risk to protected habitat sites

Protected habitat sites include:

- Special Areas of Conservation

- Special Protection Areas

- Ramsar wetland areas

- Sites of Special Scientific Interest

- Marine Conservation Zones

Protected habitat sites can be at risk from any source and by any pathway. However, the main risk is from NOx. The minimum distance parameters are set out in the permit prevent operations from taking place in close proximity to protected habitats.

The risk of harm to protected habitat sites include (but are not limited to the following:

- toxic contamination

- nutrient enrichment

- disturbance

### Assessment of risk

The Environment Agency has assessed the:

- likelihood of the hazard affecting the receptor to be low

- overall severity of potential consequence to be medium

- overall risk rating to be low

The reasons for giving the activity this rating is because emissions to air may cause harm to and deterioration of protected habitat sites.

### Managing the risk

The following measures will normally manage the risk:

- activities shall be managed and operated in accordance with a management system (will include inspection and maintenance of equipment, including engine management systems)

- point source emissions to air have emission limit requirements for NOx specified in the permit

- minimum distance parameters set out in the permit do not allow activities to take place in close proximity to protected habitats

Taking these actions will normally control the risk so that it can be rated as ‘low’.

## Explanation of terms

### Likelihood of exposure

This is the likelihood of the receptors being exposed to the hazard. The meaning of the definitions are:

- high – exposure is probable – direct exposure is likely with no or few barriers between the hazard source and the receptor

- medium – exposure is fairly probable – feasible exposure is possible as the barriers to exposure are less controllable

- low – exposure is unlikely – several barriers exist between the hazard source and receptor to reduce exposure

- very low – exposure is very unlikely – effective, multiple barriers are in place to reduce exposure

### Overall magnitude of potential consequence

This is the severity of the consequence if the hazard is realised and may cause actual or potential harm.

This will have a high, medium, low or very low rating using attributes and scaling to consider ‘harm’.

### Risk rating

The Environment Agency determines the risk rating by combining the likelihood of exposure with the magnitude of the potential consequences.

They assess these ratings to be:

- high risk – requires additional assessment and active management

- medium risk – requires additional assessment and may need active management or monitoring (or both)

- low and very low risks – will require a periodic review