Stack Field Farm Poultry Unit Standby Generator.

Stack Field Farm poultry operations has a standby generator,

Generator has a thermal input of 1.11mw.

Generator will not be test run more than 50hrs per annum.

Generator will not be operated more than 500hrs per annum averaged over 3 years, as backup for mains interruption.