## Sheet1
Tank Name | Capacity tonnes | Permit Amendments | Current use | Use
Q1 | 143.2 | Existing permit | Waste Oil Storage | Waste Oil Storage
Q2 | 80.55 | Existing permit | Waste Oil Storage | Waste Oil Storage
Q3 | 80.55 | Existing permit | Waste Oil Storage | Waste Oil Storage
Q4 | 102.925 | Existing permit | Waste oil Process tank | Waste oil Process tank
Q5 | 102.925 | Existing permit | Waste oil Process tank | Waste oil Process tank
Q6 | 78.1335 | Addition |  | Waste Oil Storage
Q7 | 78.1335 | Addition |  | Waste Oil Storage
Q9 | 109.19 | Existing permit | Waste oil Process tank | Waste oil Process tank
Q10 | 109.19 | Existing permit | Waste oil Process tank | Waste oil Process tank
Q11 | 109.19 | Addition |  | Waste oil Process tank
F1 |  | Removed
F2 |  | Removed
F3 | 71.6 | Existing | PFO Storage | Waste Oil Storage / PFO Storage
F4 | 107.4 | Existing | PFO Storage | Waste Oil Storage / PFO Storage
F5 | 107.4 | Existing | PFO Storage | Waste Oil Storage / PFO Storage
F6 | 107.4 | Existing | PFO Storage | Waste Oil Storage / PFO Storage
F8 | 107.4 | Addition | PFO Storage | Waste Oil Storage / PFO Storage
F9 | 107.4 | Addition | PFO Storage | Waste Oil Storage / PFO Storage
F10 | 107.4 | Addition | PFO Storage | Waste Oil Storage / PFO Storage
E1 | 20 | Existing | Effluent Storage | Effluent Storage
E4 | 43.855 | Existing | Effluent Storage | Effluent Storage
E5 | 43.855 | Existing | Effluent Storage | Effluent Storage
CF1 |  | Removed
W1 | 17.9 | Existing | Water Storage | Water Storage
Total | 1835.597
Enva England Specialist Waste Limited – EPR/DP3331MG
| Bilsthorpe Oil Treatment Plant |  |  |  | Page 1 of 1