**Biomass Boiler**

Make and Boiler Model – Jutsen Nominal heat output 860Kw

Number of boilers 1 Total heat output 860 Kw

Thermal Input 990kw

Exhaust stack height 8m, 1m above roof heights

Adjacent building eaves heights 5.5 m

Farm Centre Grid Reference 507032,336046

Exhaust stack Grid Reference

507073,336036

Biomass fuel – Straw