## Sheet1
Whilton Water Recycling Centre EA Request for More Information
Item | Section / Form | EA Request for more information | EA Reason | Anglian Water response | Links to documents | Sections of MSD and NTS where wording has been added
1 | Part A Appendix 1 Q4 | Please complete the document reference for the directors’ details. |  | Form A has been updated as per the request. Please see document link in cell F3 | Whilton Part A 2024 | N/a
2 | Part A Section 7c | Please confirm the billing contact details for this application |  | June Hayes Regulation Technical Assistant (Permitting & Consenting) Lancaster House, Lancaster Way Ermine Business Park Huntingdon Cambridgeshire, PE29 6XU jHayes2@anglianwater.co.uk 07980 735342 Form A has been updated - please see document link in cell F3 | Please see link to form A above. | N/a
3 | Part B2 Section 3a1 | it has been detailed that Anglian Water Services Limited or any other relevant person been convicted of any relevant offences. It is understood that this is not correct and needs amending |  | Please see the document at the link in cell F5 which details the Anglian Water convictions up to the end of April 2023 which was the most recent prosecution. The prosecution in relation to Jaywick from April this year because whilst this is under Appeal, we are only appealing the size of the fine not the actual conviction. I have therefore added this to the list but put a note that the fine is under appeal. An updated copy of Form B2 is also provided see the link in cell F6 | AWS Convictions up to May 2023 | Wording in the second sentence of section 2.4 on page 9 of the MSD has been updated to reflect the provision of the standalone document.
[5 empty] | Whilton B2 Form 2024 | N/a
4 | Part B2 Section 3d | Please provide an environmental management system (EMS) summary that meets our guidance here: Develop a management system: environmental permits - GOV.UK (www.gov.uk) |  | The Whilton WRC site is covered by AWS own Environmental Management System (EMS) and Environmental Management Plan (EMP) - a copy of which has been provided with the application see document link in cell F7 A summary of the management system in line with the EA guidance https://www.gov.uk/guidance/develop-a-management-system-environmental-permits. has also been provided. see document link in cell F8 The management of cake on site and cake movements managed by Circular Economy (CE) and Water Recycling Operational Logistics (WROL) are also covered by ISO 14001 a copy of this certificate is also provided see document link in cell F9. | Whilton Environmental Management Plan 2024 | N/a Document already referenced in section 2.5 of MSD
[5 empty] | EA guidance requirements for management systems - AW Whilton summary | N/a
[5 empty] | ISO 14001 Environmental Management - BSI Certification of Registration | N/a Document already referenced in section 2.5 of MSD
5 | Part B2 Q5a | Site Plan- include site layout plans, clearly labled and process flow diagrams. Identify other geographic features (roads, rivers etc), scale indicator. |  | An updated permit boundary site layout plan has been produced showing the permitted activity boundaries marked in green, a scale indicator, a North arrow and with the main road identified. Please see document "Whilton Permitted Activity Boundaries" at link in cell F10 The HAZOP drainage plan shows the drainage from the cake pad area which has sealed drainage connecting to the supernatant sludge liquor drainage (light blue line) to return to the head of works. Link to HAZOP drainage plan in cell F11. | Whilton Permitted Acivity Boundary | N/a Document already referenced in section 2.6 of MSD and included as an Appendix.
[5 empty] | Whilton STW Hazops Drawing | Wording as the last paragraph of section 3.3.2 top of page 17 of the MSD has been added.
6 | Part B2, Q5b | Site condition report (SCR) Site details - The SCR-Application reference needs to be amended. |  | The SCR has been updated to include the application refrence number LB3309XF/A001. An updated copy of the SCR document is at the link in cell F12. | Whilton Site Condition Report | N/a
7 - 9 |  | • You need to also send us a detailed site plan showing Site location, the area covered by the SCR, and the location and nature of the activities and/or waste facilities on the site. • Locations of receptors, sources of emissions/releases, and monitoring points. • Site surfacing. | In line with guidance Environmental permitting: H5 Site condition report - GOV.UK (www.gov.uk) | The area covered by the Site Condition Report is the cake storage Permitted Activity Boundary and is marked in green on the Whilton Permitted Activity Boundary plan - see link in cell F10 above. The nearest residential receptor is 0.4 km to the North North West of the pemritted boundary. Sources of emissions are detailed in the Environmentla Risk Assessment - see link in cell F14 below. There are no monitroing points as no monitoring is included as there are head of work activities appliaed for. Site surfcaing is shown in the site infrastructure plan - see link in cell F17 below. | See links to docuemnts in cells F10 above, and F14 & F17 below. | N/a
10 | Part B2 Q6 | The Environmental Risk Assessment (ERA) that has been provided does not meet our guidance, you need to identify and consider the protected species and bioaerosols. The site has been identified as being in a Fluvial Flood risk. Please consider this within the ERA and re-submit | In line with guidance Form Part B2 Form guidance EPB: Application for an environmental permit – Part B2 general – New bespoke permit (publishing.service.gov.uk) Risk assessments for your environmental permit - GOV.UK (www.gov.uk) | Please see an updated Environmental Risk Assessment provided at the link in cell F14 | Whilton Environmental Risk Assessement | N/a Document already referenced in section 2.7 and 3.3.5 of MSD and section 1.4 and 1.5 of NTS.
11 | Part B4 Section 3a | Please complete Table 3a in reference to the Biowaste Appropriate Measure Guidance Biological waste treatment: appropriate measures for permitted facilities - Guidance - GOV.UK (www.gov.uk) . |  | An updated form Part B4 is provided referencing the Main Supporting Document (MSD) section 3.3 for information on Appropriate Measure Guidance and a copy of the updated B4 form is provided at the link in cell F15 Information in relation to Appropriate measures is included in the Main Supporting Document section (MSD) 3.3 and the Non Technical Summary (NTS) section 1.5. The link to the updated MSD is in cell F16 The link to the NTS is in cell F19 | Whilton B4 Form 2024 | N/a
[5 empty] | Whilton Main Supporting Document | N/a Information included in MSD section 3.3.1 page 19 and section 1.5 of NTS.
10 | Part B4 Section 3a | provide a site infrastructure plan that clearly shows the surfacing and any kerbing surrounding the biosolid storage area which is an integral part of preventing spillages. Detail the site drainage where the cake is to be stored. |  | A site infrastructure plan is provided in the document at link in cell F17 The site drainage is shown in the HAZOP drainage plan. The HAZOP drainage plan shows the drainage from the cake pad area which has sealed drainage connecting to the supernatant sludge liquor drainage (light blue line) to return to the head of works. Link to HAZOP drainage plan in cell F11. | Whilton Site Infrastructure Plan | N/a Site infrastructure plan is referenced in section 2.6 of the MSD. Information on cake pad drainage is referenced in section 2.6 and 3.3.2 of the MSD.
11 | NTS | 2.7.2 states that the closest residential property is 0.2km away from site. Please confirm |  | Section 2.7.2 of the Main Supporting Docuemnt (MSD) has been reviewed and updated the closest resdidential property is a farm to the North West of the permitted site boundary which is 0.4 km away. See link to MSD in cell F16 | Link to MSD in cell F16 above | Section 2.7.2 has been updated.
12 |  | You need to send us a non-technical summary which should explain your proposal using non-technical language. This should summarise your operations that your permit application is for (including EWC type waste, how it is handled, treated, and stored under each activity), the key technical standards you will adhere to and the main control measures arising from your risk assessment. | in line with the guidance notes Form Part B4. Application for an environmental permit – Part B4 new bespoke waste operation permit (publishing.service.gov.uk) | A Non-Technical Summary is provided as a standalone document see link in cell F19. There is also a Main Supporting Document see link in cell F16 which provides all of the supporting information in relation to questions on the forms A, B2, B4 and F1 where there was not sufficient space on the forms. The Non-Technical Summary has also been included with the Main Supporting Document. | Whilton Non Technical Summary | N/a
[5 empty] | See link to MSD in cell F16 above | N/a
13 |  | Please provide a H1 assessment to assess the fate and impact of the substances emitted to water (via sewer) following the Environment Agency’s risk assessment guidance and our guidance, Surface water pollution risk assessment for your environmental permit - GOV.UK (www.gov.uk). Please ensure this assessment is representative of your combined emission. If you are not currently in a position to provide a H1 assessment for the wastes that you currently accept please let us know. For waste not currently imported to the head of works where you have not assessed the fate and impact of the substances emitted to water and sewer following the Environment Agency’s risk assessment guidance, these wastes would not be able to be permitted without this assessment. |  | It is confirmed that the permit application does not include any activities associated with any wastes to be accepted at the head of works. The permit application is for raw (EWC 19 02 06), limed (EWWC 19 02 06)and digested cake (19 06 06) storage and for the liming of raw cake. The MSD has been updated to reflect the above and a link to teh MSD is provided in cell F16. | None | N/a
14 | Operating Hours | Please confirm operating hours. To include how many tanker delivers are accepted daily on site and the time of deliveries. |  | Opening hours for deliveries are: The operations and hours will not be changing as a result of this permit application. The only deliveries will be of imports / exports of cake by Anglian Water (AW) Water recycling Operational Logistics (WROL) and AW contracted vehicles. Days and times of operation for cake receipt / export are variable through out the year and are needs based depending on land bank availability and storage capacity. Access to the site can be at any time in case of need or emergency. Digested / raw cake removal from site could be between 4:30 am and 7:30 pm. Digested / raw cake delivery to site could be anytime. As an idication for the calendar year of 2023 for cake storage there were an avergae of 5 loads per day on the days when imports / exports happened and imports / exports occured on 232 out of the 365 days. As an indication the mean, minimum and maximum numbers per day when there were imports / exports over the 12 month period January 2023 to December 2023 were: Mean - 5 Min - 1 Max - 22 Number of days where imports and exports were in double figures i.e. 10 or greater loads per day = 24 Number of days where imports and exports were greater than 5 loads per day = 72 | None | Wording has been added to section 3.3.3 page 19 of the MSD and section 1.3 of the NTS.
15 | Head of Works EWC waste codes | For all waste codes requested for acceptance at the head of works, please specify for each waste code if they are currently being accepted and provide evidence. This evidence could be in the form of waste transfer notes and any records you hold of tankered waste inputs for those waste codes at the site. |  | It is confirmed that the permit application does not include any activities associated with any wastes to be accepted at the head of works. The permit application is for raw (EWC 19 02 06), limed (EWWC 19 02 06)and digested cake (19 06 06) storage and for the liming of raw cake. The MSD has been updated to reflect the above and a link to teh MSD is provided in cell F16. | See link to MSD in cell F16 above. | Information on waste types and activities has been updated in: section 3.1.1 as table 2 page 16 of MSD and section 1.3 of NTS.
| Part B2 Section 3b | it is understood that you are relying on ESA/EU skills scheme. Please confirm this is the case |  | This is correct Anglian Water will be relying on the ESA/EU skills scheme for technical competency. It is also confirmed that the Whilton site and site type (activity) will be covered in the scope of the CMS. Anglian Water are however in the process of moving from LRQA to BSI as the accredited certification body for the CMS system. Therefore we have provided a copy of the contract that we have in place with BSI which includes the Whilton site as part of the schedule listed on page 10 of the contract document. See link to docuemnt in cell F27 | Anglian Water Services Limited Proposal Q740629 - signed | Wording as the last paragraph of section 2.4 top of page 10 of the MSD has been added on the future transisioptn from LRQA to BSI as the accrediatatyion body to include reference to the standalone BSI contract.