## Slide 1
Biogas - Upgrading Unit N/A
Biogas - CHP
Parasitic Load - CHP
Parasitic Load - AD Plant
Export - Grid
Import - Grid
Biogas - Flare
Bio methane - Flare
Thermal Energy – FOG process
Thermal Energy - Digester
Thermal Energy - Losses
Bio methane - Export Grid
AD Plant Gay Dawn Farm (UK)
Grid
Gas Grid
Flare
(just in case of
emergency)
Parasitic Load
AD Plant
Parasitic Load
CHP
Heating
FOG process
Heating
Digesters
Energy Losses
AD Plant
Biogas: 62.5 nm³
CHP 150 kW
Thermal: kWh 180 kW
Electrical: kWh 150 kW
Biogas upgrading unit
Biogas - CHP: 573,780 nm³/a
Biogas - Upgrading Unit: nm³/a
Parasitic Load - AD Plant: 44 kWh
Parasitic Load - CHP: 6 kWh
Thermal Energy – FOG processing: 67.5 kWh
Thermal Energy - Digester : 67.5 kWh
Thermal Energy - Losses: 45 mWh
Export - Grid: 100 kWh
Import - Grid: 0 kWh
Bio methane - Flare: 0 nm³/a
Biogas - Flare: 0 nm³/a
Bio methane - Export Grid: 0 nm³/a
Waste4Generation ltd Corby Sankey Diagram