## Risk Assessment
Site Name | Whitlingham |  |  |  | Review due | 2022-03-16
Short Code | WHITST
Completed by | Sarah Spencer
Completed on | 2021-03-16
Signed off by
Signed off on | 2021-03-16
|  | Initial |  |  |  | Residual |  |  |  |  | Higher than acceptable Residual
Description of risk | Impact of risk | Likelihood | Severity | Score | Mitigation | Likelihood | Severity | Score | Sufficient | Comments | Agreed by | Agreed On
Escape of fuel from stationary fuel tank (bowser or diesel tank) | Pollution to water course / ground | 3 | 5 | 15 | Site uses a fixed stationary tank with an external concrete bund. When hired in extra fuel bowsers are double skinned Drainage returns to the head of the works spill kits on site at various locations Storage away from vehicle movements | 1 | 5 | 5 | Yes | spill kit availablity on site
Spillage of fuel from vehicles on site | Pollution to water course / ground | 3 | 5 | 15 | All vehicles are maintained. Site has sealed drainage returning to the works. Roads are in good condition and off road short cuts are actively banned | 1 | 5 | 5 | Yes | Spill kit availablity on site
Escape of gas from gas bag | Odour and pollution to air | 4 | 5 | 20 | Site has a Gas Plan Whesso valves to release pressure (serviced regularly) Double skinned bag with alarm Flare stack to release pressure | 1 | 5 | 5 | Yes | n/a
Wind blown litter on site | Spread of polltion from AW site to external sites | 4 | 3 | 12 | Bins available at all areas where there are people congregating All contractors are required to remove their waste from the site or dispose of appropriately | 1 | 3 | 3 | Yes
Inadequate waste storage | Overspilling waste to the environment | 3 | 3 | 9 | Waste contract and collections monitored by Facilities Admin Biffa contract provider | 1 | 3 | 3 | Yes
Incorrect disposal of waste | Use of non-registered companies | 2 | 4 | 8 | We use registered companies currently and RES will ensure the compliance | 1 | 4 | 4 | Yes | n/a
Contamination of segregated wastes | Increased costs and risk of prosecution | 3 | 3 | 9 | Signage is in place Asbestos bin is locked | 1 | 3 | 3 | Yes
Threshold of imports exceeded | Risk of prosecution through non-conformance with permit/exemption conditions | 2 | 3 | 6 | RES hold the sludge permit and inform site of what should be expected | 1 | 3 | 3 | Yes | site managers complets quartly waste returns ,to make sure permit limits are not exceeded
Quarterly waste returns are not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | site managers complets quartly waste returns ,to make sure permit limits are not exceeded | 1 | 3 | 3 | Yes | n/a
Annual CHP report not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | site managers complets quartly waste returns ,to make sure permit limits are not exceeded | 1 | 3 | 3 | Yes | site managers complets quartly waste returns ,to make sure permit limits are not exceeded
Emissions reports not made on time | Risk of prosecution through non-conformance with permit/exemption conditions | 4 | 3 | 12 | Framework agreement in place for the completion of the emissions sampling. EA audit annually covers the requirement | 1 | 3 | 3 | Yes | n/a
Official notification of environmental incident not made on time (Specifically CHP) | Risk of prosecution through non-conformance with permit/exemption conditions | 3 | 3 | 9 | Aware of the permit conditions Good relationship with the local EA officer so report is more informal initially | 1 | 3 | 3 | Yes
Odour from site | Complaints from neighbours | 3 | 3 | 9 | Odour Management Plan in place Odour Risk Assessment undertaken Odour Control Units on site | 1 | 3 | 3 | Yes
Vehicles accessing areas not intended for access | Damage to biodiversity | 4 | 3 | 12 | All vehicles are banned from taking off road short cuts across site. Risks were briefed as part of this communication | 1 | 3 | 3 | Yes | n/a
Vehicles accessing areas not intended for access | Damage to structures including drainage | 4 | 3 | 12 | All vehicles are banned from taking off road short cuts across site. Risks were briefed as part of this communication | 1 | 3 | 3 | Yes | n/a
Escape of liquids from site through drainage to the environment | Pollution to water course / ground and risk of prosecution and non-compliance with permits | 1 | 3 | 3 | Site designed with sealed drainage. No evidence of pollution occuring Drainage Plan available | 1 | 3 | 3 | Yes
Day-to-day operations on site (for example driving across site, digging holes/trenches, storing equipment). | Disturbance to protected species and/or damage to habitats causing a prosecutable offence and/or not fulfilling our legislative 'duty'. | 1 | 3 | 3 | Operational staff to refer to Biodiversity: Guidance for Operations and implementation of site specific conservation management plans as they are produced. Contact Biodiversity Team for any other queries. | 2 | 1 | 2 | Yes | n/a
Development and refurbishment works (including pipelaying). | Damage/destruction of habitats (including stautorily designated sites) and/or heritage and archaeology causing a prosecutable offence and/or not fulfilling our legislative 'duty'. | 3 | 3 | 9 | All refurbishment/development works to be referred to Environmental Assessor for screening prior to commencement. | 3 | 1 | 3 | Yes | n/a
Storage of chemicals on site | Pollution to water course / ground | 1 | 5 | 5 | Tanks are bunded Storage of chemicals is away from vehicle movements | 1 | 5 | 5 | Yes | n/a
Underground storage tank | Pollution to water course / ground | 3 | 3 | 9 | Condition of tank is unknown | 3 | 3 | 9 | No | Identify the risks posed by these assets. Consider the options of removal / filling
Flooding of site | Lose of works resulting in pollution to water course / ground | 3 | 3 | 9 | Flood emergency response plan in place | 1 | 3 | 3 | Yes
Digester / Cambi plant failure | Tankering sludge away to another site / bring in mobile centridge to thicken and stor sludge | 1 | 5 | 5 | NO CONTROLS IN PLACE | 1 | 5 | 5 | Yes | Consider changes to any future works or refurbishment of this works to address this risk

## Background data
Likelihood |  | Severity |  | Review period | 1 | years
1 | Little to no chance | 1 | Negligible impact |  |  | Likelihood
2 |  | 2 |  |  |  | 1 | 2 | 3 | 4 | 5
3 |  | 3 |  | Severity | 1 | 1 | 2 | 3 | 4 | 5
4 |  | 4 |  |  | 2 | 2 | 4 | 6 | 8 | 10
5 | Certain to happen | 5 | Severe impact |  | 3 | 3 | 6 | 9 | 12 | 15
[5 empty] | 4 | 4 | 8 | 12 | 16 | 20
[5 empty] | 5 | 5 | 10 | 15 | 20 | 25